PRT-EM Series

EM 125 kHz

Access Terminals

Firmware v1.29 and v2.29

Rev. F

This document refers to the following products:

- PRT12EM

- PRT12EM-BK

- PRT32EM

- PRT42EM

- PRT42EM-BK

- PRT62EM

- PRT64EM

- PRT64EM-VP

- PRT66EM

Installation and Programming Guide

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 2 from 59

1. GLOSSARY OF TERMS ................................................................................. 4

2. IMPORTANT NOTES ..................................................................................... 6

2.1. Compatibility Rules ........................................................................................................................... 6

2.2. About This Manual ............................................................................................................................. 6

3. GENERAL DESCRIPTION ............................................................................ 7

3.1. Features .................................................................................................................................................. 7

3.1.1. General ............................................................................................................................................... 7

3.1.2. Terminal Mode (Online Mode) ..................................................................................................... 7

3.1.3. Standalone Mode (Offline Mode) ................................................................................................ 7

3.2. Proximity Cards .................................................................................................................................. 8

3.2.1. T5555 and T5557 Cards ................................................................................................................ 8

3.3. Function Keys ...................................................................................................................................... 8

4. OPERATING MODES ..................................................................................... 9

4.1. Terminal Mode ..................................................................................................................................... 9

4.1.1. Wiegand Formats ............................................................................................................................. 9

4.1.2. Magstripe Formats ......................................................................................................................... 10

4.1.3. RACS Format .................................................................................................................................. 10

4.1.4. RS232, EPSO Protocol (9600, N, 8, 1) ................................................................................. 10

4.1.5. RS232, Cards and Keys (9600, N, 8, 1) ............................................................................... 10

4.1.6. RS232, Cards and PIN-s (9600, N, 8, 1 ) ............................................................................. 11

4.2. Standalone Mode .............................................................................................................................. 11

4.2.1. Full Standalone Mode ................................................................................................................... 12

4.2.2. Simple Standalone Mode ............................................................................................................. 12

5. STANDALONE MODE .................................................................................. 13

5.1. Users ....................................................................................................................................................... 13

5.1.1. Managing the Users ...................................................................................................................... 13

5.1.2. User Identification ......................................................................................................................... 14

5.2. Door Unlocking ................................................................................................................................. 14

5.3. Facility Code ....................................................................................................................................... 14

5.4. Arming Modes .................................................................................................................................... 14

5.4.1. Arming/Disarming Methods ....................................................................................................... 15

5.5. Door Bell Function ........................................................................................................................... 17

5.6. Function Keys .................................................................................................................................... 17

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 3 from 59

5.7. Door Alarm .......................................................................................................................................... 18

5.8. Tamper Alarm .................................................................................................................................... 18

5.9. Intruder Alarm .................................................................................................................................. 18

5.10. Duress Alarm ................................................................................................................................... 19

5.11. General Alarm ................................................................................................................................. 19

5.12. Events Recording ........................................................................................................................... 19

5.13. Real Time Clock .............................................................................................................................. 20

5.14. Timers ................................................................................................................................................. 20

5.15. Optical and Acoustic Signals ................................................................................................... 21

5.16. Operation with XM-2 I/O Extension Module ................................................................. 22

5.17. Operation with Second PRT Series Reader ..................................................................... 23

6. PROGRAMMING ........................................................................................... 24

6.1. Programming the PRT-EM Readers without Keypad ................................................... 24

6.1.1. Programming Through Multiple Readings of the Programming Card ......................... 24

6.1.2. Programming From The External Reader ............................................................................. 25

6.2. Memory Reset .................................................................................................................................... 25

7. OPERATING MODES ................................................................................... 27

8. INSTALLER PROGRAMMING ................................................................... 31

8.1. Input/Output Functions ............................................................................................................... 34

9. USER PROGRAMMING MODE .................................................................. 37

9.1.1. User Programming Commands ................................................................................................. 37

10. PROGRAMMING FROM PC ..................................................................... 40

10.1. Programming via RS232 COM port ...................................................................................... 40

10.2. Programming via RUD-1 interface ...................................................................................... 41

10.3. Firmware Upgrade ........................................................................................................................ 42

10.3.1. Firmware upgrade via RS232 COM port ............................................................................. 42

10.3.2. Firmware upgrade via RUD-1 interface ............................................................................... 42

11. INSTALLATION GUIDELINES ............................................................... 44

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 4 from 59

1 . G L O S S A R Y O F T E R M S

Door Release or Door Lock

Electric device used to lock/unlock a door. Typically it can be a door strike, solenoid lock or

magnetic lock.

Identifier

The physical item or method which is used for identification of users. It can be a proximity card, a

PIN code, a finger template etc. In some cases identifier may consist of two or more items required

for a single identification procedure. For example when option Card and PIN is active then

Identifier=Card+PIN.

Identification Mode

The method used for identification of users, it can be Card or PIN, Card and PIN, Card only,

PIN only etc.

Memory Reset

The procedure which clears contents of device’s memory and restores default (factory) settings.

PRT Series Readers

The PRT reader’s family developed and manufactured by Roger.

Restart

The situation when device goes through the initialization procedure, the same as when it is

powered up.

Roger Access Control System (RACS)

The access control system which consists of PR series access controllers developed and

manufactured by Roger.

Access Control Unit (ACU)

The logic device which provides access control, usually it is an access controller.

XM-2 I/O Extension Module

The remote I/O extension module for RACS system. The XM-2 provides two NO/NC inputs and two

relay outputs.

Full Standalone Mode

The operation mode in which reader autonomously controls a door passage. When operating in Full

Standalone Mode the PRT-EM reader requires the remote XM-2 extension module, also in this

mode it can operate with another (second) PRT series reader thus providing two-way passage

control.

Simple Standalone Mode

The operation mode in which reader independently controls a door passage. When in Simple

Standalone Mode the PRT-EM reader uses its internal I/O lines as general purpose I/Os but is not

capable to operate with XM-2 I/O module and/or second PRT series reader.

RACS Interface

The electrical interface and addressable protocol developed by Roger. This interface is implemented

in access readers and controllers manufactured by Roger. The RACS interface uses two

communication lines (CLK and DTA) and proprietary communication protocol capable to address up

to 16 devices.

EPSO Protocol

The addressable, half duplex, serial communication protocol developed by Roger. This protocol

allows a host device (PC or controller) for direct control of the reader’s hardware through the set of

remote commands.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 5 from 59

RARC Program

This program allows for programming and maintenance of the PRT series reader which are

equipped with serial communication interface.

RogerISP Program

This program allows for firmware upgrade in access controllers and readers manufactured by

Roger.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 6 from 59

2 . I M P O R T A N T N O T E S

Note: The PRT-EM term refers to any type of access terminal from PRTxxEM series readers. It is

clearly indicated when given information refers solely to specific device and is not valid for entire

series.

The PRT-EM reader can be configured for several operating modes however the factory shipped

unit is pre-configured for RACS address ID=0.

The PRT-EM reader can be programmed in following ways:

• Manually from the keypad located on primary reader (when available)

• Manually from the keypad located on secondary reader (when available)

• Manually by multiple readings of the so called Programming Card

• Remotely from PC computer with RARC program

If the reader is dedicated for operation in standalone mode (offline operation) and has to be

programmed manually, it is necessary to program two special users into the reader: MASTER and

INSTALLER, each of them can have card and/or PIN.

Any proximity card or tag can be programmed as MASTER or INSTALLER card. The same card can

be programmed as MASTER or INSTALLER card to multiple readers. Whenever required (e.g. when

stolen or lost) the new MASTER and INSTALLER cards can be programmed into given unit. No

proximity cards are shipped with factory new unit - if necessary, installer must arrange and enroll

them to the reader by himself.

Note: If after power up the LED SYSTEM is lit it means that contents of reader’s memory is

corrupted. In this case reader must be initialized and programmed anew.

2.1. COMPATIBILITY RULES

Always check the firmware and hardware version for which manual is dedicated. Using wrong

version of manual may cause that device will not behave as described in document.

Also, when you upgrade firmware in the reader assure that the new firmware is dedicated for given

type of reader (it must be clearly stated that given firmware is dedicated for given type of product

you have). Once the firmware is uploaded assure adequate manual for the upgraded device.

2.2. ABOUT THIS MANUAL

This manual is dedicated for all versions of PRT-EM readers: with keypad and without keypad. No

matter if the PRT-EM readers have built-in keypad or not they represents the same logical

functionality. The only difference between various types of PRT-EM series readers is limited to

theirs mechanical construction, environment in which they can be installed and keypad which exist

in limited number of PRT-EM readers. As the result of these the same configuration settings can be

used to program various members of PRT-EM readers; also using RARC program configuration

settings can be transferred (copied) between different members of PRT-EM family.

Theoretically, it is possible to program and use PIN codes and other functions related with keypad

on PRT-EM readers which are not physically equipped with keypad however this has practical sense

only when PRT-EM reader without keypad operates in Full Standalone Mode with another

(second) PRT-EM reader which has built-in keypad. In such scenario users can utilize keypad

functions (including PIN codes) on this second (slave) reader.

When PIN codes are programmed into reader without keypad it is obvious that they cannot be used

on this individual reader however still they will exist in configuration settings of this particular unit

and can be transferred from the reader to PC and then to another PRT-EM unit.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 7 from 59

3 . G E N E R A L D E S C R I P T I O N

The PRT-EM readers have been designed for use in access control installations to enable user

identification via EM 125 KHz (and compatible) proximity cards and/or PIN-s.

Readers can be configured for standalone operation (Offline Mode) or as an ordinary slave

readers (Online Mode) connected to the external access control unit (ACU) supporting compatible

data interface formats, this kind of operation is called Terminal Mode.

When configured for standalone operation PRT-EM reader independently (i.e. autonomously)

controls the supervised door access point. For this mode reader offers two variants of installation:

first of them uses the reader’s built-in I/O signal lines as programmable inputs and outputs, the

second one uses them for communication with external XM-2 I/O module and second (optional)

PRT series reader. An access control installation containing two PRT readers (one at the entry and

other at the exit side of the supervised door) enables two-way door control. Also, the system setup

utilizing the XM-2 module provides higher level of security for the entire door access control system

by separating its logical element (reader) from the relay which physically controls a door lock.

The PRT-EM reader configured for Terminal Mode works as a slave unit serving a sole purpose of

reading cards/PIN-s then providing subsequent transmission of such collected data to host ACU for

further processing. Reader offers several data transmission formats including popular Wiegand and

Magstripe data protocols.

The PRT-EM reader can be also used as T5555 (Q5) and T5557 type card writer however the

standard version of RARC program which is distributed for free doesn’t support card programming

function. In order to use the reader as a card writer apply for special license available for the RARC

program.

3.1. FEATURES

3.1.1. General

• EM 125 KHz proximity cards (EM4100/4102 compatible)

• T5555 (Q5) and T5557 card programmer (*)

• Up to 15 cm reading range

• Can operate with second PRT series reader as a slave unit

• Tamper switch

• Configurable as standalone access unit or slave reader

• Various operating temperatures (depend on particular reader)

• Outdoor and indoor installations (depend on particular reader)

• Programming and firmware upgrade through serial port

• RARC configuration program (for Windows)

(*) - when operating with licensed version of the RARC program (contact Roger for more details)

the PRT-EM reader can be used as T5555 (Q5) and T5557 card programmer

3.1.2. Terminal Mode (Online Mode)

• 26/32/32 reversed/34/42/66 bit Wiegand data formats

• Magstripe data format (ABA Track II emulation)

• RACS data output format (Roger format)

• RS232, EPSO protocol

• RS232, direct output of cards and keys

• RS232, direct output of cards and PIN-s

• Various options for transmission of PIN-s and keys

• LED control input

• BUZZER control input

3.1.3. Standalone Mode (Offline Mode)

• System settings stored in nonvolatile memory

• 120 indexed users with card and/or PIN-s

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 8 from 59

• User indexing (ID indexed user records)

• Card or PIN or Card and PIN identification

• Real time clock (100 year)

• Automatic winter/summer time change

• 1000 event log

• Built-in 1.5A relay output

• Support for door contact and exit button

• Door Alarm and Door Bell outputs

• Integration with the alarm system trough I/O-s

• Two way door control (requires second PRT reader)

• Operation with XM-2 I/O extension module (Full Standalone Mode)

3.2. PROXIMITY CARDS

The PRT-EM was designed for EM 125 KHz proximity cards compatible with EM 4100/4102

transponders. When in online mode reader returns card number without check sum bits. Card

number is transmitted starting from the LSB to MSB and if required (it depends on the data output

format selected for the given reader) can be supplemented with leading zeros or reduced on the

MSB positions.

3.2.1. T5555 and T5557 Cards

The T5555 (Q5) and T5557 cards are special type of EM cards which can be programmed. Using

any PRT-EM reader together with licensed version of RARC program it is possible to read and write

card’s Chip Serial Number.

3.3. FUNCTION KEYS

Some of the PRT-EM series readers are equipped with two (e.g. PRT12EM) or one (PRT42EM and

PRT42EM-BK) function keys: [F1]- marked with door bell icon and [F2] – marked with the light

bulb icon. The function of each function keys depends on the reader’s operation mode.

When in RACS Mode, pressing function key will cause transmission of the relevant code to the

host controller which can further take adequate action (e.g. trigger door bell, light etc.). The host’s

reaction for function key always depends on its configuration.

When in Wiegand or Magstripe modes, pressing the F1/F2 causes following codes send over the

output lines:

For Wiegand:

• F1=C hex

• F2=D hex

For Magstripe:

• F1=FF FF FF FF BC hex (1099511627708 dec)

• F2=FF FF FF FF BD hex (1099511627709 dec)

When PRT-EM operates in standalone mode (either Full Standalone Mode or Simple Standalone

Mode) by default the F1/F2 keys work as door bell buttons however they can be eventually

configured to control AUX1/AUX2 outputs. Also, in Full Standalone Mode function keys on

secondary reader (if available) have the same functions as assigned for function keys on main

reader even when the main reader has no keys at all.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 9 from 59

4 . O P E R A T I N G M O D E S

There are two main modes of operation available for the PRT-EM reader:

• Terminal Mode (Online Mode)

• Standalone Mode (Offline Mode)

4.1. TERMINAL MODE

In this mode reader operates as a slave unit connected to the external access controller. In

Terminal Mode reader transmits collected data (card or PIN) to the host for further processing.

The PRT-EM offers following data transmission formats:

• Wiegand 26bit

• Wiegand 32bit, normal mode (from MSB to LSB)

• Wiegand 32bit, reverse order (from LSB to MSB)

• Wiegand 34bit

• Wiegand 42bit

• Wiegand 66bit

• Magstripe (ABA Track II emulation, also called Clock & Data)

• RACS (for communication with PR series of controllers from Roger)

• RS232, EPSO protocol (transactional protocol, reader responses commands received

from the host)

• RS232, cards and individual keys

• RS232, cards and PIN-s

4.1.1. Wiegand Formats

When employing Wiegand transmission format, data is

send to the host using sequences of short pulses

transmitted over CLK and DTA lines. Depending on the

selected version of the transmission format, the reader

can send 26, 32, 34, 42 or 66 bits to the host.

In Wiegand format, a dual color LED STATUS lights

steady in red, LED OPEN is controlled by IN1 while

buzzer is controlled by IN2. Both inputs (IN1 and IN2) are

triggered by shorting them to supply minus. In addition,

whenever card is read or PIN is entered reader activates

momentary LED SYSTEM and buzzer.

Note: For card codes which require more bits than the number of bits available in the selected data

transmission format, reader omits the most significant bits (MSB-s) of the card code. As a result

transmission from a reader is not equal to the full card code.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 10 from 59

4.1.2. Magstripe Formats

When employing Magstripe transmission format, data is

transferred to the host using electric signal waves

transmitted over the CLK and DTA lines. In Magstripe

format a dual color LED STATUS lights steady in red,

LED OPEN is controlled by IN1 while buzzer is

controlled by IN2. Both inputs (IN1 and IN2) are

triggered by supply minus. In addition, whenever card is

read or PIN is entered reader activates momentary LED

SYSTEM and buzzer. Card code is always transmitted

as a whole number (no digits are lost).

4.1.3. RACS Format

When employing RACS format, the PRT-EM unit

communicates with the host via CLK/DTA lines. Unlike

in the Wiegand and Magstripe formats, the PRT-EM

unit using RACS format requires an individual

address (ID=0…3) to be set during configuration of

the reader. With RACS format, communications

between the PRT-EM reader and the host is bilateral,

this allows controller to monitor communication. The

reader’s LED-s and the buzzer are controlled by the

host unit.

Note: When all LED-s are flashing it indicates that

reader lost communication with the host unit.

When in RACS mode triggering of the IN1 disables

reading of the card and keypad. This input can be

used for temporary disabling of the reader. The IN2 is not used in RACS mode.

4.1.4. RS232, EPSO Protocol (9600, N, 8, 1)

When programmed to this protocol reader operates in transaction mode, i.e. responds only to

external commands received through the RS232 port. The software developer or system integrator

must incorporate EPSO protocol into the host device (usually PC or microcontroller) to

communicate with the reader.

In RS232 EPSO reader answers only those data packets which come from the host unit and are

addressed with reader’s ID number (address). The EPSO protocol is the set of communication

functions used to control the reader’s hardware (inputs, outputs, LED-s, buzzer, keypad and

reading of cards). The PRT-EM configured for EPSO mode acts as pure “terminal”, it means that it

strictly follows commands received from the host unit. The full description of EPSO protocol can be

found on www.roger.pl.

4.1.5. RS232, Cards and Keys (9600, N, 8, 1)

Once the card is read or key is pressed reader outputs card/PIN data on TXD transmission line.

Reader outputs card code as 10 hex number while each pressed key is transmitted separately as 2

hex coded ASCI characters.

Output Format for Cards

STX DATA CR LF ETX

02 hex 10 hex digits coded ASCII 0D hex 0A hex 03 hex

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 11 from 59

Output Format for Keys

STX DATA CR LF ETX

02 hex 2 hex digits coded ASCII 0D hex 0A hex 03 hex

Key Codes

Key 0 1 2 3 4 5 6 7 8 9 * # F1 F2

Code F0 E1 D2 C3 B4 A5 96 87 78 69 5A 4B 3C 2D

4.1.6. RS232, Cards and PIN-s (9600, N, 8, 1 )

Once the card is read or PIN code is entered reader outputs card/PIN data on TXD transmission

line. Reader outputs card code as 10 hex digit number, PIN code is transmitted as whole number

max. 16-digit long. Each pressed key is buffered and transmitted as a whole PIN when [#] key is

pressed. The [#] key is treated as the end of the PIN.

Output format for cards

STX DATA CR LF ETX

02 hex 10 hex digits coded ASCII 0D hex 0A hex 03 hex

Output format for PIN-s

STX DATA # CR LF ETX

02 hex 16 hex digits coded ASCII 23 hex 0D hex 0A hex 03 hex

The [*], [F1] and [F2] keys are transmitted in this format in the same way as PIN-s:

[*]: STX / 'A' / '#' / CR / LF / ETX

[F1]: STX / 'C' / '#' / CR / LF / ETX

[F2]: STX / 'D' / '#' / CR / LF / ETX

4.2. STANDALONE MODE

The PRT-EM reader offers two sub-modes for standalone operation:

• Full Standalone Mode

• Simple Standalone Mode

In both modes reader is capable of providing independent (i.e. autonomic) control of a single door

passage.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 12 from 59

4.2.1. Full Standalone Mode

In this mode the CLK and DTA lines are used for communication with the remote XM-2 I/O

extension module and the second (optional) PRT reader. The second reader enables two-way door

control also it can be used for programming of the main reader. Each I/O line (no mater built-in or

located on extension module) can be configured to various options. The Full Standalone Mode

offers improved security, because it separates the reader from the attenuators which are used to

control a door lock or other type of equipment.

Note: In Full Standalone Mode the optical and buzzer signals occur simultaneously on both

readers. This rules is valid for programming mode and normal operation as well.

The maximum length of the cable run between the PRT-EM reader and the XM-2 module, or

secondary PRT reader is limited to 150 m. For two-way door control the primary reader needs to be

configured for Full Standalone Mode while the secondary one (slave) needs to be set for RACS

address ID=0.

Note: For Full Standalone Mode the XM-2 I/O extension module has to be configured for address

ID=5.

4.2.2. Simple Standalone Mode

In this mode the CLK and DTA lines are used as

programmable inputs or outputs while the IN1 and

IN2 lines operates always as programmable inputs.

The built-in REL1 operates as output only. Each I/O

line can be configured to have one from several

available functions.

Note: The CLK and DTA lines may operate either as

inputs or outputs. The function assigned to CLK or

DTA line automatically defines whether this line will

operate as output or input. If configured to be an

output, the CLK or DTA line operates as an open

collector line capable to sink up to 150 mA. Such a

current is usually sufficient to drive relay used for a

door lock control. When necessary, both lines (CLK

and DTA) can be configured to the same output

function and connected together (shorted) for

increased output current (max. 300mA).

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 13 from 59

5 . S T A N D A L O N E M O D E

5.1. USERS

When operating in standalone mode, the PRT-EM reader can register up to 120 users, each with a

card and/or PIN (3-6 digits). Entry of a PIN code must be followed by the [#] which is required to

mark the end of the PIN. Users can be identified by their PIN-s or cards. When the Card and PIN

option is active, user must first present card and then subsequently enter PIN. The Identification

Mode can be set individually for primary and secondary reader.

Note: In standalone mode reader uses full card code (40 bits).

The PRT-EM reader supports five types (classes) of users:

• MASTER

• INSTALLER

• NORMAL

• TOGGLE

• TOGGLE LTD

Types of Users

Type ID Authorisation Programming

MASTER None This user is allowed to enter User Programming

mode and can have card and/or PIN.

Memory Reset

and User

Programming

INSTALLER None This user is allowed to enter Installer Programming

mode only and can have card and/or PIN.

Memory Reset

and User

Programming

NORMAL 0-119 NORMAL users are solely authorized to unlock the

controlled door, they can have card and/or PIN.

User

Programming

TOGGLE 0-119 TOGGLE users are authorized to unlock the controlled

door and to switch reader between armed and

disarmed mode, they can have card and/or PIN.

User

Programming

TOGGLE

LTD

0-199 TOGGLE LTD (TOGGLE LIMITED) are solely authorized

to switch reader between armed and disarmed modes,

they can have card and/or PIN.

User

Programming

Note: All users can be programmed from RARC program as well.

Note: The MASTER and INSTALLER card can be used as so called Programming Cards when

employing programming method of multiple readings of proximity card (for readers without

keypad).

5.1.1. Managing the Users

A new user can be registered in the reader using either the Simple Programming or Full

Programming procedure.

The Simple Programming procedure consists of programming of a PIN and/or card without

specifying the ID number of a user to whom the programmed PIN/card will be assigned — as the

result reader simply stores the PIN/card in the first unoccupied user’s ID number.

The Full Programming procedure requires specifying of the ID number for the new user being

programmed which has to be followed by his PIN and/or card.

Note: When you program a user using the Full Programming procedure, later you will be able to

selectively delete or modify him by using his ID number. If you program card/PIN using the

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 14 from 59

Simple Programming procedure then to remove the given card/PIN from the reader you must

present card to the reader or enter PIN code to be deleted, otherwise the only one method to

remove them from the reader will be Memory Reset procedure which will clear all user data and

configuration setting stored in the reader as well.

5.1.2. User Identification

In PRT-EM reader every user can be identified by card, PIN or both (when Card and PIN mode is

active). The method which reader uses for user’s identification depends on the actual

Identification Mode. The PRT-EM enables following Identification Modes:

• Card or PIN, user must read his card or enter his PIN code

• Card and PIN, user must read his card and then subsequently enter his PIN code

Note: The Identification Mode can be programmed individually for primary and secondary reader

(when operation in Full Standalone Mode).

5.2. DOOR UNLOCKING

In order to unlock a door user is required to use his identifier once (card and/or PIN). Whenever

this happen, reader activates momentarily LED SYSTEM (orange) and generates short

confirmation beep. After successful identification reader unlocks a door for time defined by Door

Unlock Time. Once opened door should be closed within Door Open Timeout – otherwise Door

Ajar alarm will arise.

Note: The LED OPEN is activated for the entire time when door lock output is active. When

access to the room is denied, reader generates a long continues beep.

The access to a room can be denied in following situations:

• When entered identifier (card/PIN) is not valid (unknown)

• When reader is armed and the option Access disabled when reader armed is active

• When entered identifier is belongs to TOGGLE LTD class user

• When identification method wasn’t full (e.g. user presented only card but Card and

PIN mode was set active on the unit)

Note: With option Access disabled when reader armed the TOGGLE or TOGGLE LTD users may

change reader’s arming mode thus enabling or disabling access to a controlled door. Sometimes,

armed and disarmed states can be thought as night and day modes.

5.3. FACILITY CODE

The Facility Code (also called Site Code) is a specific part of the entire card code which indicate

group of card. For example when Facility Code is defined as 245 all cards which begin with “245”

will comply with given Facility Code (e.g. 24532AB450, 245D4523AA, 2453456231 will comply

while 12A4562432, 3214534522, 2353414422 will not).

When Facility Code option is active reader first searches if the card belongs to any user registered

in the reader, if not, it verifies if this card comply with given Facility Code, when yes card is

accepted as it was valid NORMAL user card, if not card is rejected.

Thanks to this feature reader may be used to grant access to large number of users which are not

programmed individually into the reader but they have cards which comply with given Facility

Code.

The whole card code may have up to 10 digits coded in HEX (13 digits coded in DEC). When

defining the Facility Code installer must specify digit locations and their values in HEX format. For

example when Facility Code was defined as “xxxx1ABxxx” every card which has the same pattern

will be accepted by the reader regardless of the fact that it is not registered individually in reader’s

memory. The positions marked with x are not analyzed for compliance with Facility Code.

5.4. ARMING MODES

When in the standalone mode reader may stay in one from two arming modes: Armed or

Disarmed. The actual arming mode of the reader is indicated on the dual color LED STATUS ,

which lights in red for Armed and green for Disarmed. Optionally, the actual arming mode can be

indicated on the output line configured to option [44]: Disarmed Mode or [45]: Armed Mode.

Such a configuration allows the output line to be used to arm/disarm of a connected alarm system

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 15 from 59

or to switch on/off some other auxiliary system or device (e.g. heating, lights etc.). In general, the

current arming mode of the reader have no influence on access rights unless the option Access

disabled when reader armed is enabled. With this option activated, reader can only grant access

when it works in disarmed mode.

Using the option mentioned above the TOGGLE and TOGGLE LTD users are allowed to enable or

disable access to the supervised room through switching the reader between armed and disarmed

modes. Also, it allows for automatic access locking upon the reader entering Armed mode.

Note: Although the arming modes of the reader were originally designed for integration with

alarm system, they can be alternatively used for other control purposes which require on/off

control method (light control, heating control etc). Upon powering on, reader automatically returns

to the arming mode it was in before powered off. Also, the reader returns to its previous arming

mode when leaving the programming mode. After Memory Reset reader always enters Armed

mode.

5.4.1. Arming/Disarming Methods

Note: The term “arming” should be understood here as the action effecting a switch into Armed

mode, whereas the term “disarming” as a switch into Disarmed mode. The term “reader’s arming

mode” should be understood as actual state (either Armed or Disarmed mode) of the reader.

Reader can be armed/disarmed by means of TOGGLE/TOGGLE LTD users or by input line

programmed to option [24]: Arming/Disarming Key Switch. When arming mode is controlled

by input [24] reader changes its arming mode solely and unconditionally, according to the current

state of this input.

Attempt to arm the reader by means of TOGGLE or TOGGLE LTD users is rejected in following

situations:

• When input [23]: Arming Disabled is active (which might indicate that alarm system is

not ready for arming)

• When input [21]: Door Contact is open (door is not closed)

• When input [27]: Intruder is open (intruder detected in area)

None of conditions listed above affects disarming of the reader – disarming is always unconditional.

Arming/Disarming by TOGGLE user card or PIN

The action needed by a TOGGLE user to change arming mode of the reader is to read twice

(sequentially) the TOGGLE card or to enter twice (sequentially) the TOGGLE PIN code — however,

when reader operates with the Card and PIN option, user needs to do both things for the first

time (read a card and then subsequently enter his PIN) but with the second attempt he can use

only one method (card or PIN).

Note: If access is not disabled by option Access disabled when reader armed then with first

usage of TOGGLE user card/PIN reader automatically releases door lock and then waits for second

(optional) usage of TOGGLE identifier to change current arming mode.

Arming/Disarming by TOGGLE LTD user card or PIN

TOGGLE LTD users may arm/disarm the reader simply by single use of his identifier (card, PIN or

both when Card and PIN option is active).

Examples

Example 1: Rearming the reader by presenting a TOGGLE user card

• Read your TOGGLE user card

• Once accepted the reader grants you access (assuming that access is not disabled by

option Access disabled when reader armed) and LED SYSTEM starts blinking

• When LED SYSTEM is blinking, once again present your TOGGLE card

• Reader will change its arming state and the LED STATUS will change its color

Example 2: Rearming the reader by entering a TOGGLE user PIN code

• Key in the TOGGLE user PIN code, use [#] key to mark the end of a PIN

• Once accepted the reader grants you access and its LED SYSTEM starts blinking

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 16 from 59

• When LED SYSTEM is blinking, once again enroll your TOGGLE user PIN code

• Reader will change its arming state and LED STATUS will change its color

Example 3: Rearming the reader by TOGGLE user when Card and PIN option is active

• Present your TOGGLE user card, LED OPEN starts blinking which means that reader

waits for TOGGLE PIN

• Enroll your TOGGLE user PIN

• Once accepted, reader will grant you access (assuming that access is not disabled by option

Access disabled when reader armed) and LED SYSTEM starts blinking

• When LED SYSTEM is blinking, once again present your TOGGLE card or enter you

TOGGLE PIN

• Reader will change arming mode and LED STATUS will change its color

Arming/disarming by input

With input programmed to option [24]: Arming/Disarming Key Switch the current arming

mode of the reader is solely controlled by the electrical state on this input. When line is open (not

triggered) reader is forced to Armed mode, when closed (triggered) reader switches to Disarmed

mode and remains in this state as long as line is active.

When reader’s arming mode is controlled through input [24] the usage of TOGGLE and TOGGLE

LTD card/PIN is modified. In this case using TOGGLE/TOGGLE LTD card/PIN changes temporary

(for approx. 8 sec.) current reader’s arming mode. If during this period the signal connected to

input [24] will change its state (what would mean that controlled alarm system changed its arming

mode as well) then the reader will remain in this new arming mode. In opposite, when during this

limited 8 sec. period the input [24] will not change its state (what would mean that the alarm

system did not changed its arming mode) reader will restore previous arming mode.

Note: When reader’s arming mode is controlled through input [24] the condition of the input [23]:

Arming Disabled (if programmed) is limited to disable the use of TOGGLE/TOGLLE LTD user

card/PIN and doesn’t affect process of arming and disarming.

Using reader for arming/disarming of the alarm system

There are several scenarios which can be used for integration between alarm system and the

reader. Below, you will find the most complex way for integration between alarm system and the

reader.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 17 from 59

When using proposed configuration the current arming mode of the reader is controlled by the

alarm system (output line from alarm system controls reader’s arming state), as a result reader

always operates in the same arming mode as alarm system. Using TOGGLE or TOGGLE LTD

card/PIN users can “request” the reader (and thus the alarm system as well) to change its current

arming mode. Once the TOGGLE/TOGGLE LTD user changed temporary arming mode, reader waits

approx. 8s for the alarm system to follow this change, if not reader restores previous arming mode

however if alarm system will change its arming mode then reader will stay in this new arming

mode as well. There are following benefits for this scenario:

• Whenever alarm system changes it arming mode reader follows this change

• The actual arming mode of the alarm system is presented on the reader’s LED STATUS

• TOGGLE/ TOGGLE LTD users can change arming mode of the reader and the connected

alarm system

• Alarm system can be controlled simultaneously from system keypads and from the reader

(using the reader doesn’t collide with alarm system keypads)

In order to implement this scenario alarm system should provide following signal lines:

• Latched output which indicates current arming mode of the alarm system (zone)

• Momentary input which when triggered requests change of current arming mode of the

alarm system (zone)

• Latched output which indicates whether the alarm system (zone) is ready for arming or not

The output line which indicates that alarm system is ready for arming is not necessary and can be

omitted, however when connected to reader’s input [23]: Arming Disabled it will make that

every attempt to arm the reader by TOGGLE/TOGGLE LTD users will be immediately rejected by

the reader (reader will generate error sound and will not change its arming mode, even for

temporary time).

Note: In some cases it can be essential to hide current arming state of the alarm system or reader

therefore it is possible to use function which will conceal arming mode displayed by the reader (see

option: LED STATUS Masking later in this document).

5.5. DOOR BELL FUNCTION

By default the [F1]: Door Bell or [F2]: Light Bulb keys operate as door bell buttons. When

pressed they produce continues sound generated by the internal buzzer and optionally can trigger

the [47]: Door Bell output (if programmed). Both indications last for 5 seconds and ceases

automatically even when the key is still pressed. The door bell indication can be trigged either from

primary or secondary reader. Also, the door bell can be triggered through the separate press of [#]

key. This method is especially useful when F1 and F2 keys were programmed to other control

function or doesn’t exist on the particular device.

Note: The momentary press of [#] key which occur after entering PIN code doesn’t produce door

bell indication. Only separate, individual press of [#] key triggers door bell signaling.

5.6. FUNCTION KEYS

As mentioned above, by default, in standalone mode (no matter Full or Simple Standalone

Mode) pressing the F1 or F2 key results in door bell signaling however this rule will be alternated if

you program any output to one from following options: [48], [49], [50] or [51].

If you program any output to option [48]: AUX1 Momentary or [50]: AUX1 Toggle then

pressing of the F1 key will no longer trigger door bell but instead of this it will use to control

corresponding output(s).

If you program any output to option [49]: AUX2 Momentary or [51]: AUX2 Toggle then

pressing of the F2 key will no longer trigger door bell but instead of this it will use to control

corresponding output(s).

Note: No matter if you press function key on primary or secondary reader system will react in the

same way.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 18 from 59

5.7. DOOR ALARM

The Door Alarm is a compound state which consists of one or more situations which are related to

controlled door passage:

• Forced Entry

• Prealarm

• Door Ajar

The Door Alarm state can be signaled over the dedicated output [46]: Door Alarm and

optionally on the internal buzzer (option: Door Alarm indication on internal buzzer). For

indication of each particular type of alarm reader uses different signal modulation.

Note: The Forced Entry and Door Ajar alarms can occur only if the reader operates with a door

open sensor ([21]: Door Contact input must be present).

5.8. TAMPER ALARM

This alarm is dedicated to indicate that reader’s case is open or reader is detached from the place

of installation. Tamper Alarm can arise either in armed or disarmed mode and is caused by active

state on [26]: Tamper input. Once this alarm emerges reader starts counting Tamper Timer and

activates outputs: [55]: Tamper Alarm and/or [57]: General Alarm (if programmed). During

time period when Tamper Timer counts down reader disables [26]: Tamper input thus

protecting the reader from multiply tamper alarms. The Tamper Alarm ceases automatically when

Tamper Timer reaches the end or reader changes its arming mode.

5.9. INTRUDER ALARM

This alarm is dedicated to indicate that some intruder is penetrating area protected with sensor

connected to reader’s input [27]: Intruder or door was opened in unauthorized method (Forced

Door Alarm

Event Priority Output modulation method Alarm situation

Forced

Entry

High Sequence:

Active - 4 sec., Pause - 4 sec.

A door was open in

unauthorized method. This

state can be cleared by

entering any valid identifier or

disappears automatically after

3 minutes.

Prealarm Medium Sequence:

Active - 1 sec., Pause - 1 sec.

Detection of five consecutive

usage of unknown card/PIN

made within 5 minutes.

Entering valid card/PIN clears

fault attempt counter. During

Prealarm state reader

disables reading of cards and

PIN-s thus blocking the users’

identification for 5 minutes.

Door Ajar Low Sequence:

Active - 1 sec., Pause - 1 sec., Active -

1 sec., Pause - 5 sec.

Door not closed within Door

Open Timeout. This state

can be cleared by entering

any valid identifier or

disappears automatically after

3 minutes. Also, closing door

immediately clears this alarm.

Note: Modulation methods are used for both, the output line and for internal buzzer as well (if

configured for alarm indication).

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 19 from 59

Entry). The Intruder Alarm can arise in armed mode only. Once this alarm emerges reader starts

counting Intruder Timer and activates outputs: [56]: Intruder Alarm and/or [57]: General

Alarm (if programmed). During time when Intruder Timer counts down reader disables [27]:

Intruder input thus protecting the reader from multiply intruder alarms. This alarm ceases

automatically when Intruder Timer reaches the end or reader changes its arming mode.

5.10. DURESS ALARM

Reader can be configured to recognize and signal enroll of the PIN code under duress. When option

Duress Alarm is enabled reader will treat PIN code as under duress when the last digit of the

entered PIN code differs by +/- 1 from the original one. The Duress Alarm can be indicated on the

output line ([60]: Duress Alarm) while the signaling time can be adjusted by Duress Alarm

Timer. This alarm ceases automatically when Duress Timer reaches the end or reader changes its

arming mode.

5.11. GENERAL ALARM

This alarm is a sum of two separate alarms: Tamper Alarm and Intruder Alarm and is triggered

whenever one of them arise. General Alarm can be indicated on the output line ([57]: General

Alarm) while the signaling time can be adjusted by General Alarm Timer. This alarm ceases

automatically when General Alarm Timer reaches the end or reader changes its arming mode.

5.12. EVENTS RECORDING

Reader is capable to record several types of events with time stamp. Events are stored in cyclic

(FIFO) buffer – when entire event memory is occupied reader removes oldest events to releases

space for the new ones to come. Totally, reader can record up to 1000 events.

List of events

Code Event Name Description

100 Access granted Access for the user (ID + name) has been granted

101 Access granted – Facility

Code

Access has been granted for card with valid Facility

Code

102 Access denied Access for the user (ID + name) has been denied

103 Access denied – Facility

Code

Access has been denied for card with valid Facility

Code

200 Reader armed Reader has been switched to Armed mode by user (ID

+ name)

201 Reader disarmed Reader has been switched to Disarmed mode by user

(ID + name)

104 Door unlocked Door lock has been unlocked

105 Door relocked Door lock has been re-locked

106 Door open Door has been opened

107 Door closed Door has been closed

108 Exit button Input [22]: Exit Button has been triggered

202 Arming disabled Arming has been disabled through input line [23]:

Arming Disabled

203 Arming enabled Arming has been re-enabled through input line [23]:

Arming Disabled

204 Arming by input Reader has been armed by input line [24]:

Arming/Disarming Key Switch

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 20 from 59

205 Disarming by input Reader has been disarmed by input line [24]:

Arming/Disarming Key Switch

006 Summer time Clock has been pushed backward by 1 hour

007 Winter time Clock has been pushed forward by 1 hour

109 Door bell Door bell indication triggered

300 Forced entry Door opened in unauthorized way

304 Door ajar Door open to long

301 Prealarm Five consecutive attempts to enter wrong PIN or card

within 5 minutes – Prealarm signaling started

112 Unknown card The unknown card has been entered (card code)

113 Unknown PIN The unknown PIN has been entered (PIN code)

003 User Programming Reader switched to User Programming mode

004 Installer Programming Reader switched to Installer Programming mode

005 Online mode Reader switched to online communication mode with PC

000 Reader restarted Reader passed through initialization procedure (the

same as during power on)

001 Clock cleared The internal clock of the reader has been cleared

002 Clock changed The internal clock of the reader has been programmed

302 Tamper Alarm Reader entered Tamper Alarm state

303 Intruder Alarm Reader entered Intruder Alarm state

305 Duress Alarm Reader entered Duress Alarm state

999 Unknown event Event code doesn’t fit any known event – error in data

5.13. REAL TIME CLOCK

The PRT-EM is equipped with Real Time Clock (RTC) predefined for 100 year. This clock is used to

append a time stamp to every event recorded by the reader. The RTC clock has not battery backup

so it resets to 2000-01-01 00:00 whenever power is off. When required, the RTC can be

configured to switch automatically to winter or summer time.

Note: Normally, when reader’s Real Time Clock is unset (or lost due to lack of power supply)

reader continues its operation however this can be changed. When option Real Time Clock

Control is active reader will stop its operation till moment when clock will be programmed again

(see Installer Programming, function [78].

5.14. TIMERS

Reader uses several timers, each timer is assigned to specific function and can be programmed in

seconds or minutes.

ID Timer Defaults Function

0 Door Unlock Time

(00-99 sec./min.)

4 sec. Defines time for which door lock will be released.

This timer controls following outputs: [41]: Door

Lock, [42]: Door Lock Exit, [43]: Door Lock

Entry.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 21 from 59

1 Door Open Timeout

(00-99 sec./min.)

12 sec. Determines time in which door should be closed.

Door Open Timer starts from the moment when

Door Lock Time has passed out.

2 AUX1

(00-99 sec./min.)

2 sec. Defines duration time for output [50]: AUX1

Momentary. Programming timer to 00s makes

that timer counts down for unlimited period till

moment when reader changes it arming mode.

3 AUX2

(00-99 sec./min.)

2 sec. Defines duration time for output [51]: AUX2

Momentary. Programming timer to 00s makes

that timer counts down for unlimited period till

moment when reader changes it arming mode.

4 Pulse on Arming

(01-99 sec./min.)

2 sec. Defines duration time for output [52]: Pulse on

Arming.

5 Pulse on Disarming

(01-99 sec./min.)

2 sec. Defines duration time for output [53]: Pulse on

Disarming.

6 Pulse on

Arming/disarming

(01-99 sec./min.)

2 sec. Defines duration time for output [54]: Pulse on

Arming/disarming output.

7 Tamper Alarm

(00-99 sec./min.)

60 min. Defines duration time for Tamper Alarm.

Programming timer to 00s makes that timer

counts down for unlimited period till moment

when reader changes it arming mode.

8 Intruder Alarm

(00-99 sec./min.)

60 min. Defines duration time for Intruder Alarm.

Programming timer to 00s makes that timer

counts down for unlimited period till moment

when reader changes it arming mode.

9 General Alarm

(00-99 sec./min.)

3 min. Defines duration time for General Alarm.

Programming timer to 00s makes that timer

counts down for unlimited period till moment

when reader changes it arming mode.

10 Duress Alarm

(00-99 sec./min.)

3 min. Defines duration time for Duress Alarm.

Programming timer to 00s makes that timer

counts down for unlimited period till moment

when reader changes it arming mode.

11 LED STATUS Masking

(01-99 sec./min.)

20 sec. Defines duration time for LED STATUS before it

will switch to neutral mode when it lights up in

red and green alternatively.

5.15. OPTICAL AND ACOUSTIC SIGNALS

LED Signals

LED

STATUS

LED

OPEN

LED

SYSTEM

Description

Green — — Reader is disarmed.

Red — — Reader is armed.

Red ON — Reader is in User Programming mode.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 22 from 59

Green ON — Reader is in Installer Programming mode.

— — Flashing During programming: reader is waiting for the user to

enter the next part of the command or programming

function.

Flashing During normal operation: reader is waiting for a TOGGLE

user to enter his identifier once again in order to change

reader’s arming mode.

— — Single

flash

A user identifier (Card or PIN) has been entered.

— ON — The door lock is activated, this LED remains on as long as

a door is unlocked.

— Flashing — Reader is waiting for the PIN (when Card and PIN mode

is valid).

ON Door is being unlocked (lock released).

— — ON When LED SYSTEM is lit and accompanied with short

beep periodically repeated it means that either

configuration memory is corrupted or MASTER and

INSTALLER identifiers are not programmed yet. In this

case reader must be totally reprogrammed.

When LED SYSTEM is lit and no sound is generated it

means that error in firmware was detected. To fix this

problem the proper firmware must be uploaded into the

reader.

Acoustic Signals

Signal Symbol Description

One long signal - Error - unknown identifier, access denied.

Three short

beeps

* * *

Command successfully completed (OK signal).

Two short beeps * *

Prompt signal, the reader is waiting for the next

part of the command to be entered. This signal is

intended to encourage the programmer to proceed

with next programming steps.

Long beep

continuously

repeated

- - - - - - … Reader has detected problem (either configuration

memory is corrupted and reader must be

reconfigured anew). This signal is accompanied by

the steady lit LED SYSTEM .

Legend: - long beep, * beep

5.16. OPERATION WITH XM-2 I/O EXTENSION MODULE

In Full Standalone Mode, reader requires connection with XM-2 I/O extension module. Each input

and output of the XM-2 can be programmed on the same basis as internal inputs and outputs of

the reader. The XM-2 should be connected to the reader’s CLK and DTA lines and must have

address set to ID=5. The maximum distance between the reader and XM-2 extension module is

limited to 150 m.

Note: The XM-2 module has two red LED-s which are intended to indicate triggering of

corresponding relay output (REL1 or REL2) and one green LED which lights continuously when

communication with host reader is working and blinking when broken.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 23 from 59

5.17. OPERATION WITH SECOND PRT SERIES READER

In Full Standalone Mode, the main PRT-EM reader can operate with second PRT series reader,

even when it works with another card standard (e.g. Mifare). The access system with two readers

using different card technologies can be used for installations with two card technologies. The

second PRT reader should be connected with main (primary) reader and configured for RACS

address ID=0. The pair of two readers can be used for two way door control or for programming

purpose when the main reader is not equipped with keypad. The maximum distance between

primary and secondary PRT reader is limited to 150 m.

Note: The LED-s and buzzer on secondary reader mimics (imitate) the LED-s/buzzer on primary

reader.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 24 from 59

6 . P R O G R A M M I N G

The PRT-EM can be programmed if following ways:

• From the PC

• From the keypad located on the main reader

• From the keypad located on the external (secondary) reader

• Through multiple reading of the so called Programming Card

Preparing the Reader for Terminal Mode

If the unit is dedicated for Terminal Mode (slave operation), the only one programming step

which is required is programming of the required operating mode. It can be done either manually

during Memory Reset or remotely from PC.

Preparing the Reader for Standalone Mode

If the unit is dedicated for Standalone Mode (autonomic operation), installer must perform four

programming steps:

1. Configuring the reader to either Full or Simple Standalone Mode and programming

MASTER and INSTALLER cards and/or PIN-s (Memory Reset)

2. Configuring the reader for specific installation scenario (Installer Programming)

3. Programming cards and PIN-s for the users (User Programming)

Alternatively, reader can be connected to PC and programmed entirely from the RARC program.

6.1. PROGRAMMING THE PRT-EM READERS WITHOUT KEYPAD

The PRT-EM readers which are not equipped with keypad can be programmed in three ways only:

• From PC

• By multiple readings of the so called Programming Card

• From the keypad located on the second (slave) reader

6.1.1. Programming Through Multiple Readings of the Programming Card

Though some PRT-EM readers are not equipped with keypad they can be programmed locally

according to the same programming functions as readers with keypad. The difference in

programming is so that instead of pressing certain keys (like you normally do when programming

readers with keypad) you must emulate key pressing by multiple readings of the so called

Programming Card. For example in order to emulate key [9] you must read Programming Card

9-times (simply present it to the reader and take it back 9-times) and then wait approx. 3 seconds

for the reader to generate a confirmation signal (two beeps) which will mean that series of card

readings were accepted as an equivalent of a single key press and the reader is now waiting for the

next step of the programming procedure.

Use following cards as Programming Cards:

• In the Installer Programming use INSTALLER card

• in the User Programming use MASTER card

• in the Memory Reset procedure use any proximity card

Key Emulation Method

[1]..[9] Read card [N]-times where [N] is equal to programmed digit

[0] Read Programming Card 10-times

[*] Read Programming Card 11-times

[#] Read Programming Card 12-times

Note: Each time you complete the sequence of multiple readings of the programming card

wait for the reader to generate confirmation signal (two beeps) which will confirm that

reader has accepted series of card readings as the equivalent of a single key press.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 25 from 59

Example: In order to enroll following programming sequence [*][1][0][ID][#] where ID=113 do

following:

1. [*]: Read 11-times programming card and then wait for two beeps

2. [1]: Read 1-time programming card and then wait for two beeps

3. [0]: Read 10-times programming card and then wait for two beeps

4. [1]: Read 1-time programming card and then wait for two beeps

5. [1]: Read 1-time programming card and then wait for two beeps

6. [3]: Read 3-times programming card and then wait for two beeps

7. [#]: Read 12-times programming card and then wait for two beeps

6.1.2. Programming From The External Reader

In this case the primary (main) reader must be first configured to Full Standalone Mode and then

the secondary reader must be connected to the programmed unit. Once two readers are connected

all programming procedures are made on keypad located on secondary (slave) reader. The

LED/buzzer signals occur simultaneously on both readers (primary and secondary).

Note: The primary reader should be configured for Full Standalone Mode while secondary reader

must be configured for RACS address ID=0 and connected via CLK and DTA lines to primary

reader (for details see wiring diagram for Full Standalone Mode). Also, both readers must have

the same supply minus. It is not required to disconnect the XM-2 module from system being

currently programmed.

6.2. MEMORY RESET

The Memory Reset is a procedure which erases entire contents of the reader’s memory (all cards,

all PIN-s including MASTER and INSTALLER users) and causes the reader restores the factoryshipped

default settings of configuration. Also, it enables of programming new reader’s operating

mode and MASTER and INSTALLERS identifiers as well (if required).

Memory Reset procedure:

1. Power down the unit (or place jumper on RST contacts).

2. Remove all connections from CLK, IN1 and RTS lines.

3. Make electrical bridge between CLK to IN1.

4. Restore power (or remove jumper from RST contacts), reader will generate continuous

beep.

5. While LED OPEN (green) is flashing and accompanied with continues sound

disconnect CLK from IN1, after this step reader’s memory is erased and filled with

default values.

6. Wait till LED SYSTEM will start flashing.

7. Enter three digits which will configure the reader for required operating mode, (with

every entered digit reader generates two beeps).

Note: If you select code 030 or 031 which will configure the reader for standalone mode, it will be

necessary to go to the next steps of Memory Reset procedure (steps: 8-12) but if you select any

other code which will configure the reader for any non-standalone mode reader will automatically

skip all remaining steps and will finish Memory Reset procedure and start normal operation.

8. Enter new MASTER PIN code (3-6 digits) followed by [#] key or skip this step and go to

the next one.

9. Present any card to the reader — this card will become a new MASTER card, eventually

(no matter if you have programmed MASTER PIN or not) you might skip this step by

pressing [#] and go to the next one.

10. Enter a new INSTALLER PIN code (3-6 digits) followed by [#] key or skip this step and

go to the next one.

11. Present another (second) card to the reader — this card will become a new INSTALLER

card, eventually (no matter if you have programmed INSTALLER PIN or not) you might

skip this step by pressing [#] and go to the next one.

12. Once the previous step is completed reader automatically ends the Memory Reset and

switches to normal operation.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 26 from 59

If you configure the reader for standalone operation mode but you don’t program MASTER PIN/card

you will not be able to enter User Programming. Also, if you configure the reader for standalone

operation mode but you don’t program INSTALLER PIN/card you will not be able to enter Installer

Programming.

Note: When in step 7 you will select code which doesn’t fit any available reader’s operating mode

or you stop entering any data for 20s reader will automatically leave the Memory Reset

procedure.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 27 from 59

7 . O P E R A T I N G M O D E S

The factory new reader is pre-configured for RACS address ID=0. In order to change operating

mode reader should be connected to PC or reprogrammed manually (Memory Reset).

Operating modes

Code Operating mode Description

000 Online mode: RACS address ID=0

Reader operates as a slave unit connected to the

host controller that requires RACS data transmission

format.

001 Online mode: RACS address ID=1

002 Online mode: RACS address ID=2

003 Online mode: RACS address ID=3

010

Online mode: RS232, every pressed

key transmitted separately

Reader is connected to the host through RS232

(9600,N,8,1) serial interface. Each key pressed is

transmitted separately as HEX BCD digit. Key coding

as below:

Card output format:

STX (02h) / Data (10 x hex digits coded ASCII) / CR

(0Dh) / LF (0Ah) /ETX (03h)

Key output format:

STX (02h) / Data (2 x hex digits coded ASCII) / CR

(0Dh) / LF (0Ah) / ETX (03h)

011

Online mode: RS232, PIN codes

transmitted as whole numbers

Reader is connected to the host through RS232

(9600,N,8,1) serial interface. Each key entry is

buffered, once the [#] key is pressed reader

transmits entire PIN code as a single number max 16

digits long. The [#] key is treated as the end of PIN

entry and not transmitted. Special keys [*], [F1] and

[F2] are transmitted in the same way as entire PINs.

Card output format:

STX (02h) / Data (10 x hex digits coded ASCII) / CR

(0Dh) / LF (0Ah) /ETX (03h)

PIN output format:

STX (02h) / Data (up to 16 hex digits coded ASCII) /

'#' / CR (0Dh) / LF (0Ah) / ETX (03h)

Special keys:

[*]: STX / 'A' / '#' / CR / LF / ETX

[F1]: STX / 'C' / '#' / CR / LF / ETX

[F2]: STX / 'D' / '#' / CR / LF / ETX

020

Online mode: Magstripe Reader operates as a slave unit connected to the

host controller which requires Magstripe data

transmission format, keys are not transmitted.

021

Online mode: Magstripe UNITEK Reader operates as a slave unit connected to a host

controller which requires Magstripe data

transmission, keys transmitted as single digits,

format is compatible with specification of UNITEK

controllers (with transmission of PIN-s).

030

Offline mode: Simple Standalone

Mode

Reader operates in standalone mode, the CLK and

DTA lines serve as ordinary I/O lines.

031

Offline mode: Full Standalone Mode Reader operates in standalone mode, the CLK and

DTA lines are used for communication with remote

XM-2 I/O and second (optional) PRT reader.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 28 from 59

040

Online mode: RS232 EPSO v2

protocol

Reader is connected to the host through RS232 serial

interface. The host exchanges data with the reader

using EPSO v2 protocol.

10x Online mode: 26 bit Wiegand

Reader operates as a slave unit connected to the

host controller that requires specific Wiegand data

transmission format.

11x Online mode: 34 bit Wiegand

12x Online mode: 42 bit Wiegand

13x Online mode: 66 bit Wiegand

14x

Online mode: 32 bit Wiegand

(no parity)

15x

Online mode: 32 bit Wiegand reverse

(from LSB to MSB, no parity)

Note: For Wiegand data formats the third digit of the operating mode code (marked by “x”) specifies the

method which reader employs when transmitting PIN-s or keys. For details regarding methods of PIN

transmission refer to table below.

PIN/keys transmission options

X Description Details

X=0

1-10 digits long PIN,

transmitted in BCD

format

Each key pressed is buffered in reader’s memory; with a press of a [#]

key reader transmits entire PIN code. The PIN code is transmitted as a

BCD coded number.

X=1

1-12 digits PIN,

transmitted in binary

format

Each key pressed is buffered in reader’s memory; with a press of a [#]

key reader transmits entire PIN code. The PIN code is transmitted as a

binary number.

X=2

Each key pressed is

transmitted separately

as 4-bit number plus

2 control bits

Each key pressed is immediately transmitted to the host controller as a

sequence of 6 bits (EXXXXP) where XXXX represents the code of the

pressed key supplemented by two control bits (E and P). The E

represents the even bit calculated from the first half of a transmitted

code where P represents the parity of a second half of the bit stream.

This format is compatible with HID 5355 series readers, option “with

parity”. Key coding as in Table B (below).

X=3

Each key pressed is

transmitted separately

as 4-bit number

Each key pressed is immediately transmitted to the host controller as a

sequence of 4 bits (XXXX) which represent the code of the pressed key,

no control bits added. This format is compatible with HID 5355 series

readers, option “without parity”. Key coding as in Table B (below).

X=4

Each key pressed is

transmitted separately

as 8-bit number with

parity

Each key pressed is immediately transmitted to the host controller as a

sequence of 10 bits (EXXXXXXXXP) where XXXXXXXX represents the

code of the pressed key supplemented by two control bits (E and P). The

E represents the even bit calculated from the first half of a transmitted

code where P represents the parity of a second half of the bit stream.

Key coding as in Table A (below).

X=5

Each key pressed is

transmitted separately

as a 8-bit number

without parity bits

Each key pressed is immediately transmitted to the host controller as a

sequence of 8 bits (XXXXXXXX) where XXXXXXXX represents the code of

the pressed key supplemented by two control bits (E and P). The E

represents the even bit calculated from the first half of a transmitted

code where P represents the parity of a second half of the bit stream.

Key coding as in Table A (below).

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 29 from 59

X=6

1-6 keys long PIN

transmitted as

Wiegand 26 bit stream

with control bits

1-6 keys long PIN, each key represented by 4-bit long codes (key codes

according to table B). Reader sends data after six keys are pressed or

earlier when # key is pressed. Reader wait max ca. 15 seconds for each

key press. Key’s buffer is cleared if no keys have not been entered

within ca. 15 seconds.

Examples:

Keys entered “1234#” – code transmitted “001234”

Keys entered “123456” – code transmitted “123456”

X=7

1-4 keys long PIN

transmitted as

Wiegand 32 bit stream

without control bits

1-4 keys long PIN, each key represented by 8-bit long codes (key codes

according to table A). Reader sends data after four keys are pressed or

earlier when # key is pressed. Reader wait max ca. 15 seconds for each

key press. Key’s buffer is cleared if no keys have not been entered

within ca. 15 seconds.

Examples:

Keys entered “123#” – code transmitted “0123”

Keys entered “123456” – code transmitted “123456”

Table A: 8-bit key coding

Key HEX BIN

0 F0 11110000

1 E1 11100001

2 D2 11010010

3 C3 11000011

4 B4 10110100

5 A5 10100101

6 96 10010110

7 87 10000111

8 78 01111000

9 69 01101001

* 5A 01011010

# 4B 01001011

F1 3C 00111100

F2 2D 00101101

Table B: 4-bit key coding

Key ASCI BIN

0 0 0000

1 1 0001

2 2 0010

3 3 0011

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 30 from 59

4 4 0100

5 5 0101

6 6 0110

7 7 0111

8 8 1000

9 9 1001

* A 1010

# B 1011

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 31 from 59

8 . I N S T A L L E R P R O G R A M M I N G

Use this mode to configure various functionalities of the PRT-EM reader. You enter this mode by

reading of your INSTALLER card or entering your INSTALLER PIN. Once in this mode the LED OPEN

(green) turns on and LED STATUS lights in green. The reader placed in this mode accepts

following programming commands:

[53][EF] – Programming Function for CLK/REL1, EF=11, 21..27, 41..64, default: EF=41

This EF digits define the function for CLK line (when reader is configured for Simple Standalone

Mode) or for REL1 output on XM-2 I/O module (when reader is configured for Full Standalone

Mode). The CLK line can operate as input or output while REL1 always works as output. For I/O

function codes see section Input/Output Functions.

Note: It is forbidden to program two or more inputs to the same function. This restriction is not

valid for outputs. Reader indicates error when attempting to program two inputs to the same

function.

[54][EF] – Programming function for DTA/REL2, EF=11, 21..27, 41..64, default: EF=44

This command sets the function for DTA line (when reader is configured for Simple Standalone

Mode) or for REL2 output on XM-2 I/O module (when reader is configured for Full Standalone

Mode). The DTA line can operate as input or output while REL2 always works as output.

[55][GH] – Programming function for IN1, GH=11, 21..27, default: GH=21

This command sets the function for IN1 input line located on the reader.

[56][GH] – Programming function for IN2, GH=11, 21..27, default: GH=11

This command sets the function for IN2 input line located on the reader.

[57][GH] – Programming function for IN1 on XM-2 expansion module,

GH=11, 21..27, default: GH=22

This command sets the function for IN1 input located on the remote XM-2 I/O module.

[58][GH] – Programming function for IN2 on XM-2 expansion module,

GH=11, 21..27, default GH=23

This command sets the function for IN2 input located on the remote XM-2 I/O module.

[59][J] – Programming Identification Mode for primary reader, J=0..1, default: J=0

This command sets the Identification Mode for the primary reader. Program J=0 for Card or

PIN mode or J=1 for Card and PIN mode.

[60][J] – Programming Identification Mode for secondary reader, J=0..1, default: J=0

This command sets the Identification Mode for the secondary (external) reader. Program J=0 for

Card or PIN mode or J=1 for Card and PIN mode.

[61][J] – Programming option “Door Alarm indication on internal buzzer”, J=0..1,

default: J=0

When J=0 reader will not signal Door Alarm on internal buzzer, when J=1 Door Alarm will be

signaled on output (if programmed) and buzzer as well.

[62][J] – Programming option “Access disabled when reader armed”, J=0..1, default:

J=0

When J=0 reader will grant access no matter if it is in armed or disarmed mode, setting J=1 will

make that access can be granted only in disarmed mode.

[63][S][KL] – Programming AUX1 Timer, S=0..1, KL=00..99, default: S=0, KL=02

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 32 from 59

The AUX1 Timer defines triggering time for AUX1 Momentary output. When S=0 and KL=00

output will be triggered for unlimited time - till moment when reader will change its arming mode

again. Program S=0 for seconds or S=1 for minutes. Setting S=1 and KL=00 is forbidden.

[64][S][KL] – Programming AUX2 Timer, S=0..1, KL=00..99, default: S=0, KL=02

The AUX2 Timer defines triggering time for AUX2 Momentary output. When S=0 and KL=00

output will be triggered for unlimited time - till moment when reader will change its arming mode

again. Program S=0 for seconds or S=1 for minutes. Setting S=1 and KL=00 is forbidden.

[65][J] – Programming option “Enable Card/PIN reading when in Prealarm”, J=0..1,

default: J=0

When J=0 option is cleared and reader will not read cards nor PIN-s when it is in Prealarm state,

when J=1 reader will allow to use cards/PIN-s during Prealarm state.

[66][J] – Programming option “Unlimited duration of Door Ajar alarm”, J=0..1, default:

J=0

Setting J=0 will make that Door Ajar alarm will be automatically cleared after 3 minutes or

immediately with valid card/PIN entered, setting J=1 will make that Door Ajar will last as long as

door will be open.

[67][EF] – Programming function for built-in REL1 output, EF=11, 41..64, default:

EF=46

This command sets the function for built-in REL1 output.

[68][S][KL] – Programming Tamper Timer, S=0..1, KL=00..99, default: S=1 KL=60

This timer defines duration time for Tamper Alarm. When S=0 and KL=00 alarm time will be

unlimited - till moment when reader changes its arming mode. Program S=0 for seconds or S=1

for minutes. Setting S=1 and KL=00 is forbidden.

[69][S][KL] – Programming Intruder Timer, S=0..1, KL=00..99, default: S=1 KL=60

This timer defines duration time for Intruder Alarm. When S=0 and KL=00 alarm time will be

unlimited - till moment when reader changes its arming mode. Program S=0 for seconds or S=1

for minutes. Setting S=1 and KL=00 is forbidden.

[70][S][KL] – Programming General Alarm Timer, S=0..1, KL=00..99, default: S=1 KL=

03

This timer defines duration time for General Alarm output. When S=0 and KL=00 alarm time will

be unlimited till moment when reader changes its arming mode. Program S=0 for seconds or S=1

for minutes. Setting S=1 and KL=00 is forbidden.

[71][S][KL] – Programming Door Unlock Time, S=0..1, KL=00..99, default: S=0 KL= 04

The KL digits define time (is seconds when S=0 or in minutes when S=1) for which the reader will

unlock a door when access will be granted. When S=0 and KL=00 reader unlocks a door for

unlimited time - till a moment when access is granted again. If reader operates with door open

sensor (input [21]: Door Contact) door is automatically re-locked when door sensor indicates

corresponding door is closed again regardless of fact the Door Unlock Time did not pass by.

Setting S=1 and KL=00 is forbidden.

[72][S][KL] – Programming Door Open Timeout, S=0..1, KL=00..99, default: S=0 KL=12

The KL digits define time (is seconds when S=0 or in minutes when S=1) for which door should be

closed otherwise Door Ajar alarm will arise. The Door Open Timeout starts immediately after

Door Unlock Time is passed by. If the reader operates without door contact sensor then Door

Open Timeout is ignored and has no effect on reader’s operation. Setting S=1 and KL=00 is

forbidden.

Note: Setting S=0 and KL=00 will set unlimited open time thus will disable indication of a Door

Ajar alarm.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 33 from 59

[73][S][KL] – Programming Duress Timer, S=0..1, KL=00..99, default: S=1 KL=03

This timer defines duration time for Duress Alarm. When S=0 and KL=00 alarm time will be

unlimited - till moment when reader changes its arming mode. Program S=0 for seconds or S=1

for minutes. Setting S=1 and KL=00 is forbidden.

[74][S][KL] – Programming LED STATUS Timer, S=0..1, KL=00..99, default: S=0 KL=00

This timer defines time for which LED STATUS will be active after since the moment when arming

mode was changed. Program S=0 for seconds or S=1 for minutes. Setting S=0 and KL=00 or S=1

and KL=00 is forbidden.

Note: This timer has been used only when LED STATUS Masking function is activated.

[75][L] – Programming keypad backlight level, L=0..5, default: L=3

The L digit defines keypad backlight level. Program: L=0 for 0% (backlight is off), L=1 for 20%,

L=2 for 40%, L=3 for 60%, L=4 for 80% or L=5 for 100% (maximum backlight).

[76][L] – Programming buzzer loudness level, L=0..5, default: L=3

The L digit defines buzzer loudness level. Program: L=0 for 0% (sound is off), L=1 for 20%, L=2

for 40%, L=3 for 60%, L=4 for 80% or L=5 for 100% (maximum sound).

[77][L] – Programming LED STATUS Masking function, L=0..1, default: L=0

When L=0 LED STATUS continuously indicates current arming mode of the unit. When L=1 LED

STATUS is normally in neutral mode (sequentially switches from green to red and vice verso

however whenever arming mode is changed or unit is restarted it lights up for time defined by LED

STATUS timer and then switches to neutral mode again.

Note: Use this function in case you want to keep secret current arming mode of the unit.

[78][L] – Programming Real Time Clock Control option, L=0..1, default: L=0

When L=0 reader continues normal operation even when reader’s clock is unset or lost. When L=1

reader stops its normal operation however user can use keypad to set clock and restore normal

reader operation.

Note: When option is active and clock is unset or lost, all LED-s are pulsing and reader stops its

normal operation. In order to restore normal operation set the clock either manually or from PC.

[79][D] – Programming Duress function, D=0..1, default: D=0

When D=0 reader will not either recognize nor signal enroll of PIN under duress. When D=1

entering a valid PIN code with last digit modified by +/-1 will be treated as under duress and will

cause signaling on output line (when programmed).

[80] [SSWW] – Programming Winter/Summer time change

SS: Day in March when time is changed from Winter to Summer (clock is moved from 2:00 to

3:00). Setting SS=00 deactivates automatic time change while programming SS=99 makes device

will change Winter/Summer time on last Sunday of March.

WW: Day in October when time is changed from Summer to Winter (clock is moved from 3:00 to

2:00). Setting WW=00 deactivates automatic time change while programming WW=99 makes

device will change time on last Sunday of October.

[81][ PIN][#][Card] – Programming new MASTER user

Programs PIN and card for MASTER user. Optionally, program [81][PIN][#][#] to omit card

programming or [81][Card] to omit PIN programming.

[82][PIN][#][Card] – Programming new INSTALLER PIN and/or card

Programs PIN and card for Installer user. Optionally, program [82][PIN][#][#] to omit card

programming or [82][Card] to omit PIN programming.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 34 from 59

[83][S][KL] – Programming “Pulse on Arming” timer, S=0..1, KL=01..99, default: S=1

KL=03

This timer defines duration time for pulse generated on [52] output. When S=0 and KL=00 pulse

time is unlimited and will last till moment when reader changes its arming mode. Program S=0 for

seconds or S=1 for minutes. Setting S=1 and KL=00 is forbidden.

[84][S][KL] – Programming “Pulse on Disarming” timer, S=0..1, KL=01..99, default: S=1

KL=03

This timer defines duration time for pulse generated on [53] output. When S=0 and KL=00 pulse

time is unlimited and will last till moment when reader changes its arming mode. Program S=0 for

seconds or S=1 for minutes. Setting S=1 and KL=00 is forbidden.

[85][S][KL] – Programming “Pulse on Arming/Disarming” timer, S=0..1, KL=01..99,

default: S=1 KL=03

This timer defines duration time for pulse generated on [54] output. When S=0 and KL=00 pulse

time is unlimited and will last till moment when reader changes its arming mode. Program S=0 for

seconds or S=1 for minutes. Setting S=1 and KL=00 is forbidden.

[#] - Exit from Installer Programming mode

Reader leaves Installer Programming mode and returns to normal operation (either Armed or

Disarmed) depending on the state it was before.

Note: If you don’t press any key within 3 min. reader will automatically leave the Installer

Programming mode.

8.1. INPUT/OUTPUT FUNCTIONS

Input/Output Functions

Code Name Description

11 Line Off Line is disabled and reader ignores electrical states on this

line.

21 Door Contact Input, when shorted with supply minus indicates that

controlled door is closed.

22 Exit Button Input, shorting this line with supply minus triggers [41]:

Door Lock and [42]: Exit Door Lock outputs (when

programmed) for time specified by Door Unlock Time. This

input doesn’t activate [43]: Entry Door Lock.

23 Arming Disabled Input, as long as line is shorted with supply minus reader

disables TOGGLE and TOGGLE LTD user from switching the

reader into Armed mode.

24 Arming/Disarming

Key Switch

Input, when line is shorted to supply minus reader switches

unconditionally to Disarmed mode, when line is open reader

returns and stay in Armed mode.

25 LED STATUS Input, when programmed it controls LED STATUS and this

LED no longer presents current arming mode of the reader.

When line is shorted to supply minus LED STATUS lights in

green, when open lights in red.

26 Tamper Input, normally closed, opening this input (no matter in

Armed mode or in Disarmed mode) will start Tamper

Alarm and General Alarm.

27 Intruder Input, normally closed to supply minus, opening this input

during Armed mode will start Intruder Alarm and General

Alarm.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 35 from 59

28 Buzzer Control Input, when shorted with supply minus activates buzzer.

29 LED OPEN Control Input, when shorted with supply minus activates LED OPEN.

41 Door Lock Output, whenever access is granted (no matter from primary

or secondary or through exit button), this output is triggered

for time specified by Door Unlock Time.

42 Exit Door Lock Output, triggered whenever access is granted from primary

(main) reader or by triggering of the [22]: Exit Button

input, once triggered it goes on for time specified by Door

Unlock Time. It is not activated when access is granted

from secondary reader. This output is dedicated for rotary

gates when two opening outputs (for clockwise and

anticlockwise movement) are necessary

43 Entry Door Lock Output, triggered whenever access is granted from secondary

(external) reader, this output goes on for time specified by

Door Unlock Time. It is not activated when access is

granted from primary reader or from exit button input. This

output is dedicated for rotary gates when two opening

outputs (for clockwise and anticlockwise movement) are

necessary.

44 Disarmed Mode Output, line remains active as long as reader is disarmed.

45 Armed Mode Output, line remains active as long as reader is armed.

46 Door Alarm Output, line is used to indicate Door Alarm and is modulated

according to detected type of alarm, when more than one

alarm exists output signals alarm with the highest priority.

47 Door Bell Output, signals door bell for approx. 5 seconds.

48 AUX1 Toggle Output, whenever F1 is pressed this output switches to

opposite state regardless of the setting of AUX1 Timer.

49 AUX2 Toggle Output, whenever F2 is pressed this output switches to

opposite state regardless of the setting of AUX2 Timer.

50 AUX1 Momentary Output, line is activated for predefined time when F1 key is

pressed. The activation time is specified by AUX1 Timer.

When AUX1 Timer is set to 00s output it activated for

unlimited time - till moment when reader changes its arming

mode again.

51 AUX2 Momentary Output, line is activated for predefined time when F2 key is

pressed. The activation time is specified by AUX2 Timer.

When AUX2 Timer is set to 00s output it activated for

unlimited time - till moment when reader changes its arming

mode again.

52 Pulse on Arming Output, line is activated for predefined time whenever reader

is switched to armed mode. Activation time is defined by

Pulse on Arming Timer.

53 Pulse on Disarming Output, line is activated for predefined time whenever reader

is switched to disarmed mode. Activation time is defined by

Pulse on Disarming Timer.

54 Pulse on Arming and

Disarming

Output, line is activated for predefined time whenever reader

changes its arming mode. Activation time is defined by Pulse

on Arming/Disarming Timer.

55 Tamper Alarm Output, line is triggered in the moment when Tamper Alarm

arise. Output remains active for time defined by Tamper

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 36 from 59

Timer however whenever reader changes its arming mode

this output is immediately cleared. When corresponding timer

is set to 00s output it activated for unlimited time - till

moment when reader changes its arming mode again.

56 Intruder Alarm Output, line is triggered in the moment when Intruder

Alarm arise. Output remains active for time defined by

Intruder Timer however whenever reader changes its

arming mode this output is immediately cleared. When

corresponding timer is set to 00s output it activated for

unlimited time - till moment when reader changes its arming

mode again.

57 General Alarm Output, line is triggered in the moment when Tamper Alarm

or Intruder Alarm arise. Output remain active for a time

defined by General Alarm Timer however whenever reader

changes its arming mode this output is immediately cleared.

When corresponding timer is set to 00s output it activated for

unlimited time - till moment when reader changes its arming

mode again.

58 Door Unlock Timeout Output, line is triggered in the moment when access is

granted and remains active for the entire time when door

lock is released (same as Door Unlock Time).

59 Door Open Timeout Output, line is active for the entire time when reader waits

for a door to become closed (same as Door Open Timeout).

60 Duress Alarm Output, line is triggered in the moment when Duress Alarm

arise. Output remains active for time defined by Duress

Alarm Timer however whenever reader changes its arming

mode this output is immediately cleared.

61 LED STATUS Timer Output, line is triggered in the moment when reader changes

its arming mode and remains active as long as LED STATUS

presents actual arming mode.

64 Door Lock Inverted Output, same as [41]: Door Lock but inverted (normally

this output is on, when triggered it goes off).

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 37 from 59

9 . U S E R P R O G R A M M I N G M O D E

Use the User Programming mode to manage users registered in the reader (add and delete cards

and PIN-s). To enter this mode let the reader read one time your MASTER card or enter your

MASTER PIN. When in User Programming mode, LED OPEN (green) is on and LED STATUS

lights in red.

In User Programming mode you have set of programming commands. When you begin to enter

any of them, LED SYSTEM starts flashing and it keeps flashing until this command has been

correctly completed. If reader receives no valid input (entries) for more than 20 sec. (between the

successive steps of the command sequence), it automatically ends the command sequence,

however it still remains in User Programming mode so that you may return to any user

programming command or you may press [#] to exit this programming mode, alternatively you

may wait ~3 min. for the reader to leave User Programming mode automatically.

Note: Each user ID index consists always of three digits to form ID numbers ranging 000–119. In

case you assign a new user the ID that is already occupied by some other user, this will remove

the older one from the memory.

9.1.1. User Programming Commands

Note: Any attempt to program an already registered card or PIN will be indicated as a

programming error.

[11][PIN][#] – Add NORMAL user with PIN

The new NORMAL user added with this function is stored in unoccupied (free) location of the

memory and his ID is unknown.

[12][Card 1][Card 2]...[Card N][#] – Add multiple NORMAL users with cards

The reader indicates each successful card reading with an acoustic prompt signal (two beep-s) for

the next one to follow. This function is ended automatically if no card is presented within 20 sec.

from the previous card presentation or you can end it earlier by pressing the [#] mark. The new

users added with this function are stored in unoccupied (free) location of the memory and their IDs

are unknown.

[13][ID][PIN][#][Card] – Add NORMAL user with ID, PIN and card

The new NORMAL user is registered in the memory at the location indicated by his ID number

(ID=000–119). Both, the entered PIN code and presented proximity card are assigned to

programmed user. When you want to program only PIN enter: [13][ID][PIN][#][#], when you

want to program only card enter: [13][ID][#][Card].

[14][PIN][#] – Add TOGGLE user with PIN

The new TOGGLE user added with this function is stored in unoccupied (free) location of the

memory and his ID is unknown.

[15][Card 1][Card 2]...[Card N][#] – Add multiple TOGGLE users with cards

The reader indicates each successful reading of the presented card with an acoustic prompt for the

next one to follow. This function will be ended automatically if no card is presented within 20 sec.

from the previous card presentation or you can end it manually by pressing [#]. Note, that the new

card users added with this function are stored in unoccupied (free) locations of the memory and

their IDs are unknown.

[16][ID][PIN][#][Card] – Add TOGGLE user with ID, PIN and card

The new TOGGLE user is registered in the memory at the location indicated by his ID number (ID =

000–119). Both, the entered PIN and card are assigned to him. When you want to program only

PIN enter: [16][ID][PIN][#][#], when you want to program only card enter: [16][ID][Card].

[17][PIN][#] – Add TOGGLE LTD user with PIN

The new TOGGLE LTD user is stored in a first unoccupied memory location with entered PIN, his ID

number is unknown.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 38 from 59

[18][Card 1][Card 2]...[Card N][#] – Add multiple TOGGLE LTD users with cards

The reader indicates each successful reading of the presented card with an acoustic prompt for the

next one to follow. This function will be ended automatically if no card is presented within 20 sec.

from the previous card presentation or you can end it manually by pressing [#]. Note, that the new

users added with this function are stored in unoccupied (free) locations of the memory and their

IDs are unknown.

[19][ID][PIN][#][Card] – Add TOGGLE LTD user with ID, PIN and card

The new TOGGLE LTD user is registered in the memory at the location indicated by ID number

(ID=000–119). Both, the entered PIN and the presented proximity card are assigned to him. When

you want to program only PIN enter: [19][ID][PIN][#][#], when you want to program only card

enter: [19][ID][Card].

[20] – Delete all users

Reader deletes all users (cards and PIN-s) so that all user IDs are released and can be

programmed anew. The MASTER and INSTALLER users are not deleted with this function.

[21][PIN][#] – Delete a PIN

The reader searches its memory for the entered PIN. Once successful it removes it from the

memory, the location previously occupied by this PIN is released. This command removes only PIN,

if the user had card he still can use it.

[22][Card] – Delete a card

The reader searches its memory for the presented card. Once successful it removes it from the

memory, the location previously occupied by this card is released. This command removes only

card, if the user had PIN he still can use it.

[23][ID] – Delete a user with given ID

A user with entered ID is deleted (both his card and his PIN are removed), a new user can be

programmed to use this ID index.

[24][YYMMDDhhmm] – Setting date and time

Where: YY – year (two last digits), MM – month (1-12), DD – day (1-31), hh – hour (00-23), mm –

minutes (00-59)

[#] – Exit from User Programming Mode

After exit from the User Programming mode reader returns to the either armed or disarmed mode

it was in earlier (before programming).

Programming Examples

Example 1: Add a new TOGGLE LTD user with a card; programming sequence: [1][8][Card][#] or

[1][8][Card][Wait ~20s or press [#]]

• Read your MASTER card

• The reader enters User Programming mode (LED OPEN is on and LED STATUS is

on and red)

• Press [1][8]

• LED SYSTEM starts flashing

• Present a card which you want assign for a new TOGGLE LTD user

• Press [#], command is completed

The reader has completed programming function, however, it has not left User Programming mode

so that now you may use your next desired programming command.

Example 2: Delete a user with ID=45; programming sequence: [2][3][0][4][5]

• Read your MASTER card

• The reader enters User Programming mode (LED OPEN is on and its LED STATUS

is on and red)

• Press [2][3]

• LED SYSTEM starts flashing

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 39 from 59

• Press [0]

• Press [4]

• Press [5]

• Press [#], command is completed

The user with ID=45 has been deleted, reader still remains in User Programming mode, so that

you may use your next desired programming command.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 40 from 59

1 0 . P R O G R A M M I N G F R O M P C

The PRT-EM can be fully programmed from the PC strait through ordinary COM port (RS232) or via

dedicated RUD-1 interface (USB port). In both cases the RARC program is required.

10.1. PROGRAMMING VIA RS232 COM PORT

In this scenario connection between programmed reader and PC requires four wires: GND, RXD,

TXD and RTS as presented on the drawing below however the programmed device must be

supplied from the external source of power. In order to start communication between RARC and

reader click on Connection/Connect… and follow instruction on the screen.

Note: For programming purpose CLK, DTA and RTS lines must be disconnected from

signals/devices they were earlier connected.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 41 from 59

10.2. PROGRAMMING VIA RUD-1 INTERFACE

In this scenario connection between programmed reader and the PC is made through dedicated

RUD-1 interface which is also used to supply programmed device (no extra source of power is

required). Once the reader is connected to PC start RARC program, select proper COM port, click

on Connection/Connect… button and follow instructions on the screen.

Note: RUD-1 interface can be used for both: reader programming and upgrade of its firmware.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 42 from 59

10.3. FIRMWARE UPGRADE

Although the factory new reader is programmed with the latest firmware version available, it can

be later upgraded with a newer one. Roger design team continuously develops functionality

enhancements for the products allowing new firmware versions to be released periodically (for

every new firmware version available check our www.roger.pl website). Our customers are kindly

advised to register at the website so that Roger can send information as soon as new firmware

versions will be ready for download.

Firmware can be uploaded to reader via ordinary RS232 COM port or RUD-1 (USB) interface. In

both cases RogerISP 4 program is required.

Note: Once the firmware upgrade is accomplished but programmed device doesn’t work at all it can

be that wrong firmware has been uploaded to device or upgrade wasn’t successful. In this case you

can try to upgrade firmware once again.

10.3.1. Firmware upgrade via RS232 COM port

• Connect reader to PC’s COM port as explained in section 10.1

• Power up the reader (device must be supplied from external source of power)

• Place jumper on FDM contacts

• Restart the reader (short RST contacts for while)

• Start RogerISP program and select COM port you have connected the reader

• Click on Erase command, RARC program will detect device type and select proper

communication protocol (you should see P89 series duplex, 19200 in the bottom of the

RogerISP program), finally old firmware will be erased

• In Firmware text window select file with the new firmware (file extension: HEX) then click

on Program

• Once the new firmware is uploaded, remove jumper from FDM contacts and restart the

reader (disconnect power for wile or short RST contacts for a moment)

• Re-configure the reader anew either manually or from PC

10.3.2. Firmware upgrade via RUD-1 interface

• Connect reader to RUD-1 interface as explained in section 10.2

• Place jumper on FDM contacts

• Start RogerISP program and select COM port with the RUD-1

• Click on Erase command, RARC program will detect device type and select proper

communication protocol (you should see P89 series duplex, 19200 in the bottom of the

RogerISP program), finally old firmware will be erased

• In Firmware text window select file with the new firmware (file extension: HEX) then click

on Program

• Once the new firmware is uploaded, remove jumper from FDM contacts and restart the

reader

• Re-configure the reader anew either manually or from PC

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 43 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 44 from 59

1 1 . I N S T A L L A T I O N G U I D E L I N E S

• Reader should be installed in such a way to assure physical access to the connection cable

and to the programming jumpers as well.

• Before the reader will be mounted in desired location we suggest to configure it for

requested operating mode and if required to program the MASTER and INSTALLER users.

• Any proximity EM type card can be programmed as MASTER or INSTALLER card,

manufacturer of the reader does not supply the unit with any cards.

• When lost or stolen a new MASTER and INSTALLER cards (PIN-s) can be reprogrammed to

the reader anew.

• When the reader has been set for Terminal Mode (online unit connected to the host

controller), programming of MASTER and INSTALLER users can be skipped.

• A new factory delivered unit is configured for RACS address ID=0.

• The PRT-EM reader should be mounted near the supervised door on a vertical piece of

supporting structure.

• Disconnect power supply before making any electrical connections.

• Be aware that when installing the reader directly on the metal type surface will reduce card

reading distance.

• For installations on a metal surface you can place a non-metallic 10 mm thick spacer (a

plastic/plaster plate etc.) between the reader and the supporting structure.

• For installations with two readers to be mounted on the opposite sides of the same wall and

aligned along the same geometrical axis, place a metal plate between them and make sure

none of two readers has direct contact with it (allow min. 10 mm space). Nevertheless the

reading distance will be reduced.

• For best results mount the proximity readers at least 0.5 m apart.

• When using separate power supply sources, short all power supply negatives (ground).

• Roger recommends grounding of the negative power supply lead (only at one point).

• With its relatively weak electromagnetic field generation, reader should not cause any

harmful interference to operation of other equipment. However, its card reading

performance can be affected by other interference generating devices, esp. radio waves

emitting equipment or CRT computer monitors.

• If card reading performance of the reader deteriorates (e.g. reduced reading range or

incorrect readings) consider reinstallation in a new location.

• Always connect a general purpose, silicon diode (e.g. 1N4007) in parallel to a door lock,

locate diode as close as possible to the lock.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 45 from 59

Pig-tail Cable Assignments (valid for readers without screw terminals)

Wire

Color

Label Standalone Modes (Offline Modes) Terminal Modes (Online Modes)

Simple

Standalone Mode

Full Standalone

Mode

Green CLK Configured as

input or output,

programmable

function

CLOCK

communication

line

DATA 0 line for Wiegand, CLOCK for

Magstripe and RACS, TXD for RS232

Brown DTA Configured as

input or output,

programmable

function

DATA

communication

line

DATA 1 line for Wiegand, DATA for

Magstripe and RACS, RXD for RS232

Yellow IN1 Input line, programmable function In Wiegand and Magstripe this line

controls LED OPEN . Line is active

when shorted to ground

Blue IN2 Input line, programmable function In Wiegand and Magstripe this line

controls internal sunder of the

reader. Line is active when shorted to

ground

Gray-Pink Relay

NC

Relay output 1.5A 24V DC/AC,

programmable function

Not used

Red-Blue Relay

COM

Pink Relay

NO

Violet RTS RTS line for RS232

Red +12V Supply input plus

Black GND Supply input minus, also reference ground for RS232

Grey TAMP Tamper switch contacts, normally closed, isolated, IP67, 24V/50mA. Contact

becomes open when unit is detached from the place of installation or upper part

White of enclosure is open.

Note: Some readers are delivered with screw terminals instead of pig-tail cable. For detailed

location of screw connectors see drawings later in this document.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 46 from 59

Technical Specification

Supply voltage 10-15 VDC

Current consumption

(average)

PRT12EM: 65mA

PRT12EM-BK: 45mA

PRT32EM: 65 mA

PRT42EM: 65 mA

PRT42EM-BK: 45mA

PRT62EM: 45mA

PRT64EM: 65mA

PRT64EM-VP: 85mA

PRT66EM: 45 mA

Reading distance PRT62EM: up to 12 cm, others: up to 15 cm

Note: Reading distance is defined for good quality proximity cards placed

in optimal position against the reader. For all PRT-EM readers except

PRT64EM-VP the optimal card position is in the front of the reader (card

surface parallel to front of the reader). For PRT64EM-VP the optimal

position for card reading is from the left and right side of the reader’s

enclosure.

Anti-sabotage protection

(Tamper)

NC contact, 50mA/24V, IP67

Proximity cards EM 125KHz (EM4100/4102 compatible)

Communication distance Between access controller and PRT reader: max. 150 m

Between main PRT reader and external PRT reader: max. 150 m

Between main PRT reader and XM-2 extension module: max. 150 m

Environmental class

(according to EN 50131-1)

PRT12EM/PRT12EM-BK: Class IV

PRT32EM: Class I

PRT42EM/PRT42EM-BK: Class I

PRT62EM: Class IV

PRT64EM/PRT64EM-VP: Class IV

PRT66EM: Class IV

Class IV, outdoor-general, temperature: -25°C- +60°C, relative

humidity: 10 to 95% (non condensing)

Class I, Indoor, temperature: +5°C- +40°C, relative humidity: 10 to

95% (non-condensing)

Dimensions H x W x D PRT12EM/PRT12EM-BK: 150.5 X 46 X 23 mm

PRT32EM: 105 X 105 X 31

PRT42EM/PRT42EM-BK: 151.5 X 45 X 20.5 mm

PRT62EM: 100 X 45 X 25 mm

PRT64EM/PRT64EM-VP: 115 X 80 X 35 mm

PRT66EM: 85 X 85 X 27 mm

Weight PRT12EM/PRT12EM-BK: 150g

PRT32EM: 140g

PRT42EM/PRT42EM-BK: 90g

PRT62EM: 100g

PRT64EM: 120g

PRT64EM-VP: 470g

PRT66EM: 120g

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 47 from 59

Approvals CE

Ordering Codes

PRT12EM Outdoor proximity reader with keypad, laser engraved long durability silicon

rubber keypad, two function keys, dark grey ABS enclosure, pig-tail cable

PRT12EM-BK The same as PRT12EM but without keypad

PRT32EM Indoor proximity reader with keypad, light grey top/dark grey bottom, reader can

be re-armed on the field to non-keypad version, ABS enclosure, screw terminals

PRT42EM Indoor proximity reader with plastic keypad, one function key, dark grey ABS

enclosure, screw terminals

PRT42EM-BK The same as PRT42EM but without keypad, one function key

PRT62EM Outdoor, miniature proximity reader without keypad, dark gray ABS enclosure,

pig-tail cable

PRT64EM Outdoor proximity reader with keypad, laser engraved long durability silicon

rubber keypad, two function keys, dark grey ABS enclosure, screw terminals, pigtail

cable as option

PRT64EM-VP Outdoor proximity reader with keypad, laser engraved long durability silicon

rubber keypad, two function keys, silver metal enclosure including key-tops, pigtail

cable

PRT66EM Outdoor proximity reader without keypad, dark gray ABS enclosure, screws

terminals, pig-tail cable as option

RM-2 Relay module with plastic box, two relays with single NO/NC contact 1.5A/24V

rated

RM-2-BRD RM-2 electronic module (board) only

XM-2 Input/output addressable extension module with plastic box, digital

communication with reader, two NO/NC inputs and two relay outputs, each relay

offers single NO/NC contact 1.5A/24V rated

XM-2 PCB XM-2 electronic module (board) only

PE-1 Plastic enclosure for XM-2/RM-2 modules

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 48 from 59

Product History

Electronic

module

Firmware Date Description

v1.0 fv1.20 11/12/07 The initial product version

v1.0 fv1.23 11/02/08 No change

v1.0 fv1.24 17/03/08 Time range for Door Unlock Time and Door Open

Timeout extended to 99 minutes. Programming functions

[51] and [52] removed and replaced by functions [71] and

[72]

v1.0 fv1.25 19/05/08 CLK line operation in Simple Standalone Mode corrected;

Door Bell indication on internal buzzer and output corrected

v1.0 Fv1.29

16/02/2010 Extended functions in standalone mode and EPSO protocol.

Adjustment of keypad backlight and buzzer loudness level

available.

v2.0 Fv 2.29 16/02/2010 Extended functions in standalone mode and EPSO protocol.

Adjustment of keypad backlight and buzzer loudness level

available.

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 49 from 59

User list

Reader name: Reader location:

ID Card code PIN Type User Name

None MASTER

None INSTALLER

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 50 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 51 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 52 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 53 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 54 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 55 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 56 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 57 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 58 from 59

PRT-EM Series Readers fv 1.29 and 2.29 Rev. F.doc 2010-05-10

Page 59 from 59

Contact

Roger sp.j.

82-400 Sztum

Gościszewo 59

Tel.: +48 55 272 0132

Fax: +48 55 272 0133

e-mail: biuro@roger.pl

Internet: www.roger.pl

The symbol of a crossed-through waste bin on wheels means that the product must be

disposed of at a separate collection point. This also applies to the product and all

accessories marked with this symbol. Products labeled as such must not be disposed of with

normal household waste, but should be taken to a collection point for recycling electrical

and electronic equipment. Recycling helps to reduce the consumption of raw materials, thus

protecting the environment.