1.	Program password	3

1.1	Program users	3

1.2	Data encoding key	3

2.	Main menu	3

3.	New configuration file	4

4.	Modules list	5

Icon description	5

Module list	5

Status bar	6

4.1	Module registration	6

4.2	Module settings	6

Access method from the keypad	6

Module functions and options	6

Functions and options related to the door	8

Functions and options related to the LCD keypad	8

Backlight	9

Inputs	9

Outputs	10

4.3	Set default	10

5.	Users access schedules	11

Icon description	11

List of weekly schedules	12

List of daily schedules	12

List of time slots	12

5.1	Creating the access schedule	12

5.2	Exceptional dates calendar	13

Icon description	13

Exception parameters	13

Exception priority	13

5.3	Exception details	13

Icon description	13

List of exceptional daily schedules	14

List of exceptional time slots	14

Dependence table	14

5.4	Creating exceptions	14

6.	Users	15

Icon description	15

User list	16

User data	16

Modules	17

6.1	Create users	17

6.2	Adding new users	17

6.3	User groups	18

Group parameters	19

6.4	Creating a user group	19

7.	Events	20

Event log	20

Status bar	20

7.1	User preview	20

7.2	Event filter	20

7.3	Setting event colors	22

7.4	Exporting events	22

7.5	Reports	22

8.	System settings	22

8.1	Information	22

8.2	Communication	22

8.3	Events	23

8.4	Information input	23

8.5	Other	23

# Program password

Access to the program is protected by a password. When running the program for the first time, you will get access on the basis of default password, which is already entered. The default password can be read then. It is recommended that the password of access to the program be changed after the first start. In order to do so, open the main menu of the program, enter the File menu and select Program access, and then Change password. To change login or add other users who will be authorized to use the program, enter the File menu and select Program access, and then Program users.

Note:	Entering three invalid passwords will terminate the program.

## Program users

The program makes it possible to create two types of program users:

the users with service rights, having access to all functions of the program

other users, authorized to view and export events

New users can be created by a service rights user. In order to create a user, enter the login, name and password, and indicate whether the user is to be granted service rights. The users who are only authorized to view events should be assigned a configuration file, which will be automatically downloaded after the user logging in to the program.

Confirm the changes by using the OK key.

## Data encoding key

The program user who has the service rights can enter an individual key for encoding the configuration file data.

Open the File menu, then select Program access and Data encoding key. A window will be displayed where you should enter the new key and then repeat it. When confirmed, the new encoding key will become the valid one. On an attempt to open the configuration file encoded with invalid key, a window will appear informing that it is necessary to enter a valid key for the file to be opened. After opening the configuration file, the previous encoding key will be replaced with the current one.

# Main menu

When you have logged into the program, the main menu icons are grayed out. Also most of the menu items are not available, except for File and Help. In order to make the whole menu and all icons available, you should either create a new configuration file (the New command, available in the File menu) or open the previously created configuration file (the Open command, available in the File menu).

1. Name of system / configuration file

2. Login / name of program user

3. Port through which communication is effected. Click your mouse on the button to enable/disable communication.

4. Signaling communication with the module(s).

5. Modules – click on the icon to open the Modules list window.

6. Access path to the configuration file on computer disk.

7. Schedules – click on the icon to open the Users access schedules window.

8. Users – click on the icon to open the Users window.

9. Events – click on the icon to open the Events from all of the system window.

10. Settings – click on the icon to open the System settings window.

11. Read – click on the icon to run the procedure of reading data from all modules.

12. Save – click on the icon to run the procedure of writing data to all modules.

# New configuration file

1. Enter the system name in this field. The configuration file will be saved under this name on the computer. The field must be filled.

2. In this field, you can give additional information on the system.

3. Enter the system identifier in this field. It can include up to 10 characters. You can enter digits from 0 to 9 and letters from A to F. The field must be filled.

4. Select the computer port through which communication with the module / modules will take place.

5. Click on the button with your mouse cursor to start the procedure of searching for modules connected to the indicated port of the computer.

6. Click your mouse on the button to create a new configuration file.

7. Click your mouse on the button to cancel the procedure of creating a new configuration file.

# Modules list

### Icon description

Add – click on the icon to add a new module to the module list. Define the new module address.

Find – click on the icon to start the procedure of finding modules connected to the computer port defined for the configuration file.

Remove – click on the icon to remove the previously selected module from the modules list.

Set time – click on the icon to synchronize the selected module clock with the computer clock.

Unblock – click on the icon to switch the door supervised by the controller module into the door unblocked (permanently unlocked) status. The icon description will then change into Control. The description will also change when the door is unblocked in any other way.

Control – click on the icon to switch the controller module supervised door, which is unblocked, into the normal working mode. The icon description will then change into Unblock. The description will also change when the door is switched into the normal working mode in any other way.

Set default – click on the icon to restore default settings in the module. This applies to all settings available in the Modules list window. The users list, access schedules and events log which were written to the module memory will be saved unchanged.

Module state – click on the icon to display the Module state window.

Events – click on the icon to display the Events from module window.

Read – click on the icon to start the procedure of reading data from a selected module.

Save – click on the icon to start the procedure of writing data to a selected module.

Comparison – the icon is displayed if differences in settings, user data or access schedules are found between the module and the configuration file. Click on the icon to open the Data comparison window.

### Module list

The list of modules is displayed on the left-hand side of the window. The icons at module description provide information on the connection / module status and on a data change.

Connection status:

- correct communication with the module

- loss of communication with the module

Module status :

blank field – everything OK

- unregistered module

- alarm

Data change:

blank field – no information on data change

- data change on the module side

- data change on the computer side

- data change both on the module and computer side

### Status bar

The following information is shown on the status bar:

- module time (if the time is displayed in red color, the module time is different from that shown by the computer clock)

- time of the last data write to /read from the module

- icon showing the AC supply status (for the ACCO-KP-PS module only)

- voltage across +12 V direct voltage terminals

## Module registration

Each new module must be registered so that the program can establish communication with it and, consequently, to enable reading and writing the data. To register a single module, use the Register module command, available in the Module menu. Provision is made for registering all modules by means of the Register all modules command, also available in the Module menu.

During registration, the System identifier (the same that was defined in the New configuration file window) is saved in the module. If a module which has a different identifier (was registered in another system) is added to the system, registration of such an identifier in the new system means deletion of all data and restoration of default settings.

Having registered the module, the program will automatically read data from it (this applies to the modules with factory settings and the modules having a consistent identifier of the system).

## Module settings

Name – you can enter the module name in this field. The same name will be saved in the configuration file. It will not be saved in the module.

Description – you can enter in this field an additional description of the module.

### Access method from the keypad

Define the basis on which access will be granted to the users:

- proximity card and code;

- proximity card or code;

- proximity card only;

- code only.

### Module functions and options

Presence control – terminal A / B – with the option enabled, the module checks presence of keypads and proximity card readers working as terminal A or B. The presence of keypads will be checked first, and only then the presence of proximity card readers. In practice, it may mean that after disconnecting the LCD keypad / keypad, the module will also report lack of the reader, despite the fact that the reader has never been connected to the module. Registering such an event does not mean erroneous operation of the module, but results from the assumed solutions which allow for a temporary connection of the LCD keypad for service purposes. If this option is disabled, the module will in no way report a missing terminal (the alarm will not be generated, the event will not be saved and the No terminal presence output will not be activated).

Anti-passback – the function enables control of the user passage direction. The user will not get access at the terminal A (entry terminal), if information has been saved to the module memory, that he has already unlocked and opened the door from that terminal, but at the same time no information has appeared about unlocking and opening the door from the terminal B (exit terminal). The situation is similar in case of the terminal B. Therefore, it is impossible to pass several times in the same direction: every entry through the door must be followed by an exit. The function requires that both terminal units be installed (none of the terminals can be substituted e.g. by the unlock button).

Note:	If the door status is not monitored, operation of the function is limited to registering the event (similarly as when the Anti-passback – event only option is enabled).

Anti-passback – event only – operation of the Anti-passback function can be limited to logging in the events memory the cases of user passing in the same direction. The user will be able to unlock the door from one terminal side any number of times.

Reset Anti-passback – it is possible to define the time at which the Anti-passback function will be reset, i.e. the users will be able to unlock the door by means of any terminal.

Anti-Scanner – when this option is enabled, 5 attempts to get access on the basis of an unknown card or code within 3 minutes will block the terminals for about 5 minutes. The user having access to the door can unblock the terminals before expiry of this time by holding the card in front of the reader for approx. 3 seconds.

Time pattern – if the modules are connected to the RS-485 bus, the clock of one of them can serve as the pattern for the other ones. It enables synchronization of the clocks in all modules. The option should be enabled for 1 module only.

AC loss report delay – this function applies to the ACCO-KP-PS modules. It makes it possible to define the time during which the module can do without the AC supply. After expiry of this time, a failure will be reported. The time is programmed in minutes and its maximum value is 255 minutes. Entering the value 0 means that the AC supply failure will not be reported.

Clock correction – the function enables the clock settings to be adjusted once every 24 hours (at midnight) by a defined time, if the module clock is inadequate. The correction time is programmed in seconds. The maximum correction can be ±15 seconds per 24 hours.

Summer time (DST) – the module can automatically adjust the clock settings due to the change from standard time to summer time (DST) and vice versa. The following correction schemes can be selected:

- no correction

- correction according to the European Union rules

- correction by 1 hour according to dates

- correction by 2 hours according to dates

Summer time begins – the function is available, if the module clock settings are to be corrected by 1 or 2 hours according to dates. It enables entering the date (day, month) when the module clock is changed to summer time (shifted forward).

Summer time ends – the function is available, if the module clock settings are to be corrected by 1 or 2 hours according to dates. It enables entering the date (day, month) when the module clock is changed to standard time (shifted back).

### Functions and options related to the door

Disable door status control – enabling this option is recommended if no information on the door status can reach the module (the status sensor has got damaged or, for some reason, has not been connected). This will prevent generating wrong events. When the option is enabled, unlocking the door is recognized as equivalent to opening the door. This means that unlocking the door from the terminal A side will generate the event informing about entry without door status control, and from the terminal B side – about exit without door status control. Some events are not generated (e.g. events informing about forced opening of the door, long open door, etc.).

When the Disable door status control option is enabled, the Work time log option is disabled. Correct execution of the Anti-passback function is also impossible, i.e. after it is enabled, the user can unlock the door from one terminal side any number of times. Additional information will only be registered when the door is opened again from the same terminal side (similarly as when the Anti-passback – event only option is enabled).

Note:	The Disable door status control option is to be only enabled in emergency situations, since it seriously affects functionality of the access control.

Relay off when door open – if this option is enabled, the relay controlling the door activation device will be switched off as soon as the door is opened.

Relay off when door closed – if this option is enabled, the relay controlling the door activation device will be switched off as soon as the open door is closed.

Notes:

If none of the options determining the moment of switching the relay off is enabled, the relay will only be switched off after expiry of the Access time.

In the following cases the relay will be switched off after expiry of the Access time, despite enabling one of the options which determine the moment of switching the relay off:

  - none of the inputs informs about the door status (the door status monitoring sensor has not been installed),

  - the Disable door status control option has been enabled,

  - the user has got access, but has not opened the door.

Unblocking start – the time when the door unblocking is enabled. Hour and minutes are to be programmed. Programming the value 99:99 in the LCD keypad will disable the function.

Unblocking end – the time when the door unblocking is disabled. Hour and minutes are to be programmed. Programming the value 99:99 in the LCD keypad will disable the function.

Blocking start - the time when the door blocking is enabled. Hour and minutes are to be programmed. Programming the value 99:99 in the LCD keypad will disable the function.

Blocking end - the time when the door blocking is disabled. Hour and minutes are to be programmed. Programming the value 99:99 in the LCD keypad will disable the function.

Access time - the time period for which the relay will change its status after access is granted, enabling the door to be opened. It can be programmed within the range of 1 to 60 seconds.

Door open time - the time during which the door can remain open after the relay is switched off. If the door stays open longer than for the specified time, the corresponding event will be generated. Additionally, the output programmed as Long open door will be activated. The time can be programmed within the range of 1 to 60 seconds.

### Functions and options related to the LCD keypad

Work time log - with this option enabled, the following message will be displayed after unlocking the door:

If the entry / exit is connected with business duties, the user should press the ( key. Suitable information will then be added to the event details. This information is useful, if the user passes registered by the door module are to help in determining the work time of the users.

Note:	The function will not be executed, if the door status is not controlled or the door is open.

Show user name on LCD - if the option is enabled, the name of the user who unlocked the door will be displayed on the LCD keypad.

Show user name on another LCD - if the option is enabled, the name of the user who unlocked the door will be displayed on the other LCD keypad.

LCD time display format - the function makes it possible to choose how the time and date will be displayed on the keypad screen.

### Backlight

The rules of backlighting for the keys and display in keypads connected to the module can be specified. The following options are available:

- backlight off;

- automatic backlight (switched on by pressing any key or presenting the card);

- permanent backlight.

### Inputs

Provided on the module electronics board are 5 inputs which can be programmed as NO or NC and serve the following functions:

Door status control – control of the door status.

Note:	The door status control, i.e. connecting a sensor to the input programmed as Door status control is necessary for correct execution of all the functions of access control.

Unlock button – unlocks the door for the time programmed as Access time.

Door unblocking – permanently unlocks the door after control signal appears. The door will stay unlocked as long as the control signal is supplied to the input (unless another event occurs which will otherwise change the door status).

Door blocking – permanently locks the door after control signal appears. The door will stay locked as long as the control signal is supplied to the input (unless another event occurs which will otherwise change the door status).

Sluice configuration – status control of the second door, forming a sluice. Only one door can be open in the sluice configuration.

Fire – unblock door – permanently unlocks the door in case of fire. The door will stay unlocked until its status is changed by a user having the Switching authority. The time of supplying the signal onto the input has no effect on the door unblocking time.

Alarm – block door – permanently locks the door in case of alarm. The door will stay locked until its status is changed by a user having the Switching authority. The time of supplying the signal onto the input has no effect on the door blocking time.

Bell signal – activates the Bell signal type of outputs.

Information inputs 1÷4 – generates the pre-defined event. The function can be used e.g. to record working time.

It is necessary to determine the sensitivity for each input, i.e. the minimum time span during which the signal must appear at the input for the module to take the preset action. This time can be programmed within the range from 10 ms to 2.55 s.

### Outputs

The module electronics board includes two OC type outputs. In active state, the OC output is shorted to the common ground (with inversed polarization: isolated from the common ground).

The OC outputs can be configured as:

Door status – the output provides information on the current status of the door. It is activated with opening of the door and remains active until the door is closed. The output configured as Door status cannot perform other functions.

Open door – the output is activated for the programmed time period after opening the door.

Bell signal – the output becomes active for the programmed time period after signal is supplied to the input programmed as Bell signal. For the output configured as Bell signal, the Open door function can only be additionally activated.

Forced entry – the output becomes active for a programmed time period after unauthorized opening of the door (the door is locked).

Long open door – the input output becomes active for a programmed time period, if the door remains open after expiry of the Door open time.

No terminal presence – the output becomes active for a programmed time period, if no terminal (LCD keypad, keypad or proximity card reader) has been found during the test. The module controls presence of terminals only when corresponding options are enabled (Presence control - terminal A, Presence control - terminal B). If the options are not enabled, the output will be unable to execute the No terminal presence function.

5 invalid attempts – the output becomes active for a programmed time period, after 5 attempts to read an unregistered proximity card or enter an unknown code have taken place. The input is activated irrespective of whether the Anti-Scanner option is enabled or not.

AC supply failure – the output becomes active, if the time programmed as AC loss report delay has elapsed since the AC supply was lost by the ACCO-KP-PS module, and the supply has not been restored. The output remains active until the AC supply is restored.

Low battery – the output becomes active, if the voltage of battery connected to the ACCO-KP-PS module drops below 11 V for a period of time longer than 12 minutes (3 battery tests). The output remains active until the battery voltage rises above 11 V for a period of time longer than 12 minutes (3 battery tests).

Note:	For the output to be able to execute the Door status, Open door, Forced entry and Long open door type of functions, one of the inputs must monitor the door status (Door status control).

In case of the outputs activated for a programmed time, you must define the operation time in seconds or minutes within the range of 1-120 seconds or 1-120 minutes.

## Set default

Click on the Set default icon to save the following settings in the module:

Inputs

Input 1: Door status control. NO type. Sensitivity: 50 ms.

Input 2: Unlock button. NO type. Sensitivity: 50 ms.

Input 3: Door unblocking. NO type. Sensitivity: 50 ms.

Input 4: Unused. NC type. Sensitivity: 50 ms.

Input 5: Unused. NC type. Sensitivity: 50 ms.

Outputs

Output 1: Forced entry. 5 invalid attempts. Operation time: 10 seconds.

Output 2: Long open door. No terminal presence. Operation time: 10 seconds.

Module options

All the module related options and functions are disabled.

Door

Access time: 5 seconds.

Door open time: 20 seconds.

Other functions and options are disabled.

LCD keypad

Time format displayed on LCD keypad: hh:mm

Other options are disabled.

Backlight A/B

Auto.

Access method

Card or code.

# Users access schedules

The access schedule is created on the basis of weekly schedules, daily schedules and time slots. Additionally, it is possible to define up to 60 days / exceptional periods which have global character. On holiday(s), some exceptional daily schedules, i.e. different rules of access to the door, may be valid. You must determine for each weekly schedule, which exceptional daily schedule is to be valid during the exceptional day / period. Unless an exceptional daily schedule is selected, the access rules defined in the weekly schedule will also hold good during the holiday(s).

### Icon description

Add – click on the icon to add a new schedule to the list of weekly schedules.

Remove – click on the icon to remove the previously selected schedule from the list of weekly schedules.

Note:	After removal of a weekly schedule which was assigned to a user or several users, "Access denied" will be automatically assigned instead.

Exceptions – click on the icon to open the Exceptional dates calendar window.

Details – click on the icon to open the Exceptions details window.

Read – click on the icon to start the procedure of reading access schedules from the module(s).

Save – click on the icon to start the procedure of writing access schedules to the module(s).

Add daily sch. – click on the icon to add a new schedule to the list of daily schedules.

Remove daily sch. – click on the icon to remove the previously selected schedule from the list of daily schedules.

Note:	After removal of a daily schedule which was assigned to a weekly schedule, "Access denied" will be automatically assigned instead.

Add slot – click on the icon to create a new time slot for the selected daily schedule.

Remove slot – click on the icon to remove the selected time slot.

Note:	If there is only 1 time slot in the daily schedule, the slot cannot be removed.

### List of weekly schedules

Weekly schedule - defines user's access to the door throughout the week. 2 schedules are factory-defined: Access (the user will always be able to unlock the door) and Access denied (the user will not be able to unlock the door). 254 weekly schedules can be created. Programming the weekly schedule consists in assigning a selected daily schedule to each day of the week.

Schedule name – facilitates identification of weekly schedules. The schedule name will be saved in the configuration file. It will not be saved in the module.

Weekdays – click your mouse in the weekday field to display the drop-down menu symbol. Click on the symbol in the drop-down menu to select a daily schedule which will be valid on the given weekday.

### List of daily schedules

Daily schedule - defines the user access to the door within 24 hours. 2 schedules are factory-defined: Access (the user will always be able to unlock the door) and Access denied (the user will not be able to unlock the door). Up to 254 daily schedules can be created, each daily schedule having at least one time slot. Programming the daily schedule consists in defining the time slot parameters. The daily schedule is graphically visualized. Presented in green color are time slots, i.e. the periods when the schedule enables the door to be unlocked.

Schedule name – facilitates identification of daily schedules. The schedule name will be saved in the configuration file. It will not be saved in the module.

### List of time slots

Time slot - a period of time within 24 hours, when the user has access to the door. Up to 256 time slots can be created. When programming, you must define from when (hour and minutes) to when (hour and minutes) the door is to be accessible to the user.

## Creating the access schedule

- Click with your mouse on the icon designated Add. A weekly schedule will be displayed in the window. By default, this schedule assumes full user access during all days of the week.

- Assign a name to the created schedule.

- Click with your mouse the icon designated Add daily sch. The daily schedule will be displayed in the list. At the same time, a time slot will be created for the schedule.

- Assign a name to the created schedule.

- Define the time slot parameters (from when to when the door is to be available to the user). If necessary, add further time slots by clicking on the icon designated Add slot.

- If necessary, create next daily schedules.

- Assign the daily schedules to the selected days of the week in the weekly schedule.

- Save the created access schedule to the module(s) by clicking on the Save icon.

## Exceptional dates calendar

A 2006 to 2099 calendar is available in the window. The calendar presents exceptional days / periods defined by the user.

Black bold font – dates of exceptions valid in the given year.

Black bold font against red background – date from which the exception selected from the list is valid.

Red bold font – dates of overlapping exceptions.

### Icon description

Add – click on the icon to create a new exception.

Remove – click on the icon to remove the previously selected exception.

Details – click on the icon to open the Exceptions details window.

### Exception parameters

Name – facilitates identification.

Apply this exception every year – if this option is selected, the exception will be automatically valid every year. The year selection fields will be unavailable for the exception.

One-day exception – if this option is selected, the exception will be valid on the first day of the year.

from / Exception day – the field description depends on the One-day exception option. If the option is selected, the field description is Exception day. Enter the day and month of the exception in the field. When the option is not selected, the field description is from. Enter the day and month of the exception in the field. Unless the Apply this exception every year option is selected, the year selection field for the exception / beginning of exception is additionally available.

to – the field in which you are to enter the day and month of the end of exception. The field is available when the One-day exception option is selected. Unless the Apply this exception every year option is selected, the year selection field for the end of exception is additionally available.

Apply – click on the button so that all the changes to the exception parameters can become effective.

### Exception priority

If the exceptions overlap, you can define which of them should have priority. The exceptions which are higher on the list have priority over those which are lower on the list. Priority can be defined by means of the arrow keys which make it possible to move the exception up and down on the list.

## Exception details

### Icon description

Add schedule – click on the icon to add a new schedule to the list of daily schedules.

Remove schedule – click on the icon to remove the previously selected schedule from the list of daily schedules.

Note:	After removal of a daily schedule which was assigned to an exception / a weekly schedule, "Access denied" will be automatically assigned instead.

Add slot – click on the icon to create a new exceptional time slot for the selected exceptional daily schedule.

Remove slot – click on the icon to remove the selected exceptional time slot.

Note:	If there is just 1 time slot in the exceptional daily schedule, it cannot be removed.

### List of exceptional daily schedules

Exceptional daily schedule - defines the user's access to the door within 24 hours when the exception is valid. 2 schedules are factory-defined: Access (the user will always be able to unlock the door) and Access denied (the user will not be able to unlock the door). Up to 128 exceptional daily schedules can be created, each of them having at least one exceptional time slot. Programming the exceptional daily schedule consists in defining the exceptional time slot parameters.

Schedule name – facilitates identification of the exceptional daily schedules. It will be saved in the configuration file. It will not be saved in the module.

### List of exceptional time slots

Exceptional time slot - a period of time within 24 hours, when the user has access to the door, if an exception is valid. Up to 128 time slots can be created. When programming, you must define from when (hour and minutes) to when (hour and minutes) the door is to be accessible to the user.

### Dependence table

The table makes it possible to define dependence between the weekly schedules, exceptions and exceptional daily schedules. The method of presenting these relations depends on the  button status.

If the button is not in depressed position, the weekly schedule name is displayed at top of the table. By clicking your mouse on the arrow keys, you can scroll through the list of weekly schedules. Displayed lower in the table is a list of defined exceptions (left-hand side) and exceptional daily schedules assigned to them (right-hand side). The exceptional daily schedule will be grayed out when no exceptional daily schedule is assigned to the given exception for the selected weekly schedule. Therefore, as long as the exception is valid, access will be granted according to the rules defined in the weekly schedule. This is a default setting for each new exception. Click your mouse on the exceptional daily schedule field, and then click the right mouse button to display the drop-down menu, from which you can select an exceptional daily schedule. It will be valid on the exceptional day / in the exceptional period for the given weekly schedule.

If the button is in depressed position, the exception name is displayed at top of the table. By clicking your mouse on the arrow keys, you can scroll through the list of exceptions. Displayed lower in the table is a list of defined weekly schedules (left-hand side) and exceptional daily schedules assigned to them (right-hand side). The exceptional daily schedule will be grayed out when no exceptional daily schedule is assigned to the given weekly schedule for the selected exception. Therefore, as long as the exception is valid, access will be granted according to the rules defined in the weekly schedule. This is a default setting for each new exception. Click your mouse on the exceptional daily schedule field, and then click the right mouse button to display the drop-down menu, from which you can select an exceptional daily schedule. It will be valid on the exceptional day / in the exceptional period for the given weekly schedule.

## Creating exceptions

- Click with your mouse on the icon designated Exceptions, available in the Users access schedules window. The Exceptional dates calendar window will open.

- Click with your mouse on the Add icon. The new exception will appear in the list.

- Assign a name to the created exception.

- Indicate whether the exception is to be applied every year, or not.

- Indicate whether the exception is to be valid on one day, or over a period of time.

- Depending on previously made selections, define the exception date, or the beginning and end of the exception.

- Click with your mouse on the Apply button to finish the procedure of defining the date / exceptional period.

- Click on the Details button. The Exceptions details window will open.

- Click with your mouse on the icon designated Add schedule. The exceptional daily schedule will be displayed in the list. At the same time, a time slot will be created for the schedule.

- Assign a name to the created schedule.

- Define the exceptional time slot parameters (from when to when the door is to be available to the user). If necessary, add further time slots by clicking on the icon designated Add slot.

- If necessary, create next exceptional daily schedules.

- For selected weekly schedules, assign the exceptional daily schedules to suitable exceptions (the list on the right-hand side of the window).

- Save the access schedule data to the module(s) by clicking with your mouse pointer on the Save icon in the Users access schedules window.

# Users

Registered in the module with factory settings is the user named "Administrator", ID number 00001, having the Administrator and Change code rights and using the code 12345.

Note:	The "Administrator" user's default code should be replaced by another one.

The user with ID number 00001 cannot be deleted from the module. His Administrator and Change code rights cannot be revoked either.

The maximum number of users supported by the ACCO system is 1024.

### Icon description

Add group – click on the icon to create a new group to which users can be assigned.

Remove group – click on the icon to remove the previously selected user group. The users assigned to this group will be moved to the category of users not assigned to groups.

Add user – click on the icon to open the Create users window.

Remove user – click on the icon to remove the previously selected user.

Search - after you click on the icon, a form will appear at the bottom of the window to allow you to find users, based on:

- name,

- ID number,

- proximity card (card read-in required),

- module in which data of these users are saved,

- account number.

At the same time, the Filter branch will appear on the left-hand side of the window, where the search results will be presented.

Read – click on the icon to start the procedure of reading user data from the module(s).

Save – click on the icon to start the procedure of writing user data to the module(s).

### User list

Several branches are available in the list, where the users are positioned according to the specified criteria.

Filter – this branch will appear after you click on the icon Search. Presented in the branch are users who meet the criteria defined in the filter form.

All – this branch contains the list of all users.

Not assigned to groups – this branch contains the list of users not assigned to groups.

Groups – this branch contains the list of user groups.

The user is presented on the list by means of his/her surname and last name, as well as the name. The name is shown in brackets. The color of data presented on the list provides additional information:

- black – the user data are saved in at least one module;

- red – the user data require to be saved to at least one module or deleted from at least one module;

- gray – the user data are not saved in any module.

### User data

Surname – the field allows you to enter the user surname (last name). The surname is not saved in the module(s). It will be stored in the configuration file.

First name – the field allows you to enter the user first name. The first name is not saved in the module(s). It will be stored in the configuration file.

Name – the field allows you to enter the user name. The name will be automatically created on entering the user surname and first name, however it can be defined independently. It can consist of up to 16 characters. It is saved in the module(s) and facilitates identification of the users. The field must be filled in.

User ID – the field displays the 5-digit identification number assigned automatically to the user during the procedure of adding a new user. The ID number is saved in the module(s).

Account no – the field allows you to enter the account number. The account number is not saved in the module(s). It will be stored in the configuration file.

Description – the field allows you to enter additional information related to the user. It will not be saved in the module(s). It will be stored in the configuration file.

Add [card] – the button is available when the user has no proximity card (passive transponder in the form of a proximity card, key fob, etc.). Click on the button to open the Read card window, where you can add a card to the user (by entering its number or reading it in from the reader). The card data will be saved in the module(s).

Remove [card] – the button is available when the user has a proximity card (passive transponder in the form of a proximity card, key fob, etc.). Click on the button to remove the card.

User code – the user can enter in this field a sequence of 4 to 12 digits which will grant him access to the door. The field will be filled in automatically, if this option was selected in the Create users window. The code is presented in the form of asterisks. In order to see the code, click your mouse on the  icon.

Necessity to change the access code – if this option is selected, the user using the LCD keypad will be informed of the necessity to change the code (by 2 short beeps, repeated three times, and a message displayed on the screen).

Add [photograph] – the button allows the user to be assigned a graphic file in the following formats: JPG, JPEG, BMP, ICO, EMF, WMF. Having clicked on the button, indicate the access path to the graphic file. The indicated access path will be stored in the configuration file.

Remove [photograph] – the button is available, if a graphic file has been assigned to the user. Having clicked on the button, the user will have no graphic file assigned to him.

### Modules

Group – this field makes it possible to select the group to which the user will be assigned. If the user is not assigned to any group, the Individual parameters information will be displayed in the field. Only this item is available, if no group has been created.

Address – address of the door controller module.

Current – if this field is selected, the user data will be saved in the chosen module. Saving the user data into the module is necessary, if the user is to have access to the door supervised by this module.

Name – name given to the module.

Schedule – click with your mouse on the field to display the drop-down menu symbol. When you click on the symbol, a list of all available weekly schedules will be displayed. Select one of them to specify the rules of user access to the door.

A – if this field is selected, the user will be granted the Administrator authority in the selected module. The user with the Administrator authority can add and remove users and configure the module settings in service mode.

P – if this field is selected, the user will be granted the Switching authority in the selected module. The user with the Switching authority can unblock and block the door.

K – if this field is selected, the user will be granted the Change code authority in the selected module.

Note:	Right-click your mouse on the bar with field descriptions to define identical settings for all modules.

## Create users

Users number – this field allows you to choose how many users are to be created.

Settings as – this field allows you to choose which settings are to serve as a pattern for new user(s). Such a pattern can be default settings, or settings of another user or a group of users. The new user will be granted the same rights and assigned to the same modules, and will obtain the same access schedules as in the pattern. In case of the default settings, it means the right to change the code, no assignment to the modules and an access schedule authorizing the user to always unlock the door.

Lack of code – if this field is selected, the new user(s) will be created without code.

User ID number – if this field is selected, the new user(s) will be created with a code, which is their ID number (5-digit code).

Random generate – if this field is selected, the new user(s) will be created with a random code. The code length, which is to be defined in the next field, can be from 4 to 12 digits.

## Adding new users

- Click with your mouse on the icon designated Add user. The Create users window will be displayed.

- Select the number of users, you want to create.

- Select settings for the new users. In case of the module(s) with factory settings, you can select the default settings or Administrator settings as a pattern. This feature enables new users to be created, based on the settings of already existing users and user groups. The user being created will be granted the same rights, will be assigned to the same modules and will get the same access schedules as in the pattern. In case of the default settings it means the right to change the code, no assignment to the modules and an access schedule authorizing the user to always unlock the door.

- Determine whether the user is to receive the code automatically. The code may be generated on the basis of user ID number (5-digit code) or randomly (number of digits in the code: from 4 to 12).

- Click with your mouse on the Apply button. The Create users window will close. The new user(s) will appear in the list in the Users window. The name of the users which are saved in any module and whose names have not been changed in the program will be displayed with black color. The name of the users whose settings are to be saved in the module(s) will be displayed in red. The name of the users who are not saved in any module will be displayed in gray.

- Enter the last name, first name and display name of the user (16 characters) in the User data tab. The display name will be created automatically after entering the user's last and first name, however it can be independent of them. The display name only is saved to the module. This name is displayed in brackets.

- If the user is also to use the card, click with your mouse on the Add button. The Read card window will open.

- Select the manner of adding the card: by entering the card number, or by reading the card on the reader connected to the ACCO-USB converter, or on any terminal unit connected to one of the system modules.

- Enter the number or read in the card.

- Click with your mouse on the Confirm button. The Read card window will close.

- Indicate whether the code assigned to the user by the Administrator needs to be changed (the user using the LCD keypad will be informed of the necessity to change the code).

- Optionally, add description, account number and photograph of the user.

- Click with your mouse on the Modules tab.

- Indicate the modules to which the user data are to be saved.

Note:	The user may only get access to the doors supervised by the modules to which his data have been saved. This access is defined in detail by means of the access schedules. The user has no access to the door, unless his data are saved to the module controlling this door.

- Select the access schedule for each door.

- Determine the user rights for each module.

- End the procedure of user adding by clicking on the Save icon.

## User groups

The ACCO-SOFT-LT program enables creating user groups which facilitates management of the users. The users belonging to a group have identical:

- rights,

- access schedules,

- list of doors, which they can unlock;

Note:	Only after a group is created and its parameters configured, the users can be assigned to it.

### Group parameters

Name – this field allows you to enter the name of a group of users. The user group name is not saved in the module(s). It will be stored in the configuration file.

Description – this field allows you to enter additional information related to the group of users. The information will not be saved in the module(s). It will be stored in the configuration file.

Address – address of the door controller module.

Current – if this field is selected, data of the users belonging to the group will be saved into the chosen module. Saving the user data to the module is necessary for the users to have access to the door supervised by the module.

Name – name given to the module.

Schedule – click your mouse on this field to display the drop-down menu symbol. When you click on the symbol, a list of all available weekly schedules will be displayed. Select one of them to specify the door access rules for the users belonging to the group.

A – if this field is selected, the users belonging to the group in selected module will be granted the Administrator authority. The users with Administrator authority can add and remove users, and configure the module settings in service mode.

P – if this field is selected, the users belonging to the group in selected module will be granted the Switching authority. The users with Switching authority can unblock and block the door.

K – if this field is selected, the users belonging to the group in selected module will be granted the Change code authority.

Note:	By right-clicking your mouse on the bar with field descriptions you can define identical settings for all modules.

## Creating a user group

- Click with your mouse on the icon designated Add group. The new group will appear in the list on the left-hand side of the Users window.

- Assign a name to the group.

- Indicate the modules to which the data of users belonging to the group are to be saved.

- Select an access schedule for each door.

- Define the user rights for each module.

- Having defined settings of the group, you can assign users to it. The users created earlier can be assigned to the group, e.g. by the "drag and drop" method. The newly created users will be assigned to a selected group, if exactly that group is selected in the Settings as field of the Create users window (see Adding new users).

Note:	If, when editing a user belonging to the group, one of the parameters defining the group (rights, weekly access schedule, available doors) is changed, the user will be removed from the group and transferred to the category of users not assigned to groups.

- Save the user data to the module(s) by clicking on the Save icon.

# Events

### Event log

Events are displayed successively from the latest (at the top) to the oldest (at the bottom). If you click your mouse twice on any event, the User preview window will open.

No. – order number. Each new event will appear in position with order number 1. Occurrence of successive events will move it to positions with higher numbers.

Date – the field shows the date of event occurrence.

Time – the field shows the hour and minutes of event occurrence.

Events – the field shows the event description.

User – if the event was user related, the user's name is displayed in the field.

Details – in case of multiple events, additional information related to the event is displayed in the field.

Module name – the field shows name of the module to which the event has been saved.

Address – the field shows address of the module to which the event has been saved.

Account no – if the event was user related, the account number assigned to the user is displayed in this field. If the account number is not assigned, the field will remain blank.

E – event code shown in hexadecimal form.

U – user ID number shown in hexadecimal form.

S – event detailed code shown in hexadecimal form.

### Status bar

Events readout – if this option is selected, the program will download events from the modules.

Tracking – if this option is selected, the event log displayed in the window will be automatically updated with new events.

Total events number – the number of events which can be viewed in the window.

Events to download – the number of events which are saved in the module memory, but have not been downloaded yet.

Event filter enabled / Event filter disabled – information on whether the window shows all events, or those selected on the basis of criteria defined in the Event filter window.

## User preview

If the event is related to the user, the window shows the user's photograph (provided he has been assigned a graphic file), as well as other user related information. If the Tracking option is enabled, the window contents will change automatically when a new event appears. Then it will show information related to the new event.

## Event filter

Select the module – the field enables selection of the module(s), the events from which are to be displayed.

User name – you can enter the user's name in this field. The window will show events related to that user.

User ID number – you can enter the user's ID number in this field. The window will show events related to the user having this ID number.

From date – if this field is selected and the date defined, the window will show events which occurred, beginning from that date.

To date – if this field is selected and the date defined, the window will show events which occurred up to and including that date.

Deselect all / Select all – click your mouse on the button to deselect / select all the fields at the event types below.

Invert selection – click your mouse on the field button at the event types below to deselect all the fields that were selected, and to select all the fields that were deselected.

Access granted – if this field is selected, the following events will be displayed in the window: Access granted - entry, Access granted - entry. Door status is not monitored, Access granted - exit, Access granted - exit. Door status is not monitored, Access granted and Access granted. Door status is not monitored.

Authorized passage after door unlocking by using a button – if this field is selected, the following events will be displayed in the window: Access granted and Access granted. Door status is not monitored.

Access granted. Door not opened – if this field is selected, the following events will be displayed in the window: Access granted - entry. Door not opened, Access granted - exit. Door not opened and Access granted. Door not opened.

Long open door – if this field is selected, the Long open door events will be displayed in the window.

Close too long open door – if this field is selected, the Close too long open door events will be displayed in the window.

Forced entry – if this field is selected, the Forced entry events will be displayed in the window.

Closing door after forced entry – if this field is selected, the Closing door after forced entry events will be displayed in the window.

Access denied – if this field is selected, all events related to the denial of access will be displayed in the window.

5 invalid attempts – if this field is selected, the following events will be displayed in the window: Access denied – entry. 5 invalid attempts, Access denied – exit. 5 invalid attempts, Access denied – entry. Anti-Scanner and Access denied – exit. Anti-Scanner.

Attempt to unlock out of schedule – if this field is selected, the window will show the events related to the denial of access, because of inconsistency with the access schedule.

Door unblocking start/end – if this field is selected, the window will show the following events: Start of door unblocking, End of door unblocking and Fire – unblock door.

Door blocking start/end – if this field is selected, the window will show the following events: Start of door blocking, End of door blocking and Alarm – block door.

Module tamper – if this field is selected, the window will show events related to the module tamper.

Service mode start/end – if this field is selected, the window will show the following events: Start of service mode and End of service mode.

Module configuration change – if this field is selected, the window will show the Module configuration change events.

Module restart – if this field is selected, the window will show events related to the module restart.

Clock – if this field is selected, the window will show events related to the module clock.

State of keypad/reader – if this field is selected, the window will show events related to the status of terminals (loss, tamper, restart).

Users data – if this field is selected, the window will show events related to the user parameters.

Information input triggered – if this field is selected, the window will show events generated after activation of the information input.

Bell signal – if this field is selected, the window will show the Bell signal events.

Event buffer information – if this field is selected, the window will show events related to module events memory buffer.

AC power supply state – if this field is selected, the window will show events related to the AC supply status.

Battery state – if this field is selected, the window will show events related to the battery status.

## Setting event colors

The window makes it possible to define colors for the specified type of events displayed in the Events window.

## Exporting events

The event history can be exported to a file in CSV format (text file separated by semicolons) or Excel format. After running the Export command and selecting the format, the program will display a window in which you are to indicate position of the file. Data currently presented in the Events window can be exported.

## Reports

The function enables reports to be generated on the basis of events currently displayed in the Events window.

# System settings

## Information

You can enter additional information related to the system in the description window. It shows the same information which was entered in the System description field, New configuration file window.

## Communication

System identifier – the field shows the identifier defined in the New configuration file window. The identifier can be changed.

Note:	Changing the identifier means that you have to re-register the modules.

RS232 port number – the field shows the computer port, through which communication with the module(s) is effected. The port was defined in the New configuration file window, but it can be changed.

## Events

Events readout – when this option is selected, the module will download events from the modules.

Number of lines in export files – this option allows you to determine the maximum number of lines in the exported file. When exporting events, several files can then be created.

Events auto-backup – after enabling this option, the program will be automatically archiving events. The archiving can take place every day, every week (on a selected weekday) or every month (on a selected day of month).

## Information input

In these fields, you can define a text which will be displayed in the event file after activating the information input.

## Other

Save only changes – if this option is enabled, only the changed data will be saved to the module(s), not all of them. Thus the data saving procedure can be shortened.