WARNINGS

The keypad should be installed by qualified personnel.

Read carefully this manual before proceeding to installation.

Changes, modifications or repairs not authorized by the manufacturer shall void your rights under the warranty.

The SATEL's goal is to continually upgrade the quality of its products, which may result in alterations of their technical specifications and firmware. The current information on the introduced modifications is available on our website.

Please visit us:

http://www.satel.eu

The declaration of conformity may be consulted at www.satel.eu/ce

The following symbols may be used in this manual:

-	note;

-	caution.

The INT-TSG keypad enables operating and programming the control panels of INTEGRA and INTEGRA Plus series with firmware version 1.12 or newer. For programming of keypad, the DloadX program version 1.11 or newer is required.

# Features

4.3" touch screen.

Intuitive icon-based menu.

Alarm system control by means of macro commands to start a number of different functions in the control panel.

Customizable status screen.

Display of slide show as a background of the status screen.

LEDs indicating the state of partitions and system.

Built-in reader of microSD memory cards.

Built-in sounder

2 programmable hardwired zones:

support for NO and NC type detectors, as well as roller shutter and vibration detectors;

support for Single EOL, Double EOL and Triple EOL configuration (Triple EOL when working with INTEGRA Plus control panels);

programming end-of-line resistor values.

Tamper contact reacting to the enclosure opening or detaching from the wall.

# Installation and hook-up

Disconnect power before making any electrical connections.

The INT-TSG keypad is designed for indoor installation. The place of installation should be readily accessible to the system users.

- Open the keypad enclosure (see Fig. 1).

- Place the enclosure base on the wall and mark the location of mounting holes. Be sure to take into account the tamper element mounting hole.

- Drill the holes for wall plugs (screw anchors).

- Pass the cables through the opening in the enclosure base.

- Using wall plugs (screw anchors) and screws, fasten the enclosure base to the wall.

- Connect the DTM, CKM and COM keypad terminals to the appropriate terminals of the control panel keypad bus (see Fig. 2). It is recommended that the unscreened straight-through cable be used for making the connection. If you use the twisted-pair type of cable, remember that CKM (clock) and DTM (data) signals must not be sent through one twisted-pair cable. The wires must be run in one cable. The length of cables must not exceed 300 m.

- Connect the wires to the terminals of additional zones, if any detectors are to be connected to them (the detectors are to be connected in the same way as to the control panel onboard zones)

- Connect power supply to the keypad (terminals +12V and COM). The power supply can be provided from the control panel mainboard, an expander with power supply unit installed in the system, or from an additional power supply unit.

- Place the front panel onto the catches, snap close the enclosure.

Fig. 1. Opening the enclosure.

## Description of terminals

+12V	-	power supply input.

COM	-	common ground.

DTM	-	data.

CKM	-	clock.

A RS485 B	-	unused terminals.

Z1, Z2	-	zones.

Fig. 2. Connection of the keypad to the control panel.

# Addressing

The keypad must have an individual address set in it:

from the 0 to 3 range, if it is connected to the INTEGRA 24 or INTEGRA 32 control panel;

from the 0 to 7 range, if it is connected to the INTEGRA 64, INTEGRA 128, INTEGRA 128-WRL, INTEGRA 64 Plus or INTEGRA 128 Plus control panel.

By default, address 0 is set in the keypad.

When started, only the control panel with factory default settings can provide support for all keypads connected to the bus, irrespective of the addresses set in them. In all other cases, the control panel will block operation of the keypads having identical addresses.

The address set in the keypad determines the numbers to be given to the keypad zones (see the Installer manual for INTEGRA or INTEGRA Plus control panels).

## Programming keypad address by means of service function

- Touch the  icon on the main screen. The "Advanced" screen will be displayed.

- Touch the  icon. The terminal will be displayed.

- Enter the service code (by default: 12345) and touch the  key. The user menu will be displayed.

- Touch the  key. The service mode will start up.

- Start the function Keypads addr. ((Structure (Hardware (Identification (Keypads addr.).

- The "This LCD address (n, 0-x)" message will appear on the displays of all keypads connected to the control panel (n – keypad address; 0-x – range of supported addresses).

- Touch the key with the digit corresponding to the address which is to be programmed on the keypad.

- To terminate the address change function, touch the  key. The function will be terminated automatically after 2 minutes from being started. Termination of the function is equivalent to restarting the keypad (the service mode menu will be displayed on the keypad with the lowest address).

## Programming address without entering the service mode

This method is useful when – due to repeating addresses – the keypad support has been disabled and entering the service mode is impossible.

- Turn off keypad power supply.

- Disconnect wires from the keypad terminals CKM and DTM.

- Short the keypad terminals CKM and DTM.

- Turn on keypad power supply. A message indicating the current address will appear on the display.

- Touch the key with the digit corresponding to the address which is to be programmed on the keypad.

- Turn off keypad power supply.

- Open the keypad terminals CKM and DTM.

- Connect wires, as required, to the keypad terminals CKM and DTM.

- Turn on keypad power supply.

# Keypad identification

The alarm system can only be programmed and operated from keypads that have been identified by the control panel. The keypad identification function should be executed at the first start-up of the control panel, and then each time when adding a new keypad or changing address in a keypad supported by the control panel. Disconnecting an identified keypad from the bus will trigger the tamper alarm.

The identification function can be run by using:

the keypad ((Service mode (Structure (Hardware (Identification (LCD keypads id.);

DloadX program ((”Structure” window (”Hardware” tab (”Keypads” item (”Keypads identification” button).

The procedure of entering the service mode by means of the INT-TSG keypad is described in section „Programming keypad address by means of service function” (p. 3).

# microSD memory card

On the microSD memory card:

the macro command icons are stored;

you can put photos which will be used for the slide show;

you should put the file with a new version of the keypad firmware, if the firmware is to be updated.

The keypad supports the microSD and microSDHC memory cards.

The microSD memory card should be purchased separately.

Inserting and removing the memory card requires opening of the keypad enclosure, so if the alarm system is working, remember to start the service mode.

## Inserting the microSD card

- Open the keypad enclosure (see: fig. 1).

- Insert the card into its slot (see Fig. 3) and push until it clicks into place. The card contacts should be directed toward the display.

- Close the keypad enclosure.

Fig. 3. Installing the microSD memory card.

## Removing the microSD card

- Open the keypad enclosure (see: fig. 1).

- Push the card to release it.

- Remove the card from its slot.

# Keypad configuration

Parameters and options of the INT-TSG keypad can be programmed by means of:

LCD keypad ((Service mode (Structure (Hardware (LCD keypads (Settings ([keypad name]);

DloadX program (("Structure" window ("Hardware" tab ("Keypads" item (keypad name).

The procedure of entering the service mode by means of the INT-TSG keypad is described in section „Programming keypad address by means of service function” (p. 3).

Creating the macro commands and configuring the status screen is only possible in the DloadX program.

## Keypad parameters and options

Shown in square brackets are the names used in keypads.

Name – individual name of the keypad (up to 16 characters).

Partitions managed by keypad [Partitions] – the partitions which can be armed/disarmed or alarm in which may be cleared from the keypad. These functions are available to the users having a suitable authority level and access to those partitions.

Using the service code you can operate all partitions, irrespective of which partitions are operated by the keypad.

Show alarms of partitions [Alarms] – the partitions, the alarm from which will be indicated on the keypad by  LED, sound, or a text message.

Show fire alarms of partitions [Fire alarms] – the partitions, the fire alarm from which will be indicated on the keypad by  LED, text message or a sound.

CHIME signal of zones [Chime zones] – list of the zones whose violation will generate a chime signal in the keypad.

Zone disabling CHIME [Chime bps. zone] – zone, which, if violated, will disable the CHIME feature for specified time.

Bypass time [Chime bps. time] – time during which the CHIME signal will be disabled after violation of the zone which disables the signaling (time is counted from the zone restore). If the value 0 is programmed, the signaling will not be disabled.

Quick Arm partitions [Quickarm part.] – partitions which will be armed in case of the quick arming, i.e. without user authorization.

Show entry delay of partitions [Entry time p.] – the partitions, for which counting the entry delay will be indicated by text appearing on the display.

Show exit delay of partitions [Exit time part.] – the partitions for which counting the exit delay will be indicated by text appearing on the display.

Date/Time format – the way the time and date are displayed on the keypad main screen and on the terminal.

LCD backlight – the display backlight type.

Alarm messages – you can define whether the keypad is to display text messages about alarms:

- in partitions [Part.al.msg.];

from zones [Zone al.msg.].

Alarms – you can define which alarms will be triggered from the keypad:

fire – touching the  icon (or the  key for the terminal) for approx. 3 seconds.

panic – touching the  icon (or the  key for the terminal) for approx. 3 seconds.

auxiliary [medical] – touching the  icon (or the  key for the terminal) for approx. 3 seconds.

3 wrong codes – entering invalid codes three times.

Silent PANIC alarm [Silent panic] – with this option enabled, touching the  icon (or the  key for the terminal) for approx. 3 seconds will trigger the silent panic alarm. Additionally, the silent panic alarm can be triggered by touching any part of the status screen for about 3 seconds.

Fig. 4. Keypad parameters and options in DloadX program.

Signaling entry delay [Entry time s.] – with this option enabled, the keypad will audibly signal the entry delay countdown.

Signaling exit delay [Exit time sig.] – with this option enabled, the keypad will audibly signal the exit delay countdown.

Signaling alarms [Alarm signal.] – with this option enabled, the keypad will signal the alarms audibly.

Key sounds – when this option is enabled, touching the keypad screen is confirmed by a beep.

Signaling troubles in partially arm [Trbl. in p.arm.] – with this option enabled, the keypad signals troubles by means of the  LED, if some of the operated partitions are armed (the troubles are not signaled if all partitions are armed).

Signal new trouble [New trbl. sign.] – with this option enabled, the keypad can audibly signal the occurrence of a new trouble (if the Trouble memory until review system option is enabled).

Show code entering [Show code ent.] – with this option enabled, entering the code is presented on the keypad display by asterisks.

Exit delay clearing enable [Fin. exit time.] – with this option enabled, the exit delay time in partitions with the Exit delay clearing option enabled can be shortened by means of:

macro command;

terminal (after pressing in turn the  and  keys).

Show violated zones [Zone violation] – with this option enabled, violating the CHIME signal triggering zone result additionally in the zone name being displayed.

Auto-Arm delay countdown signaling [Auto-arm delay] – with this option enabled, the auto-arm delay countdown in partition is signaled acoustically.

Show disarm messages [Show disarming] – if this option is enabled, the keypad will inform about disarming with a displayed message at all times. If the option is disabled – only in case of disarming from the given keypad.

Show arm messages [Show arm] – if this option is enabled, the keypad will inform about arming with a displayed message (irrespective of how the system was armed).

Quick control [Control (8#)] – if this option is enabled, the Outs control user function can be started without entering the user code:

after touching the  icon on the main screen, if no macro command is assigned to the group;

after touching the  icon on the main screen for about 3 seconds, if at least one macro command is assigned to the group;

from the terminal, after you touch in turn the  and  keys.

Keypad zones – for each of the keypad zones can be defined whether it will be used or not.

Auto-backlight – the backlight can go on optionally after a specific event in the system, e.g. starting the entry delay countdown in a selected partition, or violating a selected zone.

Tamper signaled in partition [Tamper in part.] – selection of the partition in which alarm will be signaled if the keypad tamper contact is opened or the keypad is disconnected from the control panel.

## Volume

Volume – volume level of the beeps generated on touching the screen.

Volume – chime – volume level of the beeps generated after zone violation (CHIME).

Volume – entry delay – volume level of the entry delay beeps.

Volume – exit delay – volume level of the exit delay beeps.

Volume – fire – volume level of the fire alarm beeps.

Volume – alarm – volume level of the burglary, panic and medical alarms beeps.

Fig. 5. „Volume/filter” tab, DloadX program.

## State inspections

Fig. 6. "State inspections” tab, DloadX program.

Inspection – you can select functions which will be available without using the code:

on the "System status" screen;

after touching for about 3 seconds of the corresponding key, designated with a digit in the case of the terminal.

Zone state [Zone characters] – you can define the symbols which will be used by the terminal to illustrate the state of zones.

Partition state [Part. characters] – you can define the symbols which will be used by the terminal to illustrate the state of partitions.

## User functions definition

Code+arrows – you can define which functions will be started on entering the code and touching the selected arrow key.

## Macro commands

The macro commands related data are stored in the keypad memory. Before you proceed to defining the macro commands, read out the data from the keypad ("Read" button), and, after the programming is completed, write them to the keypad ("Write" button). These data are not read and written after you click the  button in the program main menu.

If macro command icons are to be displayed on the keypad screen, a microSD card which contains icons must be inserted in the keypad memory card reader. In order to write the icons to the card, put it in the computer memory card reader (either built-in or connected to USB port), and then use the "Save icons on SD card" button in the DloadX program.

In the keypad with factory default settings, there are two macro commands defined which are assigned to the first group:

0# – quick full arming (the control panel will only execute the macro command after you define the partitions which are to be armed in the event of quick full arming – see Quick Arm partitions p. 6);

9# – exit delay clearing (the control panel will execute the macro command if reducing the exit delay time is allowed by the partition settings and the Exit delay clearing enable option is enabled in the keypad – see p. 8).

The "Reset" button in the DloadX program makes it possible to restore the keypad factory settings, i.e. those related to macro commands, status screen and EOL resistors (in the case of the keypads supported by the INTEGRA Plus control panels, the EOL resistor values are not programmed individually for keypad zones).

### Groups

The macro commands which are to be available for the keypad users must be assigned to one of the four groups. Up to 16 macro commands can be assigned to a group. Up to 6 macro command icons can be displayed on the keypad screen at the same time. The DloadX program presents groups of macro commands and macro commands assigned to them in a tree form.

Fig. 7. “Groups” tab, DloadX program.

Name – name of the macro command group which is displayed on the keypad screen under the icon (up to 8 characters). Do not enter the name if it is not to be displayed.

Icon – icon of a group of macro commands. In order to display the list of available icons, click the  button.

Macros available on the status screen – if this option is enabled, touching a corner of the status screen will display the macro commands assigned to the given group (upper left corner – 1st group of macro commands; upper right corner – 2nd group of macro commands; lower left corner – 3rd group of macro commands; lower right corner – 4th group of macro commands).

Add macro – the button is available after you click on a group of macro commands. It displays a list containing the names of defined macro commands. After you click on a name, the macro command will be added to the group.

Remove macro – the button is available after you click on any macro command. It removes that macro command from the group.

– the button is available after you click on any macro command. It moves down macro commands within the group.

– the button is available after you click on any macro command. It moves up macro commands within the group.

Save icons on SD card – the button enables icons to be written to the microSD memory card (all icons available in the DloadX program will be written). The microSD card must be inserted in the computer memory card reader (after clicking the button, indicate the card location).

### Definitions

Fig. 8. "Definitions” tab, DloadX program.

You can create and configure macro commands in the "Definitions" tab. The macro command is a sequence of actions, composed of single commands, which are to be done by the control panel when running the macro command.

New macro – clicking the button will create a new macro command, whose parameters are to be configured.

Remove macro – clicking the button will delete the currently selected macro command.

Name – individual name of the macro command (up to 8 characters ).

Code – the code which is to be used for authorization when executing commands contained in the macro command. For execution of such commands to be possible, the code must be granted a suitable authority level. It is presented as a string of asterisks.

If, when running a macro command, it turns out that the code is invalid (e.g. it has been changed in the meantime), the user will be able to enter the correct code. It will be automatically saved to the keypad memory (replacing the invalid one).

Authorization required – if this option is enabled, the macro command will only be run after user authorization by using a code. The code entered in the "Code" field will be ignored.

Disabled if armed – if this option is enabled, the macro command will not be available, when any of the partitions operated by the keypad is armed.

Autoexecute – if this option is enabled and the group contains just one macro command, the macro command will run immediately on touching the icon of macro command group (or the status screen corner, if the Macros available on the status screen option is enabled). If the Authorization required option is enabled, authorization with code will be necessary.

No confirmation messages – if this option is enabled, no messages will appear to inform you about execution of a command or an error after running a macro command (the screen from which the macro command was run will still be displayed).

Icon – the macro command icon. The list of available icons will be displayed after you click the  button. If the State follow output option is enabled, select 2 icons for the macro commands. One icon will be displayed when the output is inactive, and the other – when the output is active.

State follow output – if this option is enabled, the icon of macro command will change depending on the status of output whose number should be selected in the field on the right side. Select an output, the status of which depends on the actions taken by the control panel after running the macro command. Thus it will be possible to inform the user by means of macro command icons about, for example, the status of outputs controlled by using macro commands or the status of partitions which are armed by a macro command.

Show name – if this option is enabled, the macro command name will be displayed on the keypad below the icon.

Commands list – commands assigned to the currently highlighted macro command. The  and  buttons allow you to change the order of commands (moving the selected command up and down).

Add – after you click the button, the new command which is at the moment displayed in the "Command" field, will be added to the list of commands.

Change – click the button after you have modified any command in the command list (otherwise, the changes made will not be saved).

Delete – after you click the button, the selected command will be removed from the list.

Command – the control panel executed function which can be assigned to the macro command. The list of all available functions will be displayed after you click the  button. Depending on which function you choose:

Arming – select the partitions which are to be armed (double-click on the field designated by the partition number) and define the arming mode (next clicks on the field designated by the partition number; the digit inside the field has the following meaning: 0 - fully armed; 1 – fully armed+bypasses; 2 – armed without interior; 3 - armed without interior and without entry delay).

Disarming – select the partitions which are to be disarmed (double-click on the field designated by the partition number).

Alarm clearing – select the partitions in which alarm is to be cleared (double-click on the field designated by the partition number).

Bypass zones – select the zones which are to be inhibited (double-click on the field designated by the zone number).

Unbypass zones – select the zones which are to be unbypassed (double-click on the field designated by the zone number).

Outputs ON – select the outputs which are to be activated (double-click on the field designated by the output number).

Outputs OFF – select the outputs which are to be deactivated (double-click on the field designated by the output number).

Change outputs state – select the outputs whose status is to be changed (double-click on the field designated by the output number).

KNX telegram – program the following parameters of KNX telegram:

INT-KNX module – INT-KNX module which is to send the telegram.

Group address – the group address which will be inserted in the telegram.

Type – the telegram type.

Value – the value that will be inserted in the telegram (parameter available for some types of the telegram).

Priority – telegram priority (if two elements of the bus start transmitting simultaneously, the telegram with higher priority will be sent first).

Exit delay clearing (no additional parameters to configure).

Quick arm – select the arming mode which is to be activated.

The partitions must be controlled by user code.

The zones must not have the Bypass disabled option enabled.

The outputs must be the 24. MONO Switch, 25. BI Switch, 105. Shutter up, 106. Shutter down or Remote switch type (they need not be assigned to any group of outputs).

The keypad can be used to control the KNX system, if the INT-KNX module is connected to the control panel.

### Defining the macro commands

- Click the "Definitions" tab.

- Click the "New macro" button. A new macro command will appear in the list.

- Enter a name for the new macro command.

- If the macro command name is to be displayed on the keypad, enable the Show name option.

- If the macro command is to be run without entering the code by the user, enter the code with a suitable authority level.

- If running the macro command is to be each time preceded by user authorization, enable the Authorization required option.

- If the macro command is not to be available, when any of the partitions operated by the keypad is armed, enable the Disabled if armed option.

- If the macro command is to be run instantly on touching the icon of macro command group, enable the Autoexecute option (if so, only this single macro command is to be assigned to the group).

- If the confirmation messages are not to be displayed after running the macro command, enable the No confirmation messages option.

- Select the icon which will be used to present the macro command on the keypad (provided a microSD card is installed in the keypad) or leave the default icon.

- If the icon is to present the status of selected output:

  - enable the State follow output option;

  - indicate the output number;

  - select the icons which will illustrate inactive and active status of the output.

- Select from the list one of the commands to be executed by the new macro command.

- Program the command parameters as required.

- Click the "Add" button. A new command will appear in the list of commands assigned to the macro command. After clicking the command you can still make a correction of its parameters. After making the changes, click the "Change" button.

- If necessary, repeat the steps 12-14 to add next commands.

- Click the "Groups" tab”.

- Click the group to be edited.

- Enter the group name, if it is to be displayed on the keypad.

- Select the icon which will be used to present the group of macro commands on the keypad (provided a microSD card is installed in the keypad) or leave the default icon.

- Enable the Macros available on the status screen option, if the macro commands are to be displayed after touching a corner of the status screen.

- Click the "Add macro" button. Select the macro command to be added from the drop-down menu.

## Status screen

The status screen related data are stored in the keypad memory. Before you proceed to configuring the status screen, read out the data from the keypad ("Read" button), and, after the programming is completed, write them to the keypad ("Write" button). These data are not read and written after you click the  button in the program main menu.

Fig. 9. “Status screen” tab, DloadX program.

The status screen is displayed automatically after the keypad is idle for 60 seconds. This rule does not apply if the terminal is running. In such a case, the status screen may be displayed later or even will not be displayed at all (e.g. when the service menu is open). The following information can be displayed on the status screen:

partition status by means of symbols (select individual partitions whose status will be displayed),

zone status by means of symbols (select individual zones whose status will be displayed),

output status by means of symbols (select individual outputs whose status will be displayed),

temperature (indicate the control panel zone to which the temperature detector is assigned, and define whether the temperature is to be displayed in Celsius or Fahrenheit degrees),

date and time (particular elements, such as day, month, year, hour, minutes and seconds are to be configured individually),

keypad name,

zone status by means of messages (select individual zones whose status will be displayed, and define the content of messages for normal state and for violation, because only these two states are presented in the form of message),

output status by means of messages (select individual outputs whose status will be displayed, and define the content of messages for active and inactive output).

There are three font sizes available for use on the status screen. You can also define color of the font to be used.  Using the "drag and drop" method, you can easily select the place where the given information will be presented on the display.

### Slide show

You can use a slide show as a background of the status screen. The photos to be displayed should be stored on a microSD memory. Their size should not exceed 480 x 272 pixels. Only images in BMP format are supported. The Change picture every parameter defines how fast the images will be changed during the slide show. If the programmed time is 0, the images will not be changed (the first image saved on the microSD card will be displayed as the status screen wallpaper).

## End-of-line resistance

The resistance data are stored in the keypad. Before you proceed to programming the resistor values, read out the data from the keypad ("Read" button), and, after the programming is completed, write them to the keypad ("Write" button). These data are not read and written after you click the  button in the program main menu.

The value of EOL resistors is programmable. Depending on the control panel to which the keypad is connected:

INTEGRA: parameters of the EOL resistors should be defined for zones in a single keypad. Value of the resistors R1 and R2 is to be programmed (numbering of the resistors is shown in Fig 10). You can enter values from 500 ( to 15 k(. The total resistance (R1+R2) may not exceed 15 k(. For the R2 resistor, you can program value 0. In such a case, the value of resistors used in the Double EOL configuration must be equal to half the value programmed for the R1 resistor (the value of one resistor must not be less than 500 (). By default, the following values are programmed:

R1 = 1,1 k(;

R2 = 1,1 k(.

The resistor value for Single EOL configuration is the sum of R1 and R2 resistors.

INTEGRA Plus: parameters of the EOL resistors should be defined for the mainboard zones. The same parameters will be set automatically for the zones in keypads in which the value of EOL resistors is programmable. Therefore, the "EOL resistance value" tab is not available.

Fig. 10. Numbering of EOL resistors (same for the NO detector).
T – tamper. A – alarm. M – masking.

# Updating the keypad firmware

- Write the file with new version of firmware to a microSD card.

- Touch the  icon on the main screen. The "Advanced" screen will be displayed.

- Touch the  icon. The terminal will be displayed.

- Enter the service code (by default: 12345) and touch the  key. The user menu will be displayed.

- Touch the  key. The service mode will start up.

- Start the Hide SM now function ((SM settings (Hide SM now). The status screen will be displayed.

- Open the keypad enclosure and insert the microSD card into its slot.

- Touch the  icon on the main screen. The "Advanced" screen will be displayed.

- Touch the  icon. The authorization screen will be displayed.

- Enter the service code and touch the icon. The update screen will be displayed.

- Within 10 seconds, touch any part of the screen to start the firmware updating (if you do not touch the screen, the firmware will not be updated, but the file with the new firmware version will be erased from the microSD card and the keypad restart will follow).

- After completion of the firmware updating, the file with the new firmware version will be erased from the microSD card and the keypad restart will follow.

- Having closed the keypad enclosure, you can exit the service mode (repeat the steps 2-5, and then touch the  key).

You can update the keypad firmware without using the menu. To do so, turn off the keypad power, insert the microSD card with new firmware version into the slot and turn on the keypad power again. The update screen will be displayed.

# Specifications

Supply voltage	12 V DC ±15%

Standby current consumption	250 mA

Maximum current consumption	265 mA

Supported memory cards	microSD, micro SDHC

Environmental class according to EN50130-5	II

Working temperature range	-10°C…+55°C

Maximum humidity	933%

Enclosure dimensions (width x height x thickness)	120 x 92 x 14 mm

Weight	165 g

int-tsg_i_en 07/13

Keypad

INT-TSG

Installer Manual

Firmware version 1.00

SATEL sp. z o.o. • ul. Schuberta 79 • 80-172 Gdańsk • POLAND

tel. 58 320 94 00 • info@satel.pl

www.satel.eu

druk:

18,19,0,17,16,1,2,15,14,3,4,13,12,5,6,11,10,7,8,9