1.	Main menu [INTEGRA control panels]	6

2.	Structure	7

2.1	System	7

2.2	Objects	7

2.3	Partitions	8

Parameters	8

Options	9

Partition user timer	9

Times	9

2.4	Creating new partition	10

2.5	Adding zones to partition	11

2.6	Hardware	11

Bus options	11

Buttons	11

PING test	11

Devices to be connected to communication buses	12

2.7	Main board	12

2.8	Mainboard wireless system [INTEGRA 128-WRL only]	13

Parameters of wireless devices	13

Buttons	14

2.9	Configuration of wireless devices	14

2.10	GSM Phone [only INTEGRA 128-WRL]	16

GSM	16

GPRS	16

SMS center number	17

DLOADX connection	17

GUARDX connection	17

GSM band	17

2.11	Identification	17

Identification of keypads	17

Identification of expansion modules	18

2.12	LCD keypad	18

Keypad	18

State inspections	20

User functions definition	20

Proximity cards	20

Macro commands	20

Screensaver	23

EOL resistance value	24

2.13	CA-64 PTSA mimic board	25

2.14	ETHM-1 Ethernet module	26

DLOADX	26

GUARDX / JAVA	26

Wrong login	27

2.15	INT-RS data converter	27

2.16	INT-CR / INT-IT proximity card arm/disarm device	27

2.17	INT-S-GR / INT-S-BL / INT-SK-GR / INT-SCR partition keypad	28

Access control	28

Open door if fire	29

Additional features	29

Confirmation	30

Backlight	31

Auto-backlight	31

2.18	INT-ENT entry keypad	31

Additional features	31

Confirmation	32

Backlight	32

2.19	INT-SZ-GR / INT-SZ-BL / INT-SZK-GR code lock	32

Access control	32

Open door if fire	33

Additional features	33

Confirmation	33

Backlight	34

Auto-backlight	34

2.20	CA-64 SR expander of proximity card reader	34

Access control	34

Open door if fire	35

Reader A / Reader B	35

Additional features	36

2.21	CA-64 DR expander of DALLAS chip readers	36

Access control	36

Open door if fire	37

Reader A / Reader B	37

Additional features	38

2.22	Users	38

2.23	CA-64 E / CA-64 Ei zone expander	38

2.24	CA-64 EPS / CA-64 EPSi zone expander with power supply	39

2.25	CA-64 ADR addressable zone expander	40

2.26	CA-64 O-OC / CA-64 O-R / CA-64 O-ROC output expander	41

2.27	INT-ORS DIN-rail output expander	41

2.28	CA-64 OPS-OC / CA-64 OPS-R / CA-64 OPS-ROC output expander with power supply	41

2.29	INT-IORS DIN-rail zone/output expander	42

2.30	CA-64 PP zone/output expander with power supply	42

2.31	ACU-100 controller of ABAX wireless system	43

Controller parameters	43

Parameters of wireless devices	43

Buttons	44

2.32	Adding wireless devices	45

2.33	Removing wireless devices	45

2.34	Wireless devices	45

Communication diagnostics	46

Buttons	46

2.35	Wireless system	46

Current level [only INTEGRA 128-WRL]	46

Diagrams for devices	47

2.36	Exp. modules order	48

2.37	INT-RX 433 MHz remote keyfob operation expander	48

2.38	CA-64 SM voice synthesizer expander	48

3.	Zones	49

Zone parameters	49

Zone options	51

3.1	Zone type	53

3.2	Counters	56

3.3	Bypasses	57

3.4	Arm/Disarm groups	57

4.	Outputs	57

Output parameters	57

Output options	57

Output triggering	58

Clearance availability	59

Output disabling	59

4.1	Output function	59

4.2	Logical functions of outputs	65

Example of using output functions 46 and 47	65

4.3	Output groups	65

Output groups	65

Output state indicating	66

5.	Options	66

5.1	Telephone	66

5.2	Printer	67

Printout options	67

Printout contents	68

5.3	Times	68

5.4	Other	69

5.5	Arming	70

5.6	Service	70

5.7	Default user’s authority level	70

6.	Users	71

Information	71

Part./keypads	72

Authority level	72

Buttons	72

6.1	User type	72

6.2	Adding administrators	73

6.3	Adding users	73

6.4	Removing administrators/users	74

6.5	Adding proximity card	74

6.6	Adding DALLAS chip	74

6.7	Deleting proximity card	74

6.8	Deleting DALLAS chip	74

7.	Keyfobs INT-RX	75

User keyfobs	75

Buttons	75

7.1	Adding INT-RX keyfobs	76

Entering the serial number manually	76

Reading the serial number during transmission	76

7.2	Removing INT-RX keyfob	76

8.	Keyfobs ABAX	77

User keyfobs	77

Confirmation output selection	77

Buttons	78

8.1	Adding ABAX keyfobs	78

Entering the serial number manually	78

Reading serial number during transmission	78

8.2	Removing ABAX keyfobs	79

9.	Timers	79

9.1	User schedules	79

10.	Reporting	80

Buttons	81

10.1	Reporting options	81

Advanced	81

10.2	Reporting station	81

Telephone	82

ETHM/GPRS	82

Identifiers	82

TELIM prefix / SIA prefix	83

10.3	Events assignment	83

10.4	Identifiers assignment	83

10.5	Event codes	83

10.6	SMS reporting	83

Reporting station	84

11.	Messaging	84

Telephone numbers	84

11.1	Programming telephone numbers	85

11.2	Event assignment	85

11.3	Clearing	86

Partitions	86

Acknowledged	86

11.4	Pager messages	86

Message type	86

11.5	Pager type	86

11.6	Voice messages	86

12.	Answering and remote control	86

12.1	Users and remote switches	87

12.2	SMS control [INTEGRA 128-WRL only]	87

Zones	87

Functions	88

System state	88

13.	Service note	88

14.	Data comparison	89

Buttons	89

15.	Event log	89

15.1	Choose	90

Buttons	90

15.2	Print	90

Buttons	91

16.	System state	91

16.1	Keypad	91

16.2	Partitions state	91

16.3	Zones state	91

16.4	Outputs, timers, tampers, doors	92

Outputs	92

Timers	92

Tamper	92

Door	92

16.5	Troubles	92

16.6	Module power supply	93

17.	Communication	93

17.1	Communication options	93

17.2	Data comparison: Write	94

17.3	Identifiers and telephone numbers	94

Panel INTEGRA	94

PC - DloadX	94

PC - GuardX	95

TCP/IP connection: DloadX -> ETHM	95

18.	Configuration	95

18.1	Port RS-232	96

18.2	Modem	96

Dialing	96

Speaker	96

Answering	96

Double call	96

18.3	Modem configuration	96

18.4	Data	97

19.	Connection	98

19.1	Port RS-232	98

Starting the function of downloading through RS-232 port "from pins"	100

19.2	Modem connections	100

19.3	Ways to establish modem communication with the control panel	101

Connection initialized from the DloadX program	102

Connection initialized from the DloadX program, but the control panel calls back and sets up the connection	102

Connection initialized by means of SMS, after reception of which the control panel sets up the connection	102

Connection initialized by the control panel through built-in 300 bps modem	103

Connection initialized by the control panel through external modem	103

Connection initialized by the control panel through built-in GSM communicator (using CSD technology) [INTEGRA 128-WRL only]	104

19.4	Connecting external modem to the control panel	104

19.5	Configuration of settings in modem to be connected to control panel	106

19.6	Communication using the GPRS technology [only INTEGRA 128-WRL]	107

19.7	Ways to establish GPRS communication with the control panel	108

Activating server	108

Connection initialized by control panel	108

Connection initiated by SMS message, after reception of which the control panel establishes connection	108

19.8	Communication via Ethernet network	109

19.9	Ways to establish communication via Ethernet network	110

Initiating connection from the DloadX program	111

Initiating connection by the control panel	111

19.10	Communication identifiers and establishing connection	111

Establishing communication with a new alarm system	111

Establishing communication with a system whose data are in the computer	111

Establishing communication with a system whose data are not in the computer	111

# Main menu [INTEGRA control panels]

1 - type of alarm control panel.

2 - name of alarm system / data file.

3 - information on data writing/reading progress.

4 - icon indicating the status of communication with the module:

- green color – COM port ready for sending data;

- alternating green and yellow color – data transmission in progress;

- red color – no communication with the control panel;

- gray color – COM port disabled.

A click on the icon button:

- in case of communication via the RS-232 port - will enable/disable the COM port;

- in case of other forms of communication – will display a window referring to the given connection.

5 - information on the current way of communication with the control panel.

- the button opens the Structure window.

- the button opens the Options window.

- the button opens the Zones window.

- the button opens the Outputs window.

- the button opens the Timers window.

- the button opens the Reporting window.

- the button opens the Messaging window.

- the button opens the Answering and remote control window.

- the button opens the Service note window.

- the button is displayed when errors were made during programming. It opens a window containing information on errors made.

- the button opens the Data comparison window.

- the button enables reading /updating of data from the control panel.

- button enables data writing to the control panel.

- the button opens the Event log window.

- button makes it possible to cancel the data reading/writing.

- button saves the time in the control panel, based on the computer clock.

- the button writes data into the control panel FLASH memory.

- button displays a virtual keypad (see: Keypad).

- the button opens the drop-down menu, which makes available some tools to supervise the system state (see: System state).

- the button opens the Configuration window, if the program does not communicate with the control panel, or communicates with it through RS-232 port or modem. Otherwise, the current connection (TCP/IP, GPRS) window will open.

Note: Opening the Configuration window results in closing the COM port which was previously selected for communication in the Port RS-232 tab. Closing the window will open the COM port currently selected in the Port RS-232 tab.

- button opens the drop-down menu, where you can select the method of establishing communication between the program and the alarm control panel (see also: Connection).

# Structure

"System" tab

"Hardware" tab

## System

The INTEGRA alarm control panels enable a two-level division of the alarm system:

- the control panel ZONES are grouped into PARTITIONS;

- a group of partitions constitutes an OBJECT (subsystem).

## Objects

The INTEGRA128 and INTEGRA64 control panels enable up to 8 objects to be created. The INTEGRA32 panel allows to create up to 4 objects, while the INTEGRA24 panel offers no division into objects.

The objects are treated as separate alarm systems. It is possible to configure the control panel so that the objects can have separate controls (LCD keypads) and own sirens or, alternatively, can have common hardware.

In case of the common LCD keypads, the controlled object is recognized based on the code of the user giving the command.

Events from each object are sent to the central monitoring station with individual identifiers (see: Reporting station). When the Contact ID format is selected, the control panel distributes events automatically. In case of other formats, the events are assigned to identifiers by the installer, according to the assignment of system components to partitions and partitions to objects.

To create a new object, click on the Add button when the highest branch of the tree structure (SYSTEM) is highlighted (or use the pop-up menu of that branch).

The object should be given a name (up to 16 characters). A field is also available for description or notes related to each object.

## Partitions

The partition is a group of zones to supervise a selected part of the object, which are armed or disarmed at the same time. The partition can only belong to one object. Division of the object into partitions improves security of the object (some object partitions may be armed while the others are still accessible to the users), and permits to restrict the users' access to some parts of the facility.

### Parameters

Partition name - individual name of each partition (up to 16 characters).

Belongs to object - the object the partition belongs to.

Partition type:

Armed with code – the basic type of partition. Arming and disarming is performed by the user. A partition of this type has its own timer which permits arming or disarming, unless it was not done before by the user.

With temporary blocking – it is a version of the previous type of partition. The difference is that at the time of arming the control panel asks to indicate the blockage time period. Disarming of this partition is only possible after expiry of the blockage time. To disarm the partition before the blockage time is up you have to use a code with Access to temporary blocked partitions authority, or another code, if an alarm occurred in that partition.

Follow type "AND" – the partition controlled by status of other partitions. This partition is not armed directly by the user, but automatically – when all partitions indicated to the control panel become armed. The list of partitions is defined by the installer when creating the dependent partition. The arming time is recorded in the event log, with indication of the user who armed the last partition from the list. When any partition from the list is disarmed, the dependent partition will be disarmed as well. For Follow type "AND" partition no exit delay is defined – the moment of switching over from “exit delay" to “armed" mode is set by the last partition from the control list entering the armed status. The dependent partitions cannot be controlled by timers.

Follow type “OR" – the partition becomes armed when any partition from the list of control partitions becomes armed. The partition is disarmed at the moment when the last partition from the list is disarmed. The exit delay time is the same as for the controlling partition which causes arming of the Follow type “OR" partition.

Note: The "AND" or "OR" type dependent partition cannot be controlled by other partitions of the "AND" or "OR" type.

Access according to timer – the partition is controlled by the user, but partition arming and disarming is only possible within time periods determined by operation of selected timers. Beyond those time periods neither arming, nor disarming of the partition is possible.

Note: The Access to temporary blocked partitions authority allows the user to freely control the partition armed mode, irrespective of the timer status.

Controlled by timer – the partition, which is armed in time periods determined by selected timers, and may also be controlled by the user code. When creating the controlled by timer partition, you should specify the list of timers which set the periods when the partition is armed. Depending on the control panel size, an option with 16 or 32 timers is provided. The control panel analyzes the status of timers selected, and, if any timer status changes to “ON", the control panel arms the partition. Countdown of the exit delay time takes place before entering the full armed status. Disarming occurs when all the selected timers are “OFF". When defining the timer, specify the type of armed mode to be activated by the timer:

0 – fully armed,

1 - fully armed+bypasses,

2 – armed without interior,

3 – armed without interior and without entry delay.

By default, the control panel assumes that each new timer will activate the full armed status (type 0).

### Options

Arm by two codes – arming after two different codes authorized to control the partition are entered in succession.

Disarm by two codes – disarming after two different codes authorized to control the partition are entered in succession.

Codes on two keypads – enabling this option will prevent codes to be entered from the same keypad (which applies to arming/disarming by means of two codes).

Valid within 60 sec – where arming / disarming requires entering two codes, the first of them is valid for 60 seconds (the validity period of the first code cannot be programmed by the user).

Timer priority – with this option enabled, the timer will always perform arming and disarming according to the preset times. With this option disabled, the disarming will only follow if the arming is performed by timer – if the user sets armed mode with a code, the timer will not disarm the partition.

Exit delay clearing – it is possible to reduce the exit time countdown by entering 9# from the keypad/partition keypad. The partition will be armed immediately. The exit time clearing is only available from the same keypad, from which the partition was armed.

### Partition user timer

The programming of the partition user's timer is available when communication is established between the program and the control panel.

### Times

Partition exit delay – countdown of the partition arming delay as from the moment of entering the code or activating the timer to the actual arming of the partition. Delay up to 255 seconds can be programmed. The exit delay time can be reduced in the following cases:

- violation of zones type: 85. Zones/Outputs – conditional, 86. Zones/Outputs – Final or 89. Finishing exit delay in the partition;

- entering the 9# sequence in the LCD/partition keypad (see the Exit delay clearing option).

Infinite exit delay – if this option is enabled, the partition will be armed after entering the code and then violating the zone type: 85. Entry/Exit – conditional, 86. Zones/Outputs – final or 89. Finishing exit delay. If this type of zone has not been violated, or the exit delay time has not been reduced (see the Exit delay clearing option), the partition will not be armed.

Arming control time – if the Infinite exit delay option is enabled, instead of Partition exit delay you will program the time before expiry of which the partition should be armed. If the partition is not armed, the "Arming failed" event will be saved into the control panel memory.

Auto-arming delay – delay of automatic arming of a partition by timer. Countdown of this time may be indicated on the keypads and on the control panel outputs. Entering a value bigger than zero will enable an additional function in user menu, which makes it possible to delay auto-arming (by entering a deferment time). During the auto-arming countdown it is possible to block the auto-arming function (until the next auto-arming time) by entering zeros alone in the Defer auto-arm user function. The delay countdown completed, the control panel begins the countdown of the "partition exit time" (provided that it has been set).

Alarm verification time – if the partition contains zones with selected Prealarm option, then alarm on violation of such a zone will only be triggered if during the alarm verification time another zone with enabled Prealarm option is violated.

Audible alarm after verification – with this option enabled there will be no audible signaling of unverified alarm (prealarm), i.e. violation of the zone with prealarm option "on". The unverified alarm (prealarm) can be signaled on output type 9. DAY Alarm, 12. Silent alarm or 116. Internal Siren. The audible signaling will only be triggered after alarm verification (violation of another zone with enabled Prealarm option during alarm verification).

Guard round (on armed) every – setting the maximum period of time that can elapse since the last guard round when the partition is armed. If the time is exceeded, the control panel will record the "no guard round" event. Programming the value "0" will disable the guard round control.

Guard round (on disarmed) every – setting the maximum period of time that can elapse since the last guard round when the partition is disarmed. If the time is exceeded, the control panel will record the "no guard round" event. Programming the value "0" will disable the guard round control.

Blocked for guard round – when the partition round requires violation of detectors and the guard is not authorized to disarm the partition, it is possible to set the partition bypass time period, which starts when the guard enters his code (read in the card/chip) to make a round. The partition can also be bypassed by entering the Temporary partition blocking type of code. The bypass time value is to be specified individually for particular codes.

Cash machine block delay - if the system supervises cash dispensers by means of the 24h Cash machine zones, entering the Access to cash dispenser type of code will start the countdown of time delay for reaching the cash dispenser (at that time, the 24h Cash machine zone is still armed).

Cash machine block time - the time counted after completion of the Cash machine block delay countdown, when the 24h Cash machine zone is blocked.

Note: Only one cash machine may be declared for each partition.

Creating new partition

Adding zones to partition

## Creating new partition

- In the tree in the SYSTEM tab on the left side of the STRUCTURE window, click on the object where you want a new partition created.

- Click on the Add button at the bottom of the STRUCTURE window. A new partition will be created.

- Configure the new partition parameters.

- Add zones to the partition (see: Adding zones to partition).

## Adding zones to partition

- Move the cursor over the partition and right click your mouse. A list will be displayed, showing the zones that can be added to the partition.

- Move the cursor over the selected zone and click the left mouse button.

## Hardware

The INTEGRA family control panels are provided with communication buses designed for connection of keypads and expansion modules.

Each control panel has a keypad bus which accepts up to 4 (INTEGRA 24 and INTEGRA 32) or 8 (INTEGRA 64, INTEGRA 128 and INTEGRA 128-WRL) LCD keypads or other modules. Each keypad/device to be connected to keypad bus must have its own individual address from the 0 to 3 range (INTEGRA 24 and INTEGRA 32 control panels) or from the 0 to 7 range (INTEGRA 64, INTEGRA 128 and INTEGRA 128-WRL control panels). Addresses must not repeat. It is recommended that consecutive addresses be assigned starting from 0. The address in LCD keypads is set by software means. For description of the keypad address programming please refer to the INSTALLER MANUAL. Description of the addressing of other modules can be found in the manuals attached thereto.

Note: The Hardware tab enables programming not only the parameters of devices physically connected to the control panel, but also those of virtual keypads available in the DLOADX and GUARDX programs.

The INTEGRA 24, INTEGRA 32 and INTEGRA 128-WRL control panels are provided with one, and the INTEGRA 64 and INTEGRA 128 with two expander buses. Each bus can support 32 modules. Each module to be connected to the expander bus must have its own individual address from the 0 to 31 range (the addresses must not repeat). It is recommended that consecutive addresses be assigned starting from 0. This will allow you to avoid problems during expansion of the system (e.g. changing numeration of zones or outputs due to connection of a new expander). The address is set by means of DIP-switches on keypad electronics boards. For the addressing description please refer to the manuals delivered with the modules.

Devices connected to the communication buses will not be recognized or properly handled until they are identified by the control panel (see: Identification). Only then information about the devices will be displayed in the program.

### Bus options

Bus short-circuit triggers alarm in partition - if this option is enabled, a short-circuit in the given communication bus will set off a tamper alarm in the selected partition.

Tamper alarm – Always loud signaling - if this option is enabled, a tamper alarm will be always signaled at outputs (when armed only, if the option is disabled).

### Buttons

Keypads identification - button available for the keypad bus. It starts the function of identification of devices connected to the keypad bus (see: Identification).

Exp. modules identification - button available for the expander bus. It starts the function of identification of devices connected to the expander bus (see: Identification).

Exp. modules order - the button opens the Exp. modules order window.

### PING test

The ETHM-1 modules with firmware version 1.05 or newer can test communications by using the PING command sent to the indicated network device. The ETHM-1 module will be testing communication after the parameters described below are configured and the PING test option is enabled in the module itself.

Address to test - address of the device to which the module is to send the PING command to test communications. It can be entered as an IP address (4 decimal numbers separated by dots) or as a name.

Period - the interval between consecutive communication tests by using the PING command. If value 0 is programmed, the communication test will be disabled.

Tries no. before trouble - the number of unsuccessful communication tests (the module has received no answer to the PING command sent) after which trouble will be reported. If value 0 is programmed, the communication test will be disabled.

### Devices to be connected to communication buses

Keypad bus

LCD keypad

CA-64 PTSA mimic board

ETHM-1 Ethernet module

INT-RS data converter

Expansion modules bus

INT-CR / INT-IT proximity card arm/disarm device

INT-S-GR / INT-S-BL / INT-SK-GR partition keypad

INT-ENT entry keypad

INT-SZ-GR / INT-SZ-BL / INT-SZK-GR code lock

CA-64 SR expander of proximity card reader

CA-64 DR expander of DALLAS chip readers

CA-64 E / CA-64 Ei zone expander

CA-64 EPS / CA-64 EPSi zone expander with power supply

CA-64 ADR addressable zone expander

CA-64 O-OC / CA-64 O-R / CA-64 O-ROC output expander

INT-ORS DIN-rail output expander

CA-64 OPS-OC / CA-64 OPS-R / CA-64 OPS-ROC output expander with power supply

INT-IORS DIN-rail zone/output expander

CA-64 PP zone/output expander with power supply

CA-64 SM voice synthesizer expander

ACU-100 controller of ABAX wireless system

INT-RX 433 MHz remote keyfob operation expander

## Main board

The window shows information on the mainboard zones and outputs.

In the INTEGRA 128-WRL control panels, the R1 and R2 resistor values are programmed for 2EOL zone (see the figure). The resistor value for the EOL zone is a sum of values programmed as R1 and R2.

## Mainboard wireless system [INTEGRA 128-WRL only]

The INTEGRA 128-WRL control panel can directly support up to 48 wireless devices.

Response period – communication with wireless devices takes place in specified intervals. The control panel is then gathering information on the status of wireless devices and, if necessary, sending commands to the devices, e.g. switching the detectors to their active/passive state, switching on/off the test mode and/or changing configuration of the devices. The polling period can be 12, 24 or 36 seconds. The less frequent is communication between the control panel and the wireless devices takes place, the greater is the number of wireless devices can work with their operating ranges mutually overlapped (for 12 s – maximum 150, for 24 s – 300, and for 36 s – 450). Outside the polling period, information on tampers of devices and violations of active detectors is sent to the control panel. The Response period has also impact on the level of energy consumption by the wireless devices. The less frequently communication between the control panel and the wireless devices takes place, the lower energy consumption and the longer battery life is.

### Parameters of wireless devices

Information on the wireless devices is presented in the table.

No. - number of the zone/output to which the wireless device is assigned.

Name - name of the zone/output to which the wireless device is assigned.

Type - type/function of the zone/output to which the wireless device is assigned.

Device type - type of the wireless device.

Serial number - serial number of the wireless device.

Always active - the option is available for most of the wireless detectors. It can permanently activate the detector.

Configuration - see: Configuration of wireless devices.

Filter – the number of consecutive response periods, during which communication with the device failed to be established, before no communication with the device is reported. Values from the 0 to 50 range can be entered. Entering the digit 0 will disable control of the device presence in the system.

### Buttons

Test mode - the button enables entering/exiting the test mode. In the test mode, wireless devices will signal communication with the control panel by LED blinking, and detectors will inform about tampers and violations by means of indicator LEDs. During normal work, the LED signaling is off for energy saving reasons. In the test mode, the signaling of sirens is blocked. The test mode is switched on and off during polling, thus causing a delay, the duration of which depends on the programmed polling period. The test period will be switched off automatically 30 minutes after:

- starting the test mode by means of the DloadX program (the 30-minute countdown runs from the moment of exiting the control panel settings),

- terminating the service mode in control panel.

Note: According to the requirements of EN50131 standard, the level of radio signal sent by wireless devices is lowered when the test mode is running.

- the button opens the Wireless devices window.

- the button opens the Exp. modules order window.

Synchronize - the button starts the procedure of synchronization, i.e. checking whether other ABAX wireless systems are working within the control panel range. The control panel will adapt the polling period so as to prevent radio transmissions from being mutually jammed. Synchronization takes place automatically when starting the control panel, and after each operation of adding/deleting devices which are supported by it.

New device - the button enables adding a new wireless device to the system. Adding new devices is possible, when communication is established between the program and the control panel.

Remove device - the button enables removing a wireless device from the system. Deleting of device is possible, when communication is established between the program and the control panel.

Adding wireless devices

Removing wireless devices

## Configuration of wireless devices

Some of the wireless devices make additional parameters and options available, which can be configured by radio:

APD-100 - wireless passive infrared detector. For the detectors with firmware version 2.01, enter a sequence of two digits. The first of them defines the sensitivity (1 - low sensitivity, 2 - medium sensitivity, 3 - high sensitivity), and the second - the pet immunity option (0 - option disabled, 1 - option enabled). For the detectors with older firmware, enter a digit from 1 to 3 range, corresponding to the selected sensitivity.

APMD-150 - wireless dual motion detector. Enter a 3-digit sequence:

1. digit – sensitivity of infrared path: from 1 to 4 (1 – minimum; 4 – maximum),

2. digit – sensitivity of microwave path: from 1 to 8 (1 – minimum; 8 – maximum),

3. digit – type of operation in the test mode: 0 (signaling violation after motion is sensed by both detectors), 1 (signaling violation after motion is sensed by infrared detector) or 2 (signaling violation after motion is sensed by microwave detector).

AMD-100 and AMD-101 - wireless magnetic detectors with an additional input. For the detectors with electronics version 3.5 D or newer, enter the digit 0 (bottom reed switch) or 1 (side reed switch) to select which of the two reed switches is to be active. For the detectors with an older electronics version, no additional parameters can be programmed (the active reed switch is selected by means of jumpers).

AMD-102 - wireless magnetic detector with input for roller shutter detector. AMD-102 detector takes up 2 zones in the system (the first: magnetic detector, the second: additional input of the detector). For the magnetic detector, enter the digit 0 (bottom reed switch) or 1 (side reed switch) to select which of the two reed switches is to be active. For the roller shutter detector, enter 2 digits corresponding to the selected parameters:

1. digit – number of pulses: from 1 to 8.

2. digit – pulse validity time: 0 (30 s), 1 (120 s), 2 (240 s) or 3 (unlimited time).

Note: The pulse counter is reset after expiry of the pulse validity time and after arming the partition to which the zone belongs.

AGD-100 - wireless glass break detector. Enter a digit from 1 to 3 range that corresponds to the selected sensitivity for the high-sensitivity channel (1 - low sensitivity, 2 - medium sensitivity, 3 - high sensitivity).

AVD-100 - wireless vibration and magnetic detector. The detector takes up 2 zones in the system (the first: magnetic detector, the second: vibration detector). For the magnetic detector, enter the digit 0 (bottom reed switch) or 1 (side reed switch) to select which of the two reed switches is to be active. For the vibration detector, enter a 2-digit sequence:

1. digit – sensitivity: from 1 to 8 (1 – minimum; 8 – maximum),

2. digit – number of pulses: from 0 to 7. Pulses are not counted up for the value 0.

Note: Parameters are being independently analyzed. As a result, the detector can signal violation after registering a strong single vibration, caused by a powerful impact, as well as after a few slight vibrations, caused by a series of weak strikes.

ASD-100 - wireless smoke and heat detector. Enter a 3-digit sequence, corresponding to the selected parameters:

1. digit - heat detector operating mode: 0 (disabled), 1 (class A1), 2 (class A2) or 3 (class B).

2. digit - buzzer operating mode: 0 (disabled), 1 (sound type 1), 2 (sound type 2) or 3 (sound type 3).

3. digit - duration of alarm signaling by buzzer/LED: 1 (1 minute), 2 (3 minutes), 3 (6 minutes) or 4 (9 minutes).

ARD-100 - wireless reorientation detector. Enter a number from 1 to 16 range that corresponds to the selected sensitivity (1 - minimum; 16 - maximum).

ASP-105 - wireless triggered outdoor siren. Occupies 2 outputs and 2 zones in the system. Enter a 2-digit sequence for the first output/zone to configure acoustic signaling parameters:

1. digit - type of acoustic signaling: 1 (sound type 1), 2 (sound type 2), 3 (sound type 3) or 4 (sound type 4).

2. digit - maximum duration of acoustic signaling: 1 (1 minute), 2 (3 minutes), 3 (6 minutes) or 4 (9 minutes).

ASP-205 - wireless indoor siren. Occupies 2 outputs and 2 zones in the system. Because each output can trigger any type of signaling, parameters must be programmed for two types of signaling, by entering in each case a 3-digit sequence:

1. digit - maximum duration of signaling: 1 (1 minute), 2 (3 minutes), 3 (6 minutes) or 4 (9 minutes).

2. digit - type of acoustic signaling: 0 (disabled), 1 (sound type 1), 2 (sound type 2) or 3 (sound type 3).

3. digit - is optical signaling to be enabled: 0 (disabled) or 1 (enabled).

ASW-100 E / ASW-100 F - 230 V AC wireless controller. Enter a digit from the 0 to 2 range, which corresponds to the selected mode of operation: 0 (electric circuit is only remotely controlled); 1 (electric circuit may be controlled remotely or manually) or 2 (electric circuit may be controlled remotely or manually, but remote control can be manually disabled).

## GSM Phone [only INTEGRA 128-WRL]

The industrial, three-range cellular phone, operating in the GSM 900/1800/1900 MHz networks, enables the INTEGRA 128-WRL control panel to execute the functions of reporting, messaging, call answering and control, and makes remote programming possible (GSM or GPRS).

GSM using – this option must be enabled if the control panel is to support the GSM communicator. The option may be disabled if the GSM communicator is not to be used (e.g. SIM card is not installed, etc.). Disabling the option will thus prevent any GSM related troubles from being unnecessarily reported.

### GSM

PIN Code – PIN code of the SIM card. Entering a wrong code may result in blocking the SIM card.

Note: If the PIN code of SIM card is inconsistent with that entered in the control panel settings, the control panel will inform of it by means of a suitable message and an audible signal in the LCD keypad. After 255 seconds the control panel will retry to use the PIN code. If the PIN code is wrong, the control panel will signal it again. After the third attempt to use a wrong PIN code, the card will be blocked. In such a case, the PUK code will have to be entered.

Modem format – GSM modem transmission format. The modem format should be selected, with consideration for the type of modem used with the computer and the scope of services provided by the cellular network operator.

### GPRS

APN – name of the access point for Internet GPRS connection. You should obtain it from your GSM network operator.

User – name of the user for Internet GPRS connection. You should obtain it from your GSM network operator.

Code – code for Internet GPRS connection. You should obtain it from your GSM network operator.

Note: For sending data with the use of GPRS technology, you must define the APN, user name and code.

DNS server – IP address of DNS server to be used by the control panel. It can be obtained from the GSM network operator. It is necessary, when IP address of the device with which the control panel is to communicate using GPRS technology (computer with DloadX or GuardX program, central monitoring station) has been entered as a name. It is not required when the addresses have been entered in the numerical form (4 decimal numbers separated by dots).

### SMS center number

Telephone number of the SMS message management center, which acts as an agent in sending SMS messages. Entering the number is necessary if the GSM communicator is to send SMS messages. The number entered in the control panel must correspond to the network in which the GSM communicator is used (this depends on the SIM card installed in the control panel).

### DLOADX connection

Address – address of the computer with DloadX program with which the control panel is to communicate using GPRS technology. It can be entered in numerical form (4 decimal numbers separated by dots) or in the form of a name.

Port – number of the network port through which communication with DloadX program will be effected.

SMS - password that must be included in the SMS message sent to the control panel, so that it can start the procedure of establishing communication with the DloadX program (communication through modem or by means of GPRS technology).

### GUARDX connection

Address – address of the computer with GuardX program with which the control panel is to communicate using GPRS technology. It can be entered in numerical form (4 decimal numbers separated by dots) or in the form of a name.

Port - number of the network port through which communication with GuardX program will be effected.

SMS - password that must be included in the SMS message sent to the control panel, so that it can start the procedure of establishing communication with the GuardX program (communication through modem or by means of GPRS technology).

### GSM band

Select the GSM bands to be operated by the GSM phone. The function is available for electronics version 2.1 or newer. If no band is selected, the telephone will handle all bands.

Advanced - the button opens a window which provides access to the advanced programming options for the GSM telephone sound settings. In most cases the factory settings of audio path are optimal for correct communication.

## Identification

The identification feature checks which modules are connected to the control panel. Identification must be performed when starting the panel for the first time, and each time when adding a new device or changing address in a device supported by the panel. Disconnecting an identified module from the communication bus will trigger a tamper alarm.

The identification function should be separately executed for the keypad bus and the expander bus.

### Identification of keypads

To identify devices connected to the keypad bus, click on the "Keypads" branch in the tree on the left side in the STRUCTURE window, HARDWARE tab. Options for the keypad bus and the Keypads identification button will be shown on the right side. Click on the Keypads identification button to start in the control panel the function of identification of devices connected to the keypad bus.

### Identification of expansion modules

To identify devices connected to the expander bus, click on the "Expansion modules" branch in the tree on the left side in the STRUCTURE window, HARDWARE tab. Options for the expander bus and the Exp. module identification button will be shown on the right side. Click on the Exp. module identification button to start in the control panel the function of identification of devices connected to the expander bus (where the control panel has two buses, devices connected to both of them will be identified).

## LCD keypad

The LCD keypad enables the control panel to be operated and programmed.

“Keypad” tab

“State inspections” tab

“User functions definition” tab

“Proximity cards” tab

“Macro commands” tab

“Screensaver” tab

“EOL resistance value” tab

### Keypad

#### Parameters

Name - individual name of the device (up to 16 characters).

Partitions managed by keypad – partitions which can be armed/disarmed or alarm in which may be cleared from the keypad. These functions are available to the users having a suitable authority level and access to those partitions. Use the mouse (double click), space bar or table pop-up menu to select the partitions which are to be operated.

Note: Using the service code you can operate all partitions, irrespective of which partitions are operated by the keypad.

Show alarms of partitions - selection of the partitions, the alarm from which will be indicated on the keypad by red LED, sound, or a text message. Use the mouse (double click), space bar or table pop-up menu to select the partitions.

Show fire alarms of partitions - selection of the partitions, the fire alarm from which will be indicated on the keypad by red LED, sound, or a text message. Use the mouse (double click), space bar or table pop-up menu to select the partitions.

CHIME signal of zones - selection of the zones the violation of which will be indicated by beeps in the keypad. Use the mouse (double click), space bar or table pop-up menu to select the zones.

Zone disabling CHIME - number of zone, which, if violated, will disable the CHIME feature for specified time. If the value 0 is programmed, the signaling will not be disabled.

Bypass time - time during which the CHIME signal will be disabled after violation of the zone which disables the signaling. If the value 0 is programmed, the signaling will not be disabled.

Quick Arm partitions - partitions which will be armed on pressing the keys: 0# (fully armed), 1# (fully armed+bypasses), 2# (armed without internal) or 3# (armed without internal and delayed). Use the mouse (double click), space bar or table pop-up menu to select the partitions.

Show entry delay of partitions - selection of the partitions, for which counting the entry delay will be indicated by text appearing on the LCD display.

Show exit delay of partitions - selection of the partitions for which counting the exit delay will be indicated by text appearing on the LCD display.

Date/Time format - selection of the format of time and date display on the keypad.

LCD backlight - selection of the display backlight type.

Keys backlight - selection of the keypad backlight type.

Alarm messages – the options define whether text messages on alarms in partition and zones are to be shown (the message contains name of partition/zone).

Tamper signaled in partition - selection of the partition in which alarm will be signaled if the keypad tamper contact is opened or the keypad is disconnected from the control panel.

#### Alarms

The options define whether the given keypad allows for triggering the alarms below:

Fire - pressing and holding down the key with symbol  for approx. 3 seconds.

PANIC - pressing and holding down the key with symbol  for approx. 3 seconds.

AUX. - pressing and holding down the key with symbol  for approx. 3 seconds.

3 wrong codes - triggered by entering an invalid code three times.

#### Additional options

Silent PANIC alarm - the panic alarm triggered from the keypad can be signaled as the silent alarm (without being signaled on the alarm outputs).

Signaling entry delay - the keypad can signal acoustically the entry delay countdown.

Signaling exit delay - the keypad can signal acoustically the exit delay countdown.

Signaling alarms - the keypad can signal acoustically the alarms.

Key sounds - pressing the keypad keys can be confirmed by beeps.

Signaling troubles in partially arm – the keypad can signal troubles by means of the yellow LED, if some of the operated partitions are armed (the troubles are not signaled if all partitions are armed).

Signal new trouble - the keypad can audibly signal the occurrence of a new trouble. For the option to operate it is necessary to enable the option Trouble memory until review (see: Options - Other) in the control panel.

Show code entering - entering the code can be presented on the keypad display by asterisks.

Show keypad name - the keypad name can be presented in the lower line of the display.

Exit delay clearing enable - the exit delay time in partitions with the Exit delay clearing option enabled can be shortened after pressing in turn the 9# keys.

Show violated zones - violating the CHIME signal triggering zone may additionally result in the zone name being displayed.

Auto-Arm delay countdown signaling – the auto-arm delay countdown in partition can be signaled acoustically.

Display mode switching - enabling the option makes it possible to switch over the display mode from system status to all-partition status by holding down the key 9.

Show disarm messages - disarming one of the keypad operated partitions can be signaled by sounds or displayed messages. The option refers to situations when the partition is disarmed by means of another keypad or without the use of a keypad.

Communication RS-232 - the option defines whether the computer with GuardX program can be connected to the keypad RS-232 port. The option is not available for the INT-KSG keypad.

Quick control - the user can run the Control user function by pressing successively the 8# keys (with no need for entering the user code).

#### Keypad zones

Each LCD keypad is provided with two zones, which can be used in the security alarm system. It can be defined for each of the keypad zones whether or not it will be used.

#### Auto-backlight

The backlight can go on optionally after a specific event in the system, e.g. starting the entry delay countdown in a selected partition, or violating a selected zone.

### State inspections

Key-hold down - you can select which functions activated by holding down the numeric keys will be available.

Zone state - you can define the symbols which will illustrate the state of zones.

Partition state - you can define the symbols which will illustrate the state of partitions.

Permanently displayed partitions - you can select the partitions whose state will be permanently presented in the lower line of the display. Up to 16 partitions can be selected. The partitions are displayed successively: for example, if the partitions 3, 6 and 7 are selected, their state will be displayed in the first, second and third position of the display.

### User functions definition

You can define which functions will be started by entering a code and pressing an arrow key.

### Proximity cards

The tab is available for the keypads with built-in proximity card reader.

Card function - you can select the function to be initiated when the card is brought into proximity of or held in front of the reader. You can set which doors will be opened by bringing into proximity / holding the card. You can also define the doors to be operated by the expander or the control panel output of 101. Card read - expander type.

Wrong card - you can define how the alarm system is to react when an unknown card is read.

Signal on wrong card - reading in an unknown card will be signaled by two long beeps.

Event after 3 readings - reading in an unknown card three times will save the event.

Alarm after 3 readings - the option is available, if the Event after 3 readings option is enabled. Reading in an unknown card three times will trigger an alarm.

### Macro commands

The tab is available for the INT-KSG keypad.

Note: The macro commands related data are stored in the keypad memory. Before you proceed to defining the macro commands, read out the data from the keypad (Read button), and, after the programming is completed, write them to the keypad (Write button). These data are not read and written after you click the  button in the program main menu.

“Groups” tab

“Defintions” tab

Creating a group of macro commands

Creating a macro command

#### Groups

The INT-KSG keypad allows you to define up to four groups of macro commands.

Name - an individual macro command group name presented at the bottom of the display above the  key (up to 8 characters).

#### Buttons

Add macro - the button is available when you click on one of the four macro command groups. Click on the button to display the menu where all macro commands defined in the Definitions tab are presented. You can select one of them to add it to the group. Overall, the group can contain up to 16 macro commands.

Remove macro - the button is available when you click on any macro command. Use it to delete the selected macro command.

- the button is available when you click on any macro command. Use it to shift the macro command down within a group.

- the button is available when you click on any macro command. Use it to shift the macro command up within a group.

Read - use the button to read the macro command data from the keypad memory. These data are not stored in the control panel and are not automatically read after you click on the  button in the program main menu.

Write - use the button to write the macro command data to the keypad. These data are not written automatically after you click on the  button in the program main menu.

Quit - the button terminates the data reading/writing procedure.

Reset - the button restores factory default settings for macro commands.

Creating a group of macro commands

#### Definitions

Use this tab to define macro command parameters. A macro command is a sequence of operations made up of individual commands to be executed by the control panel after running the macro command.

Name - an individual name of macro command (up to 32 characters).

Code - a code that is to be used for authorization when executing the functions contained in a macro command. The code is presented as a string of asterisks. The  button allows you to see the programmed sequence of characters. The code must have a suitable authority level for the macro commands to be possible to be executed.

Authorization required – if this option is enabled, the macro command will only be run after user authorization by means of a code. The code entered in the Code field will be ignored.

Disabled if armed – if this option is enabled, the macro command will not be available, when any of the partitions operated by the keypad is armed.

Autoexecute – if this option is enabled and there is just one macro command in the group, touching the  key will not display the list of macro commands, but will run the macro command at once (if the Authorization required option is enabled, authorization by means of a code will be necessary).

Commands list - the field displays the list of commands assigned to the currently selected macro command.

Command – the field displays the control panel executed function that can be assigned to a macro command. Click on the  button to display the list of all available functions. Click on the function to select it. The following functions are available:

Arming - select this function to display the table with the list of partitions, the partition number being presented at the left bottom corner of each field. Double click on the field to define whether the partition is to be armed (the field color will change to orange) and select the armed mode (of which the digit located in the middle of the field - click your mouse again to change the selected mode).

Disarming – select this function to display the table with the list of partitions. Double click on the field with the number of partition to be disarmed (the field color will change to orange). You can select any number of partitions.

Alarm clearing - select this function to display the table with the list of partitions. Double click on the field with the number of partition where alarm is to be cleared (the field color will change to orange). You can select any number of partitions.

Bypass zones - select this function to display the table with the list of zones. Double click on the field with the number of zone to be inhibited (the field color will change to orange). You can select any number of zones.

Unbypass zones - select this function to display the table with the list of zones. Double click on the field with the number of zone to be unbypassed (the field color will change to orange). You can select any number of zones.

Outputs ON - select this function to display the table with the list of outputs. Double click on the field with the number of output to be enabled (the field color will change to orange). You can select any number of outputs.

Outputs OFF - select this function to display the table with the list of outputs. Double click on the field with the number of output to be disabled (the field color will change to orange). You can select any number of outputs.

Notes:

The partitions must be controlled by user code.

The zones must not have the Bypass disabled option enabled.

The outputs must be the 24. MONO Switch, 25. BI Switch, 105. Shutter up, 106. Shutter down or Remote switch type (they need not be assigned to any group of outputs).

#### Buttons

New macro - use this button to create a new macro command.

Remove macro - use this button to remove the selected macro command.

Add - use this button to add the command displayed in the Command field to list of commands assigned to the currently selected macro command.

Change - press this button after having modified any command in the list to accept the changes introduced.

Delete - use this button to delete the selected command from the list.

- use this button to shift the selected command up in the list.

- use this button to shift the selected command down in the list.

Read - use the button to read the macro command data from the keypad memory. These data are not stored in the control panel and are not automatically read after you click on the  button in the program main menu.

Write - use the button to write the macro command data to the keypad. These data are not written automatically after you click on the  button in the program main menu.

Quit - the button terminates the data reading/writing procedure.

Reset - the button restores factory default settings for macro commands.

Creating a macro command

#### Creating a group of macro commands

- Click the Groups tab.

- Click the group to be edited.

- Enter the group name.

- Click the Add macro button. Select the macro command to be added from the drop-down menu.

- Click the Write button. The data will be written to the keypad.

#### Creating a macro command

- Click the Definitions tab.

- Click the New macro button. A new macro command will appear in the list.

- Enter a name for the new macro command.

- If the macro command is to be run without entering the code by the user, enter the code with a suitable authority level.

- If running the macro command is to be each time preceded by user authorization, enable the Authorization required option.

- If the macro command is not to be available, when any of the partitions operated by the keypad is armed, enable the Disabled if armed option.

- If the macro command is to be run instantly on touching the  key, enable the Autoexecute option (if so, only this single macro command is to be assigned to the group).

- In the Command field select the function to be executed by the new macro command.

- Depending on the selected function, select the partitions (arming / disarming, alarm clearing), zones (bypassing / unbypassing) or outputs (enabling / disabling outputs). Click twice to select/deselect the required field.

- Click the Add button. A new command will appear in the list of commands assigned to the macro command. After clicking the command you can still make a correction to the list of partitions / zones / outputs controlled by the command. After making the changes, click the Change button.

- If necessary, repeat the steps 8-10 to add next commands.

- Click the Write button. The data will be written to the keypad.

### Screensaver

The tab is available for the INT-KSG keypad.

Note: The screensaver related data are stored in the keypad memory. Before you proceed to configuring the screensaver, read out the data from the keypad (Read button), and, after the programming is completed, write them to the keypad (Write button). These data are not read and written after you click the  button in the program main menu.

You can define in the tab which information is to be presented on the display in the screensaver mode. The screensaver mode will be entered automatically after the keypad has been idle for 60 seconds, when no menu is open, provided that at least one piece of information to be displayed is selected. Touch the  key to quickly toggle between standby and screensaver modes.

The following information can be displayed:

text - enter the content,

partition state - select the partition number,

zone state - select the zone number,

temperature - indicate the control panel zone to which the temperature detector is assigned, and determine whether the temperature is to be displayed in Celsius or Fahrenheit degrees,

date and time - select particular elements, such as day, month, year, hour, minutes and seconds, as well as separating characters, e.g. flashing colon,

keypad name.

Each of the abovementioned elements can be selected many times. Additionally, you can choose one of the two available font sizes for each of them. Using the "drag and drop" method you can easily indicate the place where the given information will be displayed.

#### Buttons

- use this button to shift the selected element up in the list.

- use this button to shift the selected element down in the list.

Add - the button adds the information selected in the above field to the list of information displayed in the screensaver mode.

Delete - the button deletes the selected element from the list.

Read - use this button to read the screensaver data from the keypad memory. These data are not stored in the control panel and are not automatically read after you click on the  button in the program main menu.

Write - use this button to write the screensaver data to the keypad. These data are not written automatically after you click on the  button in the program main menu.

Quit - the button terminates the data reading/writing procedure.

### EOL resistance value

The tab is available for the INT-KSG keypad.

Note: The resistance data are stored in the keypad. Before you proceed to programming the resistor values, read out the data from the keypad (Read button), and, after the programming is completed, write them to the keypad (Write button). These data are not read and written after you click the  button in the program main menu.

For the INT-KSG keypad zones, the value of resistors used in EOL and 2EOL loops is programmable within the range from 500 Ohm to 15 kOhm. The value of R1 and R2 resistors for 2EOL loop (see the figure) is to be programmed individually. The value of single EOL resistor is a sum of values programmed as R1 and R2.

#### Buttons

Read - use the button to read the EOL resistor data from the keypad memory. These data are not stored in the control panel and are not automatically read after you click on the  button in the program main menu.

Write - use the button to write the EOL resistor data to the keypad. These data are not written automatically after you click on the  button in the program main menu.

Quit - the button terminates the data reading/writing procedure.

## CA-64 PTSA mimic board

The mimic board enables visualization of the state of partitions/zones in the security system. The INTEGRA control panels support the mimic boards made in version CA64T v 1.4 and having firmware in version v4.0 or later.

Name - individual name of the device (up to 16 characters).

Zones state - you can define how the state of zones will be presented by means of LEDs. The way of LED-based zone state indication is presented in graphic form. Each LED lighting scheme duration is 2 seconds: gray field - the LED is off, orange field - the LED is on. The lighting scheme is programmed by using the mouse: hover the cursor over the selected field and click the mouse button to change the field color.

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

Communication RS-232 - the RS-232 port of the device may be used for interaction with the GUARDX program: with this option enabled you can program the settings of the "virtual" keypad, available from the GUARDX program on the computer.

Tamper signaled in partition - selection of the partition where an alarm will be signaled if the mimic board is disconnected from the control panel.

Show - selection of the information to be conveyed by the LEDs.

## ETHM-1 Ethernet module

The Ethernet module is a TCP/IP server. It enables the INTEGRA series control panels (program version 1.03 or later) to be operated via the Ethernet network (DloadX software, GuardX software, mobile phone or web browser).

Note: The module enables only one user to be connected at a time. The next users will receive a message on busy status of the server.

The module with firmware version 1.02 or later provides an option for the INTEGRA series control panels (program version 1.04 and next) to perform reporting via the Ethernet network.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

Obtain IP address automatically (DHCD) - if this option is enabled, the module will automatically download data on IP address, subnet mask and gateway from DHCP server.

Note: The IP address assigned to the module can be read by means of the IP/MAC ETHM-1 user function.

IP address – the IP address to be used by the module. The option is available when the function of automatic obtaining of the data from server is disabled.

Subnet mask – mask of the subnet the module operates in. The option is available when the function of automatic obtaining of the data from server is disabled.

Gateway - IP address of the network device through which the other devices of the given local network communicate with devices in other networks. The option is available when the function of automatic obtaining of the data from server is disabled.

Obtain DNS server address automatically – with this option enabled, the module will automatically download DNS server address data from the DHCP server.

DNS server - the DNS server to be used by the module. The function is available if the option of automatic server data downloading is disabled.

PING test - the option available for modules with firmware version 1.05 or newer. The option should be enabled if the module is to test communication by using the PING command sent to the indicated network device.

### DLOADX

DLOADX->ETHM connection - enable this option, if it is to be possible to initiate connection with the control panel via Ethernet from the DLOADX program.

Port - determines number of the TCP port through which communication with the DloadX program will take place. Values from 1 to 65535 can be entered. The value must be different from that entered for the other ports.

DLOADX key - a sequence of 1 to 12 alphanumeric characters to define the key to code the data during communication with the DloadX program.

DLOADX server - IP address of a computer with DLOADX program. The address must be programmed, if communication with the DLOADX program is to be initiated by the control panel via the Ethernet network with the use of TCP/IP protocols. It can be entered as a name or in the numeric format.

### GUARDX / JAVA

GUARDX - enable the option, if it is to be possible to initiate connection with the control panel via Ethernet from the GUARDX program.

WWW - enable the option, if it is to be possible to initiate connection with the control panel via Ethernet by means of a web browser.

GSM conn. - enable the option, if it is to be possible to initiate connection with the control panel via Ethernet by means of a mobile phone.

Port - enter in this field the number of TCP port which will be used for communication with the GUARDX program and the JAVA application in a mobile phone with MIDP2.0 standard support. Values from 1 to 65535 can be entered. The value must be different from that entered for the other ports.

Port WWW/MIDP1.0 - enter in this field the number of TCP port which will be used for communication with the JAVA application in a web browser and the JAVA application in a mobile phone with MIDP1.0 standard support. Values from 1 to 65535 can be entered. The value must be different from that entered for the other ports.

Note: The MobileKPD application, which enables remote operation of the INTEGRA control panel by means of a mobile phone, is available in two versions: for the telephones compatible with MIDP1.0 specification (non-socket) and for those compatible with MIDP2.0 specification (socket).

GUARDX/JAVA key - a sequence of 1 to 12 alphanumeric characters to define the key to code the data during communication with the GuardX program/Java application in internet browser/Java application in mobile phone.

GUARDX server - IP address of a computer with GUARDX program. The address must be programmed, if communication with the GUARDX program is to be initiated by the control panel via the Ethernet network with the use of TCP/IP protocols. It can be entered as a name or in the numeric format.

### Wrong login

Log event – with this option selected, all unauthorized attempts to establish connection with the module will be saved in the events log.

Alarm - with this option selected, all unauthorized attempts to establish connection with the module will trigger a tamper alarm. The option is available, when the Log event option is enabled.

## INT-RS data converter

Makes it possible to connect a computer with GuardX program installed, similarly as to LCD keypad, monitor events by using a special external device, and operate the control panel by means of software other than that offered by SATEL.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

## INT-CR / INT-IT proximity card arm/disarm device

Note: The INT-CR device is identified as INT-IT.

The device enables arming / disarming and alarm clearing in many partitions by means of proximity cards, key fobs and other 125 kHz passive transponders.

Name – individual name of the device (up to 16 characters).

Partition - the partition in which alarm will be signaled if the keypad is disconnected from the control panel.

#### Partition table

Double click your mouse on the particular table fields to make required changes.

R - reaction of the partition after moving the card away from the reader face, when the red LED is on. The X symbol indicates that the partition will be armed after the card is moved away. A blank field means no reaction of the partition.

G - reaction of the partition after moving the card away from the reader face, when the green LED (mode A) is on. The digit in the field indicates the armed mode to be activated in the partition (1 - fully armed; 2 - armed without interior; 3 - armed without interior and without entry delay). A blank field means no reaction of the partition.

Y - reaction of the partition after moving the card away from the reader face, when the yellow LED (mode B) is on. The digit in the field indicates the armed mode to be activated in the partition (1 - fully armed; 2 - armed without interior; 3 - armed without interior and without entry delay). A blank field means no reaction of the partition.

#### Options

Sign. card (hardware) - the device can signal by a single beep that the card code has been read out or the LED has lit up (the code is sent to the control panel after removal of the card and only then the panel reaction to the read code is audibly signaled).

Alarm signaling - the device can audibly signal alarms during the Global alarm time.

Alarm signaling until canceled - the device can audibly signal the alarm memory.

Signaling entry delay - the device can audibly signal the entry delay countdown.

Signaling exit delay - the device can audibly signal the exit delay countdown.

Auto-arm delay countdown - the device can audibly signal the auto-arming delay countdown.

No auto-reset after 3 tampers - you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

3 wrong cards alarm - reading the unknown card code three times will trigger alarm.

Second code wait signaling - the device can signal by means of LEDs that it is waiting for the second card. This is a global option (if enabled in any device, it will be enabled in all of them).

Users - the button opens the Users window.

## INT-S-GR / INT-S-BL / INT-SK-GR / INT-SCR partition keypad

The partition keypad allows for the arming/disarming of one partition and enables execution of the access control (supervision of a single door).

Name - individual name of the device (up to 16 characters).

Partition - selection of the partition to be operated by the keypad.

### Access control

Lock - enable this option, if the module is to execute the access control functions.

Lock features - mode of operation of the relay controlling the door lock:

ON if partition armed - the relay is active when the partition is armed, and inactive when the partition is disarmed.

Note: When operating in this mode the relay will change its state automatically, if the partition is disarmed from the given keypad. When the partition is disarmed from another keypad, the state of the relay will change on entering the CODE and pressing the * key on the given partition keypad.

Fixed ON time - after the user enters the CODE and presses the * key, the relay will be active for the Relay ON time.

Fixed ON time – OFF if door open - after the user enters the CODE and presses the * key, the relay will be active until the door is opened (the IN input is cut off from the ground), however not longer than for the Relay ON time.

Fixed ON time – OFF if door closed - after the user enters the CODE and presses the * key, the relay will be active until the door is closed (the IN input is re-connected to ground), however not longer than for the Relay ON time.

Relay ON time - the time period during which the relay is active.

Relay - operating mode of the relay:

NO - the NO contacts are normally open and close upon operation (activation) of the relay,

NC - the NC contacts are normally closed and open upon operation (activation) of the relay.

Authorization control - opening the door without entering a code from the keypad will generate an „Unauthorized door opening” event, it can also be signaled on the output type 93. Unauthorized access.

Alarm on unauth. access - when the partition to which the module is assigned is armed, unauthorized opening of the door will trigger the alarm and can be additionally signaled on the output type 94. Alarm – unauthorized access.

Max. door open time – the time after expiry of which the module will signal the long opened door and activate the audible alarm.

Dependent on door 1 / Dependent on door 2 - you can define the door that must be closed so as to enable opening of the door supervised by the module (activation of the relay). It allows to create a "sluice" type passage. You can indicate a door supervised by another alarm system expansion module or zone programmed as the 57. technical - door open type.

Code+* do not disarm – with this option enabled, entering the code, confirmed by pressing the * key will neither disarm the partition nor activate the relay (will prevent the door from being opened).

Access when armed - with this option enabled, entering the code, confirmed by pressing the * key will not disarm the partition, but it will activate the relay (and enable opening of the door). The option is available when the Code+* do not disarm is enabled.

### Open door if fire

The fire alarm can have an effect on unblocking the door:

no - fire alarm has no effect on the door blocking,

partition fire alarm - fire alarm in the partition will unblock the door controlled by the module,

object fire alarm - fire alarm in the object will unblock the door controlled by the module,

fire alarm - fire alarm in the system will unblock the door controlled by the module.

### Additional features

FIRE alarm - pressing and holding down the key with  symbol for approx. 3 seconds will trigger the fire alarm.

AUX. alarm - pressing and holding down the key with  symbol for approx. 3 seconds will trigger the medical alarm.

PANIC alarm - pressing and holding down the key with  symbol for approx. 3 seconds will trigger the panic alarm.

Silent PANIC alarm - pressing and holding down the key with  symbol for approx. 3 seconds to trigger the silent panic alarm, i.e. without a loud signaling, but only with sending a message to the monitoring station and activating the 12. Silent alarm type of output.

Alarm 3 incorrect codes - an alarm will be triggered if a wrong code is entered three times.

Quick arming - with this option enabled, quick arming function will be available:

fully armed mode - after pressing in turn 0 and # keys (INTEGRA control panels with any firmware version) or 1 and # (INTEGRA control panel with firmware version 1.05);

fully armed mode plus bypassing zones with Bypassed if no exit option enabled - after pressing in turn 1 and # keys (INTEGRA control panel with firmware version 1.06);

armed without internal - after pressing in turn 2 and # keys (INTEGRA control panel with firmware version 1.05 or later);

armed without internal and delayed - after pressing in turn the 3 and # keys (INTEGRA control panel with firmware version 1.05 or later).

Control BI output - using the BI output operating type of code, you can control the 25. BI Switch type of output.

Control MONO output - using the MONO output operating type of code, you can control the 24. MONO Switch type of output.

Partition blocking - entering the guard code or the Temporary partition blocking type of code when the partition is armed, will temporarily bypass the zones in the partition, the module is assigned to. The blocking duration is determined in the partition parameters (for the guard) or in the user code parameters.

Guard round control – entering the guard code (code* or code#) will be recorded as completion of the round.

Changing access code – this option enables the function of the user code changing.

Alarm signal - acoustic alarm signaling in the given partition through the total duration of alarm.

Alarm signal until canceled - acoustic alarm signaling in the given partition until the alarm is cleared.

Signaling entry delay - the keypad is acoustically signaling the entry delay countdown.

Signaling exit delay - the keypad is acoustically signaling the exit delay countdown.

Auto-Arm delay countdown - the keypad is acoustically signaling the auto-arming delay time for the partition to which it is assigned.

Access code signaling (hardware) – enabling this option will activate the signaling of code entry acknowledgement, which is independent of the control panel. The option is useful in expanded alarm systems, because of a considerable time lag between entering the code and generating the audible signal by the control panel.

CHIME - the module is acoustically signaling violation of the zones having the CHIME in module option enabled and belonging to the same partition as the module.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

### Confirmation

The mode of communicating with the user:

No - the module provides no information on execution of or refusal to execute an operation.

Sound - the module provides information on execution of or refusal to execute an operation by means of beeps.

Backlight - the module provides information on execution of or refusal to execute an operation by means of blinking of key backlight.

### Backlight

You can select the keypad backlight option:

No - keypad backlit disabled.

Auto - keypad backlit goes on automatically on pressing any key and, additionally, in situations defined in the Auto-backlight area

Note: Automatic keypad illumination is ON for approx. 40 seconds from the moment of its activation or from the last press of any key.

Permanent - the keypad backlight permanently on.

### Auto-backlight

Additionally, the backlight can go on after a specific event occurs in the system, e.g. starting the entry delay countdown in the selected partition, or violating a selected zone.

Users - the button opens the Users window.

## INT-ENT entry keypad

The INT-SCR-BL multifunction keypad with proximity card reader can be used as the INT-ENT entry keypad. The main task of the entry keypad is activation of the delay in the partition for the 3. Interior delayed type zones. The time period during which these zones will act as delayed ones is programmable for the keypad.

Name - individual name of the device (up to 16 characters).

Partition - selection of the partition to be operated by the keypad.

Delay activation time – the time period during which the 3. Interior delayed type zones (belonging to the partition to which the keypad is assigned) will act as delayed ones. The countdown will start running after the code is entered or the card is read in. After expiry of the programmed time, the interior delayed zones will again act as instant ones, unless the partition is disarmed.

### Additional features

Alarm 3 incorrect codes - an alarm will be triggered if a wrong code is entered three times.

Control BI output - using the BI output operating type of code, you can control the 25. BI Switch type of output.

Control MONO output - using the MONO output operating type of code, you can control the 24. MONO Switch type of output.

Guard round control – entering the guard code (code* or code#) will be recorded as completion of the round.

Delay activation signaling - when the option is enabled, the keypad will signal with beeps the countdown of delay unblocking time.

Access code signaling (hardware) – enabling this option will activate the signaling of code entry acknowledgement, which is independent of the control panel. The option is useful in expanded alarm systems, because of a considerable time lag between entering the code and generating the audible signal by the control panel.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

### Confirmation

The mode of communicating with the user:

No - the module provides no information on execution of or refusal to execute an operation.

Sound - the module provides information on execution of or refusal to execute an operation by means of beeps.

Backlight - the module provides information on execution of or refusal to execute an operation by means of blinking of key backlight.

### Backlight

You can select the keypad backlight option:

No - keypad backlit disabled.

Auto - keypad backlit goes on automatically on pressing any key.

Note: Automatic keypad illumination is ON for approx. 40 seconds from the moment of its activation or from the last press of any key.

Permanent - the keypad backlight permanently on.

Users - the button opens the Users window.

## INT-SZ-GR / INT-SZ-BL / INT-SZK-GR code lock

Code lock enables execution of the access control (supervision of a single door).

Name - individual name of the device (up to 16 characters).

Partition - selection of the partition to which the module is assigned (the partition will signal alarm if module tamper is detected).

### Access control

Lock features - mode of operation of the relay controlling the door lock:

Fixed ON time - after the user enters the CODE and presses the * key, the relay will be active for the Relay ON time.

Fixed ON time – OFF if door open - after the user enters the CODE and presses the * key, the relay will be active until the door is opened (the IN input is cut off from the ground), however not longer than for the Relay ON time.

Fixed ON time – OFF if door closed - after the user enters the CODE and presses the * key, the relay will be active until the door is closed (the IN input is re-connected to ground), however not longer than for the Relay ON time.

Relay ON time - the time period during which the relay is active.

Relay - operating mode of the relay:

NO - the NO contacts are normally open and close upon operation (activation) of the relay,

NC - the NC contacts are normally closed and open upon operation (activation) of the relay.

Authorization control - opening the door without entering a code from the keypad  will generate an „Unauthorized door opening” event, it can also be signaled on the output type 93. Unauthorized access.

Alarm on unauth. access - when the partition to which the module is assigned is armed, unauthorized opening of the door will trigger the alarm and can be additionally signaled on the output type 94. Alarm – unauthorized access.

Max. door open time – the time after expiry of which the module will signal the long opened door and activate the audible alarm.

Dependent on door 1 / Dependent on door 2 - you can define the door that must be closed so as to enable opening of the door supervised by the module (activation of the relay). It allows to create a "sluice" type passage. You can indicate a door supervised by another alarm system expansion module or zone programmed as the 57. technical - door open type.

### Open door if fire

The fire alarm can have an effect on unblocking the door:

no - fire alarm has no effect on the door blocking,

partition fire alarm - fire alarm in the partition will unblock the door controlled by the module,

object fire alarm - fire alarm in the object will unblock the door controlled by the module,

fire alarm - fire alarm in the system will unblock the door controlled by the module.

### Additional features

FIRE alarm - pressing and holding down the key with  symbol for approx. 3 seconds will trigger the fire alarm.

AUX. alarm - pressing and holding down the key with  symbol for approx. 3 seconds will trigger the medical alarm.

PANIC alarm - pressing and holding down the key with  symbol for approx. 3 seconds will trigger the panic alarm.

Silent PANIC alarm - pressing and holding down the key with  symbol for approx. 3 seconds to trigger the silent panic alarm, i.e. without a loud signaling, but only with reporting to the central monitoring station and activating the 12. Silent alarm type of output.

Alarm 3 incorrect codes - an alarm will be triggered if a wrong code is entered three times.

Partition blocking - entering the guard code or the Temporary partition blocking type of code when the partition is armed, will temporarily bypass the zones in the partition, the module is assigned to. The blocking duration is determined in the partition parameters (for the guard) or in the user code parameters.

Guard round control – entering the guard code (code* or code#) will be recorded as completion of the round.

Changing access code – this option enables the function of the user code changing.

Access code signaling (hardware) – enabling this option will activate the signaling of code entry acknowledgement, which is independent of the control panel. The option is useful in expanded alarm systems, because of a considerable time lag between entering the code and generating the audible signal by the control panel.

CHIME - the module is acoustically signaling violation of the zones having the CHIME in module option enabled and belonging to the same partition as the module.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

### Confirmation

The mode of communicating with the user:

No - the module provides no information on execution of or refusal to execute an operation.

Sound - the module provides information on execution of or refusal to execute an operation by means of beeps.

Backlight - the module provides information on execution of or refusal to execute an operation by means of blinking of key backlight.

### Backlight

You can select the keypad backlight option:

No - keypad backlit disabled.

Auto - keypad backlit goes on automatically on pressing any key and, additionally, in situations defined in the Auto-backlight area

Note: Automatic keypad illumination is ON for approx. 40 seconds from the moment of its activation or from the last press of any key.

Permanent - the keypad backlight permanently on.

### Auto-backlight

Additionally, the backlight can go on after a specific event occurs in the system, e.g. starting the entry delay countdown in the selected partition, or violating a selected zone.

Users - the button opens the Users window.

## CA-64 SR expander of proximity card reader

Expander of proximity card reader enables execution of the access control (supervision of a single door).

Name - individual name of the device (up to 16 characters).

Partition - selection of the partition to which the module is assigned (the partition will signal alarm if module tamper is detected).

### Access control

Lock - enable this option if the module is to carry out access control functions, and then specify the operating mode of the relay to control the door lock:

ON if partition armed - the relay is active when the partition is armed, and inactive when the partition is disarmed.

Note: The expander relay is activated after the partition is armed in any way. Return of the relay to its normal state will take place after reading the card in the reader connected to the particular expander (holding the card – if the system is armed; presenting – if the system has been disarmed).

Fixed ON time - after the proximity card code has been read out, the relay will be active for the Relay ON time.

Fixed ON time – OFF if door open - after the proximity card code has been read out, the relay will be active until the door is opened (the IN input is cut off from the ground), however not longer than for the Relay ON time.

Fixed ON time – OFF if door closed - after the proximity card code has been read out, the relay will be active until the door is closed (the IN input is re-connected to ground), however not longer than for the Relay ON time.

Relay ON time - the time period during which the relay is active.

Max. door open time – the time after expiry of which the module will signal the long opened door and activate the audible alarm.

Dependent on door 1 / Dependent on door 2 - you can define the door that must be closed so as to enable opening of the door supervised by the module (activation of the relay). It allows to create a "sluice" type passage. You can indicate a door supervised by another alarm system expansion module or zone programmed as the 57. technical - door open type.

No auto-disarm - with this option enabled, presenting the card to the reader will not disarm the system, nor activate the relay (the door will not be unlocked).

Access if armed - with this option enabled, presenting the card to the reader will not disarm the system, but it will activate the relay (the door will be unlocked). The option is available, if the No auto-disarm option is enabled.

Authorization control - opening the door without using the proximity card will generate an „Unauthorized door opening” event, it can also be signaled on the output type 93. Unauthorized access.

Alarm on unauth. access - when the partition to which the module is assigned is armed, unauthorized opening of the door will trigger the alarm and can be additionally signaled on the output type 94. Alarm – unauthorized access.

### Open door if fire

The fire alarm can have an effect on unblocking the door:

no - fire alarm has no effect on the door blocking,

partition fire alarm - fire alarm in the partition will unblock the door controlled by the module,

object fire alarm - fire alarm in the object will unblock the door controlled by the module,

fire alarm - fire alarm in the system will unblock the door controlled by the module.

### Reader A / Reader B

Reader control – option defining whether the control panel is to perform the reader presence check. Lack of the controlled reader will be signaled as trouble and can also trigger the tamper alarm (if the Reader tamper alarm option is enabled).

Note: The function can be realized, if the reader has the wire of reader presence control circuit, which can be connected to TMPA or TMPB terminal.

Confirmation: sound - with this option enabled, the reader will indicate execution of or refusal to execute an operation by means of beeps.

Confirmation: LED - with this option enabled, the reader will indicate execution of or refusal to execute an operation by means of LED.

Arm - with this option enabled, you can arm the partition by using the proximity card.

No disarming - with this option enabled, you cannot disarm the system by using the proximity card.

Reader tamper alarm - with this option enabled, lack of the reader will trigger the tamper alarm. The option is available, if the reader A or B presence control is enabled.

Sign. card (hardware) - enable this option to start the card code readout signaling which is independent of the control panel. The option is useful in extended alarm systems, where significant time lags occur between presenting the card to the reader and the sound signaling generated by the control panel.

Alarm 3 incorrect codes – with this option enabled, alarm will be generated after three failed attempts to read in incorrect card.

### Additional features

Control BI output - using the proximity card assigned to the BI output operating type of code, you can control the 25. BI Switch type output.

Control MONO output - using the proximity card assigned to the MONO output operating type of code, you can control the 24. MONO Switch type output.

Partition blocking - reading the proximity card of the guard or a user having the Temporary partition blocking type of code when the partition is armed, will temporarily block the zones in the partition, the module is assigned to. The blocking duration is determined in the partition parameters (for the guard) or in the user code parameters.

Guard round control – reading the proximity card of the guard will be recorded as completion of the round.

Alarm signal - acoustic alarm signaling in the given partition through the total duration of alarm.

Alarm signal until canceled - the reader will be acoustically signaling alarm in partition until it is cleared.

Signaling entry delay - the reader is acoustically signaling the entry delay countdown.

Signaling exit delay - the reader is acoustically signaling the exit delay countdown.

Auto-Arm delay countdown - the reader is acoustically signaling the auto-arming delay time.

CHIME - the reader is acoustically signaling violation of the zones having the CHIME in module option enabled and belonging to the same partition as the module.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Users - the button opens the Users window.

## CA-64 DR expander of DALLAS chip readers

Expander of DALLAS chip readers enables execution of the access control (supervision of a single door).

Name - individual name of the device (up to 16 characters).

Partition - selection of the partition to which the module is assigned (the partition will signal alarm if module tamper is detected).

### Access control

Lock - enable this option if the module is to carry out access control functions, and then specify the operating mode of the relay to control the door lock:

ON if partition armed - the relay is active when the partition is armed, and inactive when the partition is disarmed.

Note: The expander relay is activated after the partition is armed by any means. Return of the relay to its normal state will take place after reading in the chip to the reader connected to the particular expander (holding the chip – if the system is armed; touching the reader – if the system has been disarmed).

Fixed ON time - after the DALLAS chip code has been read out, the relay will be active for the Relay ON time.

Fixed ON time – OFF if door open - after the DALLAS chip code has been read out, the relay will be active until the door is opened (the IN input is cut off from the ground), however not longer than for the Relay ON time.

Fixed ON time – OFF if door closed - after the DALLAS chip code has been read out, the relay will be active until the door is closed (the IN input is re-connected to ground), however not longer than for the Relay ON time.

Relay ON time - the time period during which the relay is active.

Max. door open time – the time after expiry of which the module will signal the long opened door and activate the audible alarm.

Dependent on door 1 / Dependent on door 2 - you can define the door that must be closed so as to enable opening of the door supervised by the module (activation of the relay). It allows to create a "sluice" type passage. You can indicate a door supervised by another alarm system expansion module or zone programmed as the 57. technical - door open type.

No auto-disarm - with this option enabled, touching the reader with the DALLAS chip will neither disarm the partition nor activate the relay (door will stay locked).

Access if armed - with this option enabled, touching the reader with the DALLAS chip will not disarm the partition, but it will activate the relay (will unlock the door). The option is available when the No auto disarm is enabled.

Authorization control - opening the door without using the chip will generate an „Unauthorized door opening” event, it can also be signaled on the output type 93. Unauthorized access.

Alarm on unauth. access - when the partition to which the module is assigned is armed, unauthorized opening of the door will trigger the alarm and can be additionally signaled on the output type 94. Alarm – unauthorized access.

### Open door if fire

The fire alarm can have an effect on unblocking the door:

no - fire alarm has no effect on the door blocking,

partition fire alarm - fire alarm in the partition will unblock the door controlled by the module,

object fire alarm - fire alarm in the object will unblock the door controlled by the module,

fire alarm - fire alarm in the system will unblock the door controlled by the module.

### Reader A / Reader B

Confirmation: sound - with this option enabled, the reader will indicate execution of or refusal to execute an operation by means of beeps.

Confirmation: LED - with this option enabled, the reader will indicate execution of or refusal to execute an operation by means of LED.

Arm - with this option enabled, you can arm the partition by using the DALLAS chip.

No disarming - with this option enabled, you cannot disarm the system by using the DALLAS chip.

Sign. card (hardware) - enabling this option will start the DALLAS chip code readout signaling which is independent of the control panel. The option is useful in extended alarm systems, where significant time lags occur between touching the reader with the DALLAS chip and the sound signaling generated by the control panel.

Alarm 3 incorrect codes – with this option enabled, alarm will be generated after three failed attempts to read in incorrect DALLAS chip.

### Additional features

Control BI output - using the DALLAS chip assigned to the BI output operating type of code, you can control the 25. BI Switch type output.

Control MONO output - using the DALLAS chip assigned to the MONO output operating type of code, you can control the 24. MONO Switch type output.

Partition blocking - reading the DALLAS chip of the guard or a user having the Temporary partition blocking type of code when the partition is armed, will temporarily block the zones in the partition, the module is assigned to. The blocking duration is determined in the partition parameters (for the guard) or in the user code parameters.

Guard round control – reading the DALLAS chip of the guard will be recorded as completion of the round.

Alarm signal - acoustic alarm signaling in the given partition through the total duration of alarm.

Alarm signal until canceled - the reader will be acoustically signaling alarm in partition until it is cleared.

Signaling entry delay - the reader is acoustically signaling the entry delay countdown.

Signaling exit delay - the reader is acoustically signaling the exit delay countdown.

Auto-Arm delay countdown - the reader is acoustically signaling the auto-arming delay time.

CHIME - the reader is acoustically signaling violation of the zones having the CHIME in module option enabled and belonging to the same partition as the module.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Users - the button opens the Users window.

## Users

Indicate in the window the administrators and users authorized to use the module.

## CA-64 E / CA-64 Ei zone expander

Zone expander enables the system expansion by 8 zones. Numeration of zones is set during the procedure of identification (and presented in the program window).

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

EOL resistance value - for the expanders identified as CA-64 Ei, the value of resistors used in EOL and 2EOL configurations is programmable (within the range from 500 Ohm to 15 kOhm). Depending on the expander firmware version, the following is to be configured:

- version 4.00 - value of the R1 and R2 resistors for 2EOL zone (see the figure). Value of the resistor for EOL zone is the sum of values programmed as R1 and R2.

- version 2.00 or 2.01 - value of the resistor for EOL zone. For 2EOL zone, the value of a single resistor is half the defined value.

Advanced - the button opens the Exp. modules order window.

## CA-64 EPS / CA-64 EPSi zone expander with power supply

Zone expander with power supply enables the system expansion by 8 zones. Numeration of zones is set during the procedure of identification (and presented in the program window). The expander is equipped with a 1.2 A built-in switching mode power supply.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

EOL resistance value - for the expanders identified as CA-64 EPSi the value of resistors used in EOL and 2EOL configurations is programmable (within the range from 500 Ohm to 15 kOhm). Depending on the expander firmware version, the following is to be configured:

- version 4.00 - value of the R1 and R2 resistors for 2EOL zone (see the figure). Value of the resistor for EOL zone is the sum of values programmed as R1 and R2.

- version 2.00 or 2.01 - value of the resistor for EOL zone. For 2EOL zone, the value of a single resistor is half the defined value.

Advanced - the button opens the Exp. modules order window.

## CA-64 ADR addressable zone expander

Addressable zone expander enables the system expansion by 48 zones. Numeration of zones is set during the procedure of identification (and presented in the program window). The expander is equipped with a 2.2 A built-in switching mode power supply.

Operation of the expander consists in handling the addressable detectors connected in parallel to the internal data bus (leads: INT, COM, POW). The addressable detector is obtained from a typical detector (NO, NC) upon installing inside it the SATEL CA-64 ADR MOD addressable module. Each of the addressable detectors represents one zone of the alarm system.

The CA-64 ADR expander can take from 1 to 6 addresses on the expander bus. Which addresses will be occupied depends on the number of connected addressable detectors and the addresses set in them. 1 address on the expander bus and 8 zones in the system are reserved for a group of 8 addressable detectors (however, just one addressable detector is enough for an address on the expander bus and 8 zones in the system to be reserved). It is advisable to set consecutive addresses in the CA-64 ADR MOD modules and avoid any gaps. Thus you will not block any expander bus addresses and system zones which can be used by other expanders.

Notes:

The INTEGRA 24 control panel enables the system to be expanded by up to 16 addressable zones. Addresses from the 0–15 range should be set in the CA-64 ADR MOD  modules.

In case of the INTEGRA 32 control panel the system can be expanded by up to 24 addressable zones. Addresses from the 0–23 range should be set in the CA-64 ADR MOD  modules.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

Advanced - the button opens the Exp. modules order window.

## CA-64 O-OC / CA-64 O-R / CA-64 O-ROC output expander

The output expander enables expansion of the system by 8 outputs:

CA-64 O-OC - 8 OC type outputs,

CA-64 O-R - 8 relay outputs

CA-64 O-ROC - 4 relay outputs / 4 OC outputs.

Numeration of outputs is set during the procedure of identification (and presented in the program window).

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Advanced - the button opens the Exp. modules order window.

## INT-ORS DIN-rail output expander

DIN-rail output expander enables expansion of the system by 8 relay outputs. The relays are capable of controlling electrical devices supplied with 230 V AC voltage.

Note: It is not recommended to operate an inductive load.

Numeration of outputs is set during the procedure of identification (and presented in the program window).

The module is designed for mounting on 35 mm DIN rail, which facilitates installation process and integration with other automation systems.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Advanced - the button opens the Exp. modules order window.

## CA-64 OPS-OC / CA-64 OPS-R / CA-64 OPS-ROC output expander with power supply

The output expander with power supply enables expansion of the system by 8 outputs:

CA-64 OPS-OC - 8 OC type outputs,

CA-64 OPS-R - 8 relay outputs

CA-64 OPS-ROC - 4 relay outputs / 4 OC outputs.

Numeration of outputs is set during the procedure of identification (and presented in the program window). The expander is equipped with a 2.2 A built-in switching mode power supply.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

Advanced - the button opens the Exp. modules order window.

## INT-IORS DIN-rail zone/output expander

DIN-rail zone/output expander enables the system to be expanded by 8 zones and 8 relay outputs. The relays can control the electrical devices supplied with 230 V AC voltage.

Note: It is not recommended to operate an inductive load.

Numeration of zones and outputs is set during the procedure of identification (and presented in the program window).

The module is designed for mounting on 35 mm DIN rail, which facilitates installation process and integration with other automation systems.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Advanced - the button opens the Exp. modules order window.

## CA-64 PP zone/output expander with power supply

Zone/output expander with power supply enables expansion of the system by 8 zones and 8 outputs (4 relay and 4 OC type). Numeration of zones and outputs is set during the procedure of identification (and presented in the program window).The expander is equipped with a 2.2 A built-in switching mode power supply.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

Advanced - the button opens the Exp. modules order window.

## ACU-100 controller of ABAX wireless system

Controller of ABAX wireless system enables expansion of the system by adding wireless devices. It supervises and coordinates operation of up to 48 wireless devices.

The ACU-100 controller may take up from 1 to 6 addresses on the expander bus. How many addresses will be taken up depends on the number of used wireless zones/outputs (depending on its type, the wireless device may take up from 1 to 4 zones/outputs). For a group of 8 wireless zones/outputs, 1 address is reserved on the expander bus (one wireless zone/output will suffice for an address on the expander bus and 8 zones/outputs in the system to be reserved).

### Controller parameters

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Response period – communication with wireless devices takes place in specified intervals. The controller is then gathering information on the status of wireless devices and, if necessary, sending commands to the devices, e.g. switching the detectors to their active/passive state, switching on/off the test mode and/or changing configuration of the devices. The polling period can be 12, 24 or 36 seconds. The less frequent is communication between the controller and the wireless devices takes place, the greater is the number of wireless devices can work with their operating ranges mutually overlapped (for 12 s – maximum 150, for 24 s – 300, and for 36 s – 450). Outside the polling period, information on tampers of devices and violations of active detectors is sent to the controller. The Response period has also impact on the level of energy consumption by the wireless devices. The less frequently communication between the controller and the wireless devices takes place, the lower energy consumption and the longer battery life is.

### Parameters of wireless devices

Information on the wireless devices is presented in the table.

No. - number of the zone/output to which the wireless device is assigned.

Name - name of the zone/output to which the wireless device is assigned.

Type – type/function of the zone/output to which the wireless device is assigned.

Device type - type of the wireless device.

Serial number - serial number of the wireless device.

Always active - the option is available for most of the wireless detectors. It can permanently activate the detector.

Configuration - see: Configuration of wireless devices.

Filter – the number of consecutive response periods, during which communication with the device failed to be established, before no communication with the device is reported. Values from the 0 to 50 range can be entered. Entering the digit 0 will disable control of the device presence in the system.

### Buttons

Read - use the button to read the wireless devices data stored in the module memory. These data are not stored in the control panel and are not automatically read by clicking on the  button in program main menu.

Write - use the button to write the wireless devices data to the module when you finish editing them. These data are not automatically written by clicking on the  button in program main menu.

Test mode - the button enables entering/exiting the test mode. In the test mode, wireless devices will signal communication with the controller by LED blinking, and detectors will inform about tampers and violations by means of indicator LEDs. During normal work, the LED signaling is off for energy saving reasons. In the test mode, the signaling of sirens is blocked. The test mode is switched on and off during polling, thus causing a delay, the duration of which depends on the programmed polling period. The test period will be switched off automatically 30 minutes after:

- starting the test mode by means of the DloadX program (the 30-minute countdown runs from the moment of exiting the controller settings),

- terminating the service mode in control panel.

Note: According to the requirements of EN50131 standard, the level of radio signal sent by wireless devices is lowered when the test mode is running.

- the button opens the Wireless devices window.

- the button opens the Exp. modules order window.

Synchronize - the button starts the procedure of synchronization, i.e. checking whether other ABAX wireless systems are working within the controller range. The controller will adapt the polling period so as to prevent radio transmissions from being mutually jammed. Synchronization takes place automatically when starting the controller, and after each operation of adding/deleting devices which are supported by it.

New device - the button enables adding a new wireless device to the system. Adding new devices is possible when there is communication established between the program and the control panel to which the controller is connected.

Remove device - the button enables removing a wireless device from the system. Removing devices is possible when there is communication established between the program and the control panel to which the controller is connected.

Identification - the button enables running the procedure of expander identification (see: Identification). It is available after a wireless device has been added to / removed from the system.

Adding wireless devices

Removing wireless devices

## Adding wireless devices

Note: Adding new wireless devices is possible when the DLOADX program can communicate with the INTEGRA 128-WRL control panel or any other INTEGRA family panel to which the ACU-100 controller is connected.

You can add wireless devices in the STRUCTURE window, HARDWARE tab, by clicking on the WIRELESS SYSTEM branch (only INTEGRA 128-WRL), or on the ACU-100 controller.

- Click on the New device button. The NEW WIRELESS DEV. window will open.

- Enter the 7-digit serial number of the device being added. The serial number can be found on the electronics board or on the housing. The serial number of each ARF-100 radio signal level tester is 0000500.

- Depending on what kind of device is to be added to the system:

- turn on power supply of the ACX-200 or ACX-201 expander,

- switch on the ARF-100 tester,

- insert the ASW-100 E/ASW-100 F wireless controller into 230 V socket,

- insert battery into the ASD-100 detector,

- violate (open) the tamper contact in case of the other devices.

If a wrong serial number is entered, a corresponding message will be displayed. In such a case, enter the correct serial number and repeat the above-mentioned operation.

- A message will confirm that a new device has been added. Click on the OK button to finish the new device adding procedure. Automatic synchronization will be performed. You can cancel the new device adding procedure by pressing the Cancel button. You can also immediately proceed to adding a next wireless device by pressing the Next button.

Note: In case of the ACU-100 controller, after completion of the procedure of adding new wireless devices, start the expander identification function in the control panel (see: Identification).

## Removing wireless devices

Note: Removing wireless devices is possible when the DLOADX program can communicate with the INTEGRA 128-WRL control panel or any other INTEGRA family panel to which the ACU-100 controller is connected.

You can remove wireless devices in the STRUCTURE window, HARDWARE tab, by clicking on the WIRELESS SYSTEM branch (only INTEGRA 128-WRL), or on the ACU-100 controller.

- Click on the device you want to be removed.

- Click on the Remove device button. The CONFIRM window will open.

- Click on the Yes button, to confirm your intention to remove the device. The device will be removed.

Note: In case of the ACU-100 controller, after removal of a wireless device, start the expander identification function in the control panel (see: Identification).

## Wireless devices

The window shows information about communication with the ABAX system wireless devices.

No. - number of zone or output to which the wireless device is assigned.

Name - name of zone or output to which the wireless device is assigned.

Device type - type of wireless device.

Serial number - serial number of wireless device.

Signal level - current level of radio signal received from the wireless device. Presented as a percentage.

Connection quality - quality of the communication with wireless device (expressed as a percentage ratio between the polling periods when the communication with wireless device was correct, to all polling periods).

### Communication diagnostics

Test restart - click on the button to reset information about connection quality and restart analyzing of communication data again.

Testing since - the date from which information about communication with wireless devices are analyzed.

### Buttons

- the button opens the Wireless system window.

Close - the button closes the window.

## Wireless system

The window presents in graphic form information about communication with the ABAX system wireless devices (the INTEGRA 128-WRL control panel or any other INTEGRA family control panel to which the ACU-100 controller is connected).

### Current level [only INTEGRA 128-WRL]

The level of radio signal in the band used by ABAX system is presented in diagrammatic form. Thus you can check whether that band is also used by other radio devices which might cause communication interference, and what is the level of radio "noise". If the unwanted radio signals do occur and they are comparable to or stronger than those from the ABAX system devices, they will interfere with the system operation. This may result in intermittent loss of communication and decreased life of wireless device batteries.

The synchronization feature enables several ABAX systems to operate without any problem with their respective ranges being overlapped. The only limitation is the maximum number of wireless devices which may work within mutually overlapping range.

An example of diagram presented in the tab. 1 - signals from other devices operating in the same frequency band (e.g. another ABAX system). 2 - communication with ABAX system devices supported by the INTEGRA 128-WRL control panel. 3 - "noise" level.

### Diagrams for devices

The level of radio signal of each wireless device of the ABAX system is presented under a separate tab. As long as one of the wireless device tabs is open in the Wireless system window, the program is gathering the radio communication data, which may be written to disk. The data files may be opened later in the same window. The program writes the data to file automatically every 24 hours (the file name contains system name, date and time when written to disk).

Note: Closing the Wireless system window or opening the Current level tab will terminate recording the data about signal level of individual devices.

Communication of the wireless device may be shown by using two diagram types: bar diagram (detailed) and linear diagram (long-term). The diagram shows levels from 0 do 100% and time scale.

An example of bar diagram. 1 - level of signal from wireless device. 2 - interference - maximum level. 3 - interference - medium level.

An example of linear diagram. 1 - level of signal from wireless device. 2 - interference - maximum level. 3 - interference - medium level.

## Exp. modules order

The window enables changing the order of expanders and, consequently, changing the numeration of zones and outputs in those expanders. Such a change may be required, if addressing continuity was not observed when connecting expanders, and a new expander was added, which resulted in a change to numeration of zones or outputs in the system. Thus the existing settings programmed for some zones or outputs became useless.

The numeration changes will only hold good until the expander identification function is re-run.

## INT-RX 433 MHz remote keyfob operation expander

The 433 MHz keyfob operation expander enables assigning keyfobs to the alarm system users. Up to 6 functions can be performed by using a keyfob. The expander supports up to 248 keyfobs, manufactured by SATEL (the number of supported keyfobs depends on the control panel).

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

Edit keyfobs - the button opens the Keyfobs INT-RX window.

## CA-64 SM voice synthesizer expander

The voice synthesizer expander can store up to 16 voice messages, 15 second duration each. The messages are used for telephone notification about the alarm.

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition – selection of the partition in which tamper alarm will be triggered in the event of module tamper.

No auto-reset after 3 tampers – you can disable the feature limiting to three the number of tamper alarms from the expander (the feature prevents the same events from being logged repeatedly and applies to the successive uncleared alarms).

# Zones

Zone - 1. a separated part of the protected area, which can be supervised by detector(s). 2. terminals on the electronics board of control panel or expander, to which you can connect a detector or another device, whose state is to be supervised (PANIC button, siren tamper contact, power supply output indicating loss of 230 V AC supply, etc.).

The system can support the following zones:

hardwired – on the control panel electronics board, in keypads and expanders. The number of available hardwired zones is determined by the control panel during identification procedure.

Note: If the numbers of LCD keypad and expander zones coincide, and the zone use option is enabled in the keypad, the expander zones will not be supported.

wireless – the INTEGRA 128-WRL control panel, as well as the control panels to which the ACU-100 controller is connected. The number of available wireless zones depends on the number of wireless devices registered in the system and is determined during the procedure of adding wireless devices.

virtual – zones which physically do not exist, but have been programmed as Follow output or are controlled by means of a keyfob.

The zones can be configured:

- In the STRUCTURE window, SYSTEM tab, by clicking your mouse on the selected zone.

- In the ZONES window.

### Zone parameters

Zone name - individual name of the zone (up to 16 characters).

Partition - partition to which the zone belongs. The zone can only belong to one partition.

Zone type - see: Zone type.

Entry delay - the parameter refers to the delayed zones. The entry delay time makes it possible to disarm the system before triggering alarm.

Signaling delay - the parameter refers to the 4. Perimeter, 5. Instant and 6. Exit type zones. Loud alarm signaling can be delayed by a programmed time period.

Alarm delay - the parameter refers to the 5. Instant and 6. Exit. The alarm from zone may be delayed by a programmed time period.

Surveillance time - the parameter refers to the 8. Exterior type zones (zone with alarm verification). Violation of the zone will start the surveillance time running. If another violation occurs during the surveillance time, alarm will be triggered. If value 0 is programmed, the alarm will be generated on the first violation.

Bypass time - the parameter refers to the bypassing zones. It indicates for how long the zones will be bypassed. If value 0 is programmed, the zones will remain bypassed until disarming the partitions to which they belong, or until they are unbypassed by the user.

Module number (lock/keypad) - the parameter refers to the 58: Technical – Door button type zones. It defines which door will be unlocked after zone violation (you can indicate a door controlled by partition keypad, code lock, proximity card reader expander or DALLAS chip reader expander).

Arming mode - the parameter refers to the 80. Arming and 82. Arm/Disarm type zones. It defines which type of armed mode will be activated by the zone:

0 - full armed mode;

1 - fully armed and, additionally, the zones for which the Bypassed if no exit option is enabled, will be bypassed;

2 - 3. Interior delayed type zones will be bypassed, 8. Exterior type zones will trigger silent alarm, and the other ones – audible alarm;

3 - same as 2, but the delayed zones will act as instant ones.

Group - the parameter refers to the 80. Arming, 81. Disarming and 83. Clearing alarm type zones. It defines which group of partitions will be controlled by the zone (the zone always controls the partition it belongs to). If value 0 is programmed, the zone will only control the partition to which it belongs.

Wiring type – type of detector and the method of its connection:

no detector – no detector is connected to the zone;

NC – the zone supports a detector of NC (normally closed) type;

NO – the zone supports a detector of NO (normally open) type;

EOL – the zone supports a NO or NC detector in EOL loop;

2EOL/NO – the zone supports a NO detector in 2EOL loop;

2EOL/NC – the zone supports a NC detector in 2EOL loop;

roller – the zone supports a roller shutter detector (available for the zones on the electronics board of INTEGRA 128-WRL control panel, in INT-KSG keypad and in expanders identified as CA 64 Ei and CA 64 EPSi),

vibration – the zone supports a vibration detector (available on the electronics board of INTEGRA 128-WRL control panel, in INT-KSG keypad and in expanders identified as CA 64 Ei and CA 64 EPSi),

follow output – the zone status depends exclusively on the status of selected output (activating the selected output is equivalent to zone violation).

roller 2EOL - the zone supports a roller shutter detector in 2EOL loop (the wiring type available for zones in INT-KSG keypad and on mainboard of INTEGRA 128-WRL control panel with electronics version 2.1 or newer),

vibration 2EOL - the zone supports a vibration detector in 2EOL loop (the wiring type available for zones in INT-KSG keypad and on mainboard of INTEGRA 128-WRL control panel with electronics version 2.1 or newer).

Notes:

In case of the Vibration zone, opening of the circuit for 200 ms – irrespective of the programmed number of pulses and sensitivity – will be interpreted as violation. This solution enables magnetic detector to be connected in series with vibration detector.

Physical violations and tampers, as well as keyfob control, have no effect on status of the zone programmed as Follow output.

Sensitivity - depending on selected zone wiring type:

NO, NC, EOL and 2EOL - the time during which the zone must be violated, so that it can be noted by the control panel. The sensitivity is programmed in milliseconds. Values from the 20 ms to 5100 ms range can be entered.

ROLLER - 2 digits are to be programmed:

1. - pulses duration - during what time after pulse occurrence subsequent pulses must follow (in the number defined as the Pulses count) for the zone to be violated. You can enter 0 (the pulse counter will only be reset on arming / disarming), 1 (30 seconds), 2 (120 seconds) or 3 (240 seconds). The pulse counter is automatically reset on arming / disarming.

2. - pulses count - the number of pulses after which the zone will be violated. You can enter values from 1 to 8.

VIBRATION - 2 digits are to be programmed:

1. - sensitivity - occurrence of a pulse with duration equal to or longer than the defined time period will cause zone violation. You can program values from the 3 ms to 96 ms range (with 3 ms increments).

2. - pulses count - the number of pulses after which the zone will be violated. You can enter values from 0 to 7 (for value 0, no pulses will be counted - Sensitivity only will be taken into account).

Output - the parameter refers to the Follow output wiring type. Enter the number of output whose activation will cause zone violation. The selected output does not have to be physically connected to the zone. Both the zone and the output can be virtual ones.

Max. violation time / Max. door opening time – exceeding the maximum time of violation / door opening is recognized by the control panel as a detector failure (e.g. damaging or masking the detector) / door failure. If value 0 is programmed, control of this time is disabled.

Max. no violation time – exceeding the maximum time of no violation is recognized by the control panel as a detector failure (e.g. damaging or masking the detector). If value 0 is programmed, control of this time is disabled. The time can be programmed in seconds or minutes.

### Zone options

Power up delay – the zone will be bypassed for 120 sec. after power is switched on (which prevents triggering alarms e.g. when starting the alarm control panel).

Priority – this option makes arming impossible, if the zone with activated option is violated (e.g. in case when windows have been left open, etc.).

Violation control – option for 82. Arm/Disarm zone type. If this option is enabled, violation of the zone will arm/disarm the partition (depending on the current status of the partition). If the option is disabled, violation of the zone will arm, and end of violation will disarm the partition.

CHIME in module – zone violation can be signaled in partition keypads, code locks and expanders of proximity card/DALLAS chip readers assigned to the same partition as the zone (the option Chime must be enabled in the expander).

No alarm sign. in keypad – option for 13. Panic-silent zone type. If the option is enabled, silent panic alarm from this zone will not be signaled on keypads. Clearing this alarm by means of keypad will not be possible.

Video on disarmed – violation of the zone will activate the Video on disarmed type output (intended for starting cameras and video recorders).

Video on armed – violation of the zone will activate the Video on armed type output (intended for starting cameras and video recorders).

Bypass disabled – the zone cannot be bypassed by means of the user functions available in the Zone bypasses submenu.

Bypassed if no exit – the zone will be automatically bypassed, if during the exit delay countdown no exit from the partition has been recorded (the exit zone has not been violated). The zone will also be bypassed if the "full + bypasses" armed mode is active (in such a case, recording an exit from the partition is of no significance). The zone will be unbypassed on partition disarming.

Alarm if armed – option available to type 64–79 zones, when the No bypass in armed option is selected. Violation of the zone when the partition it belongs to is armed will trigger an alarm (provided that the control panel has recorded the partition exit after arming).

Alarming - option available for the 91. Detector mask zone type. If enabled, violation of the zone will additionally trigger an alarm.

Auto-reset 3 – the zone can trigger up to 3 alarms. As long as the alarm is not cleared or the partition is not armed/disarmed, violations of the zone will not trigger any alarm.

Auto-reset 1 – the zone can trigger only 1 alarm. As long as the alarm is not cleared or the partition is not armed/disarmed, violations of the zone will not trigger any alarm.

Clearing Autoreset – alarm counters for the zones for which the Auto-reset 3 or Auto-reset 1 option is enabled can be automatically reset at midnight (violations of these zones will be able to trigger alarms again).

Prealarm – zone with alarm verification.

With verification – an option for zones type 0–2 and 85–86. If enabled, the zone is included in alarm verification.

Bell delay – an option for zones type 5 and 6. It changes the way of reaction to a zone violation when armed. If the option is disabled, the alarm from zone will be delayed by a programmed time period (Alarm delay). If the option is enabled, the zone will alarm immediately (event, reporting and telephone messaging), but the loud signaling will be delayed by a programmed time period (Signaling delay).

Clear alarm – option available to zones type 81 and 82. Violation of the zone will clear alarm in the partition, if it is currently indicated.

Abort delay – with this option disabled, an "alarm” event will be registered after violation of the zone starting the entry delay time (without alarm signaling, but with reporting and messaging as for the alarm). If the option is enabled, a "zone violation" event will be logged (without messaging, and with reporting in 4/2 or 3/2 format only, provided that the code for "zone violation" event has been entered).

Partition temporary blocking – option for the zone type 84. Violation of the zone will block the partition for the time of guard round.

Restore after bell – the zone restore code will be reported to the central monitoring station only after the alarm signaling is ended.

Restore after disarm – the zone restore code will be reported to the central monitoring station only after disarming the partition to which the zone belongs.

Alarm on Exit delay end – the zone will trigger alarm if at the moment of ending the exit delay countdown it is in the state of violation (with this option disabled the alarm is triggered only if the zone state changes from normal to violation – when armed).

Store to event log – option for the 47. No alarm action and 63. Trouble zone types. Violation of the zone will result in storing an event according to the zone type (in case of the 47. No alarm action zone type, the information to be written depends additionally on the No reporting option).

No reporting – an option for the 47. No alarm action zone type with the Store to event log option enabled:

- enabled – violation of the zone will only write an event informing about zone violation;

- disabled – violation of the zone will result in writing an event informing about keybox opening, the code of which is sent to the central monitoring station.

No restore event – an option for the 47. No alarm action zone type with Store to event log and No reporting options enabled. The zone restore is not stored into the event log.

Store event only if armed – option for the 47. No alarm action zone type. It is available, if the Store to event log option is enabled. Violations of the zone will be written into the event log, provided that the partition to which the zone is assigned, is armed.

No bypass if armed – option for the type 64–79 zones. Violation of the zone when the partition it belongs to is in armed mode will block no group of zones (provided that during the exit delay countdown an exit from the partition is recorded).

Abort voice messaging – option for the 81-83 zone types. Violation of the zone will cancel the messaging, if it is currently ongoing.

Alarm on unbypass – the zone will trigger an alarm if it is violated after unbypassing, and the partition is armed.

Always loud tamper alarm – if this option is enabled, tamper alarm is always loud (if option is disabled – tamper alarm is loud only when armed).

Reporting delay - an option for the 4-7 and 64-79 zone types. During the entry delay time the information on alarm will not be sent to the monitoring station instantly, but delayed by maximum 30 seconds. The delay also refers to the burglary alarm signaling (during the entry delay time, the alarm is signaled on 9. DAY Alarm, 12. Silent alarm and 116. Internal Siren output types). The event will be sent earlier (the burglary alarm signaling output will activate) if the entry delay expires or another instant zone is violated. In case of disarming within 30 seconds, the event will not be sent.

Blocks verification - an option for 0-2 and 85-86 delayed zone types. Violation of the zone will block verification of alarms in the partition (similarly as violation of the 90. Disabling verification zone type).

Check arm possibility – an option for the arming zones (type 80 and 82). The zone will not arm, if a zone with enabled Priority option is violated in the partition, or other circumstance have occurred which prevent arming (depending on the selected options, tamper, trouble, etc.).

Restore disarms – an option for the exit delay shortening zone (type 89). The end of violation disarms the partition. This option overrides the option Restore disables verification.

Restore disables verification - an option for the exit delay shortening zone (type 89). The end of zone violation will disable verification of alarms in the partition (similarly as violation of the 90. Disabling verification zone type).

Disabled in arm state – an option for the 91. Detector mask zone type. If the option is enabled and the zone is violated when armed, the information on detector trouble (masking) will not be stored into the event log (the event code will not be sent to the monitoring station).

Zone type

Counters

Bypasses

Arm/Disarm groups

## Zone type

0. Entry/Exit – delayed zone combining two functions:

entry - violation of the zone starts entry delay counting in the partition and turns on delay for the 3. Interior delayed type zones; the entry delay may be signaled on keypads;

exit - the zone status is monitored during partition exit delay. Violation of the zone means exit from the partition.

1. Entry - violation of the zone starts entry delay counting in the partition and turns on delay for the 3. Interior delayed type zones; the entry delay may be signaled on keypads.

2. Delayed with delay signaling – a delayed-action zone with optional signaling of delay countdown in keypads.

3. Interior delayed – conditionally delayed zone: delay is only activated when the Entry or Entry/Exit zone has been violated first, or the user has entered the access code / read in the card on the entry keypad (INT-ENT).

4. Perimeter – instantly armed zone, allowing no exit delay.

5. Instant – instant zone, without additional functions.

6. Exit - the zone status is monitored during partition exit delay. Violation of the zone means exit from the partition.

7. Day/Night – if disarmed, the zone will signal violation acoustically in keypads and on the 9. DAY Alarm, 12. Silent alarm and 116. Internal Siren type outputs (signaling for a time period preset for the given output). When armed, the zone acts as the 5. Instant zone type.

8. Exterior – a zone with alarm verification: violation of the zone will start counting the surveillance time – if a second violation takes place during this time, an alarm will be triggered. The first violation may be signaled at the 9. DAY Alarm, 12. Silent alarm and 116. Internal Siren type outputs. If the observation time is not programmed, the alarm will be generated upon the first violation.

9. 24h Tamper – permanently armed zone, intended for the tamper circuits. Violation of the zone is additionally signaled as a trouble.

10. 24h Vibration – 24 h zone intended for working with vibration detectors: during arming (from LCD keypad), an automatic test of these detectors is performed – prior to starting the exit delay countdown, the Vibration detectors test type output is activated and countdown begins of testing time, during which all vibration type zones in the given partition should be violated.

11. 24h Cash machine - zone intended for protection of a cash machine (see: Partitions).

12. PANIC-audible - permanently armed zone, intended for operating the panic buttons.

13. PANIC-silent – permanently armed zone. Its violation starts reporting to the monitoring station and activates the 12. Silent alarm type outputs without activating the audible alarm signaling (it also refers to audible signaling in the keypad).

14. Medical – Button

15. Medical – Remote control – violation of the medical zones will trigger an alarm signaled in keypads and on the 12. Silent alarm type outputs. The zone names and the codes of events from those zones are compatible with the Contact ID reporting protocol.

16-31 Counting L1 - 16 – the counting zones will signal an alarm when the number of violations counted during a specified time period exceeds the set value (see: Counters). Violations of the counting zones in armed mode can be signaled at the 9. DAY Alarm, 12. Silent alarm and 116. Internal Siren type outputs.

32. 24h Fire

33. 24h Fire – Smoke

34. 24h Fire – COMBUSTION

35. 24h Fire – Water flow (fire)

36. 24h Fire – Heat

37. 24h Fire – Button

38. 24h Fire – DUCT

39. 24h Fire – Flame

All the fire zones (type 32-39) trigger alarms signaled on the Fire alarm type outputs. They differ in the alarm code being reported to the monitoring station in the Contact ID format. The names of these zones are compatible with the names of event codes in the CID format. The fire zones (except for the 24h Fire – button) can work with alarm verification.

40. 24h Fire supervisory

41. 24h Low water pressure

42. 24h Low CO2

43. 24h Water gate detector

44. 24h Low water level

45. 24h Pump activated

46. 24h Pump failure

47. No alarm action – zone intended for activating the outputs (e.g. Zone violation, READY Status etc.). Additional options (Store to event log, No reporting and Store event only if armed) enable the zone to be used for other applications e.g. supervising the keybox.

48. 24h auxiliary – Protection loop

49. 24h auxiliary – Gas detector

50. 24h auxiliary – Refrigeration

51. 24h auxiliary – Loss of heat

52. 24h auxiliary – Water leakage

53. 24h auxiliary – Foil break

54. 24h auxiliary – Low bottled gas level

55. 24h auxiliary – High temperature

56. 24h auxiliary – Low temperature

57. Technical - Door open – zone intended for supervising the status of the door defined as Dependent door in the access control module (which controls the electromagnetic door lock).

58. Technical - Door button – violation of the zone will result in opening the door controlled by means of partition keypad, code lock, expander of proximity card readers or expander of DALLAS chip readers.

59. Technical - AC loss – intended for control of devices working together with the alarm control panel e.g. additional power supply units. Violation of this zone will trigger the trouble alarm in the control panel.

60. Technical - BATTERY low – intended for the battery control in additional power supply units working together with the control panel. Violation of this zone will trigger the trouble alarm in the control panel.

61. Technical - GSM link trouble - intended for control of the external GSM communication module. Violation of this zone will trigger the trouble alarm on the control panel.

62. Technical - overload – intended for control of an additional power supply unit used together with the control unit. If the power supply unit is overloaded, violation of this zone will cause the control panel to signal a trouble.

63. Trouble - violation of the zone results in the control panel signaling trouble.

64-79 Bypassing - group: 1 - 16 - violation of this type of zone can bypass a group of zones (see: Bypasses).

80. Arming - violation of the zone will arm the partition to which the zone belongs. Additionally, you can select a group of partitions which will also be armed (see: Arm/Disarm groups).

81. Disarming - violation of the zone will disarm the partition to which the zone belongs. Additionally, you can select a group of partitions which will also be disarmed (see: Arm/Disarm groups).

82. Arm/Disarm – the zone controls the arming status of the partition it belongs to. The control mode depends on the Control by pulse option. Disarming may simultaneously clear the alarm and cancel the messaging.

83. Clearing alarm - violation of the zone will clear alarm in the selected group of partitions (see: Arm/Disarm groups) or the partition to which the zone belongs, and can also cancel messaging.

84. Guard - violation of the zone is recognized as recording the guard's round in the partition to which the zone belongs. The partition can be bypassed for the guard round time.

85. Entry/Exit - conditional – as 0. Entry/exit type with an extra feature: the zone becomes an instant one upon arming, but without leaving the protected area (i.e. without violating of this zone during exit delay).

86. Entry/Exit - final - as 0. Entry/exit type, but after arming and detecting the restoration of this zone, the control panel ends the exit delay countdown and enters the armed mode.

87. Exit - final - as 6. Exit type, but after arming and detecting the zone restore, the control panel ends the exit delay countdown and enters the armed mode.

88. 24h burglary - a permanently armed zone, violation of which will trigger the burglary alarm.

89. Finishing exit delay - violation of the zone will reduce the time for leaving the partition. It is possible to program a shorter exit delay time, which will be counted down from the moment of zone violation. If this value remains not programmed, the exit time will be reduced to 4 seconds from the zone violation. There will be no effect if the zone is violated and the just running exit delay is shorter than that programmed for the zone.

90. Disabling verification - violation of the zone will disable verification of alarms in the partition. All alarms will be unverified until next arming.

91. Detector mask - the permanently armed zone, dedicated to antimasking control. Violation of the zone will be treated by the control panel as detector trouble (masking).

## Counters

The control panel offers the possibility to program 16 different counters, which define how the counting zones will operate.

Several zones can be assigned to each counter, thus creating a group of counting zones. Violations of the counting zones in armed mode can be signaled at the 9. DAY Alarm, 12. Silent alarm and 116. Internal Siren type outputs.

Max. value - number of zone violations which, if exceeded, will trigger the alarm.

Counting time – the time in which violations are counted.

Counter type:

- normal - all violations of counter group zones are counted;

- omits recurs - consecutive violations of the same zone are not counted (alarm will be triggered if the number of violations from different zones exceeds the maximum value).

Note: If the counter skips repeats, the programmed maximum counter value must be lower than the number of zones in counter group.

Assigned zones - several zones can be assigned to each counter to form a group of counter zones.

## Bypasses

Up to 16 groups of zones can be defined. Each group is assigned to one of the Bypassing - group: N type zones [N - number of the group of zones].

Zones assigned to the group are highlighted in orange. In order to assign a zone to the group, move the cursor over the zone number and left click twice. You can also exclude a zone from the group in a similar way.

For a group of zones, define the type of reaction to violation of the bypassing zone:

Bypass only - the zones belonging to the group will be bypassed for the Bypass time (see: Zone parameters). If the bypass time is equal to 0, they will be bypassed until disarming the partitions to which they belong, or until they are unbypassed by the user.

Bypass on/off - the zones belonging to the group will remain bypassed as long as the bypassing zone is violated (they can also be unbypassed by using the user function).

## Arm/Disarm groups

You can define up to 16 groups of partitions, which will be controlled by means of 80. Arming, 81. Disarming or 83. Clearing alarm type zones.

Partitions assigned to a group are highlighted by orange color. In order to assign a partition to the group, move the cursor over the partition number and left click twice. You can also exclude a partition from the group in a similar way.

# Outputs

The outputs are used by the control panel to control operation of external devices.

The system supports the following outputs:

hardwired - on the control panel electronics board and in expanders. The number of available hardwired outputs is determined by the control panel during identification procedure. The hardwired outputs are provided with LEDs indicating their current status.

wireless - the INTEGRA 128-WRL control panel and the panels to which the ACU-100 controller is connected. The number of available hardwired outputs depends on the number of wireless devices registered in the system and is determined during the procedure of adding wireless devices.

virtual - the outputs which do not exist physically, but can be used e.g. for execution of logical functions.

### Output parameters

Output name - individual name of the output (up to 16 characters).

Output function - see: Output functions.

Cut off time - time during which the output is active. The parameter is irrelevant for the status indicating outputs.

### Output options

Polarity - defines the output operating mode (see table below):

|  | high-current output |
| --- | --- |
|  | option enabled (normal polarity) | option disabled (reversed polarity) |
| active status | +12V voltage supply | +12V voltage cut-off |
| inactive status | +12V voltage cut-off | +12V voltage supply |
|  | low-current output |
|  | option enabled (normal polarity) | option disabled (reversed polarity) |
| active status | shorted to ground | isolated from ground |
| inactive status | isolated from ground | shorted to ground |

Pulsation - sets whether the output signal is to be continuous or pulsating (0.5/0.5 sec.). The option only applies to the timed outputs.

Latch - output with this option enabled will be active until the alarm is cleared. The option refers to alarm outputs.

Active during violation - the option applies to the 24. MONO switch output types. If enabled, the output is always active when a control zone is violated, and the countdown of output cut-off time will only be running after the zone restore.

### Output triggering

Depending on its function, the output can be triggered in various ways. The tables on the right side of the OUTPUTS window present the available ways to trigger the given output. The ways currently selected are highlighted by orange color. Click twice to select/deselect the required field.

Zones - the zones, which will activate the output (depending on the type of output, they can be activated by violation / bypassing / tamper / alarm from zone, etc.).

LCD keypads - keypads which in a specific situation will activate the output (depending on the type of output, they can be activated by: triggering alarm from keypad, keypad tamper or reading the card into keypad).

From patrition/partition keypads - partitions or partition keypads from which the output can be activated. Depending on the output type, it can be activated by: arming / disarming the partition, triggering alarm in the partition, or tamper in the partition keypad, temporary blocking of the partition, etc. (see: Output function).

Timers - the timers which will activate the output.

Administrators / Users - depending on its type, the output will be activated after:

- entering or using a code by one of the selected administrators / users,

- presenting / holding up the card/Dallas chip by one of the selected administrators / users,

- receiving transmission with information on low battery from a keyfob belonging to one of the selected administrators / users.

Outputs - the outputs, activation of which will activate the output.

Expansion modules - the expanders which under specified circumstances will activate the output.

Telephone line trouble - the type of failure to be signaled at the output.

Reset zones - the zones which will temporary disable the output (verification of fire alarms).

Voice message - the messages which will activate the output.

Remote switch - the remote switches the activation of which will trigger the output.

Wireless zones - the wireless zones, which under specified circumstances will activate the output.

Wireless outputs - wireless outputs, which under specified circumstances will activate the output.

Reporting troubles – the reporting troubles, the occurrence of which will activate the output.

Partitions where burglary zones are tested - the partitions in which starting the test of burglary zones will activate the output.

Partitions where fire/technical zones are tested - the partitions in which starting the test of fire or technical zones will activate the output.

Arm mode - the armed mode, the activation of which will activate the output.

Telephone usage type - the cases of using the control panel telephone line (connections initialized by or with the control panel) will activate the output.

### Clearance availability

Alarm clearing - alarm can be reset by users having access to the indicated partitions.

Note: Alarm must be signaled in the partition in which it is to be cleared. If the alarm is not signaled in the given partition, it will not be possible to clear it.

### Output disabling

Disabling timers - outputs of the 105. Shutter up and 106. Shutter down type will not activate during the time period defined for the selected timer. Click inside the Latch field to determine which timers are currently displayed.

Blocked in partitions - output of the 11. CHIME type will not be activated by zones from the indicated partitions, if the user block signaling of zone violations from those partitions (Outputs chime user function).

Output function

Output groups

## Output function

0. Not used

1. Burglary alarm - signals all burglary and panic alarms (from zones, keypad/expander tamper, keypad Panic, etc.).

2. Fire/burglary alarm - signals the burglary and panic alarms (continuous sound) and the fire alarms (intermittent sound).

3. Fire alarm - signals the fire alarms (from fire zones and triggered from keypads).

4. Keypad alarm – signals alarms (fire, panic, auxiliary) triggered from keypad.

5. Keypad fire alarm – signals the fire alarms triggered from keypad.

6. Keypad panic alarm – signals the loud panic alarms triggered from keypad.

7. Keypad auxiliary alarm – signals the medical assistance call alarm triggered from keypad.

8. Tamper alarm – signals the tamper alarms.

9. DAY alarm - the output signals the following:

- alarms from 13. PANIC-silent type zones,

- alarms of call for medical help from 14. Medical - Button and 15. Medical - Remote control type zones,

- alarms from 7. Day/Night type zones, if the partition to which the zone belongs is disarmed,

- alarms from 8. Exterior type zones, if the armed mode which assumes that the user will stay inside the protected facility is enabled in the partition,

- alarms from 4. Perimeter type zones, if the Signaling delay has been programmed for them,

- alarm from 5. Instant and 6. Exit type zones, if the Signaling delay option has been enabled and the Alarm delay has been programmed for them,

- alarms from zones, for which the Reporting delay option has been enabled, provided they were violated during the Entry delay countdown,

- unverified alarms (prealarms) from zones with the Prealarm option enabled, provided the Audible alarm after verification is enabled for the partition,

- the first violation of the 8. Exterior type zones when they are armed, provided the Surveillance time has been programmed for the zone,

- violation of the counting zones (type 16-31) when armed.

10. DURESS alarm – signals that a DURESS type code (or prefix) has been used in the system.

11. Chime – signals violation of the selected zones when they are disarmed. The installer can indicate partitions, the signaling from which can be blocked by the user by means of the Outputs chime function. The function can be automatically blocked for a specified period of time after violation of the selected zone.

12. Silent alarm – the output becomes activated in the same situations as the output function 9. DAY Alarm. Additionally, it can signal silent panic alarms from keypads, partition keypads and code locks.

13. Technical alarm - signals violation of the 24h auxiliary zones (zone types 40–56).

14. Zone violation – the output activated by violation of selected zones.

15. Video on disarmed – the output activated by violation of selected zones with the Video on disarmed option active (when the zone is disarmed).

16. Video on armed - the output activated by violation of selected zones with the Video on armed option active (when the zone is armed).

17. READY Status – signals "readiness" of selected zones for arming (all zones are free from violations).

18. BYPASS Status – the output is active when at least one of the selected zones is bypassed.

19. Exit delay warning – signals that Exit delay is running in selected partitions.

20. Entry delay warning – signals that Entry delay is running for selected zones or in selected partitions.

21. Arm status – the output activated when at least one of the selected partitions is armed.

22. Full arm status – the output activated if all of the selected partitions are armed.

23. Arm/Disarm Acknowledge – signals arming/disarming of one selected partition (1 pulse - arming, 2 pulses - disarming, 4 pulses - clearing alarm/disarming with alarm clearing. The pulse duration is approx. 0.3 seconds).

24. MONO Switch - the output controlled by means of the MONO Switch type codes (using the code in partition), zones or timers. The Cutoff time set for output will be running after the MONO Switch type code is used in the selected partition or after violating a zone (see also the Active during violation option). If controlled by the timer, the output will be active as long as the timer is active.

25. BI Switch - the output is activated/deactivated by a BI output control type code. The output should be assigned to specific partitions and/or zones. It will be activated by a code entered from keypad/partition keypad serving that partition, or when the selected zone is violated.

Note: In order to make the MONO switch or BI switch outputs available for control from the LCD keypad, it must be assigned to a selected group of outputs.

26. Timer – the output is armed and disarmed by selected timers.

27. Trouble status – signals detection of a trouble condition (mains power supply failure, low battery, defect of zones, expander buses, etc.).

28. AC loss - control panel mainboard – signals mains power failure of the control panel mainboard.

29. AC loss (from zones) – signals violation of the selected Technical-AC loss type zones.

30. AC loss (from expanders) - signals mains power failure of the selected expanders with power supply units (expander selection: from 0 to 31 - bus 1 modules, from 32 to 63 - bus 2 modules) and the mimic boards.

31. Battery trouble - control panel mainboard – signals low voltage condition of the backup battery of the control panel mainboard.

32. Battery trouble (from zones) – signals violation of the selected Technical-Battery low type zones.

33. Battery trouble (from expanders) – signals low voltage condition of the backup battery of the selected expanders (as well as the mimic board).

34. Zone trouble – signals exceeding the Maximum violation time or the Maximum no violation time of the selected zones.

35. Telephone usage status - signals the telephone line use in the following cases (you can select the cases which will activate the output):

1 - reporting to station 1, main telephone number

2 - reporting to station 1, backup telephone number

3 - reporting to station 2, main telephone number

4 - reporting to station 2, backup telephone number

5 - messaging

6 - downloading

7 - telephone answering

36. Ground Start - the output generates a control pulse necessary for work with some types of telephone exchange.

37. Reporting acknowledge - the output activated after successful completion of connection with the monitoring station.

38. Service mode indicator - signals activation of the service mode on one of the control panel LCD keypads.

39. Vibration detectors test - the output intended for testing the vibration detectors in one selected partition (zone type 10. 24h Vibration). The output cut-off time defines the maximum duration of testing the vibration detectors in the selected partition.

40. Cash machine bypass indicator - signals bypassing the 24h Cash machine type zones in selected partitions.

41. Power supply - the output intended for supplying external devices; it is recommended that the control panel mainboard high-current outputs with electronic protection be used as power supply outputs.

42. Power supply in armed state - the power supply output is activated on arming some selected partitions (when the exit delay starts). It is intended for supplying e.g. ultrasound or microwave detectors, or infrared barriers, which should not be enabled if not used by the system.

43. Resetable power supply - the power supply output resetable from the user menu in LCD keypad. The reset (power cut-off) time for the resetable output is programmed as that output cut-off time.

44. Fire power supply - the output intended for supplying the fire detectors with automatic alarm verification. The verification takes place in the following way: after detecting violation of one of the fire zones assigned to the given output the power supply is cut off (for a time programmed as the output cut-off time) and, in case next violation occurs after power supply is switched on again, the fire alarm will be triggered. The output can be also reset by the use of a suitable user function (as the Resetable power supply output).

45. Partition blocked indicator - signals that the partition armed state is temporarily blocked. If Cut off time of this output is different from zero, the output will signal the ending of partition blocking: output will be activated for programmed period of time just before partition return to arm state.

46. Logical AND – output is activated when all the control outputs with normal polarity are active and all the control outputs with reversed polarity are inactive (because of the Polarity option, the output can be used for logical negation). See: Logical functions of outputs.

47. Logical OR - output is activated when any control output with normal polarity is active or any control output with reversed polarity is inactive (because of the Polarity option, the output can be used for logical negation). See: Logical functions of outputs.

48 - 63 Voice message 1 - 16 - the outputs activated by the telephone messaging function: it enables any external device to be used for playback of notification messages. When programming telephone notification one should select the message number (synthesizer) which is to be played back after connection is established. The messaging function will activate the corresponding output.

64 - 79 Remote switch 1 - 16 - the output to be controlled via the telephone line by means of a telephone set and DTMF signals. The control is available to users with an assigned telephone code. Additionally, the outputs can be controlled by means of the LCD keypad and the user function Outputs control.

Notes:

To make the Remote switch output available for control from the LCD keypad, it must be assigned to a selected group of outputs.

If a cut-off time has been programmed for the Remote switch output, the output will operate in the same way as the MONO switch (i.e. it will be active for a programmed period of time).

80. No guard round - signals the lack of entering the guard code within the specified round time in selected partitions.

81. Long AC loss - mainboard - signals the mains power supply failure of the control panel mainboard with delay programmed as AC loss report delay (see: Options - Times).

82. Long AC loss - modules - signals the mains power supply failure of the selected expansion modules (modules with power supply) with delay programmed as AC loss report delay for each of the modules.

83. Outputs off - the output is activated when all the selected outputs have been deactivated (the signaling is completed).

84. Code entered signaling - the output is activated on entering the code of a selected user (and pressing the * or # key).

85. Code used signaling - the output is activated on arming or disarming, using the code of one of selected users.

86. Door open indicator - the output is activated on opening the door supervised by the selected modules of access control.

87. Door open too long indicator - the output is activated on exceeding the maximum opening time of the door supervised by the selected modules of access control.

88. Burglary alarm (no tamper or fire alarms) – the output only signals the alarms from armed zones and the PANIC alarms from partition keypads and LCD keypads.

89. Events memory 50% full - the output signals that the events memory area has been filled up to 50% since the last events readout using the DloadX program. The output remains active until the event memory readout.

90. Events memory 90% full - the output signals that the events memory area has been filled up to 90% since the last events readout using the DloadX program.

91. Partition Auto-Arm delay count signaling – the output becomes active (for a specified time) on starting auto-arming delay countdown for the selected partitions.

92. Partition Auto-Arm delay count indicator - the output indicates the fact of auto-arming delay countdown for the selected partitions.

93. Unauthorized door opening - the output becomes active when the doors supervised by selected access control modules (partition keypads, code locks, transponders) are opened without access authorization (i.e. without entering the code or reading in the proximity card).

94. Alarm - Unauthorized door opening - the output works in the same way as the function 93 output but only for the modules with the Alarm when no authorization option activated.

95. TCP/IP reporting trouble - the output signals trouble of reporting effected by means of TCP/IP network. You should define which of the troubles below are to be signaled:

- no communication between ETHM-1 module and reporting station 1

- no communication between ETHM-1 module and reporting station 2

- no GPRS communication with reporting station 1

- no GPRS communication with reporting station 2

- no communication with time server

- GSM module initialization error

- trouble of TCP/IP reporting to monitoring station 1

- trouble of TCP/IP reporting to monitoring station 2

96. Telephone line trouble - informs about telephone communication troubles. Determine which of the following troubles are to be signaled:

- no voltage on tel. line

- wrong dial tone

- no dial tone

- Central Station 1 trouble

- Central Station 2 trouble

Note: In case of the INTEGRA 128-WRL control panel, the name of the output function 96 is GSM trouble. The output can inform of the following troubles:

- Central Station 1 trouble,

- Central Station 2 trouble,

- GSM trouble.

97. Voice message - this output is similar to outputs 48 - 63. A message number is to be assigned to the output.

98. Remote switch - this output is similar to outputs 64 - 79. A switch number is to be assigned to the output.

99. Access card read - the output signals that the card has been read in by selected users.

100. Card Hold-down - the output signals that the card has been held by selected users.

101. Card read - expander - the output signals that the card has been read in indicated modules/keypads. It can be used to perform the function of access control and door control from the keypad. To this effect, indicate the keypad in which reading in the card will activate the output, and the partitions from which the users will be able to open the doors. In the keypad settings, you should indicate the control panel output as the door. It is necessary to define the door opening function for presenting/holding the card, and select whether this event is to be logged as an entry or an exit.

102. Link trouble - wireless zone - the output signals lack of communication with wireless devices assigned to the selected zones.

103. Link trouble - wireless output - the output signals lack of communication with wireless devices assigned to the selected outputs.

104. Wireless device - low battery - the output signals some problems with power supply of wireless devices (low battery, discharged (storage) battery, or lack of external power supply).

105. Shutter up - the dedicated output for raising the roll shutters. It becomes active after violation of selected zones or disarming of selected partitions. It can also be triggered from the keypad, by means of the user menu function (Outputs control). Disabling timers can be indicated for the output. If disarming takes place within the time period defined for the timer, the output will not be activated. The cut-off time programmed for the output should be longer than that required for raising the roll shutters.

106. Shutter down - the dedicated output for lowering the roll shutters. It becomes active after violation of selected zones or arming of selected partitions (on starting the exit delay countdown). It can also be triggered from the keypad, by means of the user menu function (Outputs control). Disabling timers can be indicated for the output. If arming takes place within the time period defined for the timer, the output will not be activated. The cut-off time programmed for the output should be longer than that required for lowering the roll shutters.

Notes:

The roll shutter control output, function 105 and 106, must be assigned to the consecutive physical outputs.

In order to make the Shutter up and Shutter down outputs available for control from the LCD keypad, they must be assigned to a selected group of outputs. The two outputs constituting a pair must be assigned to the same group of outputs.

Selecting the partition for Shutter up and Shutter down outputs is necessary to make the roller shutter control function available in the keypad serving this partition. If the output is not to be controlled by the partition disarming / arming, the Shutter not controlled by arming option should be enabled for the output.

107. Card on reader A - the output signals that the card/chip has been read into the reader A of selected expanders. It can also signal the card reading into the indicated keypads.

108. Card on reader B - the output signals that the card/chip has been read into the reader B of selected expanders. It can also signal the card reading into the indicated keypads.

109. Zone logical AND - the output is activated when all zones selected as the control ones are violated.

110. Alarm - not verified - the output signals unverified alarms from indicated sources. The unverified alarms are generated by zones with enabled prealarm option and by zones with programmable entry delay (types: 0, 1, 85 and 86). Violation of the zones type 0, 1, 85 or 86 will start the entry delay time countdown. If the armed mode is not deactivated before the delay expires, an unverified alarm will be generated.

111. Alarm - verified - the output becomes active if, after violation of one of the indicated zones with enabled prealarm option, another zone is violated in the partition with enabled prealarm option during verification.

112. Verified - no alarm - the output becomes active if a zone with enabled prealarm option is violated in selected partitions, but no zone with enabled prealarm option is violated during verification.

113. Verification disabled status - the output signals disabling alarm verification in the partition.

114. Zone test status - the output activates after starting the zone test in the selected partitions. It can be used, e.g. to control operation of the LED in the SATEL detectors of GRAPHITE and SILVER types.

115. Arming type status - the output becomes active after chosen type of armed mode is activated in the selected partitions.

116. Internal siren - the output activates in the same situations as the 1. Burglary alarm or 9. DAY Alarm output types (logic product of the 1. Burglary alarm and 9. Day Alarm output types).

117. Tampering status - the output informs about tamper of selected zones, keypads and expanders. It is active as long as the tamper lasts.

118. Keyfob battery low - the output provides information about low battery in keyfobs belonging to selected users. This applies to the keyfobs supported by ABAX system or INT-RX module.

119. Wireless system jamming - the output provides information about jamming the selected ACU-100 controllers or the wireless system of INTEGRA 128-WRL control panel mainboard.

## Logical functions of outputs

Each control panel of the INTEGRA series supports all outputs, no matter whether they are physically available (i.e. expansion modules are connected) or not. This makes it possible to use any number of outputs as the control outputs of the Logical AND or Logical OR outputs.

### Example of using output functions 46 and 47

Functions are assigned to outputs, which are not physically available:

- output 63: function 1. burglary alarm,

- output 64: function 23. Arm/Disarm Acknowledge.

Output 1, to which the siren is connected, is programmed as 47. Logical OR, while outputs 63 and 64 are selected to be control outputs.

Output 1 will be triggered if output 63 or 64 is activated.

Then a function should be assigned to the next output which is not physically available:

- output 62: 26. timer, controlled by a timer set to be daily switched "on" at 16:00 and "off" at 8:00.

Output 2, to which the siren is connected, is programmed as Logical AND, while outputs 1 and 62 are indicated as control outputs.

As a result, output 2 will signal alarms and confirm arming/disarming of the partition, but only between the hours 16:00 and 8:00, outside this time period the output being inactive.

## Output groups

### Output groups

The outputs MONO switch, BI switch, Remote switch, Shutter up and Shutter down should be assigned to output groups, if they are to be controlled from LCD keypad by means of user functions. Each group may be given a name.

Partitions assigned to a group are highlighted by orange color. In order to assign partition to a group, move the cursor over the partition number and left click twice. You can also exclude partition from a group in a similar way.

Note: If the outputs are only assigned to one output group, starting the Outputs control function in the keypad will not be followed by displaying the list of output groups, but immediately by the list of controllable outputs.

### Output state indicating

The output status can be presented as per the zone state. This is useful, if the control panel output is to only pass a control pulse to switch the device on/off, and the information on the current state of the device is supplied to the control panel zone.

# Options

Telephone

Printer

Times

Other

Arming

Service

Default user’s authority level

## Telephone

Reporting - TELEPHONE - with this option enabled, the control panel can send event codes to the monitoring station by means of the telephone line.

Reporting - GPRS - with this option enabled, the control panel can send event codes to the monitoring station, using GPRS technology. The GPRS reporting can be performed by the INTEGRA 128-WRL control panel or any other control panel, after connecting the GSM/GPRS module. The GSM/GPRS module must be connected to the RS-232 port of the control panel (operation as an external modem). The GPRS technology enables sending events in all formats, except for the TELIM format.

Reporting - ETHM (TCP/IP) - if the ETHM-1 module is connected to the control panel and this option is enabled, the control panel will be able to send event codes to the monitoring station via the Ethernet network, using the TCP/IP protocols. The Ethernet network enables sending events in all formats, except for the TELIM format.

SMS reporting - with this option enabled, the control panel can send event codes to the monitoring station in the form of SMS messages. This option is only available in the INTEGRA 128-WRL control panel.

Telephone messaging - with this option enabled, the control panel can notify about the occurrence of specific events by means of voice messages or text messages using the telephone links.

Answering - modem - with this option enabled, external initiation of the communication between modem and control panel is possible.

Answering - audio - with this option enabled, the control panel will carry out the function of call answering, i.e. the users who have a telephone code will be able to obtain by phone information on the status (armed/disarmed, alarms) of partitions to which they have access.

Remote control - with this option enabled, the control panel allows the users having a telephone code to operate the Remote switch type of outputs by using a phone. The option is available if the Answering - audio is enabled.

External modem - with this option enabled, the control panel will support an external modem connected to the control panel RS-232 port.

Modem ISDN/GSM/ETHM - enable this option where the GSM, ISDN or ETHM-1 module is connected as the external modem. The option is available if the External modem option has been enabled.

Tone dialing - with this option enabled, the control panel will tone dial the telephone numbers (pulse dial, if this option is disabled).

Ground Start - with this option enabled, the control panel will use the Ground Start method to obtain signal on the telephone line (by grounding temporarily the telephone line wires). Enable this option, if required by your phone service provider.

No dial tone test - with this option enabled, the control panel will not perform the test for dial tone before dialing the number and will start dialing the number 5 seconds after going "off hook". This makes it possible for the control panel to dial the number when some non-standard tones occur on the telephone line after going off hook (e.g. interrupted tone). When this option is disabled, the control panel will start dialing the number 3 seconds after going off hook, provided that the dial tone is present.

No answer tone test - with this option enabled, in case of notifying by means of voice messages, the control panel will not perform the test for "off hook" condition. The voice message will be played back 15 seconds after completion of the number dialing. In case of reporting, the control panel will ignore any signals (including the busy tone) received from the telephone exchange after dialing the telephone number, and will wait for the handshake from the monitoring station. Enable this option if, after dialing the number, non-standard signals are received from the telephone exchange or in case of very poor quality connections.

Double voice message - with this option enabled, the voice message is played back twice during telephone messaging.

Double call - with this option enabled, the control panel must be called twice for the modem communication to be established. The first time you must wait for the preprogrammed number of rings and hang up. Then you must call back within three minutes and the control panel will answer the call immediately. This solution makes it possible to connect after the control panel some additional devices which will be activated after a preset number of rings (e.g. answering machine, fax, etc.).

Pulse 1/1.5 (off 1/2) - this option applies to dialing the telephone numbers by using the pulse mode. Before you enable it, make yourself familiar with the valid standard of pulse dialing.

Rings before answer - number of rings after which the control panel will go off hook.

## Printer

### Printout options

Printing - the real-time printing of events on the printer connected to the RS-232 port enabled.

Include reporting status - with this option enabled, on the printout will appear the information if the particular event was sent to the monitoring station (printout of the event information will take place not immediately but after transmission to the station has been completed).

Print names / descriptions - determines if, besides the numbers of zones, outputs, modules and users, also their names and descriptions are to be printed.

Wide paper - printout width will be 132 columns (if the option is disabled: 80 columns).

2400 bps (off:1200 bps) - data will be sent to RS-232 port at a rate of 2400 bps (if the option is disabled - at a rate of 1200 bps).

CR+LF (off: CR) - parameter determining the control mode of paper feed in the printer.

Use parity bit - the parity check of data transferred from the control panel to the printer is enabled.

Parity EVEN (off: ODD) - option determines the mode of parity check of data transferred from the control panel to the printer. The option is relevant only if the Use parity bit option is active.

Notes:

The other parameters of RS-232 transmission are permanently programmed on the control panel:

- 8 data bits

- 1 stop bit

All the parameters regarding transmission through RS-232 (i.e. transmission rate, CR+LF, parity, data bits and stop bits) are to be set identically on the control panel and on the  connected printer - otherwise the printer will not operate at all, or the printout will be illegible.

### Printout contents

The options define what kind of information will be contained in the printout.

## Times

Global entry delay - parameter taken into account in the delayed zones, for which the programmed Entry delay is equal to 0.

Global alarm time - time of signaling alarm in keypads, proximity card readers and DALLAS chip readers.

No armed indication after - time counted from the moment of partition arming, after which the LED indicating armed status in the keypad/partition keypad goes off.

AC loss report delay - time during which the control panel must be without AC power before the trouble is reported. A delay in reporting the trouble prevents sending information about short-time voltage decays, having no effect on normal operation of the system.

Telephone line loss report delay - time during which abnormal voltage must be on the telephone line for the control panel to report the telephone line trouble. A delay in reporting the trouble prevents sending information about short-time voltage dips (e.g. during a phone call) or decays.

Summer/winter time - the control panel can automatically adjust the clock settings due to a change from the summer time to the winter time according to the selected schedule.

Summer time from - if the control panel clock is to be corrected by 1 or 2 hours according to dates, you should enter the dates (day, month) after the clock is changed to the summer time (moved forward).

Winter time from - if the control panel clock is to be corrected by 1 or 2 hours according to dates, you should enter the dates (day, month) after the clock is changed to the winter time (moved back).

RTC clock correction - if the accuracy of control panel clock is inadequate, the clock settings may be adjusted once per 24 hours (at midnight) by a defined time. The correction time is programmed in seconds. The maximum correction can be ±19 seconds per 24 hours.

Time server - enter in this field the IP address of a time server with support for NTP protocol, if the control panel is to synchronize the time with the server (automatically and after suitable function is enabled by the installer or administrator). Time synchronization is possible for the INTEGRA 128-WRL control panel and any other panel to which the ETHM-1 module is connected.

Time zone - select in this field the time zone, which is a difference between the Greenwich Mean Time (GMT) and the zone time.

## Other

Permitted "simple" access codes - with this option enabled, the users can use access codes containing less than three different digits (e.g. 1111 or 1212) or contain consecutive digits (3456).

Notify of necessity to change access code - with this option enabled, the LCD keypad will notify the user of the necessity to change access code (e.g. if the code is a newly created one, or if other users, when changing their code, happen to “hit” the code of the user in question).

Confirm commands with "1" - with this option enabled, the LCD keypad will require for some functions that commands be additionally confirmed by using the key 1.

Clear messaging on alarm clearing - with this option enabled, clearing the alarm will automatically cancel messaging about this alarm, if the user clearing the alarm has the Telephone messaging canceling right.

Return to menu from Service Mode - with this option enabled, quitting the service mode results in return to the user menu, instead of to the basic mode of keypad operation.

Return to menu from menu "Test" - with this option enabled, ending the "Test" function results in return to the user menu, instead of to the basic mode of keypad operation.

Fast module bus communication - it is recommended to enable this option to speed up communication with the modules. The option should only be disabled in case of extended security alarm systems, where electric interference may cause problems with communication.

No module restart reports - when this option is enabled and the Contact ID or SIA format is used for reporting, no event codes referring to module restarts will be sent to the monitoring station.

Service message after tamper alarm - with this option enabled, after any tamper alarm, the keypads will display on LCD display the message informing that service maintenance is necessary. The message will be cleared after entering the service code and confirming it with the # key.

Backlight off on AC loss - with this option enabled, the backlighting in keypads will be automatically switched off in case of 230 V AC power loss.

Block keypad after 3 wrong codes - with this option enabled, after entering an invalid code / reading in an invalid card three times, the keypad / reader will be blocked for 90 seconds. After this period of time has expired, each subsequent entry of an invalid code / read-in of an invalid card will block the keypad / reader at once. The counter of invalid codes / cards will be reset after a correct code is used.

Trouble memory until review - with this option enabled, the trouble memory will be signaled until it will be cleared (erasing the trouble memory is possible in the Troubles window or when exiting the function of viewing troubles in the keypad).

Do not show alarm if armed - with this option enabled, no alarms will be indicated in keypads during the armed mode.

Limit events - with this option enabled, while armed events from the same source will be saved into the event log and reported to the monitoring station 3 times only.

Alarming zones review - with this option enabled, you can view the zones that triggered the alarm in the LCD keypad immediately after alarm clearing.

## Arming

Warn while arming if trouble - with this option enabled, suitable information about troubles, if any, will be displayed during the procedure of arming by means of the LCD keypad, so that the user can review them.

Display violated/bypassed zones on arming - with this option enabled, information about violated/bypassed zones will be displayed during the procedure of arming by means of the LCD keypad, so that the user can review them.

Do not arm if tampered - with this option enabled, arming will be impossible if tamper is detected.

Do not arm if battery trouble - with this option enabled, arming will be impossible if there is a battery trouble.

Required system reset after verified alarm - with this option enabled, arming will be impossible after a verified alarm.

Do not arm if trouble - with this option enabled, arming will be impossible if there is a trouble.

Do not arm if output battery trouble - with this option enabled, arming will be impossible when the control panel detects overloading of the mainboard outputs or disconnection of devices connected to these outputs.

Do not arm if reporting trouble - with this option enabled, arming will be impossible if there are any problems with reporting.

## Service

Disable service mode - with this option enabled, entering the service mode "from pins" (by hardware means) will be impossible (entering the service mode "from pins" will only be possible if the control panel factory settings are restored).

Disable downloading - with this option enabled, starting communication with the DLOADX program "from pins" will be impossible.

Hide service mode after - you can define the time that must elapse after the last operation performed on the keypad before the service mode is hidden. The control panel will remain in the service mode, but the keypad will exit the service mode. The service mode will continue to be indicated in the keypad by the corresponding LED as well as beeps (provided that the option of service mode acoustic signaling is enabled). Return to the service mode in the keypad will follow after re-entering the service code and selecting the SERVICE MODE in the user menu. If value 0 is programmed, hiding the service mode is disabled.

Service mode beep - with this option enabled, the service mode will be acoustically signaled in the keypad.

## Default user’s authority level

You can define which of the available authority levels will be automatically assigned to a new user. The list of authority levels can be modified when creating or editing users.

# Users

Editing administrators and users by means of the DloadX program is available in the INTEGRA control panels with firmware version 1.05 or newer. Editing users is possible, if the administrator of the given object has authorized the service technician to do so (i.e. has enabled the Edit in DloadX [INTEGRA v1.05] / Service can edit [INTEGRA v1.06 and newer] option).

The data about administrators and users are presented in the table.

Owner - information on who has created and can remove the given user from the system:

S – service technician (installer). The service technician is owner of all administrators, i.e. can add them to or remove from the system. If the service technician has added a user, the owner of such user will be the administrator of the given object.

A1, A2 … - administrator of the given object (A1 – administrator of object 1, A2 – administrator of object 2, etc.). The administrator can edit and remove all users of his partition.

U1, U2 … - user, who has created the given user.

P - number of the object to which the given user belongs. Click on the column heading to change the way of data sorting in the table (the users are sorted by objects, or not).

No. - user number. Click on the column heading to sort users in the table by their number.

User name - individual user name (up to 16 characters). Click on the column heading to sort users in the table by their name.

Type - user type (see: User type).

Time - additional parameter for some types of users:

- validity for the Renewable and Temporary type of user;

- time schedule (first number) and validity (second number) for the Scheduled type of user.

Code - user code. It can consist of 4 to 8 digits. The codes are presented as a sequence of asterisks, unless the Show codes field is selected. If the code is presented against yellow background, it means that another user has accidentally entered this code during code changing, and, therefore, it must be changed.

Tel. code - telephone code which allows the user to get from the control panel by phone some information on the partition state (armed mode, alarms), to which he has access, and control the Remote switch type of outputs by phone. The code may be also required to operate the INTEGRA 128-WRL control panel by using SMS messages.

Part. - numbers of partitions to which the user has access. To select the partitions, use the Part./keypads tab on the right side of the window.

Keyp./reader - addresses of partition keypads, code locks, proximity card reader expanders and DALLAS chip expanders, to which the user has access. To select the partitions, use the Part./keypads tab on the right side of the window.

Authority level - numbers of user rights. To select the right, use the Authority level tab on the right side of the window.

Card - code of the user's proximity card.

DALLAS - code of the user's DALLAS iButton.

### Information

The tab makes it possible to assign a picture to the user and enter some extra information.

### Part./keypads

Part. - list of partitions in the system. You can indicate which partitions in the object will be accessible to the user. The numbers of selected partitions are presented in the Part. column.

Keypads/readers - list of partition keypads, code locks, proximity card reader expanders and DALLAS chip expanders in the system. You can indicate the modules the user will be authorized to access. The addresses of selected modules are presented in the Keyp./reader column.

### Authority level

Presented in the tab is a list of all rights available in the system. You can indicate which rights will be assigned to the given user. The numbers of selected rights are presented in the Authority level column.

### Buttons

Add Administrator - button creates a new administrator (see: Adding administrators).

Add users - button creates new users (see: Adding users).

Delete - button removes an administrator/user (see: Removing administrators/users).

Restore - button cancels the recent changes entered for the given user, unless they have been written to the control panel, cancels the command to delete a user, or cancels the command to add a user.

Card - button adds a proximity card to the user (see: Adding proximity card).

Dallas - button adds a DALLAS chip to the user (see: Adding DALLAS chip).

Show codes - when the option is selected, codes of the users who have not changed their codes will be shown in the Code column.

Print - button enables printing the user related information contained in the table.

Export - button exports the user related information contained in the table to the CSV file.

Close - button closes the window.

User type

Adding administrators

Adding users

Removing administrators/users

Adding proximity card

Adding DALLAS chip

Deleting proximity card

Deleting DALLAS chip

## User type

You can select one of the following types of users:

Normal - basic type of user.

One-time - the user will get one-time access.

Renewable - the user has access to the system for a defined period of time. The user validity time should be entered in the Time column. Before the validity time expires, the control panel will prompt the user to change the code. After the code has been changed, the validity time will run from the beginning.

Temporary - the user has access to the system for a defined period of time. The user validity time should be entered in the Time column. After the validity time expires, the user will have no access to the system.

DURESS - code to be used in hold-up and duress situations. Use it to trigger a silent alarm and send the event code to the monitoring station.

„Mono” output operating - the user can control the 24. MONO Switch function outputs.

„Bi” output operating - the user can control the 25. BI Switch function outputs.

Blocking partition - when the partition is armed, the user can temporarily block functioning of the detectors in partition. Enter the blocking time in the Time column.

Cash machine zones bypassing - the user can temporarily bypass the 24h Cash machine type zones in the partition, to allow access to the cash dispenser.

Guard - the user performs the function of a guard: using the code, proximity card or DALLAS chip means making the round (additionally, it may cause a temporary blocking of partition for the time of the guard's making his round). The installer selects the modules to be used for confirmation of making the round, and sets the time between successive rounds. Assignment of the access to partitions to such a user provides him with the same possibilities as the Normal type of user.

Scheduled - the user has access to the system for a defined period of time, according to a time schedule. The schedule number (use the Timers window, Users schedules tab, to define the time schedule) and user validity time are defined in the Time column.

## Adding administrators

You can add administrators to the system in the Users window. The administrator manages all users in the object. If, at the moment of adding an administrator, the object he is to manage does not exist, it will be automatically created.

To add an administrator, click on the Add Administrator button. The new administrator will appear in the table, and his data will be presented in green color. Enter an individual name for the administrator and, if necessary, modify the code and then save the data on the control panel. Only after the changes are saved on the control panel, will the new administrator be actually added to the system.

## Adding users

You can add users to the system in the Users window, if the administrator of the given object has authorized the service technician to do so (i.e. i.e. has enabled the Edit in DloadX [INTEGRA v1.05] / Service can edit [INTEGRA v1.06 and newer] option).

To add a user /users, follow the procedure below:

- Click on the Add users button. The Create users window will open.

- Define in the Users count field how many users are to be added to the system. You can optionally read in a text file with a list of names of the users to be created (16 characters fro each line will be read in, the initial spaces and digits being skipped).

- Select in the Object field in which object the new user(s) will be created.

- Select in the User settings as field the user, based on the settings of whom the new user will be created.

- Define the parameters of the code of the new user(s). The code can be created, based on the user's number, and randomly generated or entered manually.

- Press the OK button. The Create users window will close. The new user(s) will appear in the table, their data being presented in green color.

- If necessary, modify the parameters of created users, assign telephone code, proximity card, etc. to them, and then save the data on the control panel. Only after the data have been saved on the control panel, will the user(s) actually be added to the system.

## Removing administrators/users

You can remove administrators and users in the Users window. To remove an administrator or user, select him with your mouse (click on the line with the data of that administrator or user), and then click on the Delete button. Until the changes are saved on the control panel, the data of the deleted administrator/user will be presented in the table in red color. Only after the data have been saved on the control panel, will the procedure of removing administrator/user be completed.

## Adding proximity card

- Open the Users window.

- Click with your mouse pointer on the selected user.

- Click with your mouse pointer on the Card button. The card/chip adding window will open.

- Select the reader to be used for reading in the card.

- Click with your mouse pointer on the Add card button.

- According to the commands displayed in the window, read in the card twice and, after the Card read message appears, close the window.

- Save the data to the control panel.

Note: You can also add the card by entering its number in the Card column, and saving the data to the control panel.

## Adding DALLAS chip

- Open the Users window.

- Click with your mouse pointer on the selected user.

- Click with your mouse pointer on the Dallas button. The card/chip adding window will open.

- Select the reader to be used for reading in the chip.

- Click with your mouse pointer on the Add dallas button.

- According to the commands displayed in the window, read in the chip twice and, after the Dallas read message appears, close the window.

- Save the data to the control panel.

Note: You can also add the chip by entering its number in the Dallas column, and saving the data to the control panel.

## Deleting proximity card

- Open the Users window.

- Click twice in the Card column on the user whose card is to be deleted.

- Delete the card number.

- Save the data to the control panel.

## Deleting DALLAS chip

- Open the Users window.

- Click twice in the Dallas column user on the user whose Dallas chip is to be deleted.

- Delete the Dallas chip number.

- Save the data to the control panel.

# Keyfobs INT-RX

In case of the INTEGRA control panel to which the INT-RX keyfob operation expander is connected, each system user can be assigned a 433 MHz frequency operating keyfob. Several INT-RX keyfobs can be connected to the control panel. The user can only have 1 keyfob, but it is supported by all expanders.

At the top of the window, the following information on the INT-RX expanders connected to the control panel is displayed:

- number of the expander bus to which the given expander is connected;

- expander address;

- expander name;

- version of expander firmware (after reading data from the expanders).

Click on the Read button to display information on the module. When communication with the expander is correct, the information is displayed against green background.

### User keyfobs

The keyfob data are stored in each expander. Connecting of an expander with keyfob data to the control panel will result in keyfobs being automatically assigned to the users of that control panel. This only applies to the users who were created before. Information on the keyfobs assigned to the users are presented in the table.

User - administrator/user number and name.

S/N – serial number of the keyfob assigned to administrator/user.

Keyfob buttons/zones - number of the zone that will be violated by pressing a keyfob button or combination of buttons (two buttons: 1 and 2 or 1 and 3 simultaneously). The zone will be violated as long as the keyfob button is depressed. The zone should not exist physically and the wiring type programmed for it must be different from No detector and Follow output. You can program any zone type. Pressing a button /combination of buttons will generate an event indicating that the keyfob has been used. If used with the INTEGRA control panel with firmware version 1.06 or newer, you can enable/disable generating events by using the SPACE button. Event generating for the given button is disabled, if the ( symbol is displayed next to the number of zone controlled by the button (lack of the symbol indicates that generating events is enabled). Disabling the event generating allows to decrease the number of events in the system.

Note: Interdependences between keyfob buttons and alarm system zones, which have been defined for the user, will not be reset after the keyfob is removed. When a new keyfob is added to the user, the buttons will control exactly the same zones as the buttons of the deleted keyfob.

### Buttons

Read - button enables reading data from the expander (the keyfob data are not read automatically on pressing the  button in the main menu). If several INT-RX expanders are connected to the control panel, the program will only read data from the lowest address expander. This must be taken into consideration when connecting new INT-RX expanders to the control panel: they must have a higher address.

Write - button enables writing data to the expander (the keyfob data are not written automatically on pressing the  button in the main menu). The data are written to all modules. If communication with one of the INT-RX expanders is lost, writing the keyfob data will not be possible to any expander.

Note: Click on the Write button immediately after reading data from the lowest address expander (without making any changes), to write these data to all expanders. This function is useful when connecting new INT-RX expansion modules to the system in which such modules are already functioning. It enables the keyfob related data to be synchronized.

New - button adds a keyfob to the user (see: Adding INT-RX keyfobs).

Delete - button deletes a user's keyfob (see: Removing INT-RX keyfob).

OK - button closes the window.

## Adding INT-RX keyfobs

You can add the keyfob by entering its serial number manually or reading the serial number during transmission which is sent after the button is pressed.

### Entering the serial number manually

- Click your mouse on the field in the S/N column, next to the name of the user to whom you want to assign a keyfob.

- Enter the serial number of the keyfob and confirm it by pressing ENTER. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the module(s). The background color of the field where the serial number is displayed will change to white.

### Reading the serial number during transmission

- Click your mouse on the field in the S/N column, next to the name of user to whom you want to assign a keyfob.

- Click on the New button. The New window will open.

- According to the command displayed in the window, press the keyfob button, and, after the keyfob serial number appears in the window, press OK. The New window will close. In the S/N column, the keyfob serial number will be displayed next to the user name. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button to write the data to the module(s). The background color of the field where the serial number is displayed will change to white.

## Removing INT-RX keyfob

- Click your mouse on the field in the S/N column, next to the name of the user whose keyfob you want to remove.

- Click on the Delete button.

- In the window which will be displayed, click on the Yes button to confirm your intention to remove the keyfob. This will delete the keyfob serial number. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button to write the data to the module(s). The background color of the field where the serial number is displayed will change to white.

# Keyfobs ABAX

In case of the INTEGRA 128-WRL control panel and any other INTEGRA control panel to which the ACU-100 controller with firmware version 2.0 is connected, an APT-100 keyfob can be assigned to each user of the system. The user can only have 1 keyfob, but it is supported by all expanders.

Displayed at the top of the window is information on the wireless system of INTEGRA 128-WRL control panel mainboard (firmware version of the processor handling the mainboard ABAX wireless system) and/or data about the ACU-100 controllers connected to the control panel:

- number of the expander bus to which the given controller is connected;

- controller address;

- controller name;

- version of controller firmware (after reading data from the controllers).

When communication is correct, the information is displayed against green background.

### User keyfobs

The keyfob data are stored by the ABAX system (i.e. the wireless system of the mainboard of INTEGRA 128-WRL control panel or the ACU-100 controller with firmware version 2.0 or later). Connecting the ACU-100 controller with keyfob data to the INTEGRA 24, INTEGRA 32, INTEGRA 64 or INTEGRA 128 control panel will result in keyfobs being automatically assigned to the users of that control panel. This only applies to the users who have already been created. Information on the keyfobs assigned to the users are presented in the table.

User - administrator/user number and name.

S/N – serial number of the keyfob assigned to administrator/user.

Keyfob buttons/zones - number of the zone that will be violated by pressing a keyfob button or combination of buttons (two buttons simultaneously). The zone will be violated as long as the keyfob button is depressed. The zone should not exist physically and the wiring type programmed for it must be different from No detector and Follow output. You can program any zone type. Pressing a button /combination of buttons will generate an event indicating that the keyfob has been used. You can enable/disable generating events by using the SPACE button. Event generating for the given button is disabled, if the ( symbol is displayed next to the number of zone controlled by the button (lack of the symbol indicates that generating events is enabled). Disabling the event generating allows to decrease the number of events in the system.

Note: Interdependences between keyfob buttons and alarm system zones, which have been defined for the user, will not be reset after the keyfob is removed. When a new keyfob is added to the user, the buttons will control exactly the same zones as the buttons of the deleted keyfob.

LED - in this field, you can enter up to 3 digits, each of them corresponding to the field number from the list of outputs used for confirmation on the right side of the window. The digits can be from the 1 to 8 range. If you press any keyfob button, the status of three selected outputs will be presented for a few seconds on the LEDs of APT-100 keyfob. This confirms performance of a function or provides information on the current state of the system.

### Confirmation output selection

Up to 8 alarm system outputs can be used for confirmation. Indicate in each field the output whose status will be sent to the ABAX system keyfobs. Enter the number of field in the LED column, if status of the output selected in this field is to be sent to the keyfob of the given user.

### Buttons

Write to all [INTEGRA 128-WRL only] - data about keyfobs will be written to all ACU-100 controllers connected to the control panel (to write the data to the control panel, press the  button in the main menu).

Read [not applicable to the INTEGRA 128-WRL control panel] – the button will enable reading data from the ACU-100 controller (data about keyfobs are not read from the controllers automatically on pressing the  button in the main menu). If several controllers are connected to the control panel, the program will only read data from the lowest address controller. This must be taken into consideration when connecting new ACU-100 controllers to the control panel: they must have a higher address.

Write [not applicable to the INTEGRA 128-WRL control panel] – button enables writing data to the controller (the keyfob data are not written automatically to the controllers on pressing the  button in the main menu). The data are written to all controllers. If communication with one of the ACU-100 controllers is lost, writing the keyfob data will not be possible to any controller.

Note: Click on the Write button immediately after reading data from the lowest address controller (without making any changes), to write these data to all controllers. The function is useful when connecting new ACU-100 controllers to the system where such controllers are already operating. It enables the keyfob related data to be synchronized.

New - button adds a keyfob to the user (see: Adding ABAX keyfobs).

Delete - button deletes a user's keyfob (see: Removing ABAX keyfobs).

OK - button closes the window.

Adding ABAX keyfobs

Removing ABAX keyfobs

## Adding ABAX keyfobs

You can add the keyfob by entering its serial number manually or reading the serial number during transmission which is sent after the button is pressed.

### Entering the serial number manually

- Click your mouse on the field in S/N column next to the name of user to whom you want to assign a keyfob.

- Enter the keyfob serial number and confirm with ENTER. The background color of the field in which the serial number is shown will change to pink.

- Save the data to the INTEGRA 128-WRL control panel and/or ACU-100 controllers. The background color of the field where the serial number is displayed will change to white.

### Reading serial number during transmission

- Click your mouse on the field in S/N column next to the name of user to whom you want to assign a keyfob.

- Click on the New button. The New window will open.

- Select the device which is to receive transmission from the keyfob (mainboard wireless system or ACU-100 controller).

- According to the command displayed in the window, press the keyfob button, and, after the keyfob serial number appears in the window, press OK. The New window will close. In the S/N column, the keyfob serial number will be displayed next to the user name. The background color of the field where the serial number is displayed will change to pink.

- Save the data to the INTEGRA 128-WRL control panel and/or ACU-100 controllers. The background color of the field where the serial number is displayed will change to white.

## Removing ABAX keyfobs

- Click your mouse on the field in S/N column next to the name of user whose keyfob you want to remove.

- Click on the Delete button.

- In the window which will be displayed, click on the Yes button to confirm your intention to remove the keyfob. The keyfob serial number will be deleted. The background color of the field in which the serial number is shown will change to pink.

- Save the changes to the INTEGRA 128-WRL control panel and/or ACU-100 controllers. The background color of the field where the serial number is displayed will change to white.

# Timers

The timers enable some functions (arming/disarming, enabling/disabling devices connected to the outputs, etc.) to be automatically performed by the control panel. The timer compares the time with the control panel clock and realize the selected function at the preset time. The number of system timers that can be programmed depends on the control panel size:

INTEGRA 24 – 16

INTEGRA 32 – 32

INTEGRA 64 / INTEGRA 128 / INTEGRA 128-WRL – 64

The following can be programmed for each timer:

- individual name (up to 16 characters);

- activation/deactivation time individually for each day of the week and globally for all days of the week (the timer can be activated/deactivated according to the settings defined for a selected day of the week, and if there are no settings for the given day - according to the presets defined for all days of the week);

- 4 exceptions, i.e. the time periods when the timer will be activated/deactivated at a different time than that programmed individually for each day of the week or globally for all days of the week.

Note: If the timer is to be used for arming, you should also enter, in addition to the activation time, a digit corresponding to the type of arming to be activated:

0 – fully armed,

1 – fully armed+bypasses,

2 – armed without interior,

3 – armed without interior and without entry delay.

## User schedules

The user schedules are defined for the needs of Scheduled type users. You can define up to 8 time schedules. To program a schedule you must give it a name (up to 16 characters) and indicate which timers will be used in that schedule. The timers assigned to the schedule will be highlighted in orange color. To assign a timer to the schedule, move your mouse cursor over the timer number and left click twice. You can exclude the timer from the schedule in a similar way.

# Reporting

The INTEGRA alarm control panels offer several ways to send event codes to the monitoring station, depending on the type of built-in communicator, as well as additional devices connected to the control panel. By enabling the options below you can define which form of reporting is to be performed by the control panel:

Reporting - TELEPHONE - with this option enabled, the control panel can send event codes to the monitoring station by means of the telephone line.

Reporting - GPRS - with this option enabled, the control panel can send event codes to the monitoring station, using GPRS technology. The GPRS reporting can be performed by the INTEGRA 128-WRL control panel or any other control panel, after connecting the GSM/GPRS module. The GSM/GPRS module must be connected to the RS-232 port of the control panel (operation as an external modem). The GPRS technology enables sending events in all formats, except for the TELIM format.

Reporting - ETHM (TCP/IP) - if the ETHM-1 module is connected to the control panel and this option is enabled, the control panel will be able to send event codes to the monitoring station via the Ethernet network, using the TCP/IP protocols. The Ethernet network enables sending events in all formats, except for the TELIM format.

SMS reporting - with this option enabled, the control panel can send event codes to the monitoring station in the form of SMS messages (see: SMS reporting). This option is only available in the INTEGRA 128-WRL control panel.

The control panel will make an attempt to send the event according to the following priorities:

1. over the Ethernet (TCP/IP) network,

2. using GPRS technology,

3. as an SMS message,

4. by telephone (main and reserve telephone number).

The procedure will be terminated when the event is successfully sent to the monitoring station by means of one of above mentioned transmission methods. Otherwise, the control panel will make repeated reporting attempts as many times, as programmed by the installer. If the event cannot be sent despite completion of the preprogrammed number of retries, the control panel will hang up until a next event occurs, or for a specified period of time. After the time expires, the control panel will make further attempts to send the event.

Reporting options

Reporting station

Events assignment

Identifiers assignment

Event codes

SMS reporting

### Buttons

Import reporting data - the button enables to read in the reporting data from a data file of another alarm system.

Export to STAM - the button enables to export the names of zones, outputs, users and modules for the needs of STAM-1 or STAM-2 monitoring station.

Print - the button enables to print all reporting parameters.

## Reporting options

Station 1 or Station 2 - with this option selected, the control panel will make an attempt to send the event code to station 1 and, if unsuccessful, to station 2.

Station 1 only - with this option selected, the event codes are only sent to station 1.

Station 2 only - with this option selected, the event codes are only sent to station 2.

Station 1 and 2 - with this option selected, the event codes are sent to both stations. For most formats, it is possible then to define which events will be sent to the given station (see: Events assignment).

No module restart reports - when this option is enabled and the Contact ID or SIA format is used for reporting, no event codes referring to module restarts will be sent to the monitoring station.

### Advanced

Long kiss-off signal - with this option enabled, the control panel will accept a long kiss-off (acknowledgment) signal for receiving events in case of Ademco Express and Contact ID formats. Enable this option in the event of telephone reporting if the monitoring station acknowledges receiving events in a non-standard way (the kiss-off signal is longer than 800 ms). The option must be individually enabled for each telephone number of the monitoring station.

Longer waiting for initial handshake - with this option enabled, the control panel will wait longer for handshake from the monitoring station in case of sending events in the Ademco Express, Contact ID or SIA format. Enable this option in the event of telephone reporting if the monitoring station sends a non-standard initial handshake.

SIA options - options for sending events in the SIA format:

Identifier confirmation required - with this option enabled, the control panel will wait for acknowledgement by the monitoring station of receiving the identifier with which the data were sent. The option applies to telephone reporting.

6-character identifier - with this option enabled, events will be sent with a 6-character identifier. It is composed of 2 parts: 2-character prefix and 4-character identifier.

Send event source name - with this option enabled, the name of event source (zone, user, etc.) will also be sent, in addition to the event code.

Send event partition name - with this option enabled, the name of partition where the event took place will also be sent, in addition to the event code.

Each data block confirmation required - with this option enabled, the control panel will wait for acknowledgement by the monitoring station of receiving every data block. The option applies to telephone reporting.

## Reporting station

Report format - format in which event codes are sent to the monitoring station.

Note: When the Contact ID (full) or SIA (selected) format is selected, there is no need for the installer to program any event codes and/or assign events to identifiers. The control panel transmits codes according to the format specification and the defined division into objects.

### Telephone

Tel. number - telephone number of the monitoring station.

Backup tel. no. - a backup telephone number of the monitoring station. The control panel will make an attempt of reporting to that telephone number, if the attempt of reporting to the basic telephone number fails.

Backup format - the format in which event codes are sent to the backup telephone number of the monitoring station.

Repetitions - the number of attempts to establish telephone connection with the monitoring station after which, if there is no connection (busy number, no answer from the station, etc.), the control panel will suspend reporting. Up to 31 retries can be programmed. Programming the value 0 means that monitoring will be suspended after 8 attempts.

Suspend time - the time for which reporting is suspended, after making the programmed number of attempts to establish connection with the monitoring station. The control panel will resume the attempt of establishing telephone connection with the monitoring station after this time expires or a next, new event occurs. Up to 30 minutes can be programmed. Programming the value 0 means that an attempt to establish telephone connection with the monitoring station will only be taken after occurrence of a new event in the system.

### ETHM/GPRS

Server - the address of STAM-2 monitoring station or SMET-256 converter. It can be entered in the form of IP address (4 decimal numbers separated by dots) or as a name.

Port - number of TCP port through which communication with the monitoring station will be effected.

Station key - a string of 1 to 12 alphanumeric characters (digits, letters and special characters) which define the key for coding the data to be sent to the monitoring station.

ETHM key - a string of 1 do 5 alphanumeric characters identifying the control panel for the purposes of reporting via Ethernet.

GPRS key - a string of 1 do 5 alphanumeric characters identifying the control panel for the purposes of reporting by means of GPRS technology.

### Identifiers

Each event code is sent to the monitoring station with an identifier. Up to 8 identifiers plus a system identifier can be programmed. Sent with the system identifier are events related to the alarm system (troubles, tests, etc.).

4 characters (digits or letters from A to F) must be programmed for each identifier. Using the digit 0 in the identifier is not recommended.

For the Ademco Express, Contact ID (selected) or SIA (selected) pulse formats, you must define which events will be sent with the given identifier (see: Identifiers assignment).

Note: For the Contact ID (full) or SIA (full) formats, each object has its own identifier. Therefore, the identifiers of non-existing objects need not to be programmed. In the system event identifier field, you should re-enter the identifier of the object which is responsible for the system (for example, the object, where the control panel is installed).

### TELIM prefix / SIA prefix

2 characters which will precede each of the identifiers in case of the SIA and TELIM formats. Thus an identifier consisting of 6 characters can be obtained. 2 hexadecimal characters (digits or letters from A to F) can be programmed. Entering 00 means that the prefix will not be added. Using the digit 0 in the prefix is not recommended.

Events assignment

## Events assignment

If Station 1 and 2 is selected in the reporting options, you can define which event types will be reported to the given monitoring station.

Note: It is not possible to assign events for the Contact ID (full) and SIA (full) formats.

## Identifiers assignment

Define in this tab the identifier with which events related to individual partitions, zones, keypads and expansion modules will be sent. To assign the identifier, enter 4 identifier characters in the field next to the given component of the system (partition, zone, keypad or expansion module). If no identifier is assigned to the given system component, the events related to it will not be reported (the codes for such events cannot be defined).

Notes:

For the Contact ID (full) and SIA (full) formats, you do not have to assign any identifiers.

For the Contact ID (selected) and SIA (selected) formats, identifiers must be assigned to the system components that are to be monitored. These identifiers do not have to be consistent with those of the object. The assignment of identifiers will make it possible to define in the Event codes tab the events that are to be reported, but it will have no effect on the identifier with which the code will be sent.

## Event codes

Note: Prior to programming the event codes, you should assign the identifiers (see: Identifiers assignment).

For the pulse and Ademco Express formats, it is necessary to program codes which will be sent to the monitoring station if the defined events occur. The reported events are those for which a code different from "00" has been programmed. 2 hexadecimal characters (digits or letters from A to F) are to be programmed.

For the Contact ID and SIA formats, event codes consistent with format specification are sent. In case of the Contact ID (selected) and SIA (selected), the codes must be programmed at the events which are to be reported (not the programmed code, but a code consistent with the format specification will be sent).

## SMS reporting

SMS reporting - with this option enabled, the control panel can send event codes to the monitoring station in the form of SMS messages.

Note: The SIA format event codes cannot be sent as SMS messages.

### Reporting station

Tel. number - telephone number of the monitoring station to which events are to be sent in the form of SMS messages.

SMS format - the SMS message format for SMS reporting. It must be defined according to the monitoring station requirements. The SMS message format, programmed by default in the INTEGRA 128-WRL control panel, corresponds to the default settings of the STAM-2 monitoring station (firmware version 1.2.0 or newer) for the Contact ID format. When programming the SMS message format, bear in mind that identifier and event code only will be sent for the formats other than Contact ID.

# Messaging

All the INTEGRA series control panels can inform of events in the system by means of voice messages (connection of voice synthesizer is required) and PAGER type text messages. The INTEGRA 128-WRL control panel can additionally notify by means of SMS messages. The SATEL made GSM modules offer optional conversion of PAGER messages into SMS messages, thus enabling this form of messaging to be used also in case of the other INTEGRA control panels.

Messaging is performed independently from reporting but reporting has the priority. If in the course of messaging some events occur which must be reported to the monitoring station by the control panel, the messaging will be interrupted. The control panel will resume the messaging function after the event codes are reported to the monitoring station.

The number of telephones to which the messaging is performed as well as the number of available voice messages or text messages depend on the size of control panel.

Telephone messaging - with this option enabled, the control panel can notify about the occurrence of specific events by means of voice messages or text messages using the telephone links.

Double voice message - with this option enabled, the voice message is played back twice during telephone messaging.

Max. redial number for one round - the number of attempts to get through after which the control panel will give up messaging for the current round, if it fails to establish connection (the number is busy).

### Telephone numbers

Description - individual name of the telephone number (up to 16 characters).

Tel. number - the telephone number to which messaging is effected.

Mode - selection of the form in which the indicated telephone number is to be notified. Enter a digit in this field, according to the selected form of messaging:

0 - voice

1 - Pager type 1

2 - Pager type 2

3 - Pager type 3

4 - SMS [INTEGRA 128-WRL only]

Round count - the number of attempts made by the control panel to notify the selected telephone number about the event, if the message reception has not been acknowledged. If the value 0 is entered, messaging for the indicated telephone number will be disabled.

Any code - with this option enabled, it is possible to acknowledge the voice message reception from the telephone keypad, using any sequence of 4 digits.

Code - 4 digits which, when entered from the telephone keypad, will acknowledge reception of the voice message.

Notes:

The control panel acknowledges receiving the code by a special signal. In case of notifying of several events, the acknowledgement signal for receipt of the code sounds different, thus informing that further messages are to be expected.

If no code has been programmed to acknowledge receipt of the voice message, nor the Any code option has been enabled, the control panel will recognize receipt of the message as acknowledged when the receiver is picked up after two rings and any sound occurs.

Programming telephone numbers

Event assignment

Clearing

Pager messages

Pager type

Voice messages

## Programming telephone numbers

When programming a telephone number, you can use all the characters defined in the DTMF standard, i.e. digits from 0 to 9 and special characters:

B - switch-over to pulse dialing;

C - switch-over to tone dialing (DTMF);

D - waiting for additional signal;

E - 3 second pause;

F - 10 second pause;

* - signal * in DTMF mode;

# - signal # in DTMF mode;

a, b, c, d - other signals generated in DTMF mode.

Note: Do not overuse the control characters. They are only to be used when necessary. There is no need for putting them at the beginning, before the telephone number digits. The basic method of dialing, appropriate pause and awaiting the dial tone before dialing are set in the telephone options (see: Options - Telephone).

## Event assignment

Available in the tab is a list of all events the control panel will notify about. If the control panel is to notify about a given event, proceed as follows:

- enter in the Voice message column the number of voice message which is to be played back in case of voice messaging;

- enter in the Pager message column the number of message which is to be sent in case of PAGER or SMS messaging;

- indicate the telephone numbers which are to be notified about an event (the X symbol indicates the telephone number which will be notified about the given event).

## Clearing

### Partitions

For each telephone number, you can indicate the partitions in which alarm clearing will clear notification about that alarm (the messages will not be sent to that telephone number, but can be sent to other numbers).

Note: Messaging in partitions can be cleared irrespective of the Clear messaging on alarm clearing option (see: Options - Other).

### Acknowledged

You can indicate the telephone numbers which will not be notified about the event, if the control panel obtains acknowledgement of voice message reception by another, indicated telephone number.

## Pager messages

Define in this tab the content of messages which will be used for PAGER or SMS type of messaging.

### Message type

Select the type of message editing:

Digital - for messages to be sent to PAGER call systems.

Text - for messages to be sent as SMS messages (through the INTEGRA 128-WRL control panel or, after conversion, through the SATEL made GSM module).

Pager type – the button opens the Pager type window.

## Pager type

Displayed in the window are parameters defined for each of the three pagers (pager name and identification). Default parameters of the pager type 1 are adjusted to the requirements of GSM module for the purposes of converting the PAGER type message into a SMS message.

## Voice messages

In this tab, you can enter the content of voice messages recorded in the voice synthesizer.

# Answering and remote control

Answering - audio - with this option enabled, the control panel will carry out the function of call answering, i.e. the users who have a telephone code will be able to obtain by phone information on the status (armed/disarmed, alarms) of partitions to which they have access.

Rings before answer - number of rings after which the control panel will go off hook.

Double call - with this option enabled, the control panel must be called twice for the modem communication to be established. The first time you must wait for the preprogrammed number of rings and hang up. Then you must call back within three minutes and the control panel will answer the call immediately. This solution makes it possible to connect after the control panel some additional devices which will be activated after a preset number of rings (e.g. answering machine, fax, etc. ).

Remote control - with this option enabled, the control panel allows the users having a telephone code to operate the Remote switch type of outputs by using a phone. The option is available if the Answering - audio is enabled.

Answer if all chosen partitions are armed - the control panel will only execute the answer/control function when all selected partitions are armed. Thus the function operation can be limited to the periods when there is nobody in the building and nobody is using the telephone line. The selected partitions are highlighted in orange color. Click twice on the partition number to select/deselect it.

Note: If the Answering - modem option is enabled (see: Options - Telephone), the control panel will be answering the calls whether the partitions are armed or not.

## Users and remote switches

The table presents the list of system users, including the following information:

- name,

- object in which the user has been created,

- list of partitions to which the user has access.

The list of Remote switch type outputs in the system (on the right side of the window) is displayed individually for each user, so it is possible to select the outputs that can be controlled by the user.

## SMS control [INTEGRA 128-WRL only]

The INTEGRA 128-WRL control panel makes the SMS message control function available to the users. Receiving by the control panel of a message containing the suitable command may result in zone violation, starting the selected function, or sending the return message with information on system status. Several control commands may be included in one SMS message.

SMS control - enable this option, if the control panel is to execute the control function by using SMS messages.

Tel. code required - if this option is enabled, the SMS message to be sent to the control panel will have to contain, beside the control command, also the telephone code.

Case sensitive - with this option enabled, the control panel will also analyze the received message for case sensitivity. The received control command will have to be consistent in this respect with the command programmed in the control panel.

Confirm the control - with this option enabled, execution of the control will be confirmed by an SMS message sent to the telephone number from which the control message was sent.

Accept only SMS from - the control by means of SMS message may be restricted to the selected telephone numbers only. The selected telephone numbers are highlighted in orange color. Click twice on a number to select/deselect it. If no telephone number is selected, it will be possible to send the control messages from any telephone numbers.

### Zones

This tab is used to define the rules for controlling zones by means of SMS messages. You can enter the content of up to 32 control commands and assign one zone to each command.

SMS - you can enter in this column the content of SMS message, the reception of which will violate the zone with number entered in the Zone column.

Zone - you can enter in this column the number of zone that will be violated after receiving the SMS message defined in the SMS column. You can enter a number of any zone. The zone does not need to exist physically, but the wiring type to be programmed for it must be different from Not used or Follow output. Any zone type may be programmed.

Name - Zone type - name and type of the zone whose number is entered in the Zone column.

### Functions

This tab is used to define the rules for starting selected functions by means of SMS messages. You can enter the content of up to 8 control commands and assign a function to each command.

SMS - you can enter in this column the content of SMS message, the reception of which will start the function selected in the Function column.

Name - you can enter in this field an individual name for the function to be executed. The name will be included in the content of SMS message with confirmation of function execution.

Function - select in this field one of the functions from the list. The function will be started on receiving an SMS message with content defined in the SMS field.

Partitions - in case of some functions (arming/disarming, alarm clearing), you should indicate the partitions in which the function will be executed. The partitions to which the function refers are highlighted in orange color. Click twice on the number of partition to select/deselect it.

Zones - in case of some functions (bypassing/unbypassing zones), you should indicate the zones to which the function refers. The zones controlled by this function are highlighted in orange color. Click twice on the number of zone to select/deselect it.

Outputs - in case of some functions (activating/deactivating outputs), you should indicate the outputs which are controlled by the function. The outputs controlled by the function are highlighted in orange color. Click twice on the number of output to select/deselect it.

### System state

This tab is used to define the content of SMS message, after receiving of which the control panel will send information by means of SMS message about the status of selected partitions. The partitions whose status will be shown in the SMS message are highlighted in orange. Click twice on the number of partition to select /deselect it.

Note: When programming the SMS control commands, remember that:

- the command may include up to 16 characters,

- the command may not contain diacritic characters and/or spaces,

- the commands must be different (the same command must not be used for controlling two zones, two functions, etc.),

- the command must not be based on contents defined for another command. In case of such commands as "zone1" and "zone11" or "arm" and "armed" the control panel will not be able to execute the second command.

# Service note

Service note is the message to be displayed automatically on LCD keypads. The maximum length of the note is 28 characters (16 in first row and 12 in second row).

You can set from when and for how many days the note is to be displayed. The note can be visible for all or for selected users only. You should also define whether the note can be deleted, and which users are authorized to do so.

The "always visible" note is not displayed on keypads on computer screen (in the DloadX and GuardX programs).

# Data comparison

Presented in the window is information on differences between the computer data and those recently read from the alarm control panel.

### Buttons

Undo change - the button is active when at least one item has been selected in the list of changes. It enables undoing the indicated change (settings read out from the control panel will be restored).

Undo all changes - the button is active when at least one change has been made. It enables undoing all changes made to the computer (all settings read out from the control panel will be restored).

Refresh - the button enables rechecking any differences. If the window is open, the list of differences will be refreshed automatically every 2 seconds.

Close - the button closes the window.

# Event log

Presented in the window is a list of alarm system events. The events are downloaded automatically by using the  button in the main menu. To update the events displayed in the window, press the Refresh button.

No. - number of event in the list.

Date - date of event occurrence.

Time - time of event occurrence.

Event - description of event.

Details - additional information on the event, e.g. name of the partition, zone, user, etc., to which the event refers.

O - object number.

P/K - partition number, module address or output number (for the events providing information about output trouble).

Z/M/U - number of zone, module or user.

S1 S2 - reporting status (S1 – monitoring station 1, S2 – monitoring station 2):

no symbol - the event is not reported.

+ - event successfully reported to the monitoring station.

. - event waiting to be reported to the monitoring station.

! - event not reported yet because of failure of communication with the station (the station does not confirm receiving this information).

Note: If, since the last readout, the number of events has exceeded the capacity of control panel memory, part of the older events will be erased. In such a case, a message about lack of continuity of the event log will be displayed in the window.

Choose – the button opens the Choose window.

Print - the button opens the Print window.

Refresh – the button updates the event log (new events are read).

Colored list – with this field selected, the events will be displayed in color (the colors assigned to various event types are presented in the Choose window).

Font - the button opens the Font window, where you can set parameters of the font used for event presentation.

Close - the button closes the window.

## Choose

The window enables the user to select events which are presented in the Event log window. The events can be filtered according to the following criteria:

Events type – types of events that are to be displayed (the event types are highlighted in color, if the Colored list field has been selected in the Event log window).

Range – the range of displayed events can be limited to the selected objects or partitions:

Objects – the numbers of objects, the events from which are to be displayed. The selected objects are highlighted in orange color. Click twice on the object number to select/deselect it.

Partitions - the numbers of partitions, the events from which are to be displayed. The selected partitions are highlighted in orange color. Click twice on the partition number to select/deselect it.

Note: If no object or partition has been selected, events from all objects and partitions will be presented.

From – you can define a date in this field, if events that occurred after this date are to be displayed.

To - you can define a date in this field, if events that occurred before this date are to be displayed.

Only including text – you can define the text that must be included in event description for the event to be displayed.

And including text – you can define the text that, if included in the event description, will cause the event to be displayed next to the events that have been selected by other criteria (event type, range, etc.).

Without including text – you can define the text that, if included in the event description, will cause the event not to be displayed.

### Buttons

All – click on the button to close the window and display all events in the Event log window (without taking into account the criteria defined in the Choose window).

Choose – click on the button to close the window and display events in the Event log window according to the criteria defined in the Choose window.

Cancel – the button allows you to cancel the event selection and close the window.

## Print

The window allows you to define parameters of a printout containing the event log.

Printer – in this field, information on the selected printer is displayed.

Properties – the button enables selection of a printer.

Events – the field displays information on events to be printed. The printout contains events currently displayed in the Event log window.

Printout with reporting status – select this field to include reporting status information in the printout.

Print to text file – with this field selected, the event log will be exported to a text file instead of a printout.

Range – you can define a printout range.

### Buttons

Print – click on the button for the event log to be printed or exported to file.

Cancel – use button to cancel printing and close the window.

# System state

Keypad

Partitions state

Zones state

Outputs, timers, tampers, doors

Troubles

Module power supply

Wireless devices

## Keypad

The keypad displayed on screen is a fully functional keypad. It can be used to operate the control panel in the same way as the LCD keypad connected to the control panel. Settings and options of the screen keypad are programmed in the Structure window, Hardware tab (see: LCD keypad) in the same way as for a real keypad. Parameters are programmed separately for the RS-232 connection (all forms of communication where the data pass through the control panel RS-232 port, which also includes communication through the external modem and Ethernet network) and separately for the telephone connection (all forms of communication where the data are received by the built-in control panel communicator, which also includes GPRS communication).

Note: Operation of the system from the virtual keypad is available when the program is communicating with the control panel.

## Partitions state

Presented in the window is information on the status of partitions of the alarm system with which the program is currently communicating. The window data are automatically updated. If there is no communication with the control panel, all inscriptions and fields are grayed out.

## Zones state

The window presents information on the status of zones of the alarm system with which the program is currently communicating. Move the cursor over the zone number to display additional information about that zone at the window bottom. The window data are automatically updated. If there is no communication with the control panel, all inscriptions and fields are grayed out.

## Outputs, timers, tampers, doors

Presented in the window is information on the status of outputs, timers, tampers and doors of the alarm system with which the program is currently communicating. The window data are automatically updated. If there is no communication with the control panel, all inscriptions and fields are grayed out.

### Outputs

You can select whether output activity status (active/inactive) or output voltage (0 V/+12 V) is to be indicated. Depending on your selection:

- the green color means that the output is inactive or the output voltage is 0 V;

- the red color means that the output is active or the output voltage is +12 V.

The gray color indicates that the output is not in the system.

Move the cursor over the output number to present additional information on the output at the bottom of the window.

### Timers

The status of all system timers is presented (even if they are not programmed). The green color indicates that the timer is disabled, and the red color that it is enabled. Move the cursor over the timer number to present additional information on the timer at the bottom of the window.

### Tamper

Information on tampers, if any, of the devices connected to the control panel communication buses is presented as follows:

- green color – no tamper;

- red color – tamper (open tamper contact, no tamper contact or verification error);

- gray color – no device at this address.

Move the cursor over the device address to present additional information on the device at the bottom of the window.

### Door

Presented here is information on the doors supervised by access control modules (partition keypads, code locks, proximity card reader expanders and DALLAS chip reader expanders):

- green color – door closed;

- red color – door open;

- gray color – no door status supervising module at this address.

Move the cursor over the address of door supervising module to present additional information on the module at the bottom of the window.

## Troubles

Displayed in the window is information on the system troubles.

Clear trouble memory - the button is available, if the Trouble memory until review option is enabled in the control panel (see: Options - Other). You can use it to reset the trouble memory.

## Module power supply

The window displays real-time information about the power supply of modules connected to the control panel communication buses. It facilitates diagnosing power problems, if any, in the extended alarm systems.

# Communication

Communication options

Data comparison: Write

Identifiers and telephone numbers

## Communication options

The window enables configuration of the rules for data reading from and writing to the control panel.

Mode: "AUTO" - if the option is enabled, communication with the control panel is effected in the automatic mode. The program downloads from the control panel information about the last time when the communication took place and the data were synchronized. If, since that time any changes have been made to the control panel, only the changed data will be read. Thus the time of data reading can be minimized. If there is a difference between the data in control panel and computer, the Data comparison: Write window will be displayed. In the automatic mode, also the event reading will be limited to the events which have occurred since the last connection.

Notes:

It is not recommended to disable the Mode: "AUTO” option.

Disabling the Mode: "AUTO" option enables reading all or some defined data from the control panel and writing the selected data only.

Write only changes - if this option is enabled, writing data to the control panel will be limited to the data that have been changed. If the option is disabled, the way of writing data to the control panel depends on other options available in the window (because all data can be written to the control panel, it is possible e.g. to restore in the control panel a previously read configuration).

Auto/all - the option is available, if the Mode: "AUTO" option is disabled. If the option is enabled, the program will read all data from the control panel. The way of writing data depends on the Write only changes option (option enabled – changes only will be written; option disabled – all data will be written).

Manual selection - the option is available, if the Mode: "AUTO" option is disabled. If the option is enabled, the program will read selected data from the control panel (the selection is made as below). The way of writing data depends on the Write only changes option (option enabled – changes are only written to selected data; option disabled – all selected data are written). The Manual selection option makes it possible to limit the amount of transmitted data and thus shorten the time of transmission. As a result however, the data in computer and control panel will not be synchronized and reading all data from the control panel will be required before re-enabling the Mode: "AUTO" option.

Note: If the Manual selection option is enabled, the user data will not be read and written.

## Data comparison: Write

The window is displayed, if differences in settings have been found when reading data from the control panel.

Changed in PC – the list of changes, if any, made to the computer, as compared with the data read out from the control panel.

Read from Integra – the list of changes, if any, made to the control panel, as compared with the data written to the computer.

Undo change – the button is available after selecting any item in the list of changes made to the computer. It allows you to undo the selected change.

Undo all changes - the button is available after selecting any item in the list of changes made to the computer. Allows you to undo all changes made to the computer.

Load to PC – the button is available after selecting any item in the list of changes made to the control panel. It allows you to write to the computer the changed data from the control panel.

Load all – the button is available after selecting any item in the list of changes made to the control panel. It allows you to write to the computer all the changed data from the control panel.

Write as in PC – the button is available after selecting any item in the list of changes made to the control panel. It allows you to cancel the changes to the control panel.

Next - the button automatically writes the changes: first, the changed data from the control panel are written to the computer, and then the changes made to the computer are written to the control panel. This order of writing means that, in case of making changes to the same data in computer and control panel, the changes in the control panel will have priority. If the changes from computer are to be written, use the Write as in PC button first.

Cancel - the button closes the window and terminates the reading/writing data procedure.

## Identifiers and telephone numbers

The window is used to program parameters required for communication with the control panel.

### Panel INTEGRA

Integra identifier - identifier of the alarm control panel which makes it possible to identify the control panel and match the data file to it, provided that the data file has been saved on the computer. It consists of 10 hexadecimal characters (digits or letters from A to F). The same identifier must not be programmed for different control panels operated from the same computer (the DloadX program will be incapable of distinguishing between them). The identifier is presented as a sequence of asterisks. Use the  button to see the programmed sequence of characters.

Note: In case of establishing communication with the alarm system whose identifier have factory defaults, the DloadX program will suggest random generated identifier.

Panel’s tel. no. - telephone number of the control panel (selected by the modem connected to the computer to establish communication with the control panel).

### PC - DloadX

DloadX identifier - identifier of the computer with DloadX program. The control panel will only establish connection with the program which uses the valid identifier. It consists of 10 hexadecimal characters (digits or letters from A to F). The identifier is presented as a sequence of asterisks. Use the  button to see the programmed sequence of characters.

Note: In case of establishing communication with the alarm system whose identifier have factory defaults, the DloadX program will suggest random generated identifier.

PC phone number - telephone number of the computer with DloadX program (selected by the modem connected to the control panel to establish communication with the DloadX program – the control panel initiates the connection or calls back).

### PC - GuardX

GuardX identifier - identifier of the computer with GuardX program. The control panel will only establish connection with the program which uses the valid identifier. It consists of 10 hexadecimal characters (digits or letters from A to F). The identifier is presented as a sequence of asterisks. Use the  button to see the programmed sequence of characters.

PC phone number - telephone number of the computer with GuardX program (selected by the control panel modem to establish communication with the GuardX program – the control panel initiates the connection or calls back).

### TCP/IP connection: DloadX -> ETHM

Connection - selection of method for configuration of connection with the control panel:

LAN/WAN - if this method is selected, you must enter all parameters required for establishing the connection (address, port, key). This method is useful, when communication is effected by means of a network device which changes the address and/or port (e.g. router), as is the case during communication through a public network (WAN).

LAN: ETHM-1 address n [n=module address] - if this method is selected, the program will use settings defined in the ETHM-1 module with the given address (if the address is automatically downloaded by the ETHM-1 module from the DHCP server, you should enter the server address manually). This method simplifies programming, but it may only be used when communication takes place within one local network (LAN).

Server - address of the ETHM-1 module (if communication is effected via a public network, it must be so-called public address). It can be given in the IP address format (4 decimal numbers separated by dots), or as a name.

Port – the number of TCP port which will be used for communication via Ethernet network. You can enter a value from 1 to 65535. In most cases the port number should be identical to that programmed for the ETHM-1 module (except for the situation when communication is effected through a network device with redirection to another port).

DloadX key - a sequence of 1 to 12 alphanumeric characters (digits, letters and special characters) defining the key to be used for encryption of the data sent through Ethernet network. An identical sequence must be programmed in the DloadX program and in the ETHM-1 module.

# Configuration

Port RS-232

Modem

Modem configuration

Data

## Port RS-232

Select in the tab the computer COM port to be used for communication with the control panel RS-232 port.

If the USB-RS232 converters are being used, connect the converter before selecting the port and do not disconnect it until closing the program (disconnecting the USB-RS232 converter during the data transmission may cause the computer to hang).

Note: Opening the Configuration window will result in closing the COM port that was previously selected for communication in the Port RS-232 tab. After the window is closed, the COM port currently selected in the Port RS-232 tab will be opened.

## Modem

Use the tab to define parameters related to modem communication with the control panel.

Three modem configurations can be defined:

1. analog modem for communication with the control panel built-in modem;

2. analog modem for communication with the external analog modem of the control panel;

3. ISDN or GSM modem for communication with the ISDN or GSM modem of the control panel.

- the button opens the Modem window for selected configuration (see: Modem configuration).

### Dialing

Tone - with this option selected, the modem connected to the computer will use tone dialing.

Pulse - with this option selected, the modem connected to the computer will use pulse dialing.

Dial tones control - if this option is selected, the modem connected to computer will detect the dial tone or busy signal before dialing the number.

### Speaker

Off - if this option is selected, the modem speaker will be disabled.

Auto - if this option is selected, the modem speaker will be disabled on establishing connection with the control panel.

On – if this option is selected, the modem speaker will be enabled.

Volume – in this field you can define the volume of modem speaker.

### Answering

You can define the response type if the control panel gets through to the DloadX program. Communication can be established automatically after a preset number of rings, or the program will only indicate an attempt to establish communication by the control panel and display the Answer button.

### Double call

You can define the pause duration if the control panel is to establish connection after the second call.

## Modem configuration

Port RS-232 – computer COM port to which the modem is connected.

Modem – select from the list presented in this field the modem connected to the COM port. If the modem is not in the list or modification of the parameters defined for the modem is necessary, press the Change button (you can enter then a new name in the field). The list of modems and their settings will be written to disk in the modem.ini file in the system catalog.

Baud Rate - transmission rate of the serial port. You can change the parameter by using the Change button. It is recommended that the highest rate acceptable by the modem be set. Only the older, external modems may require the 300 bps setting in order to enforce operation with exactly this speed.

Reset command - the command to reset the modem. Typically, it is the ATZ command (reset with restoration of the user's zero profile). Some modems may require using the AT&F command (reset with restoration of the factory default settings). Press the Change button to edit the command.

Initializing - lines containing the modem initialization commands (press the Change button to edit the commands):

for communication with built-in control panel 300 bps modem - in the first line: E0V1Q0 - a command required for proper operation of the modem. You should also add the operating mode selection: B0 or B1 (selection of transmission format: V.21 or Bell103), and the commands limiting transmission rate over telephone line to 300 bps. These are commands specific for the given modem model, e.g. N0S37=3, F1 or +MS=1,0,300,300 etc. Information on how to limit the modem transmission rate is usually included in the device manual. The other line should contain the following commands: S0=0S9=1S7=120S10=255. They are necessary for correct operation.

for communication with external analog modem connected to the control panel - in the first line: E0V1Q0, the other line: S0=0S7=120. It is not recommended to insert additional commands to limit the modem transmission rate, unless this is required by the modems used, or the telephone link quality.

for communication through ISDN or GSM modem - in the first line: E0V1Q0, the other line: S0=0. Depending on the modems used, you will have to use additional commands to set the identical transmission format, as in the control panel modem, i.e. specific for the given modem. V.110 format is intended for the GSM modems.

Modem ISDN – enable this option, if communication is to be effected through an ISDN or GSM modem.

Change - the button enables you to edit parameters for the selected modem or add a new modem to the list.

Test - the button enables you to check the entered settings for correctness. The initialization window will show the initializing commands and the modem answers. The commands sent to the modem will always begin with the AT prefix. The modem acknowledges receiving the command with either OK or ERROR message (if the command is wrong). The MODEM NOT RESPONDING message means a wrongly selected COM port number or too high transmission rate.

## Data

In this tab, you can specify location of the data catalog on the computer hard disk. The catalog is automatically created when the program is run for the first time.

Note: Changing location of the catalog which already contains some data written to it is not recommended, since it may cause loss of access to those data.

# Connection

Port RS-232

Modem connections

Ways to establish modem communication with the control panel

Connecting external modem to the control panel

Configuration of settings in modem to be connected to control panel

Communication using the GPRS technology [only INTEGRA 128-WRL]

Ways to establish GPRS communication with the control panel

Communication via Ethernet network

Ways to establish communication via Ethernet network

Communication identifiers and establishing connection

## Port RS-232

To start programming through the RS-232 port, proceed as follows:

- Connect the control panel RS-232 port with the computer port (see the figures below).

Connecting computer to the serial port of control panel (the older versions of electronics board with PIN-5 connector). Shown on the left is PIN-5 connector on control panel mainboard. Shown on the right is DB-9 female plug, as seen from solder side.

Connecting computer to the serial port of control panel (the newer versions of electronics board with the RJ type connector). Shown on the left is RJ connector on control panel mainboard. Shown on the right is DB-9 female plug, as seen from solder side.

- In the Configuration window, indicate the computer port to which the control panel has been connected.

- In the LCD keypad connected to the control panel, enter the service code (by default: 12345) and press *.

- Using the arrow keys, scroll the function list until the arrow indicates the function Downloading.

- Press the # key.

- When the arrow indicates the Start DWNL-RS function, press #.

- Establishing communication will be signaled on the monitor screen by a corresponding message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

Note: The downloading function will start automatically, if you connect the INTEGRA control panel through RS-232 port with the computer on which the DloadX program is running, and then turn on the control panel power supply.

The function of local programming from computer (downloading) can be ended by the command End DWNL-RS available in the user menu in the keypad. The function will be switched off automatically after 255 minutes have passed since the last use of the DloadX program, and the service access was blocked or expired in the meantime.

### Starting the function of downloading through RS-232 port "from pins"

When starting the downloading normally is not possible (e.g. because the control panel for some reasons does not support the keypad), you can use the emergency procedure of the so-called starting "from pins".

- Connect the control panel RS-232 port with the computer port. (see figures).

- In the Configuration window, indicate the computer port to which the control panel is connected.

- Disconnect in turn the AC supply and the battery.

- Place the jumper on RESET pins located on the control panel board.

- Connect in turn the battery and the AC supply (in INTEGRA 24, INTEGRA 32, INTEGRA 64 and INTEGRA 128 control panels, the DIALER LED will start blinking).

- Wait about 10 seconds (in INTEGRA 24, INTEGRA 32, INTEGRA 64 and INTEGRA 128 control panels, the DIALER LED will go off), then remove the jumper from pins. The control panel should automatically start the downloading function. Establishing communication will be signaled on the monitor screen by a corresponding message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

Note: Starting the downloading "from pins" can be disabled in the control panel.

## Modem connections

Three types of modem connections are available in the drop-down menu after pressing the  button:

- Modem 300 bps

- Modem - INTEGRA with ext. modem

- Modem ISDN

Selecting the type of modem connection will open a window with information about modem initialization. Parameters of the modem connected to the computer are programmed in the Configuration window separately for each of the above mentioned connections.

The control panels have a built-in internal modem, the transmission rate of which is rated at 300 baud. With this speed, reading all the control panel settings and programming the new ones can take tens of minutes. The transmission rate imposes an additional restriction: an analog modem must be connected on the computer side. The GSM communicator of INTEGRA 128-WRL control panel supports sending data with the use of CSD technology, i.e. at a rate of 9.6 kb/s. In case of the other control panels, higher transmission rates can be obtained after an external modem is connected. The INTEGRA control panels can interact with external analog, ISDN and GSM modems. Setting up a modem connection between the control panel and the PC will be possible, provided that there is a suitably selected modem on the computer side (see the table below).

| Configuration on control panel side | Configuration on computer side |
| --- | --- |
| Built-in 300 bps modem | Analog modem |
| External analog modem | Analog modem |
|  | GSM modem |
| External ISDN modem | ISDN modem |
|  | GSM modem |
| External or built-in GSM modem | Analog modem |
|  | GSM modem |

Ways to connect alarm control panel with computer for telephone communication.

Prior to establishing the modem connection in the control panel, proceed as follows:

Enter the telephone number of the computer from which the control panel is to be programmed (Service mode >Configuration TS >Telephone DloadX), if the control panel is to execute the connection.

Enable the Answering - modem option (Service mode >Options >Telephone options >Aswering. modem), if the connection is to be initialized by the computer or by means of SMS message.

Set the number of rings after which the control panel will answer the call (Service mode >Options >Rings count), if the connection is to be initialized by the computer.

Enable the Double call option (Service mode >Options >Telephone options >Double call), if the connection is to be initialized by the computer and the control panel is to only go off hook after the second call.

Enable the External modem option (Service mode >Options >Telephone options >Ext. Modem), if an external modem is connected to the control panel.

Enable the option Modem ISDN/GSM (Service mode >Options >Telephone options >Modem ISDN/GSM), if a GSM or ISDN module is connected to the control panel as an external modem.

Define the code which will have to be included in the SMS message body to initialize communication with the DloadX program (Service mode >Structure >Hardware >GSM >SMS DloadX), if the control panel is to execute the connection after receiving an SMS message [INTEGRA 128-WRL only].

Note: Establishing connection is possible, if the communication identifiers in control panel and program are identical, or the identifiers in control panel have their factory default values (see: Identifiers and telephone numbers).

## Ways to establish modem communication with the control panel

Communication between control panel and DloadX program can be established in several ways (shown in parentheses is information on the required configuration on the control panel side):

- Connection initialized from the DloadX program (built-in modem 300 bps, external analog modem, external ISDN modem). This method makes it possible to establish connection with the control panel from any location.

- Connection initialized from the DloadX program, but the control panel calls back and sets up the connection (built-in 300 bps modem, external analog modem, external ISDN modem). The control panel may only be remotely programmed from a specified locality.

- Connection initialized by means of SMS, after reception of which the control panel sets up the connection (GSM module operating as an external modem, INTEGRA 128-WRL control panel). The control panel may only be remotely programmed from a specified locality.

- Connection initialized by the control panel (all configurations). The control panel may only be remotely programmed from a specified locality. It can be applied if the system user prefers that the remote programming cannot be carried out without his knowledge.

### Connection initialized from the DloadX program

Note: The computer telephone number must not be programmed in the control panel!

- Initialize the modem connected to the computer. Modem initialization will take place after you click on the  button and select modem configuration on the control panel side. The window will then open where the modem initializing information will be shown.

- Click with your mouse pointer on the Connect button.

- After the programmed number of rings (or after the second number call, if the Double call option has been enabled) the control panel will answer the call and the connection will be established. The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

### Connection initialized from the DloadX program, but the control panel calls back and sets up the connection

- Initialize the modem connected to the computer. Modem initialization will take place after you click on the  button and select modem configuration on the control panel side. The window will then open where the modem initializing information will be shown.

- Click with your mouse pointer on the Connect button.

- After the programmed number of rings (or after the second number call, if the Double call option has been enabled) the control panel will answer the call, acknowledge receiving the call, and disconnect. Then it will call back the computer telephone number programmed in the control panel.

- Response of the DloadX program to an attempt to establish connection by the control panel depends on the settings programmed in the Configuration window, Modem tab (the call will be answered automatically or the person using the program will have to accept the establishing of communication). The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

### Connection initialized by means of SMS, after reception of which the control panel sets up the connection

- Initialize the modem connected to the computer. Modem initialization will take place after you click on the  button and select modem configuration on the control panel side. The window will then open where the modem initializing information will be shown.

- Send an SMS message to the INTEGRA 128-WRL control panel / to the GSM module connected to the alarm control panel.

In case of the INTEGRA 128-WRL control panel the SMS message should look as follows:

xxxx=csd= („xxxx” denotes the code defined in control panel which triggers communication with DloadX program) - the control panel will call the programmed telephone number of the computer; the data will be sent using CSD technology;

xxxx=yyyy= („xxxx” denotes the code defined in control panel which triggers communication with DloadX program; "yyyy" denotes telephone number of the computer with which the control panel is to establish communication) - the control panel will call the telephone number sent in the SMS message (the computer telephone number programmed in control panel will be ignored); the data will be sent using CSD technology.

If the GSM module is connected to the control panel as an external modem, the SMS message should look as follows:

xxxx („xxxx” denotes the code defined in module which triggers communication with DloadX program) - the control panel, using the module, will call the programmed computer telephone number; the data will be sent using CSD technology;

xxxx=yyyy. („xxxx” denotes the code defined in module which triggers communication with DloadX program; "yyyy" denotes telephone number of the computer with which the control panel is to establish communication) - the control panel, using the module, will call the telephone number sent in the SMS message (the computer telephone number programmed in control panel will be ignored); the data will be sent using CSD technology.

- Response of the DloadX program to an attempt to establish connection by the control panel depends on the settings programmed in the Configuration window, Modem tab (the call will be answered automatically or the person using the program will have to accept the establishing of communication). The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

### Connection initialized by the control panel through built-in 300 bps modem

- Initialize the modem connected to the computer. For the modem to be initialized, click on the  button and, from the menu that will be displayed, select the Modem 300 bps. The window will then open where the modem initializing information will be shown.

- Start the Start DWNL-TEL function (CODE* >Downloading >Start DWNL-TEL) in the LCD keypad connected to the control panel. This function is available to the service technician and to the administrators/users having the Downloading starting authority level.

- The control panel will call the programmed computer telephone number.

- Response of the DloadX program to an attempt to establish connection by the control panel depends on the settings programmed in the Configuration window, Modem tab (the call will be answered automatically or the person using the program will have to accept the establishing of communication). The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

### Connection initialized by the control panel through external modem

- Initialize the modem connected to the computer. For the modem to be initialized, click on the  button and, from the menu that will be displayed, select the Modem - INTEGRA with ext. modem. The window will then open where the modem initializing information will be shown.

- Start the Start DWNL-MOD function (CODE* >Downloading >Start DWNL-MOD) in the LCD keypad connected to the control panel. This function is available to the service technician and to the administrators/users having the Downloading starting authority level.

- The control panel will call the programmed computer telephone number.

- Response of the DloadX program to an attempt to establish connection by the control panel depends on the settings programmed in the Configuration window, Modem tab (the call will be answered automatically or the person using the program will have to accept the establishing of communication). The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

### Connection initialized by the control panel through built-in GSM communicator (using CSD technology) [INTEGRA 128-WRL only]

- Initialize the modem connected to the computer. For the modem to be initialized, click on the  button and, from the menu that will be displayed, select the Modem - INTEGRA with ext. modem. The window will then open where the modem initializing information will be shown.

- Start the Start DWNL-CSD function (CODE* >Downloading >Start DWNL-CSD) in the LCD keypad connected to the control panel. This function is available to the service technician and to the administrators/users having the Downloading starting authority level.

- The control panel will call the programmed computer telephone number.

- Response of the DloadX program to an attempt to establish connection by the control panel depends on the settings programmed in the Configuration window, Modem tab (the call will be answered automatically or the person using the program will have to accept the establishing of communication). The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

## Connecting external modem to the control panel

The control panel can work with any external modem having a RS-232 port compatible with the Hayes AT standard. The external modem or the communication module (GSM or ISDN) used as an external modem must be connected to the control panel RS-232 port (see figures).

Connecting the external analog modem to the control panel.

Connecting the MDM56 BO modem to the control panel.

Connecting the external modem with DB-9 socket to the control panel RS-232 port (the older versions of electronics board with RJ type connector). Shown on the left is a PIN-5 plug to be connected to the control panel onboard socket. Shown on the right is DB-9 male plug (seen from solder side).

Connecting the external modem with DB-9 socket to the control panel RS-232 port (the newer versions of electronics board with RJ type connector). Shown on the left is RJ plug, to be connected to the socket on control panel mainboard. Shown on the right is DB-9 male plug (seen from solder side).

Connecting the MDM56 BO external modem to the control panel RS-232 port - the older versions of electronics board with PIN-5 type connector. The GSM and ISDN modems are connected in the same way.

Connecting the MDM56 BO external modem to the control panel RS-232 port - the newer versions of electronics board with RJ type connector. The GSM and ISDN modems are connected in the same way.

## Configuration of settings in modem to be connected to control panel

Note: The SATEL made MDM56 and MDM56 BO modems require no configuration. The factory default settings ensure correct interaction with the INTEGRA series control panels.

Before connection to the control panel, the modem must be suitably prepared: connect it to the computer and, using the Terminal type program, set the suitable operating mode and save its settings.

You should follow the procedure below:

- Check whether the modem is connected to the terminal - modem should answer OK after writing AT (if modem does not answer, try ATE1; if there is still no answer, check the modem connection to the computer and make sure that the COM port is properly selected in settings of the program of Terminal type).

- Check the settings of parameters which determine the modem operation mode. Give the ATZ command (reset modem and restore settings saved in the modem as profile 0). Then give the AT&V command, after which the modem will present a list of programmed parameters. For the correct interaction between control panel and modem, you should set just a few relevant parameters - make sure that the ACTIVE PROFILE block (identical to STORED PROFILE 0) includes the E1 Q0 V1 X4 &D2 &S0 and S00:000 parameters.

- If the parameters mentioned above are set correctly, the modem is ready for operation with the control panel. If any parameter is set to other value (e.g. Q2 instead of Q0), set it properly. Command for parameter setting consists of fixed prefix AT and parameter value required (for example, if the profile includes Q2, the command setting the correct value will be ATQ0, after which the modem will answer OK). Use the ATS0=0 command to set the modem S0 register.

- Having set the parameter values acc. to the list mentioned above in point 2, save the settings in the “profile 0" (using the AT&W0 command). Thus, the ATZcommand given by the control panel to the modem will restore the preprogrammed parameters.

- Finally, you can check whether all parameters are properly saved - after the ATZ command followed by AT&V, the settings in ACTIVE PROFILE should be the same as in STORED PROFILE0 (Note: often STORED PROFILE set contains less parameters than ACTIVE PROFILE set, which is normal).

## Communication using the GPRS technology [only INTEGRA 128-WRL]

The GSM communicator of the INTEGRA 128-WRL control panel enables remote programming with the use of GPRS technology.

The SIM card installed in the control panel must have the GPRS service activated! Due to the specific character of data transmission using GPRS technology and possible costs involved, it is advisable to install in the module a SIM card with tariff plan providing for at least 10 MB monthly data transfer.

The computer on which the DloadX program will be running must have an IP address which is visible on the Internet (so-called public IP address) or the network server port must be redirected to that computer, so as to make connection with that computer possible.

The following items should be programmed in the control panel:

Access point name (APN) for Internet GPRS connection (Service mode >Structure >Hardware >GSM >GPRS >APN).

User name for Internet GPRS connection (Service mode >Structure >Hardware >GSM >GPRS >User).

Access code for Internet GPRS connection (Service mode >Structure >Hardware >GSM >GPRS >Code).

IP address of the DNS server which is to be used by the control panel (Service mode >Structure >Hardware >GSM >GPRS >DNS). The DNS server address is not to be programmed if the computer address is entered as IP address (4 decimal numbers separated by dots).

Note: APN, user name, code and DNS server address can be obtained from the GSM network operator.

Address of the computer (or the network server whose port has been redirected to the computer) with which the control panel is to establish communication (Service mode >Structure >Hardware >GSM >GPRS >Address D). It can be entered in the IP address form (4 decimal numbers separated by dots) or as a name.

Number of the network port through which communication with the DloadX program will be effected (Service mode >Structure >Hardware >GSM >GPRS >Port D).

The code which has to be included in the SMS message body to initialize communication with the DloadX program (Service mode >Structure >Hardware >GSM >SMS DloadX), if the control panel is to establish GPRS communication after receiving an SMS message.

Note: Establishing connection is possible, if the communication identifiers in control panel and program are identical, or the identifiers in control panel have their factory default values (see: Identifiers and telephone numbers).

Ways to establish GPRS communication with the control panel

## Ways to establish GPRS communication with the control panel

Communication between the control panel and the computer can be established in two ways:

- Initializing connection by the control panel.

- Initializing connection by means of an SMS message, after receiving of which the control panel will establish a connection.

### Activating server

Irrespective of the chosen method of establishing communication, the DloadX program must be running on the computer, and receiving GPRS connections from the control panel must be enabled (the server must be activated):

- Click on the  button. The drop-down menu will open.

- Select the TCP/IP: DloadX <- GPRS command. The server activation window will open.

- Define the number of network port through which the server (the computer with DloadX program) will communicate with the control panel. The number must correspond to that programmed in the control panel.

- Click on the Start button. This will activate the server which will be waiting for establishing a connection by the control panel.

### Connection initialized by control panel

- Having activated the server on your computer, start the Start DWNL-GPRS function on the LCD keypad (CODE* >Downloading >Start DWNL-GPRS). This function is available to the service technician and to the administrators/users having the Downloading starting authority level.

- The control panel will connect to the server. The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

### Connection initiated by SMS message, after reception of which the control panel establishes connection

- Having activated the server on your computer, send an SMS to the INTEGRA 128-WRL control panel. The message should look as follows:

xxxx=gprs= („xxxx” denotes the code defined in control panel which triggers communication with DloadX program) - the control panel will connect to the computer whose IP address was preprogrammed beforehand;

xxxx=aaaa:p= („xxxx” denotes the code defined in control panel which triggers communication with DloadX program; "aaaa" stands for address of the computer with which the control panel is to establish communication, entered as IP address or as a name; "p" is number of the network port through which communication with the DloadX program is to be effected) - the control panel will connect to the computer whose address was given in the SMS message (the computer address and port which are programmed in the control panel will be ignored).

- The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

## Communication via Ethernet network

Communication via Ethernet is possible when the ETHM-1 module is connected to the control panel. The RS-232 port of ETHM-1 module must be connected to the RS-232 port of control panel (see figures).

Connecting the RS-232 ports of control panel (the older electronics versions with PIN-5 connector) and ETHM-1 module.

Connecting the RS-232 ports of control panel (the newer electronics versions with RJ connector) and ETHM-1 module.

In the control panel, you should proceed as follows:

Make sure that the local programming (downloading) through the RS-232 port is not currently running. If necessary, end the downloading (CODE* > Downloading >End DWNL-RS).

Enable the Answering – modem option (Service mode >Options >Telephone options >Aswering. modem).

Enable the External modem option (Service mode >Options >Telephone options >Ext. Modem).

Enable the Modem ISDN/GSM option (Service mode >Options >Telephone options >Modem ISDN/GSM).

Define the TCP port which will be used for communication with the DloadX program (Service mode >Structure >Hardware >LCD keypads >Settings >ETHM-1 module name >Port (DloadX)). In most cases, the port number should be identical to that programmed in the DloadX program, Identifiers and telephone numbers window. The exception is when communication is effected through a network device, after which diversion to another port follows.

Program the key to encrypt the data sent through the Ethernet network (Service mode >Structure >Hardware >LCD keypads >Settings >ETHM-1 module name >Key (DloadX)). The key must be identical to that programmed in the DloadX program, Identifiers and telephone numbers window.

Enable the feature of establishing communication with the control panel by the DloadX program (Service mode >Structure >Hardware >LCD keypads >Settings >ETHM-1 module name >Connect DloadX), if the connection is to be initiated by the DloadX program.

Program the address of the computer (or the network server whose port has been redirected to the computer) with which the control panel is to establish communication, if the connection is to be initiated by the control panel (CODE* >Options chang. >DloadX IP [function available to the service technician and administrator]). It can be entered in the IP address form (4 decimal numbers separated by dots) or as a name.

In the DloadX program, you should program the following items in the Identifiers and telephone numbers window:

The key to encrypt the data sent through the Ethernet network. The key must be identical to that programmed in the ETHM-1 module.

The number of TCP port to be used for the communication via Ethernet. In most cases the programmed port number should be identical to that programmed for the ETHM-1 module (except for the situation when communication is effected through a network device with redirection to another port).

The address of ETHM-1 module, if communication is to be initiated from the DloadX program (if communication is effected via a public network, it must be so-called public address). It can be given in the IP address format (4 decimal numbers separated by dots), or as a name.

Note: Establishing connection is possible, if the communication identifiers in control panel and program are identical, or the identifiers in control panel have their factory default values (see: Identifiers and telephone numbers).

## Ways to establish communication via Ethernet network

Communication between the control panel and the DloadX program can be established in two ways:

- Initiating connection from the DloadX program. This method enables establishing a connection with the control panel from any location.

- Initiating connection by the control panel. The control panel may only be remotely programmed from a specified location. It is applicable when the system user does not want the remote programming to be carried out without his knowledge. Available in case of ETHM-1 modules with firmware version 1.03 or newer.

### Initiating connection from the DloadX program

- Click on the  button. The drop-down menu will open.

- Select the TCP/IP: DloadX -> ETHM command. The TCP/IP: DloadX -> ETHM connection window will open.

- Click on the Connect button.

- The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

Note: After three following connection attempts using an incorrect key, the module will block the communication with the computer for approx. 20 minutes.

### Initiating connection by the control panel

- Click on the  button. The drop-down menu will open.

- Select the TCP/IP: DloadX <- ETHM command. A window will open in which information server activation will be displayed.

- Start the ETHM-1 – DloadX function (CODE* >Downloading >ETHM-1 – DloadX) in the LCD keypad connected to the control panel. This function is available to the service technician and to the administrators/users having the Downloading starting authority level.

- The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved. (see: Communication identifiers and establishing connection).

## Communication identifiers and establishing connection

### Establishing communication with a new alarm system

If the factory default identifiers are programmed in the control panel, the program will inform that communication has been established with a new alarm system. A window will be displayed in which you will be able to give a name to the new system, and in which the program will suggest randomly generated identifiers instead of the factory default ones. The identifiers can be freely changed. After closing the window, the program will read all data from the control panel and write the new communication identifiers to the control panel. If the system data are written to the computer hard disk, the program will identify the control panel and choose a data file to match it.

### Establishing communication with a system whose data are in the computer

If, based on the communication identifiers, the program determines that the alarm system data are written to the computer, it will suggest opening the file that contains those data.

### Establishing communication with a system whose data are not in the computer

If, based on the communication identifiers, the program determines that the alarm system data are not written to the computer, while they are not also the factory default identifiers, establishing communication will only be possible after identifiers consistent with those programmed in the control panel are programmed in the Identifiers and telephone numbers window (available in the drop-down menu after you click on the Communication command in the main menu). You can check the identifiers in the control panel by means of the LCD keypad (Configuration menu in the service mode).