Alarm system

Owner

Address

Phone number

Notes

# Introduction

This document presents the list of functions available in the service mode menu. In the square brackets you will find factory default setting (if the parameter is defined / option enabled).

## Starting the service mode

- Enter the service code (by default: 12345) and press .

- User menu appears.

- Press .

- When the  cursor shows the Service mode function, press .

- Service mode menu will be displayed (the  cursor will show the End SM function).

## Navigating through the menu and running functions

To navigate throughout the menu, you can use the arrow keys or number shortcuts. You can also combine the two methods. The cursor  shows the submenu you can enter / function you can run.

### Using the arrow keys

- Using the  and  keys, find the required submenu.

- Press  or  to open a submenu (use the  key to go back to the main menu).

- Repeat the steps 1 and 2 until the required function is found.

- Press  or  to run the function.

### Using the number shortcuts

Submenus and functions are numbered.

- Use the number keys to enter the number (use the  key to erase the last digit).

- The menu item designated by this number will be displayed (use the  key to go back to the main menu).

- Press  or  to open a submenu or run a function.

If the cursor  indicates End SM and you want to quickly run a function, enter its number and press  or . For example, to run the expander identification function, press successively   .

If the cursor  indicates an item different from End SM, entering a digit will add this digit at the end of the number by which the item displayed in the menu is designated. New digits are always added at the end of the number displayed (only the End SM function is not numbered). For example, if the cursor  indicates a menu item with the 31 (31.EOL) number, pressing   in turn will display the 3132 (3132.Zn.32 EOL) item, not the 32 (32.Sensitivity) item. To display the 32 (32.Sensitivity) item, you should press  (to move the cursor  down) or   (to erase 1 and add 2).

If you remember the submenu/function number and you want to avoid mistakes, press  before entering the number.

## Data editing

The editing method depends on the type of data. Having completed the editing, press  to save the changes. If you want to exit the function without saving the changes, press .

### Selection from the single-choice list

In the lower line of the display, the currently selected item is presented. You can scroll the list using the  and  keys.

### Selection from the multiple-choice list

In the lower line of the display, one of the items you can choose from is presented. You can scroll the list using the  and  keys. The following symbol is situated in the upper right corner of the display:

– displayed item is selected / option is enabled,

– displayed item is not selected / option is disabled.

Press any number key to change the currently shown symbol for another one.

If you want to see the status of all items (these can be e.g. zones, outputs, options, etc.), press  or . The numbers around the display allow the items to be identified. Use the  and  keys to move the cursor. After hovering the cursor over the selected item, you can change its status by pressing any number key. If you want to restore the previous way of presentation of the list, press  or .

### Entering decimal values

To enter digits, use the number keys. Use the  and  keys to move the cursor. In some functions, the  key deletes the character on the left side of the cursor.

### Entering hexadecimal values

To enter digits, use the number keys. To enter the A, B and C characters, use the  key, and to enter D, E and F, use the  key (keep pressing the key until the required character appears). Use the  and  keys to move the cursor. The  key deletes the character on the left side of the cursor.

### Programming telephone numbers

To enter digits, use the number keys. To enter the +, *, # characters, use the  key (keep pressing the key until the required character appears). Use the  and  keys to move the cursor. The  key deletes the character on the left side of the cursor.

### Entering names

The characters that can be entered by using the keys are presented in Table 1. Keep pressing the key until the required character appears. Long press the key to display the digit assigned to it.

Shown on the right side in the upper line of the display is information about the letter case: [ABC] or [abc] (it will be displayed after pressing any key and will be visible for a few seconds after the last keystroke).

Use the  and  keys to move the cursor. The  key deletes the character on the left side of the cursor.

| Key | Characters available after next keystroke |
| --- | --- |
|  | ! | ? | ' | ` | ( | " | { | } | $ | % | & | @ | \ | ^ | ¦ |  | # | 1 |
|  | a | b | c | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | d | e | f | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | g | h | i | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | j | k | l | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | m | n | o | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | p | q | r | s | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | t | u | v |  |  |  |  |  |  |  |  | 8 |  |  |  |  |  |  |
|  | w | x | y | z | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | . | , | : | ; | + | - |  | / | = | _ | < | > | ( | ) | [ | ] | 0 |

Table 1. Characters available when entering names. The upper case letters are available under the same keys (to change the letter case, press ).

## Hiding the service mode

You can hide the service mode by using the 09.Hide SM function. The control panel will remain in the service mode, but the service mode menu will not be displayed. The function can be useful e.g. when you have to leave the keypad, but you want to prevent unauthorized personnel from getting access to the service menu in the meantime. To get access to the menu again, proceed in the same way as when entering the service mode.

## Exiting the service mode

Keep pressing  until the cursor  indicates the SM end function, and then press .

# Service mode menu

End SM

0.System

00.Service code		[12345]

01.PERFECTA key

02.Factory set.

03.SM config

| SM sounds [(] | Block SM |
| --- | --- |

04.PERFECT.Soft

041.Address

042.Port

05.Remot.update

051.Address

052.Port

06.Time

061.DST		[UE standard]

062.Summer from

063.Winter from

064.Timezone		[UTC +01:00]

065.RTC adjust.

09.Hide SM

1.Partitions

13.Exit delay

131.Exit del.p1		[30 s]

132.Exit del.ps2		[30 s]

14.Warn.delay

141.Warn.del.p1		[30 s]

142.Warn.del.p2		[30 s]

15.Verif.delay

151.Verf.del.p1

152.Verf.del.p2

16.Options

161.P.1 options

| Infinit.ex.delay Fin. exit delay [(] | Entry del. night [(] Entry del. day [(] |
| --- | --- |

162.P.2 options

| Infinit.ex.delay Fin. exit delay [(] | Entry del. night [(] Entry del. day [(] |
| --- | --- |

18.Names

181.Partition 1		[Partition 1]

182.Partition 2		[Partition 2]

2.Expanders

20.Kpd.address.

21.Identificat.

22.Partitions

220.Kpd.0 part.		[Partition 1]

221.Kpd.1 part.		[Partition 1]

222.Kpd.2 part.		[Partition 1]

223.Kpd.3 part.		[Partition 1]

227.Ex.07 part		[Partition 1]

2212.Ex.0C part		[Partition 1]

2213.Ex.0D part		[Partition 1]

2214.Ex.0E part		[Partition 1]

2215.Ex.0F part		[Partition 1]

23.Max.AC loss

2312.AC.0C loss		[1 min]

2313.AC.0D loss		[1 min]

2314.AC.0E loss		[1 min]

2315.AC.0F loss		[1 min]

24.Chime

240.Kpd.0 chime

241.Kpd.1 chime

242.Kpd.2 chime

243.Kpd.3 chime

25.Volume

251.Keys

2510.Keys 0		[25%]

2511.Keys 1		[25%]

2512.Keys 2		[25%]

2513.Keys 3		[25%]

252.Chime

2520.Chime 0		[100%]

2521.Chime 1		[100%]

2522.Chime 2		[100%]

2523.Chime 3		[100%]

253.Entry delay

2530.Entry 0		[100%]

2531.Entry 1		[100%]

2532.Entry 2		[100%]

2533.Entry 3		[100%]

254.Exit delay

2540.Exit 0		[25%]

2541.Exit 1		[25%]

2542.Exit 2		[25%]

2543.Exit 3		[25%]

255.Fire alarm

2550.Fire 0		[100%]

2551.Fire 1		[100%]

2552.Fire 2		[100%]

2553.Fire 3		[100%]

256.Burg.alarm

2560.Burg.0		[100%]

2561.Burg.1		[100%]

2562.Burg.2		[100%]

2563.Burg.3		[100%]

257.Warn.alarm

2570.Warn.0		[100%]

2571.Warn.1		[100%]

2572.Warn.2		[100%]

2573.Warn.3		[100%]

258.New trouble

2580.New trbl.0		[25%]

2581.New trbl.1		[25%]

2582.New trbl.2		[25%]

2583.New trbl.3		[25%]

26.LCDbacklight

260.LCD bl.0		[auto 0-50%]

261.LCD bl.1		[auto 0-50%]

262.LCD bl.2		[auto 0-50%]

263.LCD bl.3		[auto 0-50%]

27.KEYbacklight

270.KEY bl.0		[auto]

271.KEY bl.1		[auto]

272.KEY bl.2		[auto]

273.KEY bl.3		[auto]

28.Names

280.Kpd.0 name		[PRF-LCD 0}

281.Kpd.1 name		[PRF-LCD 1}

282.Kpd.2 name		[PRF-LCD 2}

283.Kpd.3 name		[PRF-LCD 3}

287.Ex.07 name		[INT-RX-S 0x07]

2812.Ex.0C name		[INT-E 0x0C]

2813.Ex.0D name		[INT-E 0x0D]

2814.Ex.0E name		[INT-E 0x0E]

2815.Ex.0F name		[INT-O 0x0F]

29.Autolight

290.Autolight 0

291.Autolight 1

292.Autolight 2

293.Autolight 3

210.ClockFormat

2100.Clock 0		[dd mmm, hh:mm:ss]

2101.Clock 1		[dd mmm, hh:mm:ss]

2102.Clock 2		[dd mmm, hh:mm:ss]

2013.Clock 3		[dd mmm, hh:mm:ss]

211.Alarms

2110.Alarms 0

| 3 wrng codes al. Medical alarm Fire alarm | Panic alarm Silent panic |
| --- | --- |

2111.Alarms 1

| 3 wrng codes al. Medical alarm Fire alarm | Panic alarm Silent panic |
| --- | --- |

2112.Alarms 2

| 3 wrng codes al. Medical alarm Fire alarm | Panic alarm Silent panic |
| --- | --- |

2113.Alarms 3

| 3 wrng codes al. Medical alarm Fire alarm | Panic alarm Silent panic |
| --- | --- |

212.Options

2120.Kpd.0 opts

| Show part.1 [(] Show part.2 [(] Quickarm part.1 Quickarm part.2 Show code enter. [(] | Quick control Troubles review Chime on/off Disp.mode change [(] |
| --- | --- |

2121.Kpd.1 opts

| Show part.1 [(] Show part.2 [(] Quickarm part.1 Quickarm part.2 Show code enter. [(] | Quick control Troubles review Chime on/off Disp.mode change [(] |
| --- | --- |

2122.Kpd.2 opts

| Show part.1 [(] Show part.2 [(] Quickarm part.1 Quickarm part.2 Show code enter. [(] | Quick control Troubles review Chime on/off Disp.mode change [(] |
| --- | --- |

2123.Kpd.3 opts

| Show part.1 [(] Show part.2 [(] Quickarm part.1 Quickarm part.2 Show code enter. [(] | Quick control Troubles review Chime on/off Disp.mode change [(] |
| --- | --- |

213.Wake up

2130.Wake up k0

2131.Wake up k1

2132.Wake up k2

2133.Wake up k3

218.Connect msg		[Connecting...]

3.Zones

31.EOL

311.Zn.1 EOL

312.Zn.2 EOL

313.Zn.3 EOL

314.Zn.4 EOL

315.Zn.5 EOL

316.Zn.6 EOL

317.Zn.7 EOL

318.Zn.8 EOL

319.Zn.9 EOL

3110.Zn.10 EOL

3111.Zn.11 EOL

3112.Zn.12 EOL

3113.Zn.13 EOL

3114.Zn.14 EOL

3115.Zn.15 EOL

3116.Zn.16 EOL

3117.Zn.17 EOL

3118.Zn.18 EOL

3119.Zn.19 EOL

3120.Zn.20 EOL

3121.Zn.21 EOL

3122.Zn.22 EOL

3123.Zn.23 EOL

3124.Zn.24 EOL

3125.Zn.25 EOL

3126.Zn.26 EOL

3127.Zn.27 EOL

3128.Zn.28 EOL

3129.Zn.29 EOL

3130.Zn.30 EOL

3131.Zn.31 EOL

3132.Zn.32 EOL

32.Sensitivity

321.Zn.1 sens.		[320 ms]

322.Zn.2 sens.		[320 ms]

323.Zn.3 sens.		[320 ms]

324.Zn.4 sens.		[320 ms]

325.Zn.5 sens.		[320 ms]

326.Zn.6 sens.		[320 ms]

327.Zn.7 sens.		[320 ms]

328.Zn.8 sens.		[320 ms]

329.Zn.9 sens.		[320 ms]

3210.Zn.10 sens		[320 ms]

3211.Zn.11 sens		[320 ms]

3212.Zn.12 sens		[320 ms]

3213.Zn.13 sens		[320 ms]

3214.Zn.14 sens		[320 ms]

3215.Zn.15 sens		[320 ms]

3216.Zn.16 sens		[320 ms]

3217.Zn.17 sens		[320 ms]

3218.Zn.18 sens		[320 ms]

3219.Zn.19 sens		[320 ms]

3220.Zn.20 sens		[320 ms]

3221.Zn.21 sens		[320 ms]

3222.Zn.22 sens		[320 ms]

3223.Zn.23 sens		[320 ms]

3224.Zn.24 sens		[320 ms]

3225.Zn.25 sens		[320 ms]

3226.Zn.26 sens		[320 ms]

3227.Zn.27 sens		[320 ms]

3228.Zn.28 sens		[320 ms]

3229.Zn.29 sens		[320 ms]

3230.Zn.30 sens		[320 ms]

3231.Zn.31 sens		[320 ms]

3232.Zn.32 sens		[320 ms]

33.Type

331.Zn.1 type		[0.Entry/Exit]

332.Zn.2 type		[3.Instant]

333.Zn.3 type		[3.Instant]

334.Zn.4 type		[3.Instant]

335.Zn.5 type		[3.Instant]

336.Zn.6 type		[3.Instant]

337.Zn.7 type		[3.Instant]

338.Zn.8 type		[6.24h tamper]

339.Zn.9 type		[3.Instant]

3310.Zn.10 type		[3.Instant]

3311.Zn.11 type		[3.Instant]

3312.Zn.12 type		[3.Instant]

3313.Zn.13 type		[3.Instant]

3314.Zn.14 type		[3.Instant]

3315.Zn.15 type		[3.Instant]

3316.Zn.16 type		[3.Instant]

3317.Zn.17 type		[3.Instant]

3318.Zn.18 type		[3.Instant]

3319.Zn.19 type		[3.Instant]

3320.Zn.20 type		[3.Instant]

3321.Zn.21 type		[3.Instant]

3322.Zn.22 type		[3.Instant]

3323.Zn.23 type		[3.Instant]

3324.Zn.24 type		[3.Instant]

3325.Zn.25 type		[3.Instant]

3326.Zn.26 type		[3.Instant]

3327.Zn.27 type		[3.Instant]

3328.Zn.28 type		[3.Instant]

3329.Zn.29 type		[3.Instant]

3330.Zn.30 type		[3.Instant]

3331.Zn.31 type		[3.Instant]

3332.Zn.32 type		[3.Instant]

34.Entry delay

341.Zn.1 entry		[30 s]

342.Zn.2 entry

343.Zn.3 entry

344.Zn.4 entry

345.Zn.5 entry

346.Zn.6 entry

347.Zn.7 entry

348.Zn.8 entry

349.Zn.9 entry

3410.Z.10 entry

3411.Z.11 entry

3412.Z.12 entry

3413.Z.13 entry

3414.Z.14 entry

3415.Z.15 entry

3416.Z.16 entry

3417.Z.17 entry

3418.Z.18 entry

3419.Z.19 entry

3420.Z.20 entry

3421.Z.21 entry

3422.Z.22 entry

3423.Z.23 entry

3424.Z.24 entry

3425.Z.25 entry

3426.Z.26 entry

3427.Z.27 entry

3428.Z.28 entry

3429.Z.29 entry

3430.Z.30 entry

3431.Z.31 entry

3432.Z.32 entry

35.Trouble code

351.Zn.1 trbl.

352.Zn.2 trbl.

353.Zn.3 trbl.

354.Zn.4 trbl.

355.Zn.5 trbl.

356.Zn.6 trbl.

357.Zn.7 trbl.

358.Zn.8 trbl.

359.Zn.9 trbl.

3510.Z.10 trbl.

3511.Z.11 trbl.

3512.Z.12 trbl.

3513.Z.13 trbl.

3514.Z.14 trbl.

3515.Z.15 trbl.

3516.Z.16 trbl.

3517.Z.17 trbl.

3518.Z.18 trbl.

3519.Z.19 trbl.

3520.Z.20 trbl.

3521.Z.21 trbl.

3522.Z.22 trbl.

3523.Z.23 trbl.

3524.Z.24 trbl.

3525.Z.25 trbl.

3526.Z.26 trbl.

3527.Z.27 trbl.

3528.Z.28 trbl.

3529.Z.29 trbl.

3530.Z.30 trbl.

3531.Z.31 trbl.

3532.Z.32 trbl.

36.Options

361.P.1 zones

| Zone 1 [(] Zone 2 [(] Zone 3 [(] Zone 4 [(] Zone 5 [(] Zone 6 [(] Zone 7 [(] Zone 8 [(] Zone 9 [(] Zone 10 [(] Zone 11 [(] Zone 12 [(] Zone 13 [(] Zone 14 [(] Zone 15 [(] Zone 16 [(] | Zone 17 [(] Zone 18 [(] Zone 19 [(] Zone 20 [(] Zone 21 [(] Zone 22 [(] Zone 23 [(] Zone 24 [(] Zone 25 [(] Zone 26 [(] Zone 27 [(] Zone 28 [(] Zone 29 [(] Zone 30 [(] Zone 31 [(] Zone 32 [(] |
| --- | --- |

362.P.2 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

363.Night act.

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

364.Day active

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

365.Act.OnePart

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

366.Priority

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

367.3 alarms

| Zone 1 [(] Zone 2 [(] Zone 3 [(] Zone 4 [(] Zone 5 [(] Zone 6 [(] Zone 7 [(] Zone 8 [(] Zone 9 [(] Zone 10 [(] Zone 11 [(] Zone 12 [(] Zone 13 [(] Zone 14 [(] Zone 15 [(] Zone 16 [(] | Zone 17 [(] Zone 18 [(] Zone 19 [(] Zone 20 [(] Zone 21 [(] Zone 22 [(] Zone 23 [(] Zone 24 [(] Zone 25 [(] Zone 26 [(] Zone 27 [(] Zone 28 [(] Zone 29 [(] Zone 30 [(] Zone 31 [(] Zone 32 [(] |
| --- | --- |

368.Bps disable

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

369.Shnt.disarm

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

370.Viol.event

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

371.Rest.event

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

372.Alarm clear

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

38.Names

381.Zone  1		[Zone 1]

382.Zone  2		[Zone 2]

383.Zone  3		[Zone 3]

384.Zone  4		[Zone 4]

385.Zone  5		[Zone 5]

386.Zone  6		[Zone 6]

387.Zone  7		[Zone 7]

388.Zone  8		[Zone 8]

389.Zone  9		[Zone 9]

3810.Zone 10		[Zone 10]

3811.Zone 11		[Zone 11]

3812.Zone 12		[Zone 12]

3813.Zone 13		[Zone 13]

3814.Zone 14		[Zone 14]

3815.Zone 15		[Zone 15]

3816.Zone 16		[Zone 16]

3817.Zone 17		[Zone 17]

3818.Zone 18		[Zone 18]

3819.Zone 19		[Zone 19]

3820.Zone 20		[Zone 20]

3821.Zone 21		[Zone 21]

3822.Zone 22		[Zone 22]

3823.Zone 23		[Zone 23]

3824.Zone 24		[Zone 24]

3825.Zone 25		[Zone 25]

3826.Zone 26		[Zone 26]

3827.Zone 27		[Zone 27]

3828.Zone 28		[Zone 28]

3829.Zone 29		[Zone 29]

3830.Zone 30		[Zone 30]

3831.Zone 31		[Zone 31]

3832.Zone 32		[Zone 32]

39.Arm mode

391.Zn.1 arm		[Arm (full)]

392.Zn.2 arm		[Arm (full)]

393.Zn.3 arm		[Arm (full)]

394.Zn.4 arm		[Arm (full)]

395.Zn.5 arm		[Arm (full)]

396.Zn.6 arm		[Arm (full)]

397.Zn.7 arm		[Arm (full)]

398.Zn.8 arm		[Arm (full)]

399.Zn.9 arm		[Arm (full)]

3910.Zn.10 arm		[Arm (full)]

3911.Zn.11 arm		[Arm (full)]

3912.Zn.12 arm		[Arm (full)]

3913.Zn.13 arm		[Arm (full)]

3914.Zn.14 arm		[Arm (full)]

3915.Zn.15 arm		[Arm (full)]

3916.Zn.16 arm		[Arm (full)]

3917.Zn.17 arm		[Arm (full)]

3918.Zn.18 arm		[Arm (full)]

3919.Zn.19 arm		[Arm (full)]

3920.Zn.20 arm		[Arm (full)]

3921.Zn.21 arm		[Arm (full)]

3922.Zn.22 arm		[Arm (full)]

3923.Zn.23 arm		[Arm (full)]

3924.Zn.24 arm		[Arm (full)]

3925.Zn.25 arm		[Arm (full)]

3926.Zn.26 arm		[Arm (full)]

3927.Zn.27 arm		[Arm (full)]

3928.Zn.28 arm		[Arm (full)]

3929.Zn.29 arm		[Arm (full)]

3930.Zn.30 arm		[Arm (full)]

3931.Zn.31 arm		[Arm (full)]

3932.Zn.32 arm		[Arm (full)]

4.Outputs

41.Function

411.Function 1		[1.External siren]

412.Function 2		[1.External siren]

413.Function 3

414.Function 4

415.Function 5

416.Function 6

417.Function 7

418.Function 8

419.Function 9

4110.Out.10 fun

4111.Out.11 fun

4112.Out.12 fun

4113.Out.13 fun

4114.Out.14 fun

4115.Out.15 fun

4116.Out.16 fun

42.Duration

421.Out.1 dur.		[5 min]

422.Out.2 dur.

423.Out.3 dur.

424.Out.4 dur.

425.Out.5 dur.

426.Out.6 dur.

427.Out.7 dur.

428.Out.8 dur.

429.Out.9 dur.

4210.Out.10 dur

4211.Out.11 dur

4212.Out.12 dur

4213.Out.13 dur

4214.Out.14 dur

4215.Out.15 dur

4216.Out.16 dur

43.Zones

431.Out.1 zones

| Zone 1 [(] Zone 2 [(] Zone 3 [(] Zone 4 [(] Zone 5 [(] Zone 6 [(] Zone 7 [(] Zone 8 [(] Zone 9 [(] Zone 10 [(] Zone 11 [(] Zone 12 [(] Zone 13 [(] Zone 14 [(] Zone 15 [(] Zone 16 [(] | Zone 17 [(] Zone 18 [(] Zone 19 [(] Zone 20 [(] Zone 21 [(] Zone 22 [(] Zone 23 [(] Zone 24 [(] Zone 25 [(] Zone 26 [(] Zone 27 [(] Zone 28 [(] Zone 29 [(] Zone 30 [(] Zone 31 [(] Zone 32 [(] |
| --- | --- |

432.Out.2 zones

| Zone 1 [(] Zone 2 [(] Zone 3 [(] Zone 4 [(] Zone 5 [(] Zone 6 [(] Zone 7 [(] Zone 8 [(] Zone 9 [(] Zone 10 [(] Zone 11 [(] Zone 12 [(] Zone 13 [(] Zone 14 [(] Zone 15 [(] Zone 16 [(] | Zone 17 [(] Zone 18 [(] Zone 19 [(] Zone 20 [(] Zone 21 [(] Zone 22 [(] Zone 23 [(] Zone 24 [(] Zone 25 [(] Zone 26 [(] Zone 27 [(] Zone 28 [(] Zone 29 [(] Zone 30 [(] Zone 31 [(] Zone 32 [(] |
| --- | --- |

433.Out.3 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

434.Out.4 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

435.Out.5 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

436.Out.6 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

437.Out.7 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

438.Out.8 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

439.Out.9 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4310.O.10 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4311.O.11 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4312.O.12 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4313.O.13 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4314.O.14 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4315.O.15 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

4316.O.16 zones

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

44.Timers

441.O.1 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

442.O.2 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

443.O.3 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

444.O.4 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

445.O.5 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

446.O.6 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

447.O.7 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

448.O.8 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

449.O.9 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4410.O10 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4411.O11 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4412.O12 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4413.O13 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4414.O14 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4415.O15 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

4416.O16 timers

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

45.Options

451.P.1 outputs

| Output 1 [(] Output 2 [(] Output 3 [(] Output 4 [(] Output 5 [(] Output 6 [(] Output 7 [(] Output 8 [(] | Output 9 [(] Output 10 [(] Output 11 [(] Output 12 [(] Output 13 [(] Output 14 [(] Output 15 [(] Output 16 [(] |
| --- | --- |

452.P.2 outputs

| Output 1 [(] Output 2 [(] Output 3 [(] Output 4 [(] Output 5 [(] Output 6 [(] Output 7 [(] Output 8 [(] | Output 9 [(] Output 10 [(] Output 11 [(] Output 12 [(] Output 13 [(] Output 14 [(] Output 15 [(] Output 16 [(] |
| --- | --- |

453.Polarity(+)

| Output 1 [(] Output 2 [(] Output 3 [(] Output 4 [(] Output 5 [(] Output 6 [(] | Output 7 [(] Output 8 [(] Output 9 [(] Output 10 [(] Output 11 [(] Output 12 [(] |
| --- | --- |

454.Pulsed

| Output 1 Output 2 Output 3 Output 4 Output 5 Output 6 | Output 7 Output 8 Output 9 Output 10 Output 11 Output 12 |
| --- | --- |

455.Arm/Dis/Clr

| Output 1 [(] Output 2 [(] Output 3 [(] Output 4 [(] Output 5 [(] Output 6 [(] Output 7 [(] Output 8 [(] | Output 9 [(] Output 10 [(] Output 11 [(] Output 12 [(] Output 13 [(] Output 14 [(] Output 15 [(] Output 16 [(] |
| --- | --- |

46.Quick ctrl.

461. 1# / 1*

462. 2# / 2*

463. 3# / 3*

464. 4# / 4*

465. 5# / 5*

466. 6# / 6*

467. 7# / 7*

468. 8# / 8*

469. 9# / 9*

460. 0# / 0*

48.Nazwy

481.Output  1		[Output 1]

482.Output  2		[Output 2]

483.Output  3		[Output 3]

484.Output  4		[Output 4]

485.Output  5		[Output 5]

486.Output  6		[Output 6]

487.Output  7		[Output 7]

488.Output  8		[Output 8]

489.Output  9		[Output 9]

4810.Output 10		[Output 10]

4811.Output 11		[Output 11]

4812.Output 12		[Output 12]

4813.Output 13		[Output 13]

4814.Output 14		[Output 14]

4815.Output 15		[Output 15]

4816.Output 16		[Output 16]

5.Timers

51.Settings

511.Monday

5111.Timer 1

5112.Timer 2

5113.Timer 3

5114.Timer 4

5115.Timer 5

5116.Timer 6

5117.Timer 7

5118.Timer 8

512.Tuesday

5121.Timer 1

5122.Timer 2

5123.Timer 3

5124.Timer 4

5125.Timer 5

5126.Timer 6

5127.Timer 7

5128.Timer 8

513.Wednesday

5131.Timer 1

5132.Timer 2

5133.Timer 3

5134.Timer 4

5135.Timer 5

5136.Timer 6

5137.Timer 7

5138.Timer 8

514.Thursday

5141.Timer 1

5142.Timer 2

5143.Timer 3

5144.Timer 4

5145.Timer 5

5146.Timer 6

5147.Timer 7

5148.Timer 8

515.Friday

5151.Timer 1

5152.Timer 2

5153.Timer 3

5154.Timer 4

5155.Timer 5

5156.Timer 6

5157.Timer 7

5158.Timer 8

516.Saturday

5161.Timer 1

5162.Timer 2

5163.Timer 3

5164.Timer 4

5165.Timer 5

5166.Timer 6

5167.Timer 7

5168.Timer 8

517.Sunday

5171.Timer 1

5172.Timer 2

5173.Timer 3

5174.Timer 4

5175.Timer 5

5176.Timer 6

5177.Timer 7

5178.Timer 8

518.Everyday

5181.Timer 1

5182.Timer 2

5183.Timer 3

5184.Timer 4

5185.Timer 5

5186.Timer 6

5187.Timer 7

5188.Timer 8

521.Exept.1

5211.Timer 1

5212.Timer 2

5213.Timer 3

5214.Timer 4

5215.Timer 5

5216.Timer 6

5217.Timer 7

5218.Timer 8

522.Exept.2

5221.Timer 1

5222.Timer 2

5223.Timer 3

5224.Timer 4

5225.Timer 5

5226.Timer 6

5227.Timer 7

5228.Timer 8

523.Exept.3

5231.Timer 1

5232.Timer 2

5233.Timer 3

5234.Timer 4

5235.Timer 5

5236.Timer 6

5237.Timer 7

5238.Timer 8

524.Exept.4

5241.Timer 1

5242.Timer 2

5243.Timer 3

5244.Timer 4

5245.Timer 5

5246.Timer 6

5247.Timer 7

5248.Timer 8

53.From

531.Exept.1

5311.Timer 1

5312.Timer 2

5313.Timer 3

5314.Timer 4

5315.Timer 5

5316.Timer 6

5317.Timer 7

5318.Timer 8

532.Exept.2

5321.Timer 1

5322.Timer 2

5323.Timer 3

5324.Timer 4

5325.Timer 5

5326.Timer 6

5327.Timer 7

5328.Timer 8

533.Exept.3

5331.Timer 1

5332.Timer 2

5333.Timer 3

5334.Timer 4

5335.Timer 5

5336.Timer 6

5337.Timer 7

5338.Timer 8

534.Exept.4

5341.Timer 1

5342.Timer 2

5343.Timer 3

5344.Timer 4

5345.Timer 5

5346.Timer 6

5347.Timer 7

5348.Timer 8

54.Till

541.Exept.1

5411.Timer 1

5412.Timer 2

5413.Timer 3

5414.Timer 4

5415.Timer 5

5416.Timer 6

5417.Timer 7

5418.Timer 8

542.Exept.2

5421.Timer 1

5422.Timer 2

5423.Timer 3

5424.Timer 4

5425.Timer 5

5426.Timer 6

5427.Timer 7

5428.Timer 8

543.Exept.3

5431.Timer 1

5432.Timer 2

5433.Timer 3

5434.Timer 4

5435.Timer 5

5436.Timer 6

5437.Timer 7

5438.Timer 8

544.Exept.4

5441.Timer 1

5442.Timer 2

5443.Timer 3

5444.Timer 4

5445.Timer 5

5446.Timer 6

5447.Timer 7

5448.Timer 8

55.Partition 1

551.Timer 1

552.Timer 2

553.Timer 3

554.Timer 4

555.Timer 5

556.Timer 6

557.Timer 7

558.Timer 8

56.Partition 2

561.Timer 1

562.Timer 2

563.Timer 3

564.Timer 4

565.Timer 5

566.Timer 6

567.Timer 7

568.Timer 8

58.Names

581.Timer 1		[Timer 1]

582.Timer 2		[Timer 2]

583.Timer 3		[Timer 3]

584.Timer 4		[Timer 4]

585.Timer 5		[Timer 5]

586.Timer 6		[Timer 6]

587.Timer 7		[Timer 7]

588.Timer 8		[Timer 8]

59.Active

| Timer 1 Timer 2 Timer 3 Timer 4 | Timer 5 Timer 6 Timer 7 Timer 8 |
| --- | --- |

6.GSM

61.SIM1

611.Options

| SIM1 | Auto MCC/MNC [(] |
| --- | --- |

612.PIN

613.APN

614.USR

615.PWD

616.DNS

617.SMS centre

618.MCC/MNC

62.SIM2

621.Options

| SIM2 | Auto MCC/MNC [(] |
| --- | --- |

622.PIN

623.APN

624.USR

625.PWD

626.DNS

627.SMS centre

628.MCC/MNC

63.Block SIM1

64.Restore SIM1

65.Block SIM2

66.Restore SIM2

67.Options

| PERFECTA Soft PERFECTA CONTROL PUSH messages GSM network time | NTP server time USSD any tel. FW adr.from SMS |
| --- | --- |

68.SIM credits

681.USSDchkSIM1

682.USSDchkSIM2

683.USSDtopSIM1

684.USSDtopSIM2

685.Min.cr.SIM1

686.Min.cr.SIM2

687.hh:mm SIM1

688.hh:mm SIM2

7.Monitoring

71.Options

Monitoring

72.Stations		[MS 1]

73.MS1

731.Identifiers

732.SIA prefix

733.Priority		[1.GPRS SIM1]

734.Tel.(AUDIO)

735.Tel.(SMS)

736.Address

737.Port

738.Format		[CID all]

739.STAM key

740.GPRS key

741.SMS format		[Event=●,(,(,(,(=]

742.SIA-IP acct

743.SIA-IP key

744.SIA-IP test

745.Options

| UDP SIA-IP Names in SIA National chars | Timestamp SIA-IP SIA-IP encrypt. SIA prefix |
| --- | --- |

746.Suspen.time		[3 min]

747.Repetitions		[3]

748.Interval		[0 s]

75.MS2

751.Identifiers

752.SIA prefix

753.Priority		[1.GPRS SIM1]

754.Tel.(AUDIO)

755.Tel.(SMS)

756.Address

757.Port

758.Format		[CID all]

759.STAM key

760.GPRS key

761.SMS format		[Event=●,(,(,(,(=]

762.SIA-IP acct

763.SIA-IP key

764. SIA-IP test

765.Options

| UDP SIA-IP Names in SIA National chars | Timestamp SIA-IP SIA-IP encrypt. SIA prefix |
| --- | --- |

766.Suspen.time

767.Repetitions		[3]

768.Interval		[0 s]

77.Assign 1

771.Zones

7711.Alarm

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7712.Al.restore

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7713.Tamper

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7714.Tamp.rest.

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7715.Bypass

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7716.Unbypass

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7717.Trouble

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7718.Trbl.rest.

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7719.BAT low

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

77110.BAT ok

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

77111.Conn.lost

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

77112.Conn. ok

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

772.Partitions

7721.Arm

| Partition 1 | Partition 2 |
| --- | --- |

7722.Disarm

| Partition 1 | Partition 2 |
| --- | --- |

7723.Al.clear

| Partition 1 | Partition 2 |
| --- | --- |

7724.Arm fail.

| Partition 1 | Partition 2 |
| --- | --- |

7725.Kfb.panic

| Partition 1 | Partition 2 |
| --- | --- |

7726.Kfb.medic.

| Partition 1 | Partition 2 |
| --- | --- |

7727.Kfb.fire

| Partition 1 | Partition 2 |
| --- | --- |

773.Expanders

7731.Restarts

| PRF-LCD 0 PRF-LCD 1 PRF-LCD 2 PRF-LCD 3 INT-RX-S 0x07 | INT-E 0x0C INT-E 0x0D INT-E 0x0E INT-O 0x0F |
| --- | --- |

7732.Duress

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7733.Panic

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7734.Medical

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7735.Fire

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7736.Tamper

| PRF-LCD 0 PRF-LCD 1 PRF-LCD 2 PRF-LCD 3 INT-RX-S 0x07 | INT-E 0x0C INT-E 0x0D INT-E 0x0E INT-O 0x0F |
| --- | --- |

7737.Tmp.rest.

| PRF-LCD 0 PRF-LCD 1 PRF-LCD 2 PRF-LCD 3 INT-RX-S 0x07 | INT-E 0x0C INT-E 0x0D INT-E 0x0E INT-O 0x0F |
| --- | --- |

7738.3wrng.code

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7739.AC trouble

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7740.AC restore

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7741.BAT miss.

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7742.BATm.rest.

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7743.BAT low

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7744.BATl.rest.

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7745.BAT low

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7746.BAT ok

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7747.Conn.lost

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7748.Conn. ok

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

774.Syst.events

| PERF-Soft conn. SM start AC trouble BAT missing BAT low MS1 trouble MS2 trouble RTC setting | OUT1 trouble OUT2 trouble AUX trouble KPD trouble DTA trouble GSM trouble Radio jamming |
| --- | --- |

775.Syst.rest.

| PERF-Soft disc. SM end AC restore BAT miss.rest. BAT low restore MS1 restore MS2 restore RTC trouble | OUT1 restore OUT2 restore AUX restore KPD restore DTA restore GSM restore Radio jam.rest. |
| --- | --- |

776.Others

| PERFECTA restart RAM error | Manual test Period test |
| --- | --- |

777.Outputs

7771.BAT low

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

7772.BAT ok

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

7773.Conn.lost

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

7774.Conn. ok

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

78.Assign 2

781.Zones

7811.Alarm

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7812.Al.restore

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7813.Tamper

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7814.Tamp.rest.

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7815.Bypass

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7816.Unbypass

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7817.Trouble

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7818.Trbl.rest.

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

7819.BAT low

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

78110.BAT ok

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

78111.Conn.lost

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

78112.Conn. ok

| Zone 1 Zone 2 Zone 3 Zone 4 Zone 5 Zone 6 Zone 7 Zone 8 Zone 9 Zone 10 Zone 11 Zone 12 Zone 13 Zone 14 Zone 15 Zone 16 | Zone 17 Zone 18 Zone 19 Zone 20 Zone 21 Zone 22 Zone 23 Zone 24 Zone 25 Zone 26 Zone 27 Zone 28 Zone 29 Zone 30 Zone 31 Zone 32 |
| --- | --- |

782.Partitions

7821.Arm

| Partition 1 | Partition 2 |
| --- | --- |

7822.Disarm

| Partition 1 | Partition 2 |
| --- | --- |

7823.Al.clear

| Partition 1 | Partition 2 |
| --- | --- |

7824.Arm fail.

| Partition 1 | Partition 2 |
| --- | --- |

7825.Kfb.panic

| Partition 1 | Partition 2 |
| --- | --- |

7826.Kfb.medic.

| Partition 1 | Partition 2 |
| --- | --- |

7827.Kfb.fire

| Partition 1 | Partition 2 |
| --- | --- |

783.Expanders

7831.Restarts

| PRF-LCD 0 PRF-LCD 1 PRF-LCD 2 PRF-LCD 3 INT-RX-S 0x07 | INT-E 0x0C INT-E 0x0D INT-E 0x0E INT-O 0x0F |
| --- | --- |

7832.Duress

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7833.Panic

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7834.Medical

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7835.Fire

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7836.Tamper

| PRF-LCD 0 PRF-LCD 1 PRF-LCD 2 PRF-LCD 3 INT-RX-S 0x07 | INT-E 0x0C INT-E 0x0D INT-E 0x0E INT-O 0x0F |
| --- | --- |

7837.Tmp.rest.

| PRF-LCD 0 PRF-LCD 1 PRF-LCD 2 PRF-LCD 3 INT-RX-S 0x07 | INT-E 0x0C INT-E 0x0D INT-E 0x0E INT-O 0x0F |
| --- | --- |

7838.3wrng.code

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7839.AC trouble

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7840.AC restore

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7841.BAT miss

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7842.BATm.rest.

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7843.BAT low

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7844.BATl.rest.

| INT-E 0x0C INT-E 0x0D | INT-E 0x0E INT-O 0x0F |
| --- | --- |

7845.BAT low

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7846.BAT ok

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7847.Conn.lost

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

7848.Conn. ok

| PRF-LCD 0 PRF-LCD 1 | PRF-LCD 2 PRF-LCD 3 |
| --- | --- |

784.Syst.events

| PERF-Soft conn. SM start AC trouble BAT missing BAT low MS1 trouble MS2 trouble RTC setting | OUT1 trouble OUT2 trouble AUX trouble KPD trouble DTA trouble GSM trouble Radio jamming |
| --- | --- |

785.Syst.rest.

| PERF-Soft disc. SM end AC restore BAT miss.rest. BAT low restore MS1 restore MS2 restore RTC trouble | OUT1 restore OUT2 restore AUX restore KPD restore DTA restore GSM restore Radio jam.rest. |
| --- | --- |

786.Others

| PERFECTA restart RAM error | Manual test Period test |
| --- | --- |

787.Outputs

7871.BAT low

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

7872.BAT ok

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

7873.Conn.lost

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

7874.Conn. ok

| Output 13 Output 14 | Output 15 Output 16 |
| --- | --- |

79.Test events

791.At

792.Disarmed

793.Armed

794.Options

Independ.test

8.Telephones

81.Numbers

811.Phone 1

812.Phone 2

813.Phone 3

814.Phone 4

815.Phone 5

816.Phone 6

817.Phone 7

818.Phone 8

82.AUDIO msg.

| Phone 1 Phone 2 Phone 3 Phone 4 | Phone 5 Phone 6 Phone 7 Phone 8 |
| --- | --- |

83.SMS msg.

| Phone 1 Phone 2 Phone 3 Phone 4 | Phone 5 Phone 6 Phone 7 Phone 8 |
| --- | --- |

84.Unknown SMS

| Phone 1 Phone 2 Phone 3 Phone 4 | Phone 5 Phone 6 Phone 7 Phone 8 |
| --- | --- |

85.Listening-in

| Phone 1 Phone 2 Phone 3 Phone 4 | Phone 5 Phone 6 Phone 7 Phone 8 |
| --- | --- |

86.List.durat.

87.List.aft.msg

| Phone 1 Phone 2 Phone 3 Phone 4 | Phone 5 Phone 6 Phone 7 Phone 8 |
| --- | --- |

88.Names

881.Phone 1		[Phone 1]

882.Phone 2		[Phone 2]

883.Phone 3		[Phone 3]

884.Phone 4		[Phone 4]

885.Phone 5		[Phone 5]

886.Phone 6		[Phone 6]

887.Phone 7		[Phone 7]

888.Phone 8		[Phone 8]

89.On arm.part.

| Partition 1 | Partition 2 |
| --- | --- |

9.AUDIO messag.

91.Options

| AUDIO messag. | Double v.message |
| --- | --- |

93.Partition 1

931.Arm

932.Disarm

933.Alarm clear

934.Arm fail.

935.Alarm

936.Tamper

937.Tamp.rest.

938.Panic

939.Medical

9310.Fire

9311.Duress

94.Partition 2

941.Arm

942.Disarm

943.Alarm clear

944.Arm fail.

945.Alarm

946.Tamper

947.Tamp.rest.

948.Panic

949.Medical

9410.Fire

9411.Duress

95.Troubles

951.BAT low

952.BATl.rest.

953.AC trbl.

954.AC rest.

955.GSM tr.rest

96.Outputs

961.Output 1

962.Output 2

963.Output 3

964.Output 4

965.Output 5

966.Output 6

967.Output 7

968.Output 8

969.Output 9

9610.Output 10

9611.Output 11

9612.Output 12

9613.Output 13

9614.Output 14

9615.Output 15

9616.Output 16

10.SMS messagin

100.Options

| SMS messaging | Messaging events |
| --- | --- |

101.Phone 1

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

102.Phone 2

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

103.Phone 3

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

104.Phone 4

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

105.Phone 5

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

106.Phone 6

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

107.Phone 7

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

108.Phone 8

| Partition 1 Partition 2 Alarm Arm/Disarm/Clear | Bypass Troubles Function System |
| --- | --- |

11.SMS control

111.USSD SIM1

112.USSD SIM2

113.Chk.credit1

114.Chk.credit2

115.PERF.Soft

116.Download FW

117.Update FW

118.SMS control

1181.SMS 1

1182.SMS 2

1183.SMS 3

1184.SMS 4

1185.SMS 5

1186.SMS 6

1187.SMS 7

1188.SMS 8

1189.SMS 9

11810.SMS 10

11811.SMS 11

11812.SMS 12

11813.SMS 13

11814.SMS 14

11815.SMS 15

11816.SMS 16

119.SMS funct.

1191.Funct.1

1192.Funct.2

1193.Funct.3

1194.Funct.4

1195.Funct.5

1196.Funct.6

1197.Funct.7

1198.Funct.8

1199.Funct.9

11910.Funct.10

11911.Funct.11

11912.Funct.12

11913.Funct.13

11914.Funct.14

11915.Funct.15

11916.Funct.16

1110.Any number

12.Others

121.Schedules

1211.Schedule 1

| Arm [(] Disarm [(] Alarm clear [(] Duress Zone inhibit [(] Zone isolate | Code change [(] Users edit [(] Outputs control [(] Tests [(] Service access ID change |
| --- | --- |

1212.Schedule 2

| Arm [(] Disarm [(] Alarm clear [(] Duress Zone inhibit Zone isolate | Code change [(] Users edit Outputs control [(] Tests Service access ID change |
| --- | --- |

1213.Schedule 3

| Arm [(] Disarm Alarm clear Duress Zone inhibit Zone isolate | Code change [(] Users edit Outputs control Tests Service access ID change |
| --- | --- |

1214.Schedule 4

| Arm [(] Disarm [(] Alarm clear [(] Duress [(] Zone inhibit Zone isolate | Code change Users edit Outputs control Tests Service access ID change |
| --- | --- |

1215.Schedule 5

| Arm [(] Disarm [(] Alarm clear [(] Duress Zone inhibit [(] Zone isolate [(] | Code change [(] Users edit [(] Outputs control [(] Tests [(] Service access [(] ID change [(] |
| --- | --- |

1216.Sch.1 name		[Normal]

1217.Sch.2 name		[Simple]

1218.Sch.3 name		[Arms only]

1219.Sch.4 name		[Duress]

1210.Sch.5 name		[Master]

122.Kfb.funct.

1221.Button ○

1222.Button □

1223.Button ▲

1224.Button ■

1225.Button ●

1226.Button ○+●

123.Max.AC loss		[1 min]

124.Al.duration		[30 s]

125.Suppr.arm

126.Options

| Grade2 Troubles memory [(] 3wrng.codes=blk. [(] No AC=no bcklght [(] Restore events [(] Events limitat. [(] Tmp.on ext.siren [(] Tmp.on int.siren [(] | Trbl.in part.arm No SATEL trouble No jamm. trouble Check if ready [(] Arm ExDly w.trbl [(] Tamper = no arm BAT low = no arm |
| --- | --- |

127.Radio devs

1271.Add

1272.Filter

1273.Remove

1274.Out.tamper

1275.Al.signal.

1276.Acknowled.

LIST OF SERVICE

FUNCTIONS

perfecta_lte_lf_en 07/20

SATEL sp. z o.o.

ul. Budowlanych 66 • 80-298 Gdańsk • POLAND

tel. +48 58 320 94 00

www.satel.eu

nie drukować

# Text boxes

Alarm Control Panel

PERFECTA LTE Firmware Version 1.04