1.	Main menu	1

2.	Versa - Structure	2

2.1	System	3

2.1.1	Partitions	3

2.2	Hardware	4

2.2.1	Identification	5

2.2.2	Main board	5

2.2.3	VERSA-LCD / VERSA LED keypad	6

2.2.4	ETHM-1 Ethernet module	7

2.2.5	INT-RX 433 MHz remote keyfob operation expander	8

2.2.6	Adding 433 MHz keyfobs	9

2.2.7	Removing 433 MHz keyfob	10

2.2.8	ACU-100 controller of ABAX wireless system	10

2.2.9	Adding wireless devices	12

2.2.10	Removing wireless devices	12

2.2.11	Adding APT-100 keyfobs	13

2.2.12	Removing APT-100 keyfobs	13

2.2.13	Versa - Wireless devices	13

2.2.14	Configuration of wireless devices	14

2.2.15	CA-64 E / CA-64 Ei zone expander	15

2.2.16	CA-64 EPS / CA-64 EPSi zone expander with power supply	16

2.2.17	CA-64 O-OC / CA-64 O-R / CA-64 O-ROC output expander	17

2.2.18	INT-ORS DIN-rail output expander	17

2.2.19	CA-64 OPS-OC / CA-64 OPS-R / CA-64 OPS-ROC output expander with power supply	17

2.2.20	INT-CR / INT-IT proximity card arm/disarm device	18

2.2.21	CA-64 SM voice synthesizer expander	18

3.	Global Parameters	19

3.1	Options	19

3.2	Times	22

4.	Zones	22

4.1	Zone types	26

5.	Versa - Outputs	28

5.1	Outputs	28

5.1.1	Output functions	30

5.2	Quick control	31

6.	Versa - Timers	31

7.	Versa - Reporting	31

7.1	Monitoring Stations	31

7.2	Event codes	34

7.3	Starting the reporting	34

8.	Versa - Tel. messaging	35

8.1	Telephone no.	36

8.2	Event assignment	36

8.3	SMS/Pager messages	36

8.4	Starting the messaging	37

9.	Programming telephone numbers	37

10.	Data comparison	38

11.	VERSA Event log	38

11.1	Choose	39

11.2	Print	39

11.3	Grade2 copy	40

12.	Versa - Users	40

12.1	Users	40

12.1.1	Adding users	41

12.1.2	Removing users	41

12.1.3	Adding proximity card	41

12.1.4	Deleting proximity card	41

12.2	User schedules	42

12.2.1	Rights	42

13.	System state	43

13.1	Keypad	43

13.2	Versa - Partitions state	43

13.3	Versa - Zones state	43

13.4	Outputs and modules state	44

13.5	Versa - Troubles	44

13.6	Module power supply	44

14.	Identifiers and telephone numbers	44

15.	Configuration	45

15.1	Port RS-232	45

15.2	Modem	45

15.3	Modem configuration	46

15.4	Data	46

16.	Connection	46

16.1	Port RS-232	47

16.2	Modem 300 bps	48

16.3	Ethernet (TCP/IP)	49

16.4	Communication identifiers and establishing connection	51

# Main menu

1 - type of alarm control panel.

2 - name of alarm system / data file.

3 - information on data writing/reading progress.

4 - icon indicating the status of communication with the module:

- green color - ready to send data;

- alternating green and yellow color - data transmission in progress;

- gray color - COM port disabled.

A click on the icon button:

- in case of communication via the RS-232 port - will enable/disable the COM port;

- in case of other forms of communication - will display a window referring to the given connection.

5 - information on the way of communication with the alarm control panel:

COMn (n = number of COM port) - communication via the RS-232 port;

Modem - communication via the modem;

TCP/IP - communication through the ETHM-1 module.

- button opens the Versa - Structure window.

- button opens the Global parameters window.

- button opens the Versa - Zones window.

- button opens the Versa - Outputs window.

- button opens the Versa - Timers window.

- button opens the Versa - Reporting window.

- button opens the Versa - Tel. messaging window.

- the button displayed if noncompliance with the EN 50131 standard requirements for Grade 2 is found (with the Grade 2 global option enabled). It opens a window with information on the inconsistencies.

- button enables data reading from the control panel.

- button enables data writing to the control panel.

- button opens the VERSA Event log window.

- button makes it possible to cancel the data reading/writing.

- button saves the time in the control panel, based on the computer clock.

- button displays a virtual keypad (see: Keypad).

- the button opens the drop-down menu, which makes available some tools to supervise the system state (see: System state).

- the button opens the Configuration window (if the program communicates with the control panel via Ethernet (TCP/IP), a window with information on the current connection will open).

Note: Opening the Configuration window results in closing the COM port which was previously selected for communication in the Port RS-232 tab. Closing the window will open the COM port currently selected in the Port RS-232 tab.

- button opens the drop-down menu, where you can select the method of establishing communication between the program and the alarm control panel (see also: Connection).

# Versa - Structure

"System" tab

"Hardware" tab

## System

The logical structure of the system, i.e. the partitions and the zones belonging to them, is presented in the tree form. You can click on any of the elements of the tree to proceed to its programming.

Presented in tabulated form is a list of all zones, showing the partitions to which they are assigned, as well as the zones that will be armed after the day or night armed mode is activated. Double click to make changes to individual fields of the table. The X symbol means that the zone is assigned to a partition / is active in case of a given armed mode.

Partitions

Zones

### Partitions

A system based on the VERSA control panels can be subdivided into 2 partitions. The partition means a separated area in the premises protected by the alarm system. Because the partitions can be armed independently, subdividing the system into partitions will allow the user to arm/disarm just a part of the premises. Additionally, the subdivision into partitions makes it possible to restrict access to a part of the premises to selected users.

#### Partition parameters

Partition name - individual name of the partition (up to 16 characters).

Partition’s name - the numbers of fields in the table correspond to those of zones. The field color has the following meanings:

- white - the zone does not belong to any partition,

- orange - the zone belongs to a partition,

- brown - the zone belongs to both partitions.

A double-click will allow you to make changes to individual fields.

Partition exit delay - the time counted from the moment of starting the partition arming procedure which enables the protected area to be left without triggering an alarm. Violation of the 0. Entry/Exit, 1. Entry/Exit final, 2. Entry/Exit route or 4. Double knock type zones during the exit delay time will trigger no alarm. Up to 255 seconds can be programmed.

Infinite exit delay - if this option is enabled, the partition exit delay can only be ended by means of the 1. Entry/Exit final, 16. Exit delay terminator or 17. Shunt lock type zones. If the exit delay countdown is not completed, the armed mode will not be activated (only the 3. Instant type zones will be armed).

Entry delay - the time counted from the moment of entry into the protected area which enables the partition to be disarmed before triggering an alarm. This parameter applies to the 0. Entry/Exit and 1. Entry/Exit final type zones. The delay programmed for the partition is taken into account in case of the zones for which the value 0 has been individually programmed. Up to 255 seconds can be programmed. If the value 0 is programmed, the zone will act as an instant one.

Warning time - the time of warning alarm signaling for the partial armed mode (see: Warning in partial arming zone option - Zones). Up to 255 seconds can be programmed. If the value 0 is programmed, the Warning time will be 30 seconds. After expiry of the Warning time, unless the partition is disarmed, the burglary alarm will be triggered.

Note: The Warning time parameter does not apply to the time of signaling the warning alarm which is generated when mistakes are made when entering into the protected object (see: Warning alarm global option - Options).

Verification time - programming a value different from 0 means activating the alarm verification feature in the partition. Subject to verification are alarms from 0 to 5 type zones. The Verification time runs from the moment of alarm being triggered by such a zone. If during the Verification time an alarm is triggered by another zone in the partition, programmed as 0 to 5 type, the control panel will report a verified alarm. Up to 255 minutes can be programmed.

Timer priority - if this option is enabled, the timer will always disarm the partition according to the preset times (if this option is not enabled, the timer will only disarm the partition, if the arming was done by the timer).

Auto-arming delay - the time counted from the moment when the timer is to arm the partition, enabling the arming to be deferred. Up to 255 seconds can be programmed. Programming the value 0 means that the arming deferment will be unavailable.

Deferment time - the time by which the user can defer arming by the timer. Up to 255 minutes can be programmed. Programming the value 0 means that the arming deferment will be unavailable.

Simple deferment - if this option is enabled, the user can defer auto-arming by pressing the  key twice during the auto-arm delay time countdown.

Single deferment - if this option is enabled, the user can only use the simple deferment once, so as to postpone the auto-arming. Subsequent arming deferments are only possible by using the Auto-arming deferment user function.

## Hardware

Displayed in the tab is information on the hardware, i.e. the control panel mainboard and the devices connected to the control panel communication bus. Each device to be connected to the communication bus must have an individual address set. On the keypads, the address is set by software means. On the other modules, special pins or DIP switches are used to set the address. The addresses must not be repeated. Details of addressing individual devices are described in the INSTALLER MANUAL.

Devices connected to the communication bus will only be recognized and properly handled after they are identified by the panel (see Identification). Only then will the information about them be displayed in the Hardware tab. Click on any of the devices to proceed to its programming.

#### List of devices to be connected to the communication bus

In parentheses next to the device, information is given about the address which must be set on a particular device (the addresses must not be repeated):

VERSA-LCD / VERSA LED keypad [0-5]

ETHM-1 Ethernet module [4]

INT-RX 433 MHz remote keyfob operation expander [7]

ACU-100 controller of ABAX wireless system [8]

CA-64 E / CA-64 Ei zone expander [12-14]

CA-64 EPS / CA-64 EPSi zone expander with power supply [12-14]

CA-64 O-OC / CA-64 O-R / CA-64 O-ROC output expander [15]

NT-ORS DIN-rail output expander [15]

CA-64 OPS-OC / CA-64 OPS-R / CA-64 OPS-ROC output expander with power supply [15]

INT-CR / INT-IT proximity card arm/disarm device [16-21]

CA-64 SM voice synthesizer expander [23]

#### Options

Store keyfob events - if this option is enabled, using the keyfob is written into the events log.

Block after 3 unknown codes/cards - if this option is enabled, after entering an invalid code / reading in an invalid card three times, the keypad / reader will be blocked for 90 seconds. After this period of time has expired, each subsequent entry of an invalid code / read-in of an invalid card will block the keypad / reader at once. The counter of invalid codes / cards will be reset after a correct code is used.

-----------------------------------------------------------

Identification - button starts the function of identification of devices connected to the bus (see: Identification).

### Identification

The identification function checks what kind of modules are connected to the control panel. It should be launched after the first start of the control panel and each time after a new device is added or an address changed in the device supported by the control panel. Disconnecting the identified module from the communication bus will trigger the tamper alarm.

To identify devices connected to the communication bus, click on the Expansion modules branch in the tree on the left side in the Versa - Structure window, Hardware tab. Options and the Identification button will be shown on the right side. Click on the Identification button to start in the control panel the function of identification of devices connected to the communication bus.

### Main board

TMP input signals in part. - indicate the partition in which an alarm will be triggered on violating the TMP input on the mainboard.

Mainboard TMP input - name - individual name of the input (up to 16 characters).

EOL resistance value - for the zones on mainboard the value of resistors used in the EOL and 2EOL wiring types is programmable within the range from 500 Ohm to 15 kOhm. For 2EOL wiring type the value of the R1 and R2 resistors is programmed individually (see the figure). The resistor value for the EOL zone is a sum of values programmed as R1 and R2.

The window also displays information about the zones and outputs of the mainboard.

### VERSA-LCD / VERSA LED keypad

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

CHIME signal of zones - the numbers of fields in the table correspond to those of zones. The field color has the following meanings:

- white - zone violation will not trigger CHIME signaling,

- orange - zone violation will trigger CHIME signaling.

To change the filed color, use your mouse (double click), space bar or the table context menu.

Date/Time format - use the field to select how the time and date will be displayed.

LCD backlight - use the field to select how the display will be backlit in the VERSA-LCD-GR keypad.

Keys backlight - use the field to select how the keys will be backlit.

#### Options

Signal entry delay - the keypad can acoustically signal the entry delay countdown.

Signal exit delay - the keypad can acoustically signal the exit delay countdown.

Signal alarms - the keypad can acoustically signal alarms. Duration of signaling is determined by the Keypad’s alarm time (see: Times). The alarms are not signaled when the Grade 2 global option is enabled.

Quick arming - Partition 1 - if this option is enabled, quick arming is possible in partition 1, unless the Grade 2 global option is enabled.

Quick arming - Partition 2 - if this option is enabled, quick arming is possible in partition 2, unless the Grade 2 global option is enabled.

Key sound - keystrokes on keypad can be acoustically signaled.

Signal trouble in partially armed - if this option is enabled, the yellow LED will be signaling trouble until both partitions are fully armed (if this option is disabled, activation of any armed mode in any partition will disable trouble signaling in the keypad).

Show code entering - the keypad can inform about a code being entered:

VERSA-LCD-GR - by means of asterisks in the lower line of the LCD display;

VERSA-LED-GR - by means of LEDs in the lower line of LEDs.

Chime ON/OFF - if this option is enabled, the chime signal can be enabled/disabled by means of the  key (the key is to be pressed for about 3 seconds).

Quick control - if this option is enabled, the outputs can be quickly controlled by means of numerical keys. If any 15. Controlled output is assigned to the key (see: Quick control), press that key and confirm using  to activate the output, and press the same key and confirm using  - to deactivate it.

Signal new trouble - the keypad can acoustically signal occurrence of a new trouble, if the Trouble memory until review option is enabled (see: Options). The new troubles are not signaled when the Grade 2 global option is enabled.

Auto-arm delay countdown - the keypad can acoustically signal the auto-arm delay countdown.

Arm mode review - if this option is enabled, pressing and holding down the  key for about 3 seconds will display information on the partition status (whether or not they are armed and what is their armed mode). If the Grade 2 global option is enabled, pressing and holding down the  key will cause no reaction of the keypad.

#### Alarm messages

Options are available for the VERSA-LCD-GR keypad.

Partitions - if this option is enabled, messages on partition alarms will be shown on the display.

Zones - if this option is enabled, messages on zone alarms will be shown on the display. The messages on zone alarms have priority over the messages on partition alarms.

Note: The alarm messages are not displayed when the Grade 2 global option is enabled.

#### Sounder volume

You can adjust the volume of sounds generated in the keypad.

#### Alarms

The options define whether the given keypad allows for triggering the alarms below:

PANIC alarm - pressing and holding down the  key for approx. 3 seconds.

Silent - the option is available when the Panic alarm option is enabled. The panic alarm triggered with the  key can be silent, i.e. it will not be signaled, but the event code will be sent to the monitoring station.

FIRE alarm - pressing and holding down the  key for approx. 3 seconds.

AUX. alarm - pressing and holding down the  key for approx. 3 seconds.

Alarm: 3 incorrect codes - an invalid code has been entered three times.

#### Auto-backlight

If you have selected "auto" in the Keys backlight field, the backlighting can additionally switch on after the specified system event: starting the entry delay countdown in a selected partition, or violating a selected zone.

### ETHM-1 Ethernet module

The Ethernet module is a TCP/IP server. It enables the alarm system to be remotely programmed via the Ethernet (TCP/IP) network by using the DloadX program, and events to be reported to the monitoring station via the Ethernet (TCP/IP) network. The VERSA family control panels with firmware version 1.01 support the module having firmware version 1.04 or newer.

-----------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

Obtain IP address automatically (DHCP) - if this option is enabled, the module automatically downloads the IP address, subnet mask and gateway data from the DHCP server.

Note: The IP address assigned to the module can be read out in the VERSA-LCD-GR keypad by means of the 8. Expander ver. user function ([code] >9. Tests ->8. Expander ver.). For detailed description of the function use please refer to the user manual.

IP address - module IP address. The field is available, if the Obtain IP address automatically (DHCP) option is disabled.

Subnet mask - subnet mask in which the module works. The field is available, if the Obtain IP address automatically (DHCP) option is disabled.

Gateway - IP address of the network device by means of which the other devices of the given local network communicate with the devices in other networks. The field is available, if the Obtain IP address automatically (DHCP) option is disabled.

Obtain DNS server address automatically - the option is to be enabled, if the network address of DNS server is to be automatically downloaded from the DHCP server. The option is available, if the Obtain IP address automatically (DHCP) option is enabled.

DNS server - the DNS server to be used by the module. The field is available, if the Obtain IP address automatically (DHCP) option is disabled.

#### DloadX

DloadX -> ETHM-1 connection - enable this option, if it is to be possible to initiate connection with the control panel via Ethernet from the DloadX program.

Port - the number of TCP port which will be used for communication with the DloadX program via Ethernet network. You can enter a value from 1 to 65535.

Note: In most cases, the port number should be identical, as programmed in the Identifiers and telephone numbers window (to open the window, press Ctrl+R). The exception is when the communication takes place via a network device on which you are redirected to another port.

DloadX server - the address of computer with DloadX program. If communication is effected through a network device which is changing the address, e.g. in case of communication through a public network (WAN), it must be so-called public address. It can be entered in the IP address form (4 decimal numbers separated by dots) or as a name.

DloadX key - a sequence of 1 to 12 alphanumeric characters (digits, letters and special characters) defining the key to be used for encryption of the data sent through Ethernet network during communication with the DloadX program. An identical key must be programmed in the DloadX program and in the ETHM-1 module.

#### Test PING

Address to test - address of the device to which the ping command is to be sent by the module to test the communication. It can be entered in the IP address form (4 decimal numbers separated by dots) or as a name.

Period - the interval between successive communication tests by means of ping command.

Tries no. before trouble - the number of unsuccessful communication tests (the module has received no answer to the ping command sent), after which a trouble will be reported.

Note: The function of communication testing by means of a ping command will be enabled after entering the address for testing, defining the period between successive tests (the value must be different from 0) and defining the rules of trouble reporting (the value must be different from 0).

### INT-RX 433 MHz remote keyfob operation expander

The 433 MHz keyfob operation expander enables assigning keyfobs to the alarm system users. Up to 6 functions can be performed by using a keyfob.

-----------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

#### Keyfob information table

Information on the 433 MHz keyfobs assigned to the system users is presented in the table. Data on the keyfobs are stored in the expander. Connection to the control panel of the expander containing data on the keyfobs will automatically assign keyfobs to the users of that control panel. This only applies to the users who have already been created.

User - the field shows the user's number and name.

S/N - the field shows the serial number of 433 MHz keyfob assigned to the user.

Keyfob buttons - the field shows the number of function to be run by pressing a given button or a combination of buttons (two buttons at the same time: 1 and 2 or 1 and 3) on the keyfob. Click on the field and press the right mouse button to display a drop-down menu where you can select functions.

#### Buttons

Read - button enables reading data from the expander (the 433 MHz keyfob data are not read automatically on pressing the  button in the main menu).

Write - button enables writing data to the expander (the 433 MHz keyfob data are not written automatically on pressing the  button in the main menu).

New - the button enables adding a keyfob to the user (see: Adding 433 MHz keyfobs).

Delete - the button enables removing a user's keyfob (see: Removing 433 MHz keyfob).

### Adding 433 MHz keyfobs

You can add 433 MHz keyfobs in the Versa - Structure window, Hardware tab, after clicking on the INT-RX expander. Before you proceed to adding a new keyfob, click your mouse on the Read button to download data from the expander. You can add the keyfob by entering its serial number manually or reading the serial number during transmission which is sent after the button is pressed.

Note: After adding the keyfob, functions will be automatically assigned to the keys in accordance with the template defined for the user's authority level.

#### Entering the serial number manually

- Click your mouse on the field in the S/N column, next to the name of the user to whom you want to assign a keyfob.

- Enter the serial number of the keyfob and confirm it by pressing ENTER (or click on another location in the window, which is tantamount to confirming the data entered). The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the expander. The background color of the field where the serial number is displayed will change to white.

#### Reading the serial number during transmission

- Click your mouse on the field in the S/N column, next to the name of the user to whom you want to assign a keyfob.

- Click on the New button. The New window will open.

- Press any keyfob button, and, after the keyfob serial number appears in the window, press OK. The New window will close. In the S/N column, the keyfob serial number will be displayed next to the user name. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the expander. The background color of the field where the serial number is displayed will change to white.

### Removing 433 MHz keyfob

You can remove 433 MHz keyfobs in the Versa - Structure window, Hardware tab, after clicking on the INT-RX expander. Before you proceed to removing a keyfob, click your mouse on the Read button to download data from the expander.

- Click your mouse on the field in the S/N column, next to the name of the user whose keyfob you want to remove.

- Click on the Delete button.

- In the window which will be displayed, click on the Yes button to confirm your intention to remove the keyfob. This will delete the keyfob serial number. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the expander. The background color of the field where the serial number is displayed will change to white.

### ACU-100 controller of ABAX wireless system

Controller of ABAX wireless system enables expansion of the alarm system by adding wireless devices.

----------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

#### Zones/Outputs

Response period - communication with the wireless devices takes place in preset time intervals. During that time the controller collects information on the status of devices and, if necessary, sends commands to the devices, e.g. switches the detectors to active/passive mode, enables/disables the test mode and modifies configuration of the devices. The response period can be 12, 24 or 36 seconds. The less frequently communication between controller and wireless devices takes place, the more wireless devices can work within their mutual operating range (for 12 s - maximum 150, for 24 s - 300, and for 36 s - 450). Outside the response period, information on device tampers and on violations of active mode detectors is sent to the controller. Additionally, the Response period has an effect on the level of energy consumption by the wireless devices. The less frequently communication between controller and wireless devices takes place, the lower energy consumption and the longer battery life is.

Information on the wireless devices is presented in the table.

No. - number of the zone/output to which the wireless device is assigned.

Name - name of the zone/output to which the wireless device is assigned.

Type - type/function of the zone/output to which the wireless device is assigned.

Device type - type of the wireless device.

Serial number - serial number of the wireless device.

Always active - the option is available for most of the wireless detectors. It can permanently activate the detector.

Configuration - see: Configuration of wireless devices.

Filter - the number of consecutive response periods, during which communication with the device failed to be established, before no communication with the device is reported. Values from the 0 to 50 range can be entered. Entering the digit 0 will disable control of the device presence in the system.

#### Keyfobs

Information on the APT-100 keyfobs assigned to the system users is presented in the table. Data on the keyfobs are stored in the controller. Connection to the control panel of the controller containing data on the keyfobs will automatically assign keyfobs to the users of that control panel. This only applies to the users who have already been created.

User - the field shows the user's number and name.

S/N - the field shows the serial number of APT-100 keyfob assigned to the user.

Keyfob buttons - the field shows the number of function to be run by pressing a given button or a combination of buttons on the keyfob. Click on the field and press the right mouse button to display a drop-down menu where you can select functions.

LED - the field shows the number corresponding to that of the information function assigned to the given LED. Click on the field and press the right mouse button to display a drop-down menu where you can select functions.

#### Buttons

Read - use the button to read data on wireless devices from the controller memory. These data are not read automatically on pressing the  button in the main menu.

Write - use the button to write data on wireless devices to the controller memory. These data are not written automatically on pressing the  button in the main menu.

Test mode - the button enables entering/exiting the test mode. In the test mode, all wireless devices will signal communication with the controller by blinking LED, and the detectors will signal violations and tampers on their LED indicators. During normal operation of the wireless devices, the LED signaling is switched off for energy-saving considerations. Siren signaling is disabled in the test mode. The test mode is enabled/disabled during the response time, thus causing a delay, the duration of which depends on the defined response period. The test mode will be automatically exited after 30 minutes of:

- starting the test mode by using the DloadX program (the 30 minutes' time runs from the moment of exiting the controller settings),

- terminating the service mode in control panel.

Note: According to requirements of the EN50131 standard, the level of radio signals sent by wireless devices is reduced during the test mode operation.

- the button opens the Versa - Wireless devices window.

Synchronize - the button starts the procedure of synchronization, i.e. checking whether other ABAX wireless systems are working within the controller range. The controller will adapt the polling period so as to prevent radio transmissions from being mutually jammed. Synchronization takes place automatically when starting the controller, and after each operation of adding/deleting devices which are supported by it.

New device - the button enables adding a new wireless device/keyfob to the system. Adding new devices is possible when there is communication established between the program and the control panel to which the controller is connected.

Delete - the button enables removing a wireless device/keyfob from the system. Removing devices is possible when there is communication established between the program and the control panel to which the controller is connected.

Adding wireless devices

Removing wireless devices

Adding APT-100 keyfobs

Removing APT-100 keyfobs

### Adding wireless devices

Notes:

Adding new wireless devices is possible when the DLOADX program communicates with the control panel to which the ACU-100 controller is connected.

The control panel can support up to 30 wireless devices, provided that each of them occupies only one zone/output.

If the device occupies more than one zone/output, its addition will respectively decrease the number of wireless devices which it will still be possible to register (for example, after adding to the system of the ACX-200 expander, which takes up 4 zones/outputs in the system, the control panel will still be able to accept 26 other wireless devices).

The control panel supports outputs having numbers from 1 to 12. The numbers of hardwired and wireless outputs may coincide. The control panel will support them simultaneously.

You can add wireless devices in the Versa - Structure window, Hardware tab, after clicking on the ACU-100 controller. Before you proceed to adding a new device, click your mouse on the Read button to download data from the controller.

- Click on the zone to which the new wireless device is to be assigned. If the device takes also an output, its number will be the same as that of the selected zone.

- Click on the New device button. The New wireless dev. window will open.

- Enter the 7-digit serial number of the device being added. The serial number can be found on the electronics board or on the housing. The serial number of each ARF-100 radio signal level tester is 0000500.

- Depending on what kind of device is to be added to the system:

- turn on power supply of the ACX-200 or ACX-201 expander,

- switch on the ARF-100 tester,

- insert the ASW-100 E/ASW-100 F wireless controller into 230 V socket,

- insert battery into the ASD-100 detector,

- violate (open) the tamper contact in case of the other devices.

If a wrong serial number is entered, a corresponding message will be displayed. In such a case, enter the correct serial number and repeat the above-mentioned operation.

- A message will confirm that a new device has been added. Click on the OK button to close the New wireless dev. window. You can also immediately proceed to adding a next wireless device by pressing the Next button.

- Click on the Write button. The data will be written to the controller.

### Removing wireless devices

You can remove wireless devices in the Versa - Structure window, Hardware tab, after clicking on the ACU-100 controller. Before you proceed to removing a device, click your mouse on the Read button to download data from the controller.

- Click on the device you want to be deleted.

- Click your mouse on the Delete button. The Confirm window will open.

- Click on the Yes button, to confirm your intention to remove the device. The device will be removed from the table.

- Click on the Write button. The data will be written to the controller.

### Adding APT-100 keyfobs

You can add APT-100 keyfobs in the Versa - Structure window, Hardware tab, after clicking on the ACU-100 controller. Before you proceed to adding a new keyfob, click your mouse on the Read button to download data from the controller. You can add the keyfob by entering its serial number manually or reading the serial number during transmission which is sent after the button is pressed.

Note: After adding the keyfob, functions will be automatically assigned to the keys in accordance with the template defined for the user's authority level.

#### Entering the serial number manually

- Click your mouse on the field in the S/N column, next to the name of the user to whom you want to assign a keyfob.

- Enter the serial number of the keyfob and confirm it by pressing ENTER (or click on another location in the window, which is tantamount to confirming the data entered). The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the controller. The background color of the field where the serial number is displayed will change to white.

#### Reading the serial number during transmission

- Click your mouse on the field in the S/N column, next to the name of the user to whom you want to assign a keyfob.

- Click on the New device button. The New window will open.

- Press any keyfob button, and, after the keyfob serial number appears in the window, press OK. The New window will close. In the S/N column, the keyfob serial number will be displayed next to the user name. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the controller. The background color of the field where the serial number is displayed will change to white.

### Removing APT-100 keyfobs

You can remove APT-100 keyfobs in the Versa - Structure window, Hardware tab, after clicking on the ACU-100 controller. Before you proceed to removing a keyfob, click your mouse on the Read button to download data from the controller.

- Click your mouse on the field in the S/N column, next to the name of the user whose keyfob you want to remove.

- Click on the Delete button.

- In the window which will be displayed, click on the Yes button to confirm your intention to remove the keyfob. This will delete the keyfob serial number. The background color of the field where the serial number is displayed will change to pink.

- Click on the Write button. The data will be written to the controller. The background color of the field where the serial number is displayed will change to white.

### Versa - Wireless devices

The window shows information about communication with the ABAX system wireless devices.

No. - number of zone or output to which the wireless device is assigned.

Name - name of zone or output to which the wireless device is assigned.

Device type - type of wireless device.

Serial number - serial number of wireless device.

Signal level - current level of radio signal received from the wireless device. Presented as a percentage.

Connection quality - quality of the communication with wireless device (expressed as a percentage ratio between the polling periods when the communication with wireless device was correct, to all polling periods).

#### Communication diagnostics

Test restart - click on the button to reset information about connection quality and restart analyzing of communication data again.

Testing since - the date from which information about communication with wireless devices are analyzed.

Close - the button closes the window.

### Configuration of wireless devices

Some of the wireless devices provide additional parameters and options, which can be configured by radio:

APD-100 - wireless passive infrared detector. For the detectors with firmware version 2.01, enter a sequence of two digits. The first of them defines the sensitivity (1 - low sensitivity, 2 - medium sensitivity, 3 - high sensitivity), and the second - the pet immunity option (0 - option disabled, 1 - option enabled). For the detectors with older firmware, enter a digit from 1 to 3 range, corresponding to the selected sensitivity.

APMD-150 - wireless dual motion detector. Enter a 3-digit sequence:

1. digit - sensitivity of infrared path: from 1 to 4 (1 - minimum; 4 - maximum).

2. digit - sensitivity of microwave path: from 1 to 8 (1 - minimum; 8 - maximum),

3. digit - type of operation in the test mode: 0 (signaling violation after motion is sensed by both detectors), 1 (signaling violation after motion is sensed by infrared detector) or 2 (signaling violation after motion is sensed by microwave detector).

AMD-100 and AMD-101 - wireless magnetic detectors with an additional input. For the detectors with electronics version 3.5 D or newer, enter the digit 0 (bottom reed switch) or 1 (side reed switch) to select which of the two reed switches is to be active. For the detectors with an older electronics version, no additional parameters can be programmed (the active reed switch is selected by means of jumpers).

AMD-102 - wireless magnetic detector with input for roller shutter detector. AMD-102 detector takes up 2 zones in the system (the first: magnetic detector, the second: additional input of the detector). For the magnetic detector, enter the digit 0 (bottom reed switch) or 1 (side reed switch) to select which of the two reed switches is to be active. For the roller shutter detector, enter 2 digits corresponding to the selected parameters:

1. digit - number of pulses: from 1 to 8.

2. digit - pulse validity time: 0 (30 s), 1 (120 s), 2 (240 s) or 3 (unlimited time).

Note: The pulse counter is reset after expiry of the pulse validity time and after arming the partition to which the zone belongs.

AGD-100 - wireless glass break detector. Enter a digit from 1 to 3 range that corresponds to the selected sensitivity for the high-sensitivity channel (1 - low sensitivity, 2 - medium sensitivity, 3 - high sensitivity).

AVD-100 - wireless vibration and magnetic detector. The detector takes up 2 zones in the system (the first: magnetic detector, the second: vibration detector). For the magnetic detector, enter the digit 0 (bottom reed switch) or 1 (side reed switch) to select which of the two reed switches is to be active. For the vibration detector, enter a 2-digit sequence:

1. digit - sensitivity: from 1 to 8 (1 - minimum; 8 - maximum),

2. digit - number of pulses: from 0 to 7. Pulses are not counted up for the value 0.

Note: Parameters are being independently analyzed. As a result, the detector can signal violation after registering a strong single vibration, caused by a powerful impact, as well as after a few slight vibrations, caused by a series of weak strikes.

ASD-100 - wireless smoke and heat detector. Enter a 3-digit sequence, corresponding to the selected parameters:

1. digit - heat detector operating mode: 0 (disabled), 1 (class A1), 2 (class A2) or 3 (class B).

2. digit - buzzer operating mode: 0 (disabled), 1 (sound type 1), 2 (sound type 2) or 3 (sound type 3).

3. digit - duration of alarm signaling by buzzer/LED: 1 (1 minute), 2 (3 minutes), 3 (6 minutes) or 4 (9 minutes).

ARD-100 - wireless reorientation detector. Enter a number from 1 to 16 range that corresponds to the selected sensitivity (1 - minimum; 16 - maximum).

ASP-105 - wireless triggered outdoor siren. Occupies 2 outputs and 2 zones in the system. Enter a 2-digit sequence for the first output/zone to configure acoustic signaling parameters:

1. digit - type of acoustic signaling: 1 (sound type 1), 2 (sound type 2), 3 (sound type 3) or 4 (sound type 4).

2. digit - maximum duration of acoustic signaling: 1 (1 minute), 2 (3 minutes), 3 (6 minutes) or 4 (9 minutes).

ASP-205 - wireless indoor siren. Occupies 2 outputs and 2 zones in the system. Because each output can trigger any type of signaling, parameters must be programmed for two types of signaling, by entering in each case a 3-digit sequence:

1. digit - maximum duration of signaling: 1 (1 minute), 2 (3 minutes), 3 (6 minutes) or 4 (9 minutes).

2. digit - type of acoustic signaling: 0 (disabled), 1 (sound type 1), 2 (sound type 2) or 3 (sound type 3).

3. digit - is optical signaling to be enabled: 0 (disabled) or 1 (enabled).

ASW-100 E / ASW-100 F - 230 V AC wireless controller. Enter a digit from the 0 to 2 range, which corresponds to the selected mode of operation: 0 (electric circuit is only remotely controlled); 1 (electric circuit may be controlled remotely or manually) or 2 (electric circuit may be controlled remotely or manually, but remote control can be manually disabled).

### CA-64 E / CA-64 Ei zone expander

Zone expander enables the system expansion by 8 zones. Numeration of the expander zones depends on the expander address:

12 (0Ch) - 7-14

13 (0Dh) - 15-22

14 (0Eh) - 23-30

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

EOL resistance value - for the expanders identified as CA-64 Ei, the value of resistors used in EOL and 2EOL configurations is programmable (within the range from 500 Ohm to 15 kOhm). Depending on the expander firmware version, the following is to be configured:

- version 4.00 - value of the R1 and R2 resistors for 2EOL zone (see the figure). Value of the resistor for EOL zone is the sum of values programmed as R1 and R2.

- version 2.00 or 2.01 - value of the resistor for EOL zone. For 2EOL zone, the value of a single resistor is half the defined value.

### CA-64 EPS / CA-64 EPSi zone expander with power supply

Zone expander with power supply enables the system expansion by 8 zones. Numeration of the expander zones depends on the expander address:

12 (0Ch) - 7-14

13 (0Dh) - 15-22

14 (0Eh) - 23-30

The expander is equipped with a 1.2 A built-in switching mode power supply.

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

EOL resistance value - for the expanders identified as CA-64 EPSi the value of resistors used in EOL and 2EOL configurations is programmable (within the range from 500 Ohm to 15 kOhm). Depending on the expander firmware version, the following is to be configured:

- version 4.00 - value of the R1 and R2 resistors for 2EOL zone (see the figure). Value of the resistor for EOL zone is the sum of values programmed as R1 and R2.

- version 2.00 or 2.01 - value of the resistor for EOL zone. For 2EOL zone, the value of a single resistor is half the defined value.

### CA-64 O-OC / CA-64 O-R / CA-64 O-ROC output expander

The output expander enables expansion of the system by 8 outputs:

CA-64 O-OC - 8 OC type outputs,

CA-64 O-R - 8 relay outputs,

CA-64 O-ROC - 4 relay outputs / 4 OC outputs.

The expander outputs are numbered from 5 to 12 in the system.

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

### INT-ORS DIN-rail output expander

DIN-rail output expander enables expansion of the system by 8 relay outputs. The relays are capable of controlling electrical devices supplied with 230 V AC voltage.

Note: It is not recommended to operate an inductive load.

The expander outputs are numbered from 5 to 12 in the system.

The module is designed for mounting on 35 mm DIN rail, which facilitates installation process and integration with other automation systems.

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

### CA-64 OPS-OC / CA-64 OPS-R / CA-64 OPS-ROC output expander with power supply

The output expander with power supply enables expansion of the system by 8 outputs:

CA-64 OPS-OC - 8 OC type outputs,

CA-64 OPS-R - 8 relay outputs

CA-64 OPS-ROC - 4 relay outputs / 4 OC outputs.

The expander outputs are numbered from 5 to 12 in the system.

The expander is equipped with a 2.2 A built-in switching mode power supply.

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

AC loss report delay - the time during which the device must remain without AC power for the trouble to be reported. The trouble report delay prevents reporting the short-time power failures which have no effect on normal operation of the device.

### INT-CR / INT-IT proximity card arm/disarm device

Note: The INT-CR device is identified as INT-IT.

The device enables arming / disarming and alarm clearing in partitions by means of proximity cards, key fobs and other 125 kHz passive transponders.

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

#### Partition table

R - reaction of the partition after moving the card away from the reader face, when the red LED is on.

G - reaction of the partition after moving the card away from the reader face, when the green LED (mode A) is on.

Y - reaction of the partition after moving the card away from the reader face, when the yellow LED (mode B) is on.

Double click your mouse on the particular table fields to make required changes.

#### Options

Alarm signal - the device can audibly signal alarms during the Keypad’s alarm time.

Alarm signal until canceled - the device can audibly signal the alarm memory.

3 wrong cards alarm - reading the unknown card code three times can trigger alarm.

Sign. entry delay - the device can audibly signal the entry delay countdown.

Sign. exit delay - the device can audibly signal the exit delay countdown and the auto-arming delay.

Sign. card (hardware) - the device can signal by a single beep that the card code has been read out or the LED has lit up (the code is sent to the control panel after removal of the card and only then the panel reaction to the read code is audibly signaled).

### CA-64 SM voice synthesizer expander

The voice synthesizer expander can store up to 16 voice messages, 15 second duration each. The messages are used for telephone notification about the alarm.

----------------------------------------------------

Name - individual name of the device (up to 16 characters).

Tamper signaled in partition - selection of the partition in which tamper alarm will be triggered in the event of tamper or disconnection of the device from the system.

Content of voice messages - you can enter the content of recorded messages in the table.

# Global Parameters

“Options” tab

“Times” tab

## Options

Reporting - TELEPHONE - if the option is enabled, the control panel can send event codes to the monitoring station by means of the telephone line.

Reporting - ETHM - if the option is enabled, the control panel can send event codes to the monitoring station via the Ethernet network, using the TCP/IP protocols.

Telephone messaging - if the option is enabled, the control panel can notify about the occurrence of specific events by means of voice or text messages using the telephone links.

Answering - modem - if the option is enabled, external initiation of the modem communication with the control panel is possible.

Double call - if the option is enabled, the control panel must be called twice for the modem communication to be established. The first time you must wait for the preprogrammed number of rings and hang up. Then you must call back within three minutes and the control panel will answer the call immediately. This solution makes it possible to connect after the control panel some additional devices which will be activated after a preset number of rings (e.g. answering machine, fax, etc.).

Tone dialing - if the option is enabled, the control panel will tone dial the telephone numbers (pulse dial, if this option is disabled).

Pulse 1/1.5 (off 1/2) - this option applies to pulse dialing. Before you enable it, make yourself familiar with the valid standard of pulse dialing.

No dial tone test - if the option is enabled, the control panel will not perform the test for dial tone before dialing the number and will start dialing the number 5 seconds after going "off hook". This makes it possible for the control panel to dial the number when some non-standard tones occur on the telephone line after going off hook (e.g. interrupted tone). When this option is disabled, the control panel will start dialing the number 3 seconds after going off hook, provided that the dial tone is present.

No answer tone test - if the option is enabled, in case of notifying by means of voice messages, the control panel will not perform the test for "off hook" condition. The voice message will be played back 15 seconds after completion of the number dialing. In case of reporting, the control panel will ignore any signals (including the busy tone) received from the telephone exchange after dialing the telephone number, and will wait for the handshake from the monitoring station. Enable this option if, after dialing the number, non-standard signals are received from the telephone exchange or in case of very poor quality connections.

Store keyfob events - if this option is enabled, using the keyfob is written into the events log.

Trouble memory until review - if this option is enabled, the trouble memory is being signaled until it is cleared (clearing the trouble memory is possible in Versa - troubles window or in keypad, when you quit the 7. System state user function).

Grade 2 - if this option is enabled, the system operates in accordance with the EN 50131 standard requirements for Grade 2, i.e.:

- the way of informing the users about the system state by means of LEDs, display and beeps in the keypads meets the requirements of the standard;

- quick arming is not available;

- new codes in the system must be composed of at least 5 characters;

- prior to arming, the control panel checks that no circumstances have occurred that prevent arming (ref. Prevent arming if not ready option),

- in case of arming by means of the VERSA-LCD-GR keypad, the control panel will check if there are any zones bypassed in the partition - information on the bypassed zones is presented, if the user has the Inspection right,

- the warning alarm feature is enabled in the system (see: Warning alarm option),

- the warning alarm is signaled at the 2. Internal siren function output (ref. Warning alarm on internal sirens option).

Serial data on OUT 3/4 - if the option is enabled, OUT3 and OUT4 outputs send the system status data (zone alarms, fire alarms, troubles, armed modes, etc.) and do not execute any other programmed functions. The outputs may be used to control the NR2-DSC radio monitoring transmitter (NEMROD system - PC-16 OUT format), made by NOKTON.

OUT 3/4 data extended mode - this option is available, if the Serial data on OUT 3/4 option is enabled. The OUT3 and OUT4 outputs can send the system status data in the form of frames (PC-16 OUT UA format).

Arming/Disarming/Clearing signaling from zones only - if the option is enabled, outputs with the functions 1. External siren and 2. Internal siren with enabled Arming/Disarming/Clearing signaling option will signal only:

- starting of the arming procedure by zone or by means of keyfob;

- no possibility of arming (see: Prevent arming if not ready option or Grade 2 option), if the arming command has been sent from keyfob;

- failed attempt of arming by means of keypad or keyfob (see: Prevent arming if not ready option or Grade 2 option);

- disarming by zone or by means of keyfob;

- alarm clearing by zone or by means of keyfob.

Starting the arming procedure, disarming or alarm clearing by means of keypad, proximity card reader or timer are not signaled.

Clear messaging on alarm clearing - if the option is enabled, clearing the alarm will automatically cancel messaging about this alarm, if the user clearing the alarm has the Telephone messaging clearing right.

Service message after tamper alarm - this option is available, if the Trouble memory until review option is enabled. If the option is enabled, information on the tamper alarm can only be cleared from the troubles memory by using the service code. In the LCD keypad, the " System tamper, call service" message will be displayed after the tamper alarm (unless the alarm messages are displayed). The message will no longer be displayed after the troubles memory is reset by the service.

Warning alarm - if the option is enabled, the system includes an activated warning alarm feature, whose purpose is to delay the loud signaling and reporting, if any mistakes are made when entering the protected facility. The warning alarm is not monitored. It can be signaled on the keypad, proximity card reader or outputs with the function 2. Internal siren. The warning alarm is triggered by the following zone types:

- 0. Entry/Exit or 1. Entry/Exit final - unless the system is disarmed before completion of the Entry delay countdown;

- 2. Entry/Exit route - if it is violated during the Entry delay countdown, and the system is not disarmed before completion of the Delay time countdown;

- 3. Instant - if it is violated during the Entry delay countdown.

The warning alarm lasts 30 seconds. Unless the alarm system is disarmed during this time, the alarm will be triggered by the zone.

Warning alarm on internal sirens - this option is available, if the Warning alarm option is enabled. If the option is enabled, the warning alarm will be signaled on outputs with the 2. Internal siren function.

Tamper alarm always audible - if the option is enabled, the tamper alarm will be signaled always on outputs with the 1. External siren and 2. Internal siren functions (if the option is disabled, only in armed mode). Also, lack of the expander is always saved in the event log as a tamper alarm. If the option is disabled, lack of the expander will be saved in the event log:

- as a trouble, if the partition to which the expander is assigned, is disarmed (but the keypad will signal tamper alarm anyway);

- as a tamper alarm, if the partition is armed.

Tamper alarm on internal sirens - if the option is enabled, the tamper alarm will be signaled always on outputs with the 2. Internal siren function (in armed mode only if the option is disabled). Additionally, the output will always signal lack of the expander (also when the event is logged as a trouble - see: Tamper alarm always audible option).

Block after 3 unknown codes/cards - if the option is enabled, after entering an invalid code / reading in an invalid card three times, the keypad / reader will be blocked for 90 seconds. After this period of time has expired, each subsequent entry of an invalid code / read-in of an invalid card will block the keypad / reader at once. The counter of invalid codes / cards will be reset after a correct code is used.

Service Mode from RESET pins - if the option is enabled, it is possible to start the service mode and local programming "from pins".

Limit storing "Test transmission" events - if the option is enabled and the "Test transmission" events directly follow one another, they are only written to the event log 3 times. Information on sending next test transmissions is not recorded. Any other event occurring in the system will reset the counter of "Test transmission" events, i.e. it will be possible to log next three consecutive test transmissions.

Prevent arming if not ready - if the option is enabled and the user arm the system by means of keypad or keyfob, the control panel checks that there are no circumstances that prevent the arming:

- a zone with Priority option is violated in the partition which is to be armed;

- the 3. Instant, 4. Double knock, 5. 24h burglary, 6. 24h tamper, 7. 24h panic, 8. 24h panic silent, 9. 24h medical or 10. 24h fire type zone is violated in the partition which is to be armed;

- there is a trouble in the system.

If one of the aforementioned situations takes place, the control panel will not start the arming procedure (the VERSA-LCD-GR keypad enables forced arming). If none of the conditions is met, the control panel will start the arming procedure, but at the end of the exit delay countdown it will check again if the arming is possible (the quick arming being an exception). A violated zone or a trouble mean that the arming is not possible (i.e. the arming procedure will fail).

Additionally, when the option is enabled and the user has the Inspection right, the VERSA-LCD-GR keypad will inform, prior to arming, that there are bypassed zones in the partition (it does not apply to the quick arming).

Arm even if not ready after exit delay - the option is available, when the Prevent arming if not ready or Grade 2 option is enabled. If the option is enabled, a zone violation or trouble found at the end of exit delay countdown does not affect the arming procedure - the system will be armed.

Rings before answer - number of rings after which the control panel will go off hook.

User code min. lenght - the minimum number of characters required for the control panel to accept a new code or a changed code.

## Times

Keypad’s alarm time - time period during which alarm is signaled in keypads and proximity card readers. Up to 255 seconds can be programmed. Programming the value 0 means that the Keypad’s alarm time will be 3 seconds.

No armed indication after - time counted from the moment of partition arming, after expiry of which the keypad LED indicating the partition armed status will go out. Up to 255 seconds can be programmed. Programming the value 0 means that the LED will be lit as long as the partition is armed.

AC loss report delay - time during which the control panel must be without AC power before the trouble is reported. A delay in reporting the trouble prevents sending information about short-time voltage decays, having no effect on normal operation of the system. The trouble reporting delay can be up to 255 minutes.

Telephone line loss report delay - time during which abnormal voltage must be on the telephone line for the control panel to report the telephone line trouble. A delay in reporting the trouble prevents sending information about short-time voltage dips (e.g. during a phone call) or decays. The trouble reporting delay can be up to 255 minutes.

Summer/winter time - the control panel can automatically adjust the clock settings due to a change from the summer time to the winter time and vice versa. The following correction schemes are available:

- no correction;

- according to the European Union rules;

- according to the United States' rules;

- correction by 1 hour according to dates;

- correction by 2 hours according to dates.

Summer time from / Winter time from - if the control panel clock is to be corrected by 1 or 2 hours according to dates, you should enter the dates (day, month) after the clock is changed to the summer time (moved forward) or to the winter time (moved back).

RTC clock correction - if the accuracy of control panel clock is inadequate, the clock settings may be adjusted once per 24 hours (at midnight) by a defined time. The correction time is programmed in seconds. The maximum correction can be ±19 seconds per 24 hours.

# Zones

Zone - 1. a separated part of the protected area, which can be supervised by detector(s). 2. terminals on the electronics board of control panel or expander, to which you can connect a detector or another device, whose state is to be supervised (PANIC button, siren tamper contact, etc.).

The zone can be assigned to one or two partitions. If the zone is assigned to two partitions, it can be armed when both partitions are armed or only one of them.

The system supports the following zones:

hardwired - on the control panel PCB and in expanders. The number of available hardwired zones is determined by the control panel during the identification procedure.

wireless - after connection of the ACU-100 controller. The number of available wireless zones depends on the number of wireless devices registered in the system and is determined during the procedure of adding the same.

virtual - zones which do not physically exist, but are controlled by means of keyfobs.

#### Zone parameters

Zone name - individual name of zone (up to 16 characters).

Partition 1 / Partition 2 - partition to which the zone is assigned. The zone must be assigned at least one partition, for its status to be supervised.

Zone type - see: Zone types.

Entry delay - the time counted from the moment of violating the 0. Entry/Exit or 1. Entry/Exit final type zone, which makes disarming possible before triggering the alarm. It is programmed in seconds and can be up to 255 seconds. If the value 0 is programmed, the Entry delay programmed for the partition will be taken into account. If the value 0 is programmed for both the zone and the partition, the zone will act as an instant one.

Delay time - the time counted from the moment of violating the 2. Entry/Exit route type zone, if it acts as a delayed one. The time is programmed in seconds and can be up to 255 seconds. If the value 0 is programmed, the Entry delay programmed for the partition will be treated as the Delay time. If the value 0 is programmed for both the zone and the partition, the zone will act as an instant one.

Delay activation time - the time counted from the moment of violating the 18. Entry route enabling type zone. During countdown of this time, the 2. Entry/Exit route type zone will act as the delayed ones. The time is programmed in seconds and can be up to 255 seconds. If the value 0 is programmed, the Entry delay programmed for the partition will be treated as the Delay activation time. If the value 0 is programmed for both the zone and the partition, violation of the zone will have no effect.

Waiting time - the time counted from the moment of violating the 4. Double knock type zone. If the zone is violated again during the waiting time, it will trigger alarm. The time is programmed in seconds and can be up to 255 seconds. Programming the value 0 means that the Waiting time will be 30 seconds.

Arm mode - the armed mode activated after violating the 13. Arm/Disarm or 14. Arming type zone. You can select either fully arming, day arming or night arming.

Event - number of the event that will be written into the control panel memory and can be reported to the monitoring station upon violation of the 19. Trouble type zone. You can enter the following values for the corresponding codes of alarm events:

1 - 201 Low water pressure

2 - 202 Low CO2

3 - 203 Gate valve sensor

4 - 204 Low water level

5 - 205 Pump activated

6 - 206 Pump failure

51 - 151 Gas detected

52 - 152 Refrigeration

53 - 153 Loss of heat

54 - 154 Water leakage

55 - 155 Foil break trouble

56 - 156 Day trouble

57 - 157 Low bottle gas level

58 - 158 High temperature

59 - 159 Low temperature

61 - 161 Loss of air flow

62 - 162 Carbon monoxide (CO) detected

63 - 163 Tank level trouble

Entering a different value means that the zone violation will trigger the trouble signaling, but no alarm events from zone will be written to the event log.

Wiring type - type of detector and the method of its connection (zone configuration):

no detector - no detector is connected to the zone;

NC - the zone supervise a detector of NC (normally closed) type;

NO - the zone supervise a detector of NO (normally open) type;

EOL - the zone supervise a NO or NC detector with single EOL resistor;

2EOL/NO - the zone supervise a NO detector with double EOL resistors;

2EOL/NC - the zone supervise a NC detector with double EOL resistors;

roller - the zone supervise a roller shutter detector;

vibration - the zone supervise a vibration detector.

Note: In case of the Vibration zone wiring, opening the circuit for 200 ms - irrespective of the programmed number of pulses and sensitivity - will be interpreted as violation. This solution enables a magnetic contact to be connected in series with the vibration detector.

Sensitivity - depending on selected wiring type:

NO, NC, EOL and 2EOL - the time during which the zone must be violated, so that it can be noted by the control panel. The sensitivity is programmed in milliseconds. Values from the 20 ms to 5100 ms range can be entered.

ROLLER - 2 digits are to be programmed:

1. - pulses duration - during what time after pulse occurrence subsequent pulses must follow (in the number defined as the Pulses count) for the zone to be violated. You can enter 0 (the pulse counter will only be reset on arming / disarming), 1 (30 seconds), 2 (120 seconds) or 3 (240 seconds). The pulse counter is automatically reset on arming / disarming.

2. - pulses count - the number of pulses after which the zone will be violated. You can enter values from 1 to 8.

VIBRATION - 2 digits are to be programmed:

1. - sensitivity - occurrence of a pulse with duration equal to or longer than the defined time period will cause zone violation. You can program values from the 3 ms to 96 ms range (with 3 ms increments).

2. - pulses count - the number of pulses after which the zone will be violated. You can enter values from 0 to 7 (for value 0, no pulses will be counted - Sensitivity only will be taken into account).

Max. violation time - exceeding the maximum violation time is recognized by the control panel as the detector trouble (e.g. damage or masking). The time is programmed in seconds and can be up to 255 seconds. Programming the value 0 means that the control panel will not check the zone for maximum violation time.

Max. no violation time - exceeding the maximum time of no violation is recognized by the control panel as the detector trouble (e.g. damage or masking). The time is programmed in hours and can be up to 255 hours. Programming the value 0 means that the control panel will not check whether the zone is violated or not.

#### Zone options

Alarm on exit delay end - if the option is enabled and the zone is violated at the moment of ending the exit delay countdown, it will trigger an alarm (if this option is disabled, the zone will only trigger the alarm when the status changes from normal to violation during the armed mode).

Priority - if the option is enabled, arming is impossible when the zone is violated.

Bypass disabled - if the option is enabled, user cannot bypass the zone using the functions available in the Bypasses submenu (this restriction does not apply to the service).

Active in night arm - if the option is enabled, the zone is armed when the night armed mode is activated.

Active in day arm - if the option is enabled, the zone is armed when the day armed mode is activated.

Power-up delay - if the option is enabled, the zone is bypassed for 120 seconds after power supply is turned on (this will prevent triggering false alarms e.g. during start-up of the control panel).

Warning in partial arming - option for the zones which are armed when the day or night armed mode is activated in the partition. If the option is enabled, violation of the zone will not immediately trigger the burglary alarm but the warning alarm which is not monitored. It may be signaled on the keypad, proximity card reader or on the output with 2. Internal siren function. The warning alarm at partial armed mode is signaled during the Warning time (see: Partitions). If the partition is not disarmed before expiry of the warning time, the zone will trigger the burglary alarm.

Note: Warning alarm in the partial armed mode will work irrespective of the Warning alarm global option, which refers to the delay of loud signaling and reporting if any mistakes are made when entering into the protected facility.

Warning on internal sirens - if the option is enabled, warning alarm in the partial armed mode, is signaled on the output with the 2. Internal siren function.

Auto-reset 3 - if the option is enabled, the zone can trigger up to 3 alarms. As long as the alarm is not cleared or the partition is not armed/disarmed, violations of the zone will not trigger any alarm.

Auto-reset 1 - if the option is enabled, the zone can trigger only 1 alarm. As long as the alarm is not cleared or the partition is not armed/disarmed, violations of the zone will not trigger any alarm.

Note: If the Auto-reset 3 and Auto-reset 1 options are enabled at the same time, the Auto-reset 3 option will have priority.

Clearing Autoreset - if the option is enabled, the alarm counters for zones for which the Auto-reset 3 or Auto-reset 1 option is enabled will be automatically reset at midnight (violations of these zones will be able to trigger alarms again).

Armed if one partition armed - the option refers to the zones which are assigned to both partitions. If the option is enabled, the zone is armed when one of the partitions is armed. If this option is disabled, the zone is armed when both partitions are armed. The option is also available in the event of unbypassing zones during disarming (if the option is enabled, the zone will only be unbypassed after disarming both partitions).

Blocks verification - an option for the 0. Entry/Exit, 1. Entry/Exit final and 17. Shunt lock zone types. If the option is enabled, the zone will block alarm verification in the partition:

- after the zone violation - the 0. Entry/Exit and 1. Entry/Exit final zone types, and also the 17. Shunt lock zone type, when the Restore disables verification option is not enabled;

- after the zone restore - the 17. Shunt lock zone type, when the Restore disables verification option is enabled.

In case of the 17. Shunt lock zone type, the zone will disarm the system when the Blocks verification option is not enabled.

Restore disarms - an option for the 17. Shunt lock zone type. It is available, if the Blocks verification option is not enabled. If the Restore disarms option is enabled, the zone restore will disarm the partition to which the zone belongs, and the zone violation will shorten the exit delay time. If the Restore disarms option is disabled, the zone violation will disarm the partition, and zone restore will shorten the exit delay time.

Restore disables verification - an option for the 17. Shunt lock zone type. It is available, if the Blocks verification option is enabled. If the option Restore disables verification is enabled, the zone restore will blocks verification in the partition to which the zone belongs, and the zone violation will shorten the exit delay time. If the option Restore disables verification is disabled, the zone violation will blocks verification, and the zone restore will shorten the exit delay time.

Alarm clearing - an option for the 13. Arm/Disarm and 15. Disarming zone types. Together with disarming, the alarm is cleared (except for the tamper alarms). If the option is enabled, violation of the 15. Disarming type zone will also clear the alarm, when the system is not armed.

Write violations to event log - an option for the 12: No alarm action zone type. If the option is enabled, violation of the zone is saved into the event log (the way of saving the event depends on the Keybox control option).

Store event only if armed - an option for the 12: No alarm action zone type. It is available when the Write violations to event log option is enabled. If the option Store event only if armed is enabled, zone violations are saved in the event log when the partition to which the zone belongs is armed.

Keybox control - an option for the 12: No alarm action zone type. It is available when the Write violations to event log option is enabled. If the option Keybox control is enabled, violation of the zone will result in logging an event which informs that the keybox is open. The event code is sent to the monitoring station. If this option is disabled, an event will be logged informing about zone violation, which will not be reported.

#### Hardware

If the zone with a given number occurs at the same time on the mainboard and on the zone expander, or if the wireless zone has the same number as the wired zone, you can choose which of them will be supported.

## Zone types

0. Entry/Exit - a delayed zone combining two functions:

entry - violation of the zone triggers the entry delay countdown in the partition and activates delay for the 2. Entry/Exit route type zone. The entry delay may be signaled on keypads or proximity card readers.

exit - the zone status is monitored during the partition exit delay time. Violation of the zone is treated as an exit from the partition.

1. Entry/Exit final - the same as the 0. Entry/Exit type, but if the arming procedure has started and the control panel registers the zone restore, the exit delay countdown will be terminated.

2. Entry/Exit route - during the countdown of Entry delay or Delay activation time the zone acts as a delayed one (alarm will be triggered after expiry of the Delay time). In other situations it acts as an instant zone.

3. Instant - instant zone. It enters the armed mode after the arming procedure has started, irrespective of the value of Exit delay time programmed for the partition.

4. Double knock - the zone triggers the burglary alarm only after the second violation. The first violation of the zone only results in the "Zone violation" event being logged (the event to may reported in format 4/2). The second violation must take place during the Waiting time countdown.

5. 24h burglary - dedicated zone for the detectors which should be armed at all times (e.g. glass break detectors).

6. 24h tamper - dedicated, permanently armed zone for tamper circuits. Violation of the zone is additionally signaled as a trouble.

7. 24h panic - permanently armed zone, intended for operating the panic buttons.

8. 24h panic silent - permanently armed zone, intended for operating the panic buttons. Alarm from the zone is not signaled on keypads, readers and outputs, but the event code is sent to the monitoring station.

9. 24h medical - permanently armed zone for calling medical assistance.

10. 24h fire - dedicated, permanently armed zone for operating fire detectors.

11. Detector mask - permanently armed zone for antimasking control. Violation of the zone is interpreted by the control panel as a detector trouble.

12. No alarm action - the zone may be used to control the output with function 13. Zone violation, 15. Controlled or 16. READY status. An additional option enables the zone to be used for supervision of the key box (Keybox control option).

13. Arm/Disarm - the zone controls the arming status of the partition it belongs to. Violation of the zone starts the arming procedure or disarms the partition (depending on the current status of the partition).

14. Arming - violation of the zone starts the procedure of arming the partition to which the zone belongs.

15. Disarming - violation of the zone disarms the partition to which the zone belongs.

16. Exit delay terminator - violation of the zone ends the partition exit delay countdown.

17. Shunt lock - the zone ends the partition exit delay countdown and - depending on the Blocks verification option - will disable verification or disarm the partition to which it belongs. The way of controlling (the zone violation / zone restore) is determined by the option Restore disables verification or Restore disarms.

18. Entry route enabling - violation of the zone activates delay for the 2. Entry/Exit route type zones in the partition to which the zone belongs. The zones will act as delayed ones for the Delay activation time. After expiry of the time, unless the system is disarmed, the zones will again act as the instant ones. If the Delay activation time for a zone will be programmed as equal to 0, and at the same time the Entry delay programmed for the partition is equal to 0, violation of the zone will have no effect.

19. Trouble - violation of the zone is treated by the control panel as a trouble. Additionally, an alarm event may be written into the control panel memory (see: Event parameter).

# Versa - Outputs

Using the outputs, the control panel controls the operation of external devices. There can be up to 12 outputs in the system:

hardwired - on the control panel PCB and in the expander. The number of available hardwired outputs is determined by the control panel during the identification procedure.

wireless - after connection of the ACU-100 controller. The number of available wireless outputs depends on the number of wireless devices registered in the system and is determined during the procedure of adding the same.

The control panel supports outputs having numbers from 1 to 12. The numbers of hardwired and wireless outputs may coincide. The control panel will support them simultaneously.

“Outputs” tab

“Quick control” tab

## Outputs

#### Output parameters

Output name - individual name of the output (up to 16 characters).

Output function - see: Output functions.

Cut-off time - time during which the alarm outputs and the outputs with functions 13. Zone violation, 14. Chime and 15. Controlled are active. Entering the value 0 modifies the way of functioning of some outputs:

- alarm outputs remain active until the alarm is cleared,

- the 13. Zone violation output remains active throughout the time of zone violation (the Pulse option is disabled then),

- the 14. Chime output remains active until deactivated by the Outputs reset user function,

- the 15. Controlled output remains active until another violation of the controlling zone, disabling of timer or disabling of the output by means of keypad (bistable mode).

Triggering - depending on the type of output, its status depends on:

- the status of selected zones;

- 18. Armed status - the armed mode active in the partition (if no armed mode is selected, the output will activate after activating any armed mode);

- 19. Trouble status - the occurrence of selected troubles.

#### Output options

Clearing from partition 1 / Clearing from partition 2 - depending on the output function, if the option is enabled:

- alarm outputs - the alarm can be cleared by users having access to the selected partition,

- the 1. External siren and 2. Internal siren outputs with enabled Arming/Disarming/Clearing signaling option - the output will be activated when in the selected partition the procedure of arming has been initiated, arming is not possible, armed mode is deactivated, or when alarm is cleared in it.

- 5. “DURESS” alarm - the users having access to the selected partition can deactivate the output by means of the Outputs reset user function.

Partition 1 / Partition 2 - depending on the output function, if the option is enabled:

- 12. Power supply on armed - the output is active when the selected partition is armed (it activates after starting the arming procedure, without taking the exit delay into account),

- 15. Controlled - the output can be controlled by the users having access to the selected partition by means of the user function 8. Control (if no partition is selected, the function 8. Control will not be available in the keypad),

- 17. Exit delay status - the output is active when the exit delay countdown is running in the selected partition,

- 18. Armed status - the output is active when partition/partitions is/are armed (see: parameter Triggering and option One partition armed signaling).

Reset in partition 1 / Reset in partition 2 - depending on the output function, if the option is enabled:

- 11. Fire detectors power supply - the users having access to the selected partition can deactivate the output for 16 seconds by means of the Outputs reset user function,

- 14. Chime, for which the Cut-off time equal to 0 has been programmed - the users having access to the selected partition can deactivate the output by means of the Outputs reset user function.

Pulse - if the option is enabled, the output works in pulsating mode (0,5/0,5 s). This option refers to the outputs for which the cut-off time is to be programmed (except for the 1. External siren and 2. Internal siren outputs), and outputs with the 17. Exit delay status, 18. Armed status and 19. Trouble status functions.

Polarity +12V - the option defines the output operating mode (see table below):

|  | high-current output |
| --- | --- |
|  | option enabled (normal polarity) | option disabled (reversed polarity) |
| active status | +12V voltage supply | +12V voltage cut-off |
| inactive status | +12V voltage cut-off | +12V voltage supply |
|  | low-current output |
|  | option enabled (normal polarity) | option disabled (reversed polarity) |
| active status | shorted to ground | isolated from ground |
| inactive status | isolated from ground | shorted to ground |

Fire alarms signaling - option for the 1. External siren and 2. Internal siren outputs. The output signals in pulsating mode the fire alarms from selected zones (see: Triggering) and partitions (see: Alarm signaling - partition 1 and Alarm signaling - partition 2 output options).

One partition armed signaling - option for the 18. Armed status output, active when the Partition 1 and Partition 2 options are enabled. The output indicates armed mode when any of the two partitions is armed (if the option is disabled, only when both partitions are armed).

Arming/Disarming/Clearing signaling - option for the 1. External siren and 2. Internal siren outputs (see also: Clearing from partition 1 and Clearing from partition 2 output options and Arming/Disarming/Clearing signaling from zones only global option - Options). If the option is enabled, the output signals:

- starting the arming procedure (which is equivalent to arming if no exit delay has been programmed) - 1 pulse;

- disarming - 2 pulses;

- alarm clearing - 4 pulses;

- denial of arming or arming procedure failure (see: Prevent arming if not ready global option or Grade 2 global option - Options) - 7 pulses.

One pulse duration is approx. 0.3 seconds.

Alarm signaling - partition 1 / Alarm signaling - partition 2 - an option for the alarm outputs. If the option is enabled, the output signals the selected partition alarms which were not triggered by zones.

Timer 1 / Timer 2 / Timer 3 / Timer 4 - options for the 15. Controlled outputs. The output is controlled by selected timer (if timer status changes to “ON", the output will be activated for the Cut-off time).

Mainboard TMP input - an option for the 1. External siren, 2. Internal siren and 10. Tamper alarm outputs. The output will be activated by the mainboard tamper (violation of the mainboard TMP zone).

### Output functions

0. Not used

1. External siren - signals the burglary, panic and tamper alarms.

2. Internal siren - signals the burglary, panic and tamper alarms, as well as the warning alarms.

Note: The way of signaling the tamper alarms by the outputs with functions 1. External siren and 2. Internal siren depends on the global options Tamper alarm always audible and Tamper alarm on internal sirens (see: Options).

3. Burglary - signals the alarms from 0 to 7 type zones.

4. Fire alarm - signals the fire alarms from keypad and from 10. 24h fire type zones.

5. “DURESS” alarm - signals that code with Duress right was used for arming/disarming or alarm clearing.

6. Panic alarm - signals the panic alarms from keypad and from 7. 24h panic type zones.

7. AUX. alarm - signals the medical assistance call alarms triggered from keypad and from 9. 24h medical type zones.

8. Alarm - not verified - signals the unverified alarms.

9. Alarm - verified - signals the verified alarms.

10. Tamper alarm - signals the tamper alarms.

11. Fire detectors power supply - the dedicated output for power supply of the fire detectors with automatic verification alarm. After violation of the fire zone the output will be disabled for 16 seconds. If, after the power is turned on again, another violation from the fire zone occurs, the fire alarm will be triggered.

12. Power supply on armed - the dedicated output for power supply of the detectors which should not be active when the system is disarmed. It gets activated at the moment of starting the arming procedure (the exit delay is not taken into account).

13. Zone violation - signals violation of the zones.

14. Chime - signals violation of the zones when they are disarmed.

15. Controlled - controlled by means of zones, timers, keypad or from keyfob.

16. READY status - indicates whether the system is ready for arming, i.e. whether there are no violated zones (active when there is no violation).

17. Exit delay status - indicates that the Exit delay countdown is running.

18. Armed status - indicates the armed mode (after completion of the exit delay countdown).

19. Trouble status - indicates troubles.

## Quick control

If the quick control of the outputs 15. Controlled is to be available in keypads, the outputs of this type must be assigned to the corresponding keypad keys. One output can be assigned to each of the keys designated with numerals. To activate that output, press the key with respective numeral and confirm using the  key, and to deactivate the output, press the same key and confirm using the  key.

# Versa - Timers

4 timers enable control of the partition armed mode and the 15. Controllable outputs. The timer compares time with the control panel clock and executes the selected function at a set time.

The following can be programmed for each timer:

- individual name (up to 16 characters);

- armed mode to be activated in the partition by means of timer;

- activation/deactivation time individually for each day of the week and globally for all days of the week (consequently, the timer can be activated/deactivated twice a day: according to the settings defined for that day and according to the settings defined for the whole week);

- 4 exceptions, i.e. the time periods when the timer will be activated/deactivated at a different time than that programmed individually for each day of the week or globally for all days of the week.

# Versa - Reporting

The control panel can send event codes to two monitoring stations. The codes may be sent via the telephone line (telephone communicator built in the control panel) or the Ethernet network (ETHM-1 module with firmware version 1.04, connected to the control panel). The following events can be reported:

- alarms,

- tampers,

- zone bypasses,

- troubles,

- arming/disarming,

- some other system related events (e.g. start and end of service mode, clock programming, end of remote programming, etc.).

“Monitoring Stations” tab

“Event codes” tabs

Starting the reporting

## Monitoring Stations

Reporting - TELEPHONE - if the option is enabled, the control panel can send event codes to the monitoring station by means of the telephone line.

Reporting - ETHM - if the option is enabled, the control panel can send event codes to the monitoring station via the Ethernet network, using the TCP/IP protocols.

Note: If both forms of reporting are enabled, the control panel will first try to send the event code through the Ethernet network, and only when the attempt fails, it will switch over to the telephone reporting.

#### Options

Station 1 or Station 2 - when this option is selected, the event code will be sent to the station with which the control station will be able to establish connection.

Station 1 only - with this option selected, the event codes are only sent to station 1.

Station 2 only - with this option selected, the event codes are only sent to station 2.

Station 1 and 2 - with this option selected, the event codes are sent to both stations.

----------------------------------------------------

Events amount limiting - if the option is enabled, events from the same source are saved into the event log and reported to the monitoring station 3 times only. This option does not apply to the alarms from zones. For each zone, the number of alarms can be individually limited by means of the Auto-reset 3 or Auto-reset 1 option (see: Zones).

Report module restarts - if the option is enabled, in case of sending event codes in Contact ID or SIA format, the monitoring station is informed about module restarts.

Restore after bell - if the option is enabled, the zone restore code will only be sent to the monitoring station after the alarm signaling ends. If a few outputs are signaling alarm, the zone restore code will be sent when one of them stops signaling the alarm.

Restore after disarm - if the option is enabled, the zone restore code will only be sent to the monitoring station after disarming the partition to which the zone belongs.

#### Station 1 / Station 2

Reporting format - format in which event codes are sent to the monitoring station.

##### Telephone

Telephone number - telephone number of the monitoring station (see: Programming telephone numbers).

Repetitions - the number of attempts to establish telephone connection with the monitoring station after which, if there is no connection (busy number, no answer from the station, etc.), the control panel will suspend reporting. Up to 31 retries can be programmed. Programming the value 0 means that monitoring will be suspended after 8 attempts.

Suspend time - the time for which telephone reporting is suspended, after making the programmed number of attempts to establish connection with the monitoring station. The control panel will resume the attempt of establishing telephone connection with the monitoring station after this time expires or a next, new event occurs. Up to 30 minutes can be programmed. Programming the value 0 means that an attempt to establish telephone connection with the monitoring station will only be taken after occurrence of a new event in the system.

##### ETHM

Server address - the address of STAM-2 monitoring station or SMET-256 converter. It can be entered in the form of IP address (4 decimal numbers separated by dots) or as a name.

Port - the number of TCP port through which communication with the monitoring station will be effected. You can enter values from 1 to 65535.

Station key - a sequence of 1 to 12 alphanumeric characters (digits, letters and special characters), defining the key to be used for encryption of data sent to the monitoring station.

ETHM key - a sequence of 1 to 5 alphanumeric characters to be used for identification of the control panel for the purposes of reporting via Ethernet.

##### Identifiers

Event codes are sent to the monitoring station in one of the four identifiers:

- identifier 1 - events from zones (alarms, tampers, troubles);

- identifier 2 - alarms triggered from keypad, arming/disarming by means of zones, quick arming, loss of communication with wireless devices, as well as expander troubles and tampers;

- identifier 3 - arming/disarming and alarm clearing by means of code or proximity card;

- system identifier - power supply troubles, zone bypasses, troubles of control panel high-current outputs, communication bus trouble, programming related events, etc.

4 hexadecimal characters (digits or letters from A to F) should be programmed for each identifier. Entering the value 0000 means that events assigned to that identifier will not be reported. Using the digit 0 in the identifiers is not recommended.

SIA / TELIM prefix - 2 characters which will precede each of the identifiers in case of the SIA and TELIM formats. Thus an identifier consisting of 6 characters can be obtained. 2 hexadecimal characters (digits or letters from A to F) can be programmed. Entering 00 means that the prefix will not be added. Using the digit 0 in the prefix is not recommended.

##### Station 1 options / Station 2 options

SIA - send partition name - if the option is enabled, in the SIA format, the name of partition where the event took place will also be sent, in addition to the event code.

SIA - send event source name - if the option is enabled, in the SIA format, the name of event source (zone, user, etc.) will also be sent, in addition to the event code.

SIA - confirm each block - if the option is enabled, the control panel will wait for acknowledgement by the monitoring station of receiving every data block sent in the SIA format. The option applies to telephone reporting.

SIA - identifier confirmation required - if the option is enabled, the control panel will wait for acknowledgement by the monitoring station of receiving the identifier with which the data were sent. The option applies to telephone reporting.

Longer waiting for initial handshake - if the option is enabled, the control panel will wait longer for handshake from the monitoring station in case of sending events in the Ademco Express, Contact ID or SIA format. Enable this option in the event of telephone reporting, if the monitoring station sends a non-standard initial handshake.

Long kiss-off signal - if the option is enabled, the control panel will accept a long kiss-off signal for receiving events in case of Ademco Express and Contact ID formats. Enable this option in the event of telephone reporting, if the monitoring station acknowledges receiving events in a non-standard way (the kiss-off signal is longer than 800 ms).

#### Test transmissions

The test transmission may be sent:

- at a specified time. The test transmission code is sent regularly at a defined time. The number of days between transmissions and the time of sending transmission are programmed. Programming the value 0 for days means that the transmission will be sent everyday (in the same way, as in case programming the value 1).

- in specified time intervals. The test transmission code is sent after expiry of a defined time after the last transmission (irrespective of whether it was a test transmission or a code of another event was sent). The test transmission of this type may be sent in other time intervals, when the control panel is armed (which requires programming some additional parameters). The number of days, hours and minutes between transmissions are to be programmed.

All types of test transmission may be programmed simultaneously.

Limit storing "Test transmission" events - if the option is enabled and the "Test transmission" events directly follow one another, they are only written to the event log 3 times. Information on sending next test transmissions is not recorded. Any other event occurring in the system will reset the counter of "Test transmission" events, i.e. it will be possible to log next three consecutive test transmissions.

#### Buttons

Export to STAM - the button enables to export the names of zones, partitions, users and modules for the needs of STAM-1 or STAM-2 monitoring station.

Print - the button enables to print all reporting parameters.

OK - the button closes the window.

## Event codes

For the pulse and Ademco Express formats, it is necessary to program codes which will be reported to the monitoring station if the defined events occur. The reported events are those for which a code different from "00" has been programmed. 2 hexadecimal characters (digits or letters from A to F) are to be programmed.

For the Contact ID and SIA formats, event codes consistent with format specification are sent. In case of the Contact ID (selected) and SIA (selected), the codes must be programmed at the events which are to be reported (not the programmed code, but a code consistent with the format specification will be sent).

## Starting the reporting

Before you proceed to the programming, obtain from the monitoring station operator all data necessary to correctly start the reporting function:

- telephone number of the monitoring station (telephone reporting) or server address, TCP port number, code key and identifier assigned to the Ethernet module (reporting through Ethernet network),

- transmission format required by the monitoring station,

- identifiers assigned to the alarm system,

- list of event codes (not applicable to Contact ID and SIA formats).

#### Telephone reporting

- Enable the Reporting - TELEPHONE option (Monitoring Stations).

- Determine how the telephone numbers should be dialed (Tone dialing global option; in case of the pulse dialing option - Pulse 1/1,5 (off 1/2) - Options).

- Determine whether the control panel, prior to dialing the number, should check the telephone line for dialing signal (No dial tone test global option - Options).

- Determine the reaction to signals received after dialing the number (No answer tone test global option - Options).

- Determine whether the event codes will be sent to both monitoring stations or to one of them only (enable one of the options: Station 1 or 2, Station 1, Station 2 or Station 1 and 2 - Monitoring Stations).

- Determine whether the number of events from the same source is to be limited (Events amount limiting option - Monitoring Stations).

- Determine when the restore code is to be sent (Restore after bell, Restore after disarm options - Monitoring Stations).

- Program the following for the monitoring station to which event codes are to be sent (Monitoring Stations):

- format in which the codes will be sent,

- telephone number,

- the number of attempts to connect to the station after which, if there is no connection, the control panel will suspend reporting,

- time for which reporting will be suspended after the programmed number of attempts to establish connection with the station has been made,

- identifiers with which the events will be sent,

- additional options (if Ademco Express, Contact ID, SIA or TELIM format is selected).

- Define the parameters of test transmissions (Monitoring Stations).

- If a transmission format other than Contact ID (full) or SIA (full) is selected, program the codes for events which are to be reported (Event codes).

#### Reporting via Ethernet network

Note: Events in TELIM format cannot be sent through Ethernet network.

- Enable the Reporting - ETHM option (Monitoring Stations).

- Determine whether the event codes will be sent to both monitoring stations or to one of them only (enable one of the options: Station 1 or 2, Station 1, Station 2 or Station 1 and 2 - Monitoring Stations).

- Determine whether the number of events from the same source is to be limited (Events amount limiting option - Monitoring Stations).

- Determine when the restore code is to be sent (Restore after bell, Restore after disarm options - Monitoring Stations).

- Program the following for the monitoring station to which event codes are to be sent (Monitoring Stations):

- format in which the codes will be sent,

- server address,

- TCP port,

- encryption key (Station key),

- control panel identifier for the purposes of monitoring via Ethernet (ETHM key),

- identifiers with which the events will be sent,

- additional options if SIA format is selected.

- Define the parameters of test transmissions (Monitoring Stations).

- If a transmission format other than Contact ID (full) or SIA (full) is selected, program the codes for events which are to be reported (Event codes).

# Versa - Tel. messaging

The VERSA series control panels can notify about occurrence of specified events by means of 64 text messages (the SMS messages are sent by means of SATEL's GSM modules) and 16 voice messages (connection of voice synthesizer is required).

The messaging is effected independently of the reporting, however the reporting has priority. If, during the messaging, any events occur which must be reported by the control panel to the monitoring station, the messaging will be interrupted. The control panel will resume the messaging function after the event codes are sent to the monitoring station.

“Telephone no.” tab

“Events assignment” tab

“SMS/Pager messages” tab

Starting the messaging

## Telephone no.

Telephone messaging - if the option is enabled, the control panel can notify about the occurrence of specific events by means of voice or text messages using the telephone links.

Round count - the number of event notification rounds to be completed by the control panel. Values from 1 to 7 can be programmed.

Retries number for one round - the number of unsuccessful attempts to notify a single telephone number about the event, after which the control panel gives up messaging to that number for the current round. Values from 1 to 7 can be programmed.

#### List of telephones to be notified

Description - individual name of the telephone number (up to 16 characters).

Telephone no. - the telephone number to which messaging is effected (see: Programming telephone numbers).

Mode - selection of the form in which the indicated telephone number is to be notified (0 - no messaging, 1 - PAGER1, 2 - PAGER2, 3 - voice message).

Comments - in this field, you can enter additional information on the given phone.

## Event assignment

The tabs can be used for programming how particular events should be notified.

Telephone numbers - telephone numbers from the list of telephones to be notified (Telephone no.). Double click on individual fields to enter changes. The X symbol means that messaging will be effected to the given phone number, if the event occurs.

Message no. - enter in the field the number of text message that will be used for notification. If the notification is to be effected in the form of voice messages (Telephone no.), the voice message assigned to that text message (SMS/Pager messages) will be used.

Message - the field shows the content of text message, as defined in the SMS/Pager messages tab.

Voice msg. - displayed in this field is the number of voice message that will be used for notification of the event. The number is assigned to the text message number in the SMS/Pager messages tab.

## SMS/Pager messages

No. - number of text message.

Voice msg. - you can enter in this field the number of voice message that will be assigned to the given text message. When entering the text message number in the Event assignment tab, you automatically select the number of voice message. The voice messages are numbered from 0 to 15. The same voice message can be assigned to several text messages.

Message - enter in this field the content of text message.

#### Message type

Select the type of message editing:

Digital - for messages to be sent to PAGER call systems.

Text - for messages to be sent as SMS messages (after conversion through the SATEL made GSM module).

#### Pager parameters

Pager 1 / Pager 2 - you can define pager identification parameters in this field.

SMS-GSM SATEL - when the option is enabled, the pager identification parameters are adjusted according to the GSM module requirements for conversion of the PAGER type message into the SMS message.

## Starting the messaging

- Enable the Telephone messaging option (Telephone no.).

- Define the mode of dialing the telephone numbers (global option Tone dialing; in case of the pulse dialing option - Pulse 1/1.5 (off 1/2) - Options).

- Determine whether the control panel, prior to dialing the number, should check the telephone line for dialing signal (global option No dial tone test - Options).

- Determine whether the control panel is to play back the voice message after going off-hook, or 15 seconds after the dialing is completed (global option No answer tone test - Options).

- Determine whether alarm clearing should cancel the messaging (global option Clear messaging on alarm clearing - Options).

- Define the number of attempts made by the control panel to notify about the event (parameters Round count and Retries number for one round - Telephone no.).

- Program the following data for at least one telephone to which notification messages will be sent (Telephone no.):

- description,

- telephone number,

- messaging type.

- Record on voice synthesizer the voice messages which are to be used for messaging.

- Define the content of text messages which are to be used for messaging (SMS/Pager messages).

- Assign the voice messages to the text messages (SMS/Pager messages).

- Determine of which events to which telephone numbers and by means of which messages the control panel is to notify (Event assignment).

- Program additional parameters for messaging by means of text messages (SMS/Pager messages).

# Programming telephone numbers

When programming a telephone number, you can use all the characters defined in the DTMF standard, i.e. digits from 0 to 9 and special characters:

B - switch-over to pulse dialing;

C - switch-over to tone dialing (DTMF);

D - waiting for additional signal;

E - 3 second pause;

F - 10 second pause;

* - signal * in DTMF mode;

# - signal # in DTMF mode;

a, b, c, d - other signals generated in DTMF mode.

Note: Do not overuse the control characters. They are only to be used when necessary. There is no need for putting them at the beginning, before the telephone number digits. The basic method of dialing, appropriate pause and awaiting the dial tone before dialing are set in the telephone options (see: Options).

# Data comparison

Presented in the window is information on differences between the computer data and those recently read from the alarm control panel.

#### Buttons

Undo change - the button is active when at least one item has been selected in the list of changes. It enables undoing the indicated change (settings read out from the control panel will be restored).

Undo all changes - the button is active when at least one change has been made. It enables undoing all changes made to the computer (all settings read out from the control panel will be restored).

Refresh - the button enables rechecking any differences. If the window is open, the list of differences will be refreshed automatically every 2 seconds.

Close - the button closes the window.

# VERSA Event log

Presented in the window is a list of alarm system events. To update the events displayed in the window, press the Refresh button.

No. - number of event in the list.

Date - date of event occurrence.

Time - time of event occurrence.

Event - description of event.

Details - additional information on the event, e.g. name of the partition, zone, user, etc., to which the event refers.

Part. - partition number.

Code - the inner code assigned to an event in the control panel (consistent with the Contact ID format code in case of events which are monitored in this format).

Z/M/U - number of zone, module or user.

S1 S2 - reporting status (S1 - monitoring station 1, S2 - monitoring station 2):

no symbol - the event is not reported.

+ - event successfully reported to the monitoring station.

. - event waiting to be reported to the monitoring station.

! - event not reported yet because of failure of communication with the station (the station does not confirm receiving this information).

Note: If, since the last readout, the number of events has exceeded the capacity of control panel memory, part of the older events will be erased. In such a case, a message about lack of continuity of the event log will be displayed in the window.

-----------------------------------------------

Choose - the button opens the Choose window.

Print - the button opens the Print window.

Refresh - the button updates the event log (new events are read).

Colored list - with this field selected, the events will be displayed in color (the colors assigned to various event types are presented in the Choose window).

Font - the button opens the Font window, where you can set parameters of the font used for event presentation.

Grade2 copy - the button opens the Grade2 copy window.

Close - the button closes the window.

## Choose

The window enables the user to select events which are presented in the VERSA Event log window. The events can be filtered according to the following criteria:

Events type - types of events that are to be displayed (the event types are highlighted in color, if the Colored list field has been selected in the VERSA Event log window).

Range - the range of displayed events can be limited to the selected partition.

Note: If no partition has been selected, events from both partitions will be presented.

From - you can define a date in this field, if events that occurred after this date are to be displayed.

To - you can define a date in this field, if events that occurred before this date are to be displayed.

Only including text - you can define the text that must be included in event description for the event to be displayed.

And including text - you can define the text that, if included in the event description, will cause the event to be displayed next to the events that have been selected by other criteria (event type, range, etc.).

Without including text - you can define the text that, if included in the event description, will cause the event not to be displayed.

#### Buttons

All - click on the button to close the window and display all events in the VERSA Event log window (without taking into account the criteria defined in the Choose window).

Choose - click on the button to close the window and display events in the VERSA Event log window according to the criteria defined in the Choose window.

Cancel - click on the button to cancel the event selection and close the window.

## Print

The window allows you to define parameters of a printout containing the event log.

Printer - in this field, information on the selected printer is displayed.

Properties - the button enables selection of a printer.

Events - the field displays information on events to be printed. The printout contains events currently displayed in the VERSA Event log or Grade2 copy window.

Printout with reporting status - select this field to include reporting status information in the printout.

Print to text file - with this field selected, the event log will be exported to a text file instead of a printout.

Range - you can define a printout range.

#### Buttons

Print - click on the button for the event log to be printed or exported to file.

Cancel - click on the button to cancel printing and close the window.

## Grade2 copy

The window displays events required by the EN 50131 standard for Grade 2. The event types are highlighted in color, if the Colored list field has been selected in the VERSA Event log window. To update the events displayed in the window, press the Refresh button.

No. - number of event in the list.

Date - date of event occurrence.

Time - time of event occurrence.

Event - description of event.

Details - additional information on the event, e.g. name of the partition, zone, user, etc., to which the event refers.

Part. - partition number.

Code - the inner code assigned to an event in the control panel (consistent with the Contact ID format code in case of events which are monitored in this format).

Z/M/U - number of zone, module or user.

#### Buttons

Print - the button opens the Print window.

Refresh - the button updates the event log (new events are read).

Close - the button closes the window.

# Versa - Users

“Users” tab

“User schedules” tab

## Users

The data about users are presented in the table.

User name - individual user name (up to 16 characters).

Schedule - the user schedule, defining the authority level of the given user. Click on the field to display the  button. Click on the  button to display a list of all available schedules.

Part. 1, Part. 2 - partitions. The X symbol indicates that the user has access to the partition. Double click on the field to enter changes.

Code - user code. It can consist of 4 to 8 digits. The codes are presented as a sequence of asterisks, unless the Show codes field is selected. You can enter a new code using the keyboard.

Card - code of the user's proximity card.

---------------------------------------------------------

Show codes - select the option in the Code column to display the codes of the users who have not changed their codes.

#### Buttons

Card - the button enables adding a proximity card to the user (see: Adding proximity card).

Print - use this button to print out information on users, user schedules and functions assigned by default to the keyfob buttons.

OK - the button closes the window.

Adding users

Removing users

Adding proximity card

Deleting proximity card

### Adding users

You can add users in the Versa - Users window, Users tab.

- Read out the data from the control panel, using the  button in the main menu.

- Enter the user's individual name.

- Select the user schedule, i.e. define the user authority level.

- Select the partition(s) to which the user is to have access.

- Enter the user code.

- Write the data to the control panel, using the  button in the main menu.

### Removing users

You can remove users in the Versa - Users window, Users tab.

- Read out the data from the control panel, using the  button in the main menu.

- Click on the field in the Schedule column, next to the user to be removed. The  button will appear in the field.

- Click on the  button and, from the menu that will be displayed, select 0: NOT PRESENT. The user name will be grayed out and the other fields will be blank.

- Write the data to the control panel, using the  button in the main menu.

### Adding proximity card

You can add proximity cards in the Versa - Users window, Users tab.

- Read out the data from the control panel, using the  button in the main menu.

- Click on any field related to the user to whom you want to add a proximity card.

- Click on the Card button to open the card adding window.

- According to the prompts displayed in the window, read in the card twice on any reader, and when the Card read message is displayed, click on the Close button.

- Write the data to the control panel, using the  button in the main menu.

### Deleting proximity card

You can remove proximity cards in the Versa - Users window, Users tab.

- Read out the data from the control panel, using the  button in the main menu.

- Double click on the Card column of the user whose card you want to remove.

- Erase the card number.

- Write the data to the control panel, using the  button in the main menu.

## User schedules

The VERSA control panels enable 5 user schedules to be defined. The schedules define the users' authority level.

#### Schedule names

You can enter into the table individual names of the user schedules (up to 16 characters).

#### Rights list

The digits by which the columns are designated correspond to the numbers of user schedules from the table with schedule names. The X symbol in the field means that the given right is assigned to the user schedule. Double click on the field to be able to enter changes.

Note: Any changes made to the rights list of a given user schedule will automatically change the authority level of the users to whom the given schedule is assigned.

#### Default functions of keyfob buttons and LEDs

For each user schedule, you can choose the functions that will be assigned by default to the buttons and LEDs on the keyfob. When adding a new keyfob, a default set of functions provided for the user schedule will be suggested, which, however, can be individually modified for each user. Changing the default functions for buttons and LEDs does not affect the keyfobs which have already been added to the users.

The digits by which the columns are designated correspond to the numbers of user schedules from the table with schedule names. Click on the field and press the right mouse button to display a drop-down menu, where you can select the function.

#### Buttons

Print - use this button to print information on users, schedules and functions assigned by default to the keyfob buttons.

OK - the button closes the window.

Rights

### Rights

Arming - the user can arm the system.

Disarming - the user can disarm the system.

Alarm clearing - the user can clear alarms.

Telephone messaging clearing - the user can cancel messaging by means of the 3. Abort messaging user function (if he has at same time the Alarm clearing right and the Clear messaging on alarm clearing global option is enabled, the messaging will be automatically canceled when the alarm is cleared).

Auto-arming defer - using the Auto-arming deferment function, the user can defer arming by the timer.

Zone inhibition - the user can inhibit the system zones.

Zone isolation - the user can isolate the system zones.

Change access code - the user can change own access code (1. Change code user function).

Users editing - the user can add, edit and delete users (2. Users user function).

Control - the user can control the outputs by means of the 8. Control user function.

Programming - the user has access to the 6. Settings user function, which allows him to program the control panel clock, timers and telephone numbers for messaging.

DOWNLOAD/SERVICE - the user has access to the 0. Service submenu, which allows him to determine the service access time and start the remote programming of the control panel.

Inspection - the user has access to the 5. Event log and 7. System state user functions. In case of arming by means of the VERSA-LCD-GR keypad, the user gets information about bypassed zones and causes of denial of arming, if any (the user can enforce the arming).

Tests - the user has access to the 9. Tests submenu.

DURESS - when a code/card with this right is used to perform any function the panel will send a DURESS reporting code to the central station. The DURESS alarm will be triggered in the partition in which alarm would be triggered in the event of tamper of the keypad/proximity card reader used for arming/disarming or alarm clearing.

# System state

Keypad

Partitions state

Zones state

Outputs and modules state

Troubles

Module power supply

Wireless devices

## Keypad

The keypad displayed on screen is a fully functional keypad. It can be used to operate the control panel in the same way as the LCD keypad connected to the control panel.

Note: Operation of the system from the virtual keypad is available when the program is communicating with the control panel.

## Versa - Partitions state

Presented in the window is information on the status of partitions of the alarm system with which the program is currently communicating. The window data are automatically updated.

## Versa - Zones state

The window presents information on the status of zones of the alarm system with which the program is currently communicating. The window data are automatically updated.

## Outputs and modules state

The window presents information on the status of outputs and modules of the alarm system with which the program is currently communicating. The window data are automatically updated.

## Versa - Troubles

The window presents information on the troubles in the alarm system with which the program is currently communicating.

Clear trouble memory - the button is available, if the Trouble memory until review option is enabled in the control panel (see: Options). You can use it to reset the trouble memory.

## Module power supply

The window displays real-time information about the power supply of modules connected to the control panel communication buses.

# Identifiers and telephone numbers

The window is used to program parameters required for communication with the control panel.

#### VERSA

VERSA identifier - identifier of the alarm control panel which makes it possible to identify the control panel and match the data file to it, provided that the data file has been saved on the computer. It consists of 8 hexadecimal characters (digits or letters from A to F). The same identifier must not be programmed for different control panels operated from the same computer (the DloadX program will be incapable of distinguishing between them). The identifier is presented as a sequence of asterisks. Use the  button to see the programmed sequence of characters.

Note: In case of establishing communication with the alarm system whose identifier have factory defaults, the DloadX program will suggest random generated identifier.

Panel’s tel. no. - telephone number of the control panel (dialed by the modem connected to the computer to establish communication with the control panel).

#### PC - DloadX

DloadX identifier - identifier of the computer with DloadX program. The control panel will only establish connection with the program which uses the valid identifier. It consists of 8 hexadecimal characters (digits or letters from A to F). The identifier is presented as a sequence of asterisks. Use the  button to see the programmed sequence of characters.

Note: In case of establishing communication with the alarm system whose identifier have factory defaults, the DloadX program will suggest random generated identifier.

PC phone number - telephone number of the computer with DloadX program (dialed by the control panel modem to establish communication with the DloadX program - the control panel initiates the connection or calls back).

#### TCP/IP connection: DloadX -> ETHM

DloadX server - address of the ETHM-1 module (if communication is effected via a public network, it must be so-called public address). It can be given in the IP address format (4 decimal numbers separated by dots), or as a name.

Port - the number of TCP port which will be used for communication via Ethernet network. You can enter a value from 1 to 65535. In most cases the port number should be identical to that programmed for the ETHM-1 module (except for the situation when communication is effected through a network device with redirection to another port).

DloadX key - a sequence of 1 to 12 alphanumeric characters (digits, letters and special characters) defining the key to be used for encryption of the data sent through Ethernet network. An identical sequence must be programmed in the DloadX program and in the ETHM-1 module.

# Configuration

“Port RS-232” tab

“Modem” tab

Modem configuration

“Data” tab

## Port RS-232

Select in the tab the computer COM port to be used for communication with the control panel RS-232 port.

If the USB-RS232 converters are being used, connect the converter before selecting the port and do not disconnect it until closing the program (disconnecting the USB-RS232 converter during the data transmission may cause the computer to hang).

Note: Opening the Configuration window will result in closing the COM port that was previously selected for communication in the Port RS-232 tab. After the window is closed, the COM port currently selected in the Port RS-232 tab will be opened.

## Modem

Use the tab to define parameters related to modem communication with the control panel.

- the button opens the Modem window (see: Modem configuration).

#### Dialing

Tone - with this option selected, the modem connected to the computer will use tone dialing.

Pulse - with this option selected, the modem connected to the computer will use pulse dialing.

Dial tones control - if this option is selected, the modem connected to computer will detect the dial tone or busy signal before dialing the number.

#### Speaker

Off - if this option is selected, the modem speaker will be disabled.

Auto - if this option is selected, the modem speaker will be disabled on establishing connection with the control panel.

On - if this option is selected, the modem speaker will be enabled.

Volume - in this field you can define the volume of modem speaker.

#### Answering

You can define what the response should be in case when the control panel connects to the DloadX program.

After - communication will be established automatically after a preset number of rings.

Manual - the program will inform about an attempt to establish communication by the control panel and display the Answer button.

#### Double call

You can define the pause duration if the control panel is to establish connection after the second call.

## Modem configuration

Port RS-232 - computer COM port to which the modem is connected.

Modem - select from the list presented in this field the modem connected to the COM port. If the modem is not in the list or modification of the parameters defined for the modem is necessary, press the Change button (you can enter then a new name in the field). The list of modems and their settings will be written to disk in the modem.ini file in the system catalog.

Baud Rate - transmission rate of the serial port. You can change the parameter by using the Change button.

Reset command - the command to reset the modem. Typically, it is the ATZ command (reset with restoration of the user's zero profile). Some modems may require using the AT&F command (reset with restoration of the factory default settings). Press the Change button to edit the command.

Initializing - lines containing the modem initialization commands (press the Change button to edit the commands).

#### Buttons

Change - the button enables you to edit parameters for the selected modem or add a new modem to the list.

Test - the button enables you to check the entered settings for correctness. The initialization window will show the initializing commands and the modem answers. The commands sent to the modem will always begin with the AT prefix. The modem acknowledges receiving the command with either OK or ERROR message (if the command is wrong). The MODEM NOT RESPONDING message means a wrongly selected COM port number or too high transmission rate.

OK - use the button to confirm the changes made and close the window.

Cancel - use this button if you want to cancel the changes and close the window.

## Data

In this tab, you can specify location of the data catalog on the computer hard disk. The catalog is automatically created when the program is run for the first time.

Note: Changing location of the catalog which already contains some data written to it is not recommended, since it may cause loss of access to those data.

# Connection

Port RS-232

Modem 300bps

Ethernet (TCP/IP)

Communication identifiers and establishing connection

## Port RS-232

Local programming via the RS-232 port requires connection of the RS-232 (TTL) port of the control panel (RJ type connector) to the computer COM port (DB9 connector) with the cable manufactured by SATEL, available in the DB9FC/RJ-KPL set.

#### Starting local programming without verification of identifiers

With this method of establishing communication between computer and alarm control panel you do not have to know any identifiers programmed in the control panel (the Start DwnlRS function will be activated automatically). After establishing communication with the control panel, identifiers will be read by the DloadX program.

- In the Configuration window, indicate the computer port to which the control panel has been connected.

- In the LCD keypad connected to the control panel, enter the service code (by default: 12345) and press .

- Press in turn the    keys to start the service mode.

- The DloadX program will signal establishing communication by displaying an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

#### Starting local programming with verification of identifiers

Communication between the computer and the alarm control panel in this mode will be established, when the communication identifiers in control panel and program are identical or the identifiers programmed in the control panel have the factory value.

- In the Configuration window, indicate the computer port to which the control panel has been connected.

- In the LCD keypad connected to the control panel, enter the service code (by default: 12345) and press .

- Press in turn the    keys (the Start DwnlRS function will start).

- The DloadX program will signal establishing communication by displaying an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

#### Starting local programming "from pins"

If the local programming cannot be started in normal manner, you can use the emergency hardware procedure, so-called starting "from pins".

- In the Configuration window, indicate the computer port to which the control panel has been connected.

- Power down the control panel (first, switch off power in the 230 V AC circuit, to which the control panel transformer is connected, and then disconnect the battery).

- Place a jumper across the RESET pins on the control panel mainboard.

- Power up the control panel (first, connect the battery, and then switch on power supply in the 230 V AC circuit, to which the control panel transformer is connected).

- Wait a few seconds and remove the jumper from the RESET pins.

- The DloadX program will signal establishing communication by displaying an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

#### Finishing local programming

The local programming function will stop automatically after 4 hours have elapsed since operation of the DloadX program was completed. The function may also be terminated by using the Finish DwnlRS command, available from the keypad.

- Enter in the keypad the service code (by default 12345) and press the  key.

- Press in turn the    keys (to start the Finish DwnlRS function).

## Modem 300 bps

For communication with the control panel through the 300 bps built-in modem to be possible:

- the control panel must be connected to the telephone line;

- the computer must be connected to the telephone line through the analog modem.

Note: The communication identifiers in control panel and program must be identical, or the control panel identifiers must have their factory default value (see: Communication identifiers and establishing connection).

#### Initiating connection from the DloadX program

This method makes it possible to establish connection with the control panel from any location. Make sure that in the control panel:

- the computer telephone number has not been programmed!

- the Answering - modem option is enabled (Service mode >3. Global param. >1. Options >Modem answering);

- you have defined the number of rings after which the control panel will go off-hook (Service mode >7. Answering ->1. Rings to ans.);

- you have defined whether the control panel will go off-hook after the first, or after the second call (Service mode >3. Global param. >1. Options >Double call).

Telephone number of the control panel must be programmed in the DloadX program.

- Initialize the modem connected to the computer. For the modem to be initialized, click on the  button and, from the menu that will be displayed, select the 300 bps modem. The window will then open where the modem initializing information will be shown.

- Click on the Connect button.

- After the preprogrammed number of rings (after the second call, if the Double call option is enabled), the control panel will answer the call and the connection will be established. The DloadX program will signal establishing communication by displaying an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

#### Initiating connection from the DloadX program, but with the control panel calling back and establishing connection

This method ensures better security of the system, because the control panel may only be remotely programmed from a specified locality. Make sure that in the control panel:

- you have programmed telephone number of the computer from which the control panel is to be programmed (Service mode >0. SrvMod config >4. DloadX tel.);

- the Answering - modem option is enabled (Service mode >3. Global param. >1. Options >Modem answering);

- you have defined the number of rings after which the control panel will go off-hook (Service mode >7. Answering ->1. Rings to ans.);

- you have defined whether the control panel will go off-hook after the first, or after the second call (Service mode >3. Global param. >1. Options >Double call).

Telephone number of the control panel must be programmed in the DloadX program.

- Initialize the modem connected to the computer. For the modem to be initialized, click on the  button and, from the menu that will be displayed, select the 300 bps modem. The window will then open where the modem initializing information will be shown.

- Click on the Connect button.

- After the preprogrammed number of rings (after the second call, if the Double call option is enabled), the control panel will answer the call, acknowledge receiving the connection, and then disconnect.

- The control panel will call back the number programmed in the control panel and the connection will be established, which will be indicated by the DloadX program by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

#### Initiating connection by the control panel

Like the previous method, also this one ensures enhanced security of the system, because the control panel may only be remotely programmed from a specified locality. It can be applied if the system user prefers that the remote programming cannot be carried out without his knowledge. Telephone number of the computer from the control panel is to be programmed must be programmed in the control panel (Service mode >0. SrvMod config ->4. DloadX tel.).

- Initialize the modem connected to the computer. For the modem to be initialized, click on the  button and, from the menu that will be displayed, select the 300 bps modem. The window will then open where the modem initializing information will be shown.

- Enter in the keypad the service code (by default 12345) or the code of user having the DOWNLOAD/SERVICE privilege and press the  key.

- Press in turn the    keys (the Start DwnlTEL con. function will start).

- The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

## Ethernet (TCP/IP)

For establishing connection via Ethernet (TCP/IP protocol) to be possible:

- the ETHM-1 module (firmware version 1.04 or newer) must be connected to the VERSA control panel;

- the RS-232 port of ETHM-1 module (PIN5 type connector) must be connected to the RS-232 (TTL) port of VERSA control panel (RJ type connector) with the PIN5/RJ-TTL cable, manufactured by SATEL;

- the ETHM-1 module and the PC with DloadX program must be connected to the Ethernet network (TCP/IP protocol).

Note: The communication identifiers in control panel and program must be identical, or the control panel identifiers must have their factory default value (see: Communication identifiers and establishing connection).

#### Initiating connection from the DloadX program

This method enables establishing a connection with the control panel from any location. Do the following in the control panel (Service mode >2. Hardware >1. Kpds. & exps. >2. Settings >ETHM-1 module name  ["step by step" programming method]):

- enable the DloadX->ETHM-1 option [the option is available in step 2];

- define the TCP port which will be used for communication (DloadX port [step 9]);

- enter the data encryption key (DloadX key [step 10]).

The following must be programmed in the DloadX program (Identifiers and telephone numbers window opens when you press Ctrl+R):

- ETHM-1 module address (DloadX server);

- TCP port that will be used for communication (Port);

- data encryption key (DloadX key).

- Click on the  button and, in the menu that will be displayed, select the TCP/IP: DloadX -> ETHM command. The TCP/IP: DloadX -> ETHM connection window will open.

- Click on the Connect button in the TCP/IP: DloadX -> ETHM connection window.

- The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

#### Initiating a connection by the control panel

This method ensures better security of the system, because the control panel may only be remotely programmed from a specified location. It is applicable when the system user does not want the remote programming to be carried out without his knowledge.

The following must be programmed in the control panel (Service mode >2. Hardware >1. Kpds. & exps. >2. Settings >ETHM-1 module name  ["step by step" programming]):

- address of the computer with DloadX program (DloadX [step 8]);

- TCP port that will be used for communication (DloadX port [step 9]);

- data encryption key (DloadX key [step 10]).

The following must be programmed in the DloadX program (Identifiers and telephone numbers window opens when you press Ctrl+R):

- TCP port that will be used for communication (Port);

- data encryption key (DloadX key).

- Click on the  button and, in the menu that will be displayed, select the TCP/IP: DloadX <- ETHM command. A window will open in which information server activation will be displayed.

- Enter in the keypad the service code (by default 12345) or the code of user having the DOWNLOAD/SERVICE right and press the  key.

- Press in turn the    keys (starting the ETHM-1->DloadX function).

- The DloadX program will signal establishing communication by an appropriate message. The message contents depends on whether the program has been connected to a new alarm system, or a system whose data have already been saved (see: Communication identifiers and establishing connection).

## Communication identifiers and establishing connection

#### Establishing communication with a new alarm system

If the factory default identifiers are programmed in the control panel, the program will inform that communication has been established with a new alarm system. A window will be displayed in which you will be able to give a name to the new system, and in which the program will suggest randomly generated identifiers instead of the factory default ones. The identifiers can be freely changed. After closing the window, the program will read all data from the control panel and write the new communication identifiers to the control panel. If the system data are written to the computer hard disk, the program will identify the control panel and choose a data file to match it.

#### Establishing communication with a system whose data are in the computer

If, based on the communication identifiers, the program determines that the alarm system data are written to the computer, it will suggest opening the file that contains those data.

#### Establishing communication with a system whose data are not in the computer

If, based on the communication identifiers, the program determines that the alarm system data are not written to the computer, while they are not also the factory default identifiers, establishing communication will only be possible after identifiers consistent with those programmed in the control panel are programmed in the Identifiers and telephone numbers window (available in the drop-down menu after you click on the Communication command in the main menu). You can check the identifiers in the control panel by means of the LCD keypad (Service mode >0. SrvMod config).