AMD-103

WIRELESS MAGNETIC CONTACT

amd103_en 11/11

The AMD-103 magnetic contact can detect opening of a door, window, etc. It is designed for operation within the ABAX two-way wireless system. It is supported by the ACU-100 controller with firmware version 3.00 (or later) and by the INTEGRA 128-WRL control panel with firmware version 1.09 (or later).

# Features

LED indicator enabled in test mode.

Tamper protection in 2 ways – cover removal and tearing enclosure from the wall.

# Specifications

Operating frequency band	868,0 MHz ÷ 868,6 MHz

Radio communication range (in open area)	up to 350 m

Battery	CR2477N 3 V

Battery life expectancy	approx. 2 years

Standby current consumption	60 µA

Maximum current consumption	14 mA

Environmental class according to EN50130-5	II

Operating temperature range	-10 °C...+55 °C

Maximum humidity	933%

Detector enclosure dimensions	32 x 45 x 20 mm

Magnet enclosure dimensions	11 x 45 x 10 mm

Weight	40 g

Hereby, SATEL sp. z o.o., declares that this detector is in compliance with the essential requirements and other relevant provisions of Directive 1999/5/EC. The declaration of conformity may be consulted at www.satel.eu/ce

# Description

Opening the reed switch contacts after the magnet is moved away or opening the tamper contact will trigger an alarm. Information on the alarm is sent by radio to the ACU-100 controller or the INTEGRA 128-WRL control panel (the rules of information transfer are described in the ACU-100 manual and the programming manuals for INTEGRA and VERSA control panels).

The LED operates only in the test mode:

it is lit up for 80 milliseconds, when the detector is being polled;

it is lit up for 2 seconds in the event of alarm.

The test mode is activated remotely (see the ACU-100 manual and the programming manuals for INTEGRA and VERSA control panels).

The detector checks the battery status. When the voltage is lower than 2.6 V, the transmission sent during polling contains information on low battery.

# Installation

Be particularly careful during installation and replacement of the battery. The manufacturer is not liable for the consequences of incorrect installation of the battery.

The used batteries must not be discarded, but should be disposed of in accordance with the existing rules for environment protection.

The device is designed for indoor installation. The detector should be mounted on a fixed surface (e.g. window or door frame), and the magnet on a movable surface (e.g. window or door). Mounting the magnetic contact on ferromagnetic surfaces and/or near to strong magnetic and electrical fields is not advisable, because it can result in malfunctioning of the device.

Special designation on the detector enclosure indicates the side on which the magnets should be installed (Fig. 6).

- Open the detector enclosure (Fig. 2).

- Install the battery and add the device to the wireless system (see the ACU-100 controller manual, installer manuals for INTEGRA 128-WRL or VERSA control panels).

- Close the detector enclosure (the tamper contact must be pressed down by the base element).

- Fasten the detector temporarily at the place of its future installation.

- Check the level of signal received from the detector by the ACU-100 controller or by the INTEGRA 128-WRL control panel. If necessary, select another place for installation, to ensure adequate communication quality.

- Open the detector enclosure (Fig. 2).

- Using wall plugs (screw anchors) and screws, fasten the enclosure base to the mounting surface (Fig. 3).

- Close the detector enclosure (the tamper contact must be pressed down by the base element).

- Press the catch and open the enclosure containing magnets (Fig. 4).

- Using wall plugs (screw anchors) and screws, attach the magnet enclosure base to the mounting surface (Fig. 5). The distance between the detector enclosure and the magnet enclosure must not be greater than 20 mm (Fig. 6).

- Replace the magnet enclosure cover.

- Start the test mode and check whether the LED lights up after moving the magnet away (i.e. opening a window or door).

- End the test mode. The detector is ready for operation.

SATEL sp. z o.o.

ul. Schuberta 79

80-172 Gdańsk

POLAND

tel. + 48 58 320 94 00

info@satel.pl

www.satel.eu

druk (4na1):

4,1,4,1,2,3,2,3