MFD-300

WIRELESS WATER FLOOD DETECTOR

mfd300_en 03/12

The MFD-300 is designed to detect water flooding of any premises. It can be used in conjunction with the MICRA alarm module with firmware version 2.03 or later. This manual applies to the detector with electronics version 1.0 or later.

# Features

External sensor probe.

LED indicator enabled in test mode.

Tamper protection in 2 ways – cover removal and tearing enclosure from the wall.

# Description

A few seconds after the water level reaches the height at which the electrodes of the probe connected to the detector are placed, the detector will trigger an alarm. The alarm is also triggered in the case of opening the tamper contact. The alarm message is sent by radio to the MICRA alarm module.

The LED only signals alarms (is lit for 2 seconds) in test mode. The test mode is turned on for 20 minutes after inserting the battery or opening the tamper contact.

Every 15 minutes, the detector sends a periodic transmission to inform the MICRA alarm module whether the probe has detected any flooding, and what is the status of the tamper contact and battery. This allows to monitor the presence and operation of the detector. In the test mode, the periodic transmission is indicated by the LED lighting for 80 milliseconds.

Fig. 1. View of the detector electronics board.

terminals for connecting the flood sensor probe.

tamper contact.

CR123A battery. The detector checks the battery status. When the voltage is lower than 2.6 V, the low-battery information is sent during each transmission.

# Specifications

Operating frequency band	433,05 ÷ 434,79 MHz

Radio communication range (in open area)	up to 200 m

Battery	CR123A 3 V

Battery life expectancy (energy save mode)	approx. 3 years

Standby current consumption	80 µA

Maximum current consumption	27 mA

Flood sensor cable length	3 m

Environmental class according to EN50130-5	II

Operating temperature range	-10 °C...+55 °C

Maximum humidity	93±3%

Enclosure dimensions	24 x 110 x 27 mm

Weight	90 g

# Installation

There is a danger of battery explosion when using a different battery than recommended by the manufacturer, or handling the battery improperly.

Be particularly careful during installation and replacement of the battery. The manufacturer is not liable for the consequences of incorrect installation of the battery.

The used batteries must not be discarded, but should be disposed of in accordance with the existing rules for environment protection.

The device is designed for indoor installation.

- Open the detector enclosure (Fig. 2).

- Install the battery and register the detector in the MICRA alarm module (see the manual for MICRA alarm module).

- Close the detector enclosure.

- Select the mounting location. It is recommended that the detector be mounted high up. This will enable a better radio communication range to be achieved, while avoiding the risk of the detector being accidentally covered by personnel moving around the premises. Additionally, it should prevent the detector electronics from accidental contact with water in case of flooding. Make sure that transmissions from the detector placed at the selected location reach the MICRA alarm module. Close and open the tamper contact to send a transmission. If the alarm transmission is received, continue the installation. If the alarm transmission is not received, select a different mounting location and repeat the test.

- Open the detector enclosure (Fig. 2).

- Make a hole in the enclosure to run the probe wires. The probe wires must not be run close to the antenna (Fig. 3). Shown in Fig. 4 is an example of how the hole is to be located in the enclosure and how the probe wire is to be run for the surface-mounted detector.

- Using wall plugs (screw anchors) and screws, fasten the enclosure base to the mounting surface.

- Run the probe wires through the hole in the enclosure and attach them to the screw terminals on the electronics board.

- Close and open the tamper contact to activate the test mode, and then close the detector enclosure.

- Check that the LED comes on after the probe is immersed in water.

- Attach the probe wires and the probe to the wall. The probe should be positioned just above the floor.

Hereby, SATEL sp. z o.o., declares that this detector is in compliance with the essential requirements and other relevant provisions of Directive 1999/5/EC. The declaration of conformity may be consulted at www.satel.eu/ce

SATEL sp. z o.o.

ul. Schuberta 79

80-172 Gdańsk

POLAND

tel. + 48 58 320 94 00

info@satel.pl

www.satel.pl

druk (4na1):

4,1,4,1,2,3,2,3