MGD-300

WIRELESS GLASS-BREAK DETECTOR

mgd300_en 05/17

The MGD-300 detector enables detection of a break of plate, tempered and laminated glass. The detector is supported by:

PERFECTA 16-WRL and PERFECTA 32-WRL control panels,

MICRA alarm module (firmware version 3.00 or newer),

VERSA-MCU controller (firmware version 1.02 or later),

MTX-300 controller.

This manual applies to the detector with electronics version 1.2 or later.

# Features

- Adjustable detection sensitivity.

- Advanced two-path sound analysis.

- LED indicator.

Battery status control.

- Tamper protection against cover removal and tearing enclosure from the wall.

# Description

## Alarms

The detector reports alarm in the following cases:

glass break detection (registering a low frequency sound (impact) followed by a high frequency sound (glass break) in less than 4 seconds),

opening the tamper contact (tamper alarm).

## Test mode

Placing a jumper across the TST pins as shown in Fig. 2 will activate the test mode. When the detector is running in the test mode, the LED indicator is enabled and the detector will report an alarm on registering a glass-break sound (high frequency sound).

## Periodic transmissions

Every 15 minutes, the detector sends a transmission containing information on the status of the tamper contact and battery. Periodic transmissions are used to monitor presence and operation of the detector.

## Electronics board

CR123A lithium battery.

TST pins to enable/disable the test mode. The test mode is enabled when the jumper is set as shown in Fig. 2.

tamper contact.

potentiometer for adjustment of detection sensitivity (Fig. 4).

microphone.

The LED is placed on the other side of the electronics board.

## LED

The LED is working for 20 minutes after battery is inserted or tamper contact is opened, as well as in the test mode. The LED indicates:

periodic transmission – short flash (80 milliseconds),

test mode – short flash every 3 seconds,

alarm – ON for 2 seconds.

## Battery status control

When the battery voltage is below 2.6 V, information about low battery is sent during each transmission.

# Operation description

The detector will trigger an alarm when a low frequency sound (impact) followed by a high frequency sound (glass break) are registered in less than 4 seconds. The alarm is also triggered in the case of opening the tamper contact. Information on the alarm is sent by radio to the MICRA alarm module or VERSA-MCU controller.

Every 15 minutes, the detector sends a transmission containing information on the status of the tamper contact and battery. Periodic transmissions are used to monitor presence and operation of the detector.

In the test mode and for 20 minutes after inserting the battery or opening the tamper contact the LED indicates:

alarms: ON for 2 seconds;

periodic transmissions: ON for 80 milliseconds;

test mode: short flash every 3 seconds.

# Selecting a mounting location

The detector is designed for indoor installation.

The preferred location to install the detector is the wall situated opposite to the protected glass pane.

The distance between the detector and the protected glass pane must not exceed the detection range.

The detection range depends on the room acoustics. The shades, curtains, furniture upholstery, acoustic tiles, etc. absorb the sound and adversely affect the detector operating range.

Do not install the detector on the same wall on which the protected glass pane is situated.

# Installation

There is a danger of battery explosion when using a different battery than recommended by the manufacturer, or handling the battery improperly.

Be particularly careful during installation and replacement of the battery. The manufacturer is not liable for the consequences of incorrect installation of the battery.

The used batteries must not be discarded, but should be disposed of in accordance with the existing rules for environment protection.

The detector is designed for indoor installation. The protected glass surfaces must be within the detection range. Please note that shades, curtains, furniture upholstery, acoustic tiles, etc. absorb the sound and adversely affect the detector operating range.

- Open the enclosure (Fig. 7).

- Using the potentiometer set the detection sensitivity.

- Set the jumper on the TST pins as shown in Fig. 2 to enable the test mode.

- Install the battery in the detector.

- Enroll the detector in the system (see the PERFECTA / VERSA / VERSA IP / VERSA Plus control panel installer manual, MICRA module manual or MTX-300 controller manual).

- Close the enclosure.

- Put the detector at the place of its future installation.

- Close and open the tamper contact. If the alarm transmission is received, continue with the installation. If the alarm transmission is not received, select a different mounting location and repeat the test.

- Place the INDIGO TESTER close to the protected glass pane and use it to generate a glass-break sound. If the detector LED comes on, proceed with the installation. If the LED does not come on, change the detection sensitivity or select another installation place and repeat the test (you must repeat the radio communication test as well).

- Open the enclosure (Fig. 7).

- Set the jumper on the TST pins as shown in Fig. 3 to disable the test mode.

- Using wall plugs (screw anchors) and screws, fasten the enclosure base to the mounting surface (Fig. 9).

- Close the enclosure.

# Specifications

Operating frequency band	433,05 ÷ 434,79 MHz

Radio communication range (in open area)

MICRA / VERSA-MCU / MTX-300	up to 200 m

PERFECTA	up to 400 m

Battery	CR123A 3 V

Battery life expectancy	up to 3 years

Standby current consumption	30 µA

Maximum current consumption	18 mA

Detection range	up to 6 m

Environmental class according to EN50130-5	II

Operating temperature range	-10°C...+55°C

Maximum humidity	933%

Enclosure dimensions	26 x 112 x 29 mm

Weight	40 g

Hereby, SATEL sp. z o.o., declares that this detector is in compliance with the essential requirements and other relevant provisions of Directive 1999/5/EC. The declaration of conformity may be consulted at www.satel.eu/ce

SATEL sp. z o.o. • ul. Budowlanych 66 • 80-298 Gdańsk • POLAND

tel. +48 58 320 94 00

www.satel.eu

druk (4 na 1)

4,1,4,1,2,3,2,3