MPD-300

WIRELESS PASSIVE

INFRARED DETECTOR

mpd300_en 05/17

The MPD-300 detector can detect motion in a protected area. The detector is supported by:

PERFECTA 16-WRL and PERFECTA 32-WRL control panels,

MICRA alarm module (firmware version 2.02 or newer),

VERSA-MCU controller,

MTX-300 controller.

It can be used in conjunction with the MICRA alarm module with firmware version 2.02 or newer. This manual applies to the detector with electronics version 1.2 or newer.

# FEATURES

Dual element pyrosensor.

Digital motion detection algorithm.

Detector signal path self-diagnostic.

Pet immunity up to 15 kg.

Digital temperature compensation.

LED indicator.

Battery status control.

Tamper protection against cover removal and tearing enclosure from the wall.

# DESCRIPTION

## Alarms

The detector reports alarm in the following cases:

motion detection,

opening the tamper contact (tamper alarm).

## Operating modes

Normal – each alarm results in sending a radio transmission.

Energy save – after sending information about the alarm caused by motion detection, the next transmission containing information on this alarm will be sent after 3 minutes at the earliest. Tamper alarms are always sent.

To select between normal mode and energy saving mode, use the E-SAVE MODE pins (Fig. 1).

## Test mode

The test mode is turned on for 20 minutes after inserting the battery or opening the tamper contact. When the test mode is enabled, the LED is working and the detector operates like in the normal mode.

## Periodic transmissions

Every 15 minutes, the detector sends a transmission containing information on the status of the signal path, tamper contacts and battery. Periodic transmissions are used to monitor presence and operation of the detector. In the test mode, this transmission is indicated by the LED lighting for 80 milliseconds.

## Electronics board

CR123A lithium battery.

detector configuration pins:

E-SAVE MODE	-	operating mode selection:

pins shorted – energy save mode;

pins open – normal mode.

PET MODE	-	pet immunity option:

pins shorted – option enabled;

pins open – option disabled.

HIGH SENS.	-	sensitivity selection:

pins shorted – high sensitivity (Fig. 2);

pins open – normal sensitivity (Fig. 3).

LED indicator.

tamper contact activated by detector removal from the back tamper unit.

tamper contact activated by cover removal.

pyroelectric sensor. Do not touch the pyroelectric sensor, so as not to soil it.

scale for positioning of pyroelectric sensor against the lens (Fig. 9).

## LED

The LED is working in the test mode and indicates:

periodic transmission – short flash (80 milliseconds),

alarm – ON for 2 seconds,

failure of the signal path - 2 flashes every 40 seconds.

## Detector signal path self-diagnostic

When the detector signal path is out-of-order, information about failure is sent during each transmission. In the test mode, failure of the signal path is indicated by the LED.

## Battery status control

When the battery voltage is below 2.6 V, information about low battery is sent during each transmission.

# INSTALLATION

There is a danger of battery explosion when using a different battery than recommended by the manufacturer, or handling the battery improperly.

Be particularly careful during installation and replacement of the battery. The manufacturer is not liable for the consequences of incorrect installation of the battery.

The used batteries must not be discarded, but should be disposed of in accordance with the existing rules for environment protection.

Do not touch the pyroelectric sensor, so as not to soil it.

- Open the enclosure (Fig. 4).

- Configure the detector by means of jumpers.

- Install the battery in the detector.

- Enroll the detector in the system (see the PERFECTA / VERSA / VERSA IP / VERSA Plus control panel installer manual, MICRA module manual or MTX-300 controller manual).

- Put the detector at the place of its future installation.

- Close and open both tamper contacts. If the alarm transmission is received, continue with the installation. If the alarm transmission is not received, select a different mounting location and repeat the test.

- Remove the electronics board (Fig. 5).

- Secure the back tamper unit directly to the wall (Fig. 6) or to the bracket screwed down to the wall or ceiling (Fig. 7). If the pet immunity option is enabled, the detector cannot be mounted on the bracket.

- Fasten the enclosure base to the back tamper unit (Fig. 8).

- Fasten the electronics board. The scale next to the mounting screw hole facilitates positioning of the electronics board, depending on the detector installation height (Fig. 9).

- Close and open the tamper contact that detects the cover removal to enable the test mode.

- Close the enclosure.

- Check that movement within the coverage area will make the LED light up.

# SPECIFICATIONS

Operating frequency band	433.05 ÷ 434.79 MHz

Radio communication range (in open area)

MICRA / VERSA-MCU / MTX-300	up to 200 m

PERFECTA	up to 400 m

Battery	CR123A 3 V

Battery life expectancy (energy save mode)	up to 3 years

Standby current consumption	90 µA

Maximum current consumption	20 mA

Detectable speed	0.3...3 m/s

Environmental class according to EN50130-5	II

Operating temperature range	-10 °C...+55 °C

Maximum humidity	933%

Recommended installation height	2.4 m

Enclosure dimensions	63 x 96 x 49 mm

Weight	108 g

Hereby, SATEL sp. z o.o., declares that this detector is in compliance with the essential requirements and other relevant provisions of Directive 1999/5/EC. The declaration of conformity may be consulted at www.satel.eu/ce

SATEL sp. z o.o.

ul. Budowlanych 66

80-298 Gdańsk

POLAND

tel. + 48 58 320 94 00

info@satel.pl

www.satel.eu

druk (4na1):

4,1,4,1,2,3,2,3