NAVY

DIGITAL MOTION

AND GLASS-BREAK DETECTOR

navy_en 03/13

The NAVY detector allows detection of motion in the protected area and glass break detection.

# FEATURES

PIR motion sensor and glass-break sensor in one enclosure.

Two independent alarm outputs.

Adjustable detection sensitivity of both sensors.

Dual element pyrosensor.

Digital motion detection algorithm.

Pet immunity up to 15 kg.

Digital temperature compensation.

Advanced dual path signal analysis.

Bi-color LED to indicate alarm status.

Remote LED enable/disable.

Alarm memory.

Supervision of PIR sensor signal path and supply voltage.

Tamper protection against cover removal.

# DESCRIPTION

The alarm will be triggered when:

PIR sensor detects motion;

glass-break sensor registers a low frequency sound (impact) followed by a high frequency sound (glass break) in less than 4 seconds.

## Supervision features

In the event of the voltage drop below 9 V (± 5%) for more than 2 seconds or the signal path failure, the detector will signal a trouble. The trouble is indicated by the activation of alarm output of PIR motion sensor and the steady red light of LED indicator. The trouble signaling will continue as long as the trouble persists.

## Remote LED enable/disable

The LED can be enabled/disabled remotely when the jumper is placed across the LED pins in OFF position. The LED terminal is provided to allow remote LED enable/disable. The LED is enabled, when the terminal is connected to the common ground, and disabled, when the terminal is disconnected from the common ground. You can connect to the LED terminal an OC type control panel output programmed e.g. as the Service mode status, BI switch or Zone test status.

## Alarm memory

If the LED is enabled, the detector can signal the alarm memory. The MEM terminal is provided to allow the alarm memory enable/disable. The alarm memory is enabled, when the terminal is connected to the common ground. The alarm memory is disabled, when the terminal is disconnected from the common ground. If the alarm memory is enabled and an alarm occurs, the LED will start blinking (red – motion sensor; green – glass-break sensor). Indication of the alarm memory will continue until the alarm memory is enabled again (the MEM terminal is connected to the common ground). Disabling the alarm memory will not stop the alarm memory indication. You can connect to the MEM terminal an OC type control panel output programmed e.g. as the Armed status.

# ELECTRONICS BOARD

microphone.

terminals:

TMP	-	tamper output (NC);

NCG	-	alarm output of glass-break sensor (NC relay);

NCP	-	alarm output of PIR motion sensor (NC relay);

MEM	-	alarm memory control;

LED	-	remote LED control;

COM	-	common ground;

12V	-	power input.

bi-color LED to indicate:

- alarm triggered by PIR motion sensor – the LED lights red for 2 seconds;

- memory of alarm triggered by PIR motion sensor – the LED is blinking red;

- alarm triggered by glass-break sensor – the LED lights green for 2 seconds;

- memory of alarm triggered by glass-break sensor – the LED is blinking green;

- low-frequency sound registered – the LED lights green for 0.5 second;

- test mode of glass-break sensor – short green flash every 3 seconds;

- trouble – the LED lights red;

- warm-up – the LED is blinking alternately red and green.

dual element pyrosensor. Do not touch the pyroelectric sensor, so as not to soil it.

detector configuration pins:

PET	-	enable/disable the pet immunity option. The option is enabled when the jumper is set in ON position (Fig. 2).

TST	-	enable/disable the test mode of glass-break sensor. In the test mode, the sensor reports an alarm when it detects a high frequency sound (glass break sound). The test mode is enabled when the jumper is set in ON position (Fig. 2).

LED	-	enable/disable the LED indicator. The LED is enabled, when the jumper is set in ON position (Fig. 2) – the remote LED enable/disable is not available then.

tamper contact.

fixing screw hole.

potentiometer for adjustment of PIR sensor sensitivity.

potentiometer for adjustment of glass-break sensor sensitivity.

# INSTALLATION

Disconnect power before making any electrical connections.

The protected glass surfaces must be within the glass-break sensor range. Please note that shades, curtains, furniture upholstery, acoustic tiles, etc. absorb the sound and adversely affect the detector operating range.

- Remove the front cover (Fig. 3).

- Remove the electronics board.

- Make the openings for screws and cable in the enclosure base.

- Pass the cable through the prepared opening.

- Secure the enclosure base directly to the wall or to the bracket screwed down to the wall/ceiling (Fig. 4 and 5). The detector must not be mounted on the bracket, if the pet immunity option is to be enabled.

- Fasten the electronics board.

- Connect the wires to the corresponding terminals.

- Using potentiometers and jumpers, set the detector working parameters.

- Replace the cover.

# START-UP AND TEST OF THE DETECTOR

Note:	When testing the detector:

- the LED should be enabled,

- the jumper should be placed across TST pins in ON position (when the test is completed, place it in OFF position).

- Power-up the detector. The LED will begin alternately blinking red and green, which indicates that the detector is warming-up.

- When the LED stops blinking, check that:

moving within the PIR motion sensor detection area (Fig. 6 shows the maximum coverage area – at the maximum sensitivity and the jumper placed across PET pins in OFF position) will activate the alarm output of that sensor and make the LED light up red;

using the device which generates glass break sound (INDIGO TESTER) within the detection range of glass-break sensor will activate the alarm output of that sensor and make the LED light up green.

# SPECIFICATIONS

Supply voltage	12 V DC 15%

Standby current consumption	7.5 mA

Maximum current consumption	10 mA

Relay contacts rating (resistive load)	40 mA / 16 V DC

Detectable speed	0.3...3 m/s

Alarm signaling period	2 s

Warm-up period	30 s

Detection range of glass-break sensor	up to 6 m

Recommended installation height	2.4 m

Environmental class according to EN50130-5	II

Operating temperature range	-10...+55 °C

Maximum humidity	933%

Dimensions	63 x 96 x 49 mm

Weight	100 g

The declaration of conformity may be consulted at www.satel.eu/ce

SATEL sp. z o.o. • ul. Schuberta 79 • 80-172 Gdańsk • POLAND tel. 58 320 94 00 info@satel.pl • www.satel.eu

druk (4na1):

4,1,4,1,2,3,2,3